## BoQ1
Government eProcurement System Created By: RAJEEV KUMAR Created Date/Time: 17-Feb-2025 03:05 PM Tender Title: Annual Rate Contract for ROU Pipeline CP Maintenance and Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base Tender ID: 2023_GAIL_176028_1
Tender Inviting Authority: GAIL (India) Limited, Hazira Compressor Station Icchapore Magdalla Road Hazira -394518, P.O.-ONGC, Dist- Surat, Gujarat, INDIA
Name of Work: Part A - Annual Rate Contract for ROU Pipeline CP Maintenance & Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base (Manpower)
Contract No: GAIL/HZR/C&P/115161/FL-47C/23-24 (NIC Tender ID: 2023_GAIL_176028_1) dated 29.11.2023
SCHEDULE OF WORK / ITEM(S)
Sl.No | Bidder Name | Estimated Rate | Quoted Percentage | Quoted Rate in Figures and Words (Iteration 0)
|  |  |  | Rate | Amount
1.00 | NAMRATA ENGINEERING (GSTN-NA) BID ID -648054 | 2306616.24 | 31.00 | 3021667.27 | Thirty Lakh Twenty One Thousand Six Hundred and Sixty Seven
Lowest Amount Quoted BY: NAMRATA ENGINEERING(3021667.27)

## BoQ2
Government eProcurement System Created By: RAJEEV KUMAR Created Date/Time: 17-Feb-2025 03:05 PM Tender Title: Annual Rate Contract for ROU Pipeline CP Maintenance and Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base Tender ID: 2023_GAIL_176028_1
Tender Inviting Authority: GAIL (India) Limited, Hazira Compressor Station Icchapore Magdalla Road Hazira -394518, P.O.-ONGC, Dist- Surat, Gujarat, INDIA
Name of Work: Part A - Annual Rate Contract for ROU Pipeline CP Maintenance & Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base (Item wise)
Contract No: GAIL/HZR/C&P/115161/FL-47C/23-24 (NIC Tender ID: 2023_GAIL_176028_1) dated 29.11.2023
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | NAMRATA ENGINEERING (GSTN-NA) BID ID -648054
[5 empty] | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | SUPPLY & INSTALLATION OF PERMANENT REF CELL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item1 | 120000.00 | 141600.00 | 120000.00 | NAMRATA ENGINEERING | 141600.00 | NAMRATA ENGINEERING
2.00 | SUPPLY OF PORTABLE CU-SO4 REF CELL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 1.00 | EA | item2 | 12185.00 | 14378.30 | 12185.00 | NAMRATA ENGINEERING | 14378.30 | NAMRATA ENGINEERING
3.00 | SUPPLY OF XLPE ARMOURED COPPER CABLE 6 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 200.00 | M | item3 | 34000.00 | 40120.00 | 34000.00 | NAMRATA ENGINEERING | 40120.00 | NAMRATA ENGINEERING
4.00 | SUPPLY OF XLPE ARMOURED COPPER CABLE 10 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 600.00 | M | item4 | 180000.00 | 212400.00 | 180000.00 | NAMRATA ENGINEERING | 212400.00 | NAMRATA ENGINEERING
5.00 | SUPPLY OF XLPE ARMOURED COPPER CABLE 25 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 200.00 | M | item5 | 70400.00 | 83072.00 | 70400.00 | NAMRATA ENGINEERING | 83072.00 | NAMRATA ENGINEERING
6.00 | SUPPLY OF XLPE ARMOURED COPPER CABLE 35 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 300.00 | M | item6 | 117600.00 | 138768.00 | 117600.00 | NAMRATA ENGINEERING | 138768.00 | NAMRATA ENGINEERING
7.00 | EXCAVATION, LAYING & BACKFILLING OF CABLE IN NORMAL SOIL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 200.00 | M3 | item7 | 70000.00 | 82600.00 | 70000.00 | NAMRATA ENGINEERING | 82600.00 | NAMRATA ENGINEERING
8.00 | EXCAVATION, LAYING & BACKFILLING IN RCC /ROAD Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 200.00 | M3 | item8 | 76000.00 | 89680.00 | 76000.00 | NAMRATA ENGINEERING | 89680.00 | NAMRATA ENGINEERING
9.00 | SUPPLY AND INSTALLATION OF SPARK GAP ARRESTOR Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 20.00 | EA | item9 | 300000.00 | 354000.00 | 300000.00 | NAMRATA ENGINEERING | 354000.00 | NAMRATA ENGINEERING
10.00 | SUPPLY & INSTALLATION OF PRE-PACKED ZINC ANODES WITH CABLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 4.00 | EA | item10 | 120000.00 | 141600.00 | 120000.00 | NAMRATA ENGINEERING | 141600.00 | NAMRATA ENGINEERING
11.00 | SUPPLY & INSTALLATION OF MANUAL TEST STATION INCLUDING BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 30.00 | EA | item11 | 600000.00 | 708000.00 | 600000.00 | NAMRATA ENGINEERING | 708000.00 | NAMRATA ENGINEERING
12.00 | SUPPLY & INSTALLATION OF MANUAL TEST STATION EXCLUDING BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 40.00 | EA | item12 | 800000.00 | 944000.00 | 800000.00 | NAMRATA ENGINEERING | 944000.00 | NAMRATA ENGINEERING
13.00 | SUPPLY & INSTALLATION OF PRE-PACKED MAGNESIUM ANODE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 4.00 | EA | item13 | 20000.00 | 23600.00 | 20000.00 | NAMRATA ENGINEERING | 23600.00 | NAMRATA ENGINEERING
14.00 | SUPPLY, INSTALLATION AND COMMISSIONING OF EARTH PITS Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 20.00 | EA | item14 | 400000.00 | 472000.00 | 400000.00 | NAMRATA ENGINEERING | 472000.00 | NAMRATA ENGINEERING
15.00 | SUPPLY & INSTALLATION OF MISSING TLP DOOR ALONG WITH LOCK Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item15 | 1000.00 | 1180.00 | 1000.00 | NAMRATA ENGINEERING | 1180.00 | NAMRATA ENGINEERING
16.00 | CABLE JOINTING/REPAIRING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 80.00 | EA | item16 | 120000.00 | 141600.00 | 120000.00 | NAMRATA ENGINEERING | 141600.00 | NAMRATA ENGINEERING
17.00 | PIN BRAZING ON PIPELINE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 100.00 | EA | item17 | 338500.00 | 399430.00 | 338500.00 | NAMRATA ENGINEERING | 399430.00 | NAMRATA ENGINEERING
18.00 | COMPREHENSIVE MAINTENANCE OF Acs Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 336.00 | EA | item18 | 604800.00 | 713664.00 | 604800.00 | NAMRATA ENGINEERING | 713664.00 | NAMRATA ENGINEERING
19.00 | MAINTENANCE OF ANODE GROUND BED Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 5.00 | EA | item19 | 5000.00 | 5900.00 | 5000.00 | NAMRATA ENGINEERING | 5900.00 | NAMRATA ENGINEERING
20.00 | SUPPLY, INSTALLATION & COMMISSIONING SOLID STATE POLARISATION CELL: Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item20 | 100000.00 | 118000.00 | 100000.00 | NAMRATA ENGINEERING | 118000.00 | NAMRATA ENGINEERING
21.00 | RESTORATION OF B TYPE CURRENT TS Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item21 | 10000.00 | 11800.00 | 10000.00 | NAMRATA ENGINEERING | 11800.00 | NAMRATA ENGINEERING
22.00 | SUPPLY & INST. OF LARGE SIZE METTALIC TS WITH BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item22 | 210370.00 | 248236.60 | 210370.00 | NAMRATA ENGINEERING | 248236.60 | NAMRATA ENGINEERING
23.00 | MAINTENANCE OF STREET POLE LIGHTING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item23 | 1000.00 | 1180.00 | 1000.00 | NAMRATA ENGINEERING | 1180.00 | NAMRATA ENGINEERING
24.00 | SUPPLY & INSTALATION OF GI STRIP Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 200.00 | M | item24 | 69260.00 | 81726.80 | 69260.00 | NAMRATA ENGINEERING | 81726.80 | NAMRATA ENGINEERING
25.00 | INSTALLATION OF ELECTRICAL EQUIPMENT’S (EXHAUST FAN, TUBE LIGHT, SWITCH BOARD ETC.) AT SV’S/IP’S Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 30.00 | Day | item25 | 3000.00 | 3540.00 | 3000.00 | NAMRATA ENGINEERING | 3540.00 | NAMRATA ENGINEERING
26.00 | SUPPLY AND APPLICATION OF DENSO S43 SELF AMALGAMATING INNER WRAP TAPE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 60.00 | Rol | item26 | 150000.00 | 177000.00 | 150000.00 | NAMRATA ENGINEERING | 177000.00 | NAMRATA ENGINEERING
27.00 | SUPPLY AND APPLICATION OF DENSO R23 OUTER WRAP TAPE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 60.00 | Rol | item27 | 90000.00 | 106200.00 | 90000.00 | NAMRATA ENGINEERING | 106200.00 | NAMRATA ENGINEERING
28.00 | SUPPLY AND APPLICATION OF DENSO BUTYL PRIMER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 20.00 | L | item28 | 23600.00 | 27848.00 | 23600.00 | NAMRATA ENGINEERING | 27848.00 | NAMRATA ENGINEERING
29.00 | SUPPLY & INSTALLATION OF MISCELLANEOUS ITEMS FOR HVJ & NTPC Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 100000.00 | EA | item29 | 100000.00 | 118000.00 | 100000.00 | NAMRATA ENGINEERING | 118000.00 | NAMRATA ENGINEERING
30.00 | SUPPLY & INSTALLATION OF MISCELALENEOUS ITEMS FOR DUPL & HLPL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 150000.00 | EA | item30 | 150000.00 | 177000.00 | 150000.00 | NAMRATA ENGINEERING | 177000.00 | NAMRATA ENGINEERING
31.00 | MAINTENANCE OF HITACHI HI REL BATTERY CHARGER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 4.00 | EA | item31 | 100000.00 | 118000.00 | 100000.00 | NAMRATA ENGINEERING | 118000.00 | NAMRATA ENGINEERING
32.00 | MAINTENANCE OF CHHABI BATTERY CHARGER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 8.00 | EA | item32 | 120000.00 | 141600.00 | 120000.00 | NAMRATA ENGINEERING | 141600.00 | NAMRATA ENGINEERING
33.00 | MAINTENANCE OF AMAR RAJA BATTERY CHARGER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 16.00 | EA | item33 | 240000.00 | 283200.00 | 240000.00 | NAMRATA ENGINEERING | 283200.00 | NAMRATA ENGINEERING
34.00 | SUPPLY AND INSTALLATION OF PCB CARD FOR ACs Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 10.00 | EA | item34 | 120000.00 | 141600.00 | 120000.00 | NAMRATA ENGINEERING | 141600.00 | NAMRATA ENGINEERING
35.00 | SUPPLY AND LAYING OF 4 CORE 2.5SQ MM ARMOURED CABLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 50.00 | M | item35 | 12500.00 | 14750.00 | 12500.00 | NAMRATA ENGINEERING | 14750.00 | NAMRATA ENGINEERING
36.00 | SUPPLY AND LAYING OF 3 CORE 2.5SQ MM ARMOURED CABLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 50.00 | M | item36 | 10000.00 | 11800.00 | 10000.00 | NAMRATA ENGINEERING | 11800.00 | NAMRATA ENGINEERING
37.00 | SUPPLY AND LAYING OF 1 CORE 25SQ MM FLEXIBLE WIRE FOR EARTHING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 50.00 | M | item37 | 17500.00 | 20650.00 | 17500.00 | NAMRATA ENGINEERING | 20650.00 | NAMRATA ENGINEERING
38.00 | SUPPLY AND LAYING OF 1 CORE 16 SQ MM FLEXIBLE WIRE FOR EARTHING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 50.00 | M | item38 | 12500.00 | 14750.00 | 12500.00 | NAMRATA ENGINEERING | 14750.00 | NAMRATA ENGINEERING
39.00 | SUPPLY, INST. & COMM. OF LARGE SIZE METALLIC TS WITHOUT BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 5.00 | EA | item39 | 110000.00 | 129800.00 | 110000.00 | NAMRATA ENGINEERING | 129800.00 | NAMRATA ENGINEERING
40.00 | SUPPLY, INSTALLATION AND COMMISSIONING OF FLAME PROOF LIGHT Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 20.00 | EA | item40 | 160000.00 | 188800.00 | 160000.00 | NAMRATA ENGINEERING | 188800.00 | NAMRATA ENGINEERING
41.00 | SUPPLY AND INSTALLATION OF ELECTRICAL POLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 20.00 | EA | item41 | 160000.00 | 188800.00 | 160000.00 | NAMRATA ENGINEERING | 188800.00 | NAMRATA ENGINEERING
42.00 | DESIGN, SUPPLY, TESTING AND COMMISSIONING OF DEEP-WELL TYPE ANODE GROUND BED Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | 1.00 | EA | item42 | 1050000.00 | 1239000.00 | 1050000.00 | NAMRATA ENGINEERING | 1239000.00 | NAMRATA ENGINEERING
| Total in Figures |  |  |  | 7009215.00 | 8270873.70

## BOQ Summary
BOQ Summary Details Tender Title: Annual Rate Contract for ROU Pipeline CP Maintenance and Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base Tender ID: 2023_GAIL_176028_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NAMRATA ENGINEERING (BID ID -648054) | 3021667.27 | L1
BoQ2 | 1 | NAMRATA ENGINEERING (BID ID -648054) | 8270873.70 | L1

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: Annual Rate Contract for ROU Pipeline CP Maintenance and Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base Tender ID: 2023_GAIL_176028_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | NAMRATA ENGINEERING (BID ID -648054) | 3021667.27 |  |  | 15.00% | MSME

## Preferential Bidder IW Summary
Preferential Bidder Itemwise BOQ Summary Details Tender Title: Annual Rate Contract for ROU Pipeline CP Maintenance and Other Associated Jobs of Pipeline Systems under Hazira Maintenance Base Tender ID: 2023_GAIL_176028_1
Sl.No | Sheet Name | Description of Work / Item(s) | Item Code | Units | No.of Qty | Estimated Rate | Bidder Name | Rate Without Tax | Tax/Duties (INR) | Rate With Tax | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
1 | BoQ2 | SUPPLY & INSTALLATION OF PERMANENT REF CELL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item1 | EA | 10.00 |  | NAMRATA ENGINEERING | 120000.00 | 21600.00 | 141600.00 |  |  | 15.00% | MSME
2 | BoQ2 | SUPPLY OF PORTABLE CU-SO4 REF CELL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item2 | EA | 1.00 |  | NAMRATA ENGINEERING | 12185.00 | 2193.30 | 14378.30 |  |  | 15.00% | MSME
3 | BoQ2 | SUPPLY OF XLPE ARMOURED COPPER CABLE 6 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item3 | M | 200.00 |  | NAMRATA ENGINEERING | 34000.00 | 6120.00 | 40120.00 |  |  | 15.00% | MSME
4 | BoQ2 | SUPPLY OF XLPE ARMOURED COPPER CABLE 10 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item4 | M | 600.00 |  | NAMRATA ENGINEERING | 180000.00 | 32400.00 | 212400.00 |  |  | 15.00% | MSME
5 | BoQ2 | SUPPLY OF XLPE ARMOURED COPPER CABLE 25 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item5 | M | 200.00 |  | NAMRATA ENGINEERING | 70400.00 | 12672.00 | 83072.00 |  |  | 15.00% | MSME
6 | BoQ2 | SUPPLY OF XLPE ARMOURED COPPER CABLE 35 SQ. MM Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item6 | M | 300.00 |  | NAMRATA ENGINEERING | 117600.00 | 21168.00 | 138768.00 |  |  | 15.00% | MSME
7 | BoQ2 | EXCAVATION, LAYING & BACKFILLING OF CABLE IN NORMAL SOIL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item7 | M3 | 200.00 |  | NAMRATA ENGINEERING | 70000.00 | 12600.00 | 82600.00 |  |  | 15.00% | MSME
8 | BoQ2 | EXCAVATION, LAYING & BACKFILLING IN RCC /ROAD Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item8 | M3 | 200.00 |  | NAMRATA ENGINEERING | 76000.00 | 13680.00 | 89680.00 |  |  | 15.00% | MSME
9 | BoQ2 | SUPPLY AND INSTALLATION OF SPARK GAP ARRESTOR Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item9 | EA | 20.00 |  | NAMRATA ENGINEERING | 300000.00 | 54000.00 | 354000.00 |  |  | 15.00% | MSME
10 | BoQ2 | SUPPLY & INSTALLATION OF PRE-PACKED ZINC ANODES WITH CABLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item10 | EA | 4.00 |  | NAMRATA ENGINEERING | 120000.00 | 21600.00 | 141600.00 |  |  | 15.00% | MSME
11 | BoQ2 | SUPPLY & INSTALLATION OF MANUAL TEST STATION INCLUDING BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item11 | EA | 30.00 |  | NAMRATA ENGINEERING | 600000.00 | 108000.00 | 708000.00 |  |  | 15.00% | MSME
12 | BoQ2 | SUPPLY & INSTALLATION OF MANUAL TEST STATION EXCLUDING BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item12 | EA | 40.00 |  | NAMRATA ENGINEERING | 800000.00 | 144000.00 | 944000.00 |  |  | 15.00% | MSME
13 | BoQ2 | SUPPLY & INSTALLATION OF PRE-PACKED MAGNESIUM ANODE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item13 | EA | 4.00 |  | NAMRATA ENGINEERING | 20000.00 | 3600.00 | 23600.00 |  |  | 15.00% | MSME
14 | BoQ2 | SUPPLY, INSTALLATION AND COMMISSIONING OF EARTH PITS Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item14 | EA | 20.00 |  | NAMRATA ENGINEERING | 400000.00 | 72000.00 | 472000.00 |  |  | 15.00% | MSME
15 | BoQ2 | SUPPLY & INSTALLATION OF MISSING TLP DOOR ALONG WITH LOCK Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item15 | EA | 10.00 |  | NAMRATA ENGINEERING | 1000.00 | 180.00 | 1180.00 |  |  | 15.00% | MSME
16 | BoQ2 | CABLE JOINTING/REPAIRING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item16 | EA | 80.00 |  | NAMRATA ENGINEERING | 120000.00 | 21600.00 | 141600.00 |  |  | 15.00% | MSME
17 | BoQ2 | PIN BRAZING ON PIPELINE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item17 | EA | 100.00 |  | NAMRATA ENGINEERING | 338500.00 | 60930.00 | 399430.00 |  |  | 15.00% | MSME
18 | BoQ2 | COMPREHENSIVE MAINTENANCE OF Acs Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item18 | EA | 336.00 |  | NAMRATA ENGINEERING | 604800.00 | 108864.00 | 713664.00 |  |  | 15.00% | MSME
19 | BoQ2 | MAINTENANCE OF ANODE GROUND BED Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item19 | EA | 5.00 |  | NAMRATA ENGINEERING | 5000.00 | 900.00 | 5900.00 |  |  | 15.00% | MSME
20 | BoQ2 | SUPPLY, INSTALLATION & COMMISSIONING SOLID STATE POLARISATION CELL: Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item20 | EA | 10.00 |  | NAMRATA ENGINEERING | 100000.00 | 18000.00 | 118000.00 |  |  | 15.00% | MSME
21 | BoQ2 | RESTORATION OF B TYPE CURRENT TS Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item21 | EA | 10.00 |  | NAMRATA ENGINEERING | 10000.00 | 1800.00 | 11800.00 |  |  | 15.00% | MSME
22 | BoQ2 | SUPPLY & INST. OF LARGE SIZE METTALIC TS WITH BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item22 | EA | 10.00 |  | NAMRATA ENGINEERING | 210370.00 | 37866.60 | 248236.60 |  |  | 15.00% | MSME
23 | BoQ2 | MAINTENANCE OF STREET POLE LIGHTING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item23 | EA | 10.00 |  | NAMRATA ENGINEERING | 1000.00 | 180.00 | 1180.00 |  |  | 15.00% | MSME
24 | BoQ2 | SUPPLY & INSTALATION OF GI STRIP Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item24 | M | 200.00 |  | NAMRATA ENGINEERING | 69260.00 | 12466.80 | 81726.80 |  |  | 15.00% | MSME
25 | BoQ2 | INSTALLATION OF ELECTRICAL EQUIPMENT’S (EXHAUST FAN, TUBE LIGHT, SWITCH BOARD ETC.) AT SV’S/IP’S Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item25 | Day | 30.00 |  | NAMRATA ENGINEERING | 3000.00 | 540.00 | 3540.00 |  |  | 15.00% | MSME
26 | BoQ2 | SUPPLY AND APPLICATION OF DENSO S43 SELF AMALGAMATING INNER WRAP TAPE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item26 | Rol | 60.00 |  | NAMRATA ENGINEERING | 150000.00 | 27000.00 | 177000.00 |  |  | 15.00% | MSME
27 | BoQ2 | SUPPLY AND APPLICATION OF DENSO R23 OUTER WRAP TAPE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item27 | Rol | 60.00 |  | NAMRATA ENGINEERING | 90000.00 | 16200.00 | 106200.00 |  |  | 15.00% | MSME
28 | BoQ2 | SUPPLY AND APPLICATION OF DENSO BUTYL PRIMER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item28 | L | 20.00 |  | NAMRATA ENGINEERING | 23600.00 | 4248.00 | 27848.00 |  |  | 15.00% | MSME
29 | BoQ2 | SUPPLY & INSTALLATION OF MISCELLANEOUS ITEMS FOR HVJ & NTPC Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item29 | EA | 100000.00 |  | NAMRATA ENGINEERING | 100000.00 | 18000.00 | 118000.00 |  |  | 15.00% | MSME
30 | BoQ2 | SUPPLY & INSTALLATION OF MISCELALENEOUS ITEMS FOR DUPL & HLPL Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item30 | EA | 150000.00 |  | NAMRATA ENGINEERING | 150000.00 | 27000.00 | 177000.00 |  |  | 15.00% | MSME
31 | BoQ2 | MAINTENANCE OF HITACHI HI REL BATTERY CHARGER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item31 | EA | 4.00 |  | NAMRATA ENGINEERING | 100000.00 | 18000.00 | 118000.00 |  |  | 15.00% | MSME
32 | BoQ2 | MAINTENANCE OF CHHABI BATTERY CHARGER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item32 | EA | 8.00 |  | NAMRATA ENGINEERING | 120000.00 | 21600.00 | 141600.00 |  |  | 15.00% | MSME
33 | BoQ2 | MAINTENANCE OF AMAR RAJA BATTERY CHARGER Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item33 | EA | 16.00 |  | NAMRATA ENGINEERING | 240000.00 | 43200.00 | 283200.00 |  |  | 15.00% | MSME
34 | BoQ2 | SUPPLY AND INSTALLATION OF PCB CARD FOR ACs Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item34 | EA | 10.00 |  | NAMRATA ENGINEERING | 120000.00 | 21600.00 | 141600.00 |  |  | 15.00% | MSME
35 | BoQ2 | SUPPLY AND LAYING OF 4 CORE 2.5SQ MM ARMOURED CABLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item35 | M | 50.00 |  | NAMRATA ENGINEERING | 12500.00 | 2250.00 | 14750.00 |  |  | 15.00% | MSME
36 | BoQ2 | SUPPLY AND LAYING OF 3 CORE 2.5SQ MM ARMOURED CABLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item36 | M | 50.00 |  | NAMRATA ENGINEERING | 10000.00 | 1800.00 | 11800.00 |  |  | 15.00% | MSME
37 | BoQ2 | SUPPLY AND LAYING OF 1 CORE 25SQ MM FLEXIBLE WIRE FOR EARTHING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item37 | M | 50.00 |  | NAMRATA ENGINEERING | 17500.00 | 3150.00 | 20650.00 |  |  | 15.00% | MSME
38 | BoQ2 | SUPPLY AND LAYING OF 1 CORE 16 SQ MM FLEXIBLE WIRE FOR EARTHING Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item38 | M | 50.00 |  | NAMRATA ENGINEERING | 12500.00 | 2250.00 | 14750.00 |  |  | 15.00% | MSME
39 | BoQ2 | SUPPLY, INST. & COMM. OF LARGE SIZE METALLIC TS WITHOUT BEND Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item39 | EA | 5.00 |  | NAMRATA ENGINEERING | 110000.00 | 19800.00 | 129800.00 |  |  | 15.00% | MSME
40 | BoQ2 | SUPPLY, INSTALLATION AND COMMISSIONING OF FLAME PROOF LIGHT Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item40 | EA | 20.00 |  | NAMRATA ENGINEERING | 160000.00 | 28800.00 | 188800.00 |  |  | 15.00% | MSME
41 | BoQ2 | SUPPLY AND INSTALLATION OF ELECTRICAL POLE Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item41 | EA | 20.00 |  | NAMRATA ENGINEERING | 160000.00 | 28800.00 | 188800.00 |  |  | 15.00% | MSME
42 | BoQ2 | DESIGN, SUPPLY, TESTING AND COMMISSIONING OF DEEP-WELL TYPE ANODE GROUND BED Note: refer & read in conjunction with SCC, SOW, SOR/Technical Specifcations etc. of tender document for detailed description | item42 | EA | 1.00 |  | NAMRATA ENGINEERING | 1050000.00 | 189000.00 | 1239000.00 |  |  | 15.00% | MSME