## BoQ1
Government eProcurement System Created By: Bharti . Created Date/Time: 18-Aug-2023 03:20 PM Tender Title: NCRTC/AUXILIARY MAIN TRANSFORMER/OT/91 Tender ID: 2023_IRCON_154976_1
Tender Inviting Authority: CGM/ELECTRICAL, IRCON International Limited
Name of Work: Design, Manufacturing & Supply of 66/33 kV (30/45 MVA-ONAN/ONAF) Auxiliary Main Transformer including Terminal Connectors with Nitrogen Injection Fire Prevention System (NIFPS) and all accessories for the work of Delhi – Ghaziabad – Meerut RRTS Corridor of NCRTC (Package-19 Lot 1 )
Contract No: IRCON/ELECT/5037-5038/NCRTC/AUXILIARY MAIN TRANSFORMER/OT/91
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNS Technocorp Private Limited(GSTN-07AAXCS9092E1ZL)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | AUXILIARY MAIN TRANSFORMER
1.01 | Design, Manufacture & Supply of 66/33 kV, 30/45 MVA (ONAN/ONAF) Auxiliary Main Transformer including Terminal Connectors with Nitrogen Injection Fire Prevention System (NIFPS) with all accessories mentioned in Brief Particular Specifications (Annexure A to SCC) required for commissioning of Auxiliary Main Transformer including loading, unloading and transportation. | 2.00 | Nos | 100.00 | 65355200.00 | 154238272.00 | 154238272.00 | SNS Technocorp Private Limited
2.00 | SPARES
2.01 | Winding Temperature Indicator | 1.00 | Nos | 10.00 | 27500.00 | 32450.00 | 32450.00 | SNS Technocorp Private Limited
2.02 | Oil Temperature Indicator | 1.00 | Nos | 10.00 | 33000.00 | 38940.00 | 38940.00 | SNS Technocorp Private Limited
2.03 | Sets of Gaskets for Auxiliary Transformer. | 1.00 | Nos | 10.00 | 99000.00 | 116820.00 | 116820.00 | SNS Technocorp Private Limited
2.04 | OLTC motor drive for auxiliary Transformer. | 1.00 | Nos | 10.00 | 132000.00 | 155760.00 | 155760.00 | SNS Technocorp Private Limited
2.05 | 66kV Bushing | 1.00 | Nos | 10.00 | 88000.00 | 103840.00 | 103840.00 | SNS Technocorp Private Limited
2.06 | 33 KV bushing for Auxiliary Transformer. | 1.00 | Nos | 10.00 | 55000.00 | 64900.00 | 64900.00 | SNS Technocorp Private Limited
2.07 | 66kV Neutral Bushing | 2.00 | Nos | 10.00 | 88000.00 | 207680.00 | 207680.00 | SNS Technocorp Private Limited
2.08 | 33 KV neutral bushing | 1.00 | Nos | 10.00 | 55000.00 | 64900.00 | 64900.00 | SNS Technocorp Private Limited
2.09 | 66kV Transformer HT clamps set | 2.00 | Nos | 10.00 | 13200.00 | 31152.00 | 31152.00 | SNS Technocorp Private Limited
2.10 | Transformer oil for Auxiliary transformer (Power oil make) | 10.00 | Nos | 10.00 | 82500.00 | 973500.00 | 973500.00 | SNS Technocorp Private Limited
2.11 | Magnetic oil level guage | 1.00 | Nos | 10.00 | 16500.00 | 19470.00 | 19470.00 | SNS Technocorp Private Limited
2.12 | Buchholz relay for Auxiliary Transformer. | 1.00 | Nos | 10.00 | 27500.00 | 32450.00 | 32450.00 | SNS Technocorp Private Limited
2.13 | Oil surge relay | 1.00 | Nos | 10.00 | 27500.00 | 32450.00 | 32450.00 | SNS Technocorp Private Limited
2.14 | CCU for Auxiliary Transformer. | 1.00 | Nos | 10.00 | 13200.00 | 15576.00 | 15576.00 | SNS Technocorp Private Limited
2.15 | Silica gel breather | 1.00 | Nos | 10.00 | 16500.00 | 19470.00 | 19470.00 | SNS Technocorp Private Limited
2.16 | Set of valves 01 0f each type | 1.00 | Nos | 10.00 | 165000.00 | 194700.00 | 194700.00 | SNS Technocorp Private Limited
2.17 | Dial thermometer with prob and hose for WTI | 1.00 | Nos | 10.00 | 11000.00 | 12980.00 | 12980.00 | SNS Technocorp Private Limited
2.18 | Dial thermometer with prob and hose for OTI | 1.00 | Nos | 10.00 | 11000.00 | 12980.00 | 12980.00 | SNS Technocorp Private Limited
2.19 | AVR Relay each type | 2.00 | Nos | 10.00 | 88000.00 | 207680.00 | 207680.00 | SNS Technocorp Private Limited
3.00 | TESTS
3.01 | Short Circuit Test on 66/33kV(30/45MVA-ONAN/ONAF) Transformer | 1.00 | Nos | 10.00 | 22500000.00 | 26550000.00 | 26550000.00 | SNS Technocorp Private Limited
| Total in Figures |  |  |  |  | 183125970.00
Lowest Amount Quoted BY: SNS Technocorp Private Limited(183125970.00)

## BOQ Summary
BOQ Summary Details Tender Title: NCRTC/AUXILIARY MAIN TRANSFORMER/OT/91 Tender ID: 2023_IRCON_154976_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNS Technocorp Private Limited | 183125970.00 | L1