## BoQ1
Government eProcurement System Created By: Bharti . Created Date/Time: 01-Dec-2023 11:36 AM Tender Title: NCRTC/HVAC SYSTEM/OT/109 Tender ID: 2023_IRCON_167512_1
Tender Inviting Authority: CHIEF GENERAL MANAGER/ELECTRICAL
Name of Work: Design, Supply, Erection, Testing & Commissioning of HVAC Ventilation System (AHU Type) and Air Conditioning System (VRV/VRF type) for Shatabdi Nagar, Modipuram and Sarai Kale Kahn RSS in connection with Delhi – Ghaziabad – Meerut RRTS Corridor of NCRTC (Package 19 - LOT 1 & LOT 2)
Contract No: IRCON/ELECT/5037-5038/NCRTC/HVAC SYSTEM/OT/109
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KVP Electricals Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Item Description
2.00 | Supply of Daikin/Hitachi make VRV Type Air Conditioning System Supply of Variable refrigerant flow modular type air conditioning system suitable for cooling/heating by Inverter driven capacity control compressor complete with indoor and outdoor units with individual controller with fittings etc, as per quantity given below i/c full charging of R-410 A refrigerant gas complete with duly powder coated and outdoor unit.
2.01 | Outdoor unit - 6 HP | 10.00 | Nos. | 100.00 | 350000.00 | 3717000.00 | 3717000.00 | KVP Electricals Private Limited
2.02 | Indoor Unit-CRP Room- 2.56 TR roof mounted Round flow Cassette AC with cordless remote | 1500.00 | Nos. | 10.00 | 72000.00 | 509760.00 | 509760.00 | KVP Electricals Private Limited
2.03 | Indoor Unit-Control Room- 2.56 TR Roof mounted Round flow Cassette AC with Cordless remote | 12.00 | Nos. | 10.00 | 72000.00 | 509760.00 | 509760.00 | KVP Electricals Private Limited
2.04 | Indoor Unit-Office Meeting Room - 2.56 TR Roof mounted Round Flow Cassette AC with Cordless remote | 1.00 | Nos. | 10.00 | 72000.00 | 509760.00 | 509760.00 | KVP Electricals Private Limited
3.00 | Remote Controller
3.01 | Cordless Remote Control for indoor units (Receiver + Handset) | 1.00 | Nos. | 10.00 | 6875.00 | 146025.00 | 146025.00 | KVP Electricals Private Limited
3.02 | I-touch Controller | 1.00 | Nos. | 10.00 | 275000.00 | 973500.00 | 973500.00 | KVP Electricals Private Limited
4.00 | Refrigerant 'Y' joint required for distribution of refrigerant in copper piping etc complete as per specification | 1.00 | Nos. | 10.00 | 5500.00 | 58410.00 | 58410.00 | KVP Electricals Private Limited
5.00 | Supply of AHU/Ventilation System
5.01 | 13800 CFM AHU 70 mm SP (1W+1S) for GIS | 1.00 | Nos. | 10.00 | 850000.00 | 6018000.00 | 6018000.00 | KVP Electricals Private Limited
5.02 | Supply Air Tube Axial Fan 5000 CFM 35 mm SP with cowl and Bird Screen for AMS | 1.00 | Nos. | 10.00 | 325000.00 | 1150500.00 | 1150500.00 | KVP Electricals Private Limited
5.03 | Exhaust Air Tube Axial Fan 1500 CFM 5 mm SP with Cowl and Bird Screen for AMS | 1.00 | Nos. | 10.00 | 170000.00 | 601800.00 | 601800.00 | KVP Electricals Private Limited
5.04 | Supply Air Tube Axial Fan 7600 CFM 40 mm SP with Pre Filter and Freash Air Louver for Cellar | 1.00 | Nos. | 10.00 | 244000.00 | 863760.00 | 863760.00 | KVP Electricals Private Limited
5.05 | Exhaust Air Tube Axial Fan of 1500 CFM 15 mm SP with Cowl and Bird Screen for Battery Room | 1.00 | Nos. | 10.00 | 217000.00 | 768180.00 | 768180.00 | KVP Electricals Private Limited
5.06 | Exhaust Air Propeller fan with gravity louver 500 CFM for toilets | 1.00 | Nos. | 10.00 | 12500.00 | 88500.00 | 88500.00 | KVP Electricals Private Limited
6.00 | Supply of Ducting and Grill
6.01 | Ducting GI Sheet | 1.00 | Sqm | 10.00 | 1750.00 | 1858500.00 | 1858500.00 | KVP Electricals Private Limited
6.02 | Supply Air Grills | 1.00 | Sqm | 10.00 | 18000.00 | 955800.00 | 955800.00 | KVP Electricals Private Limited
6.03 | Exaust Air Louver with Automatic Sensor for GIS | 1.00 | Nos | 10.00 | 19500.00 | 138060.00 | 138060.00 | KVP Electricals Private Limited
6.04 | Fresh Air Louver for Cellar Room | 1.00 | Nos | 10.00 | 6800.00 | 48144.00 | 48144.00 | KVP Electricals Private Limited
6.05 | Exhaust Air Gravity Louver for Cellar Room | 1.00 | Nos | 10.00 | 6850.00 | 48498.00 | 48498.00 | KVP Electricals Private Limited
6.06 | Canvas Connection | 1.00 | mtr | 10.00 | 800.00 | 56640.00 | 56640.00 | KVP Electricals Private Limited
7.00 | Installation, Testing and Commissioning
7.01 | Installation, Testing & Commissioning of DAIKIN make VRV Type Air Conditioning System complete including following: (i) Premium Class Copper refrigerant piping with insulation (ii) Communication cable between IDU & ODU (iii) Power Cable between Outdoor & Indoor Unit (iv) PVC Drain pipe with Nitrile Insulation (v) ELCB & MCB 3 Phase with TPN Box for ODU (vi) MCB 1-Phase for IDU (vii) ODU Stand (viii) Anti Corrosion coating with ODUs (ix) Transportation, Loading/Unloading, shifting of all VRV AC material at site. (x) Nitrogen Reprocessing and Vacumising of all units (xi) Installation, Testing and commissioning of AC Units with all accessories (xii) Topping of Refrigeration in VRV systems. (xiii) Hot dip galvanised Perforated cable trays (xiv) Minor Civil works- wall chiselling & making holes and makeup in good conditions (xv) Any other activity not mentioned but required for completion of work. | 1.00 | Lot | 10.00 | 450000.00 | 1593000.00 | 1593000.00 | KVP Electricals Private Limited
7.02 | Fixing of Ventilation System (AHU, Ducting, Ventilation Fans and accessories) | 1.00 | Lot | 10.00 | 670000.00 | 2371800.00 | 2371800.00 | KVP Electricals Private Limited
| Total in Figures |  |  |  |  | 22985397.00
Lowest Amount Quoted BY: KVP Electricals Private Limited(22985397.00)

## BOQ Summary
BOQ Summary Details Tender Title: NCRTC/HVAC SYSTEM/OT/109 Tender ID: 2023_IRCON_167512_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KVP Electricals Private Limited | 22985397.00 | L1