## BoQ1
Government eProcurement System Created By: Bharti . Created Date/Time: 22-Jan-2024 05:20 PM Tender Title: NCRTC/APFC-2/OT/113 Tender ID: 2023_IRCON_174675_1
Tender Inviting Authority: Chief General Manager/Electrical
Name of Work: Design, Detail Engineering, Supply, Erection, Testing and Commissioning of IGBT based Active Power Filter (APF) device at 33 kV Voltage level along with converter duty coupling transformers & all other associated equipment’s including integration with existing protection and SCADA system at Receiving Sub-stations (RSS) of Delhi – Ghaziabad – Meerut RRTS Corridor of NCRTC”
Contract No: IRCON/ELECT/5037-5038/NCRTC/APF-2/OT/113
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | InPhase Power Technologies Private Limited(GSTN-29AADCI5966M1ZT) |  | P2 Power Solutions Pvt ltd(GSTN-09AAECP0915G2ZK)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | APF Panels along with suitable 33/0.415kV or 33/0.630 kV Converter Duty Transformer of suitable Rating and other associated equipments comprising of LT Bus Duct, ACB, NIFPS, Fire Supression System for APFC Panel, Differentials Relay for Transformer, Ventilation and Air Conditioning System etc. for Sarai Kale Khan RSS. | 2.42 | MVAR | 100.00 | 8859090.00 | 25298017.40 | 7420000.00 | 21188552.00 | 21188552.00 | P2 Power Solutions Pvt ltd
1.02 | APF Panels along with suitable 33/0.415kV or 33/0.630 kV Converter Duty Transformer of suitable Rating and other associated equipments comprising of LT Bus Duct, ACB, NIFPS, Fire Supression System for APFC Panel, Differentials Relay for Transformer, Ventilation and Air Conditioning System etc. for Shatabdi Nagar RSS. | 2.97 | MVAR | 100.00 | 8254882.00 | 28930059.46 | 6870000.00 | 24076602.00 | 24076602.00 | P2 Power Solutions Pvt ltd
1.03 | APF Panels along with suitable 33/0.415kV or 33/0.630 kV Converter Duty Transformer of suitable Rating and other associated equipments comprising of LT Bus Duct, ACB, NIFPS, Fire Supression System for APFC Panel, Differentials Relay for Transformer, Ventilation and Air Conditioning System etc. for Modipuram RSS. | 3.10 | MVAR | 100.00 | 7908709.00 | 28930057.52 | 6650000.00 | 24325700.00 | 24325700.00 | P2 Power Solutions Pvt ltd
| Total in Figures |  |  |  |  | 83158134.38 |  | 69590854.00
Lowest Amount Quoted BY: P2 Power Solutions Pvt ltd(69590854.00)

## BOQ Summary
BOQ Summary Details Tender Title: NCRTC/APFC-2/OT/113 Tender ID: 2023_IRCON_174675_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P2 Power Solutions Pvt ltd | 69590854.00 | L1
| 2 | InPhase Power Technologies Private Limited | 83158134.38 | L2