## BoQ1
eProcurement System Government of India Created By: Khalid Saifullah Created Date/Time: 16-Feb-2023 03:55 PM Tender Title: Construction of toilet block and other miscellaneous works at IWAI, Pandu terminal Tender ID: 2023_IWAI_737874_1
Tender Inviting Authority: Inland Waterways Authority of India
Name of Work: Construction of Toilet Block and other Miscellaneous works at IWAI, Pandu Terminal
Contract No: IWAI/GHY/3(13)/RE/TerMisc/2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ranu Nandi(GSTN-18ABEPN2168H2ZJ) |  | shivam sharma(GSTN-NA) |  | Utpal Jyoti Kalita(GSTN-NA) |  | SRI DILIP PATOWARY(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Toilet Block
1.01 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 1740.00 | sqm |  | 31.81 | 55349.40 | 28.15 | 48981.00 | 18.00 | 31320.00 | 28.15 | 48981.00 | 31320.00 | Utpal Jyoti Kalita
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | 45.90 | cum |  | 232.16 | 10656.14 | 205.45 | 9430.16 | 200.00 | 9180.00 | 205.45 | 9430.16 | 9180.00 | Utpal Jyoti Kalita
1.03 | Supplying and filling of local sand in pillar & wall foundation including watering, ramming, consolidating and dressing complete. | 416.35 | cum |  | 2442.16 | 1016793.32 | 368.65 | 153487.43 | 1900.00 | 791065.00 | 2161.20 | 899815.62 | 153487.43 | shivam sharma
1.04 | Supply and laying of over burnt Jhama brick of full size aggregate 90 mm to 45 mm at site, Preparation and consolidation of sub grade with rammers etc., and complete as per direction of Engineer-in-charge. | 4.65 | cum |  | 678.00 | 3152.70 | 1041.10 | 4841.12 | 900.00 | 4185.00 | 600.00 | 2790.00 | 2790.00 | SRI DILIP PATOWARY
1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.92 | cum |  | 7148.44 | 78060.96 | 6326.05 | 69080.47 | 5900.00 | 64428.00 | 6326.05 | 69080.47 | 64428.00 | Utpal Jyoti Kalita
1.06 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 25.08 | cum |  | 9451.55 | 237044.87 | 7555.05 | 189480.65 | 7300.00 | 183084.00 | 8364.20 | 209774.14 | 183084.00 | Utpal Jyoti Kalita
1.07 | For Spetic Tank Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.30 | cum |  | 8978.58 | 11672.15 | 7365.15 | 9574.70 | 7300.00 | 9490.00 | 7945.65 | 10329.35 | 9490.00 | Utpal Jyoti Kalita
1.08 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 13.56 | cum |  | 7776.66 | 105428.18 | 6882.00 | 93299.27 | 7000.00 | 94899.00 | 6882.00 | 93299.27 | 93299.27 | SRI DILIP PATOWARY, shivam sharma
1.09 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 Cement : 6 coarse sand) | 17.30 | cum |  | 9365.84 | 162029.03 | 8288.35 | 143388.46 | 7000.00 | 121100.00 | 7000.00 | 121100.00 | 121100.00 | Utpal Jyoti Kalita, SRI DILIP PATOWARY
1.10 | Half brick masonary with common burnt clay F.P.S. (non modular bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 ( 1 cement : 3 coarse sand) | 44.55 | sqm |  | 1178.70 | 52511.09 | 994.75 | 44316.11 | 1000.00 | 44550.00 | 1043.10 | 46470.11 | 44316.11 | shivam sharma
1.11 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : Cement mortar 1:3 (1 cement : 3 coarse sand) | 5.71 | sqm |  | 975.08 | 5567.71 | 862.90 | 4927.16 | 1000.00 | 5710.00 | 862.90 | 4927.16 | 4927.16 | SRI DILIP PATOWARY, shivam sharma
1.12 | Centering and shuttering including strutting, propping etc. and removal of form work | 282.40 | sqm |  | 662.39 | 187058.94 | 804.25 | 227120.20 | 500.00 | 141200.00 | 400.00 | 112960.00 | 112960.00 | SRI DILIP PATOWARY
1.13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (Steel reinforcement includes all the necessary reinforcment as per the specifications mentioned in drawings) | 3650.20 | kg |  | 100.51 | 366881.60 | 89.00 | 324867.80 | 90.00 | 328518.00 | 70.00 | 255514.00 | 255514.00 | SRI DILIP PATOWARY
1.14 | Providing 12 mm thick Plastering with 1:4 cement and coarse sand (1 cement: 4 coarse sand) on wall & pillor etc., as per direction of Engineer-in-charge. | 519.00 | sqm |  | 333.18 | 172920.42 | 462.30 | 239933.70 | 200.00 | 103800.00 | 294.85 | 153027.15 | 103800.00 | Utpal Jyoti Kalita
1.15 | For Septic Tank Providing 12 mm cement plaster finishing with a neat cement of 1:4 (1 Cement : 4 fine sand) | 20.70 | sqm |  | 408.27 | 8451.19 | 1522.95 | 31525.07 | 250.00 | 5175.00 | 361.30 | 7478.91 | 5175.00 | Utpal Jyoti Kalita
1.16 | Providing and applying water proofing plaster of paris putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete. | 407.71 | sqm |  | 242.16 | 98731.05 | 214.30 | 87372.25 | 170.00 | 69310.70 | 214.30 | 87372.25 | 69310.70 | Utpal Jyoti Kalita
1.17 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface:Water thinnable cement primer. New work (two or more coats applied @ 3.84kg/10 sqm) | 407.71 | sqm |  | 72.83 | 29693.52 | 64.45 | 26276.91 | 50.00 | 20385.50 | 64.45 | 26276.91 | 20385.50 | Utpal Jyoti Kalita
1.18 | Finishing walls with water proofing cement paint of required shade: New work (two or more coats applied @ 3.84kg/10 sqm) Make-Asian paints Royale Luxury Emulsion | 407.71 | sqm |  | 110.29 | 44966.34 | 97.60 | 39792.50 | 80.00 | 32616.80 | 97.60 | 39792.50 | 32616.80 | Utpal Jyoti Kalita
1.19 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately. | 51.63 | sqm |  | 661.67 | 34162.02 | 585.55 | 30231.95 | 1200.00 | 61956.00 | 585.55 | 30231.95 | 30231.95 | SRI DILIP PATOWARY, shivam sharma
1.20 | For Floor Providing and laying vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coase sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The riles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Double charged Glazed Vitrified tiles Matt/Antiskid finish of size. Size of Tile 600 mm x 600 mm. ) Make- Kajaria/Johnson & Johnson/Somany | 34.90 | sqm |  | 1481.49 | 51704.00 | 1537.40 | 53655.26 | 1300.00 | 45370.00 | 1311.05 | 45755.65 | 45370.00 | Utpal Jyoti Kalita
1.21 | For Steps Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Double charged Glazed Vitrified tiles Matt/Antiskid finish of size. Size of Tile 500x500 mm Make- Kajaria/Johnson & Johnson/Somany | 11.60 | sqm |  | 1564.15 | 18144.14 | 1455.10 | 16879.16 | 1000.00 | 11600.00 | 1384.20 | 16056.72 | 11600.00 | Utpal Jyoti Kalita
1.22 | Providing and fixing 1st quality glazed wall tiles conforming to IS:15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @3.3 kg/sqm, including pointing in white cement mixed with pigment of matching shade complete. Make- Kajaria/Johnson & Johnson/Somany | 111.30 | sqm |  | 1201.70 | 133749.21 | 1063.45 | 118361.99 | 1000.00 | 111300.00 | 1063.45 | 118361.99 | 111300.00 | Utpal Jyoti Kalita
1.23 | Providing, supplying and installation of 100mm dia PVC pipes with tees for septic tank for discharge of waste through waste pipes from bathroom to septic tank. This includes jointing of pipes & fittings with solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. | 1.00 | job |  | 16950.00 | 16950.00 | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 3500.00 | SRI DILIP PATOWARY
2.00 | Bathroom Attachments
2.01 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing. Rectangular shape 453x357 mm | 4.00 | nos |  | 1200.00 | 4800.00 | 1158.95 | 4635.80 | 900.00 | 3600.00 | 1158.95 | 4635.80 | 3600.00 | Utpal Jyoti Kalita
2.02 | Providing and fixing 18mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 Coarse sand), joints treated with white cement, mixed with machine pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade. | 2.40 | sqm |  | 3500.00 | 8400.00 | 4425.35 | 10620.84 | 3000.00 | 7200.00 | 3301.45 | 7923.48 | 7200.00 | Utpal Jyoti Kalita
2.03 | Providing edge moulding to 18mm thick marble stone counters, vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer - in - Charge | 5.00 | m |  | 450.00 | 2250.00 | 244.90 | 1224.50 | 350.00 | 1750.00 | 418.85 | 2094.25 | 1224.50 | shivam sharma
2.04 | Extra for providing opening of required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 4.00 | nos |  | 800.88 | 3203.52 | 808.10 | 3232.40 | 500.00 | 2000.00 | 808.15 | 3232.60 | 2000.00 | Utpal Jyoti Kalita
2.05 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. Brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require. White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 4.00 | nos |  | 1800.00 | 7200.00 | 2275.00 | 9100.00 | 3000.00 | 12000.00 | 1679.60 | 6718.40 | 6718.40 | SRI DILIP PATOWARY
2.06 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 3.00 | nos |  | 1500.50 | 4501.50 | 1382.30 | 4146.90 | 1500.00 | 4500.00 | 1382.30 | 4146.90 | 4146.90 | SRI DILIP PATOWARY, shivam sharma
2.07 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade Providing 76x100 cm deep and 1.8 cm thick urinal partitions instead of 75x50 cm deep and 1.8 cm thick | 2.28 | sqm |  | 3850.51 | 8779.16 | 3542.85 | 8077.70 | 3000.00 | 6840.00 | 3542.85 | 8077.70 | 6840.00 | Utpal Jyoti Kalita
2.08 | Providing and fixing PTMT soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | 5.00 | nos |  | 100.45 | 502.25 | 58.00 | 290.00 | 90.00 | 450.00 | 96.75 | 483.75 | 290.00 | shivam sharma
2.09 | Providing and fixing toilet paper holder including wooden cleats, cladding work, chromium plated brass screws 25mm, carriage of materials, carpentery, beldar etc. C.P. brass | 4.00 | nos |  | 740.00 | 2960.00 | 680.80 | 2723.20 | 650.00 | 2600.00 | 680.80 | 2723.20 | 2600.00 | Utpal Jyoti Kalita
2.10 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required. White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | nos |  | 6245.00 | 12490.00 | 10076.15 | 20152.30 | 5000.00 | 10000.00 | 5781.35 | 11562.70 | 10000.00 | Utpal Jyoti Kalita
2.11 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | nos |  | 6000.00 | 12000.00 | 6941.30 | 13882.60 | 5000.00 | 10000.00 | 5540.55 | 11081.10 | 10000.00 | Utpal Jyoti Kalita
2.12 | Providing and fixing PTMT grating of approved quality and colour. Circular type 125 mm nominal dia with 25 mm waste hole | 5.00 | nos |  | 45.33 | 226.65 | 45.20 | 226.00 | 70.00 | 350.00 | 45.25 | 226.25 | 226.00 | shivam sharma
2.13 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin-charge. Extruded section profile size 42x50mm | 4.00 | nos |  | 285.45 | 1141.80 | 280.70 | 1122.80 | 5000.00 | 20000.00 | 280.70 | 1122.80 | 1122.80 | SRI DILIP PATOWARY, shivam sharma
2.14 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws Doors D1 | 6.00 | sqm |  | 2110.00 | 12660.00 | 3086.10 | 18516.60 | 2500.00 | 15000.00 | 2015.75 | 12094.50 | 12094.50 | SRI DILIP PATOWARY
2.15 | Providing and fixing to existing door frames: 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter) Doors D2 | 6.02 | sqm |  | 1750.00 | 10535.00 | 1790.65 | 10779.71 | 2000.00 | 12040.00 | 1790.65 | 10779.71 | 10535.00 | Ranu Nandi
2.16 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 14.00 | nos |  | 55.40 | 775.60 | 53.20 | 744.80 | 70.00 | 980.00 | 53.25 | 745.50 | 744.80 | shivam sharma
2.17 | Providing and fixing bright finished brass 100mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary scrws etc. complete | 3.00 | nos |  | 715.00 | 2145.00 | 739.80 | 2219.40 | 1000.00 | 3000.00 | 723.80 | 2171.40 | 2145.00 | Ranu Nandi
2.18 | Providing and fixing bright finished brass door latch with necessary screws etc. complete: 300 x 16 x 5mm | 11.00 | nos |  | 200.00 | 2200.00 | 273.20 | 3005.20 | 230.00 | 2530.00 | 273.20 | 3005.20 | 2200.00 | Ranu Nandi
2.19 | Two track two panels sliding window made of (small series) frame 52 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area of window upto 1.75 sqm) | 6.00 | nos |  | 8000.00 | 48000.00 | 7634.10 | 45804.60 | 3000.00 | 18000.00 | 7634.10 | 45804.60 | 18000.00 | Utpal Jyoti Kalita
2.20 | Providing and fixing factory made uPVC white colour fixed glazed windows/ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) | 2.10 | sqm |  | 7300.00 | 15330.00 | 7249.90 | 15224.79 | 7200.00 | 15120.00 | 7249.90 | 15224.79 | 15120.00 | Utpal Jyoti Kalita
2.21 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 72.00 | kg |  | 200.00 | 14400.00 | 197.70 | 14234.40 | 160.00 | 11520.00 | 197.70 | 14234.40 | 11520.00 | Utpal Jyoti Kalita
2.22 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 15 mm nominal bore | 5.00 | nos |  | 440.00 | 2200.00 | 434.20 | 2171.00 | 600.00 | 3000.00 | 434.20 | 2171.00 | 2171.00 | SRI DILIP PATOWARY, shivam sharma
2.23 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 4.00 | nos |  | 742.50 | 2970.00 | 715.05 | 2860.20 | 800.00 | 3200.00 | 715.05 | 2860.20 | 2860.20 | SRI DILIP PATOWARY, shivam sharma
2.24 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality an colour. 600mm long towel rail with with total length of 645mm, width 78mm and effective height of 88m, weighing not less than 190 gms. | 5.00 | nos |  | 610.25 | 3051.25 | 204.70 | 1023.50 | 500.00 | 2500.00 | 600.35 | 3001.75 | 1023.50 | shivam sharma
2.25 | Providing and fixing PTMT towel ring trapezoidal shape 215mm long, 200mm wide with minimum distances of 37mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms. | 2.00 | nos |  | 210.40 | 420.80 | 204.70 | 409.40 | 180.00 | 360.00 | 204.70 | 409.40 | 360.00 | Utpal Jyoti Kalita
2.26 | Providing and fixing PTMT Swivelling shower, 15mm nominal bore, weighing not less than 40 gms. | 2.00 | nos |  | 110.00 | 220.00 | 106.10 | 212.20 | 90.00 | 180.00 | 106.15 | 212.30 | 180.00 | Utpal Jyoti Kalita
2.27 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | litres |  | 10.00 | 20000.00 | 9.70 | 19400.00 | 9.00 | 18000.00 | 9.70 | 19400.00 | 18000.00 | Utpal Jyoti Kalita
2.28 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work. 50mm dia | 25.00 | m |  | 820.00 | 20500.00 | 927.00 | 23175.00 | 700.00 | 17500.00 | 811.85 | 20296.25 | 17500.00 | Utpal Jyoti Kalita
2.29 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25mm nominal dia pipes | 28.00 | m |  | 630.50 | 17654.00 | 626.05 | 17529.40 | 500.00 | 14000.00 | 626.05 | 17529.40 | 14000.00 | Utpal Jyoti Kalita
2.30 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 7.00 | nos |  | 110.35 | 772.45 | 50.00 | 350.00 | 80.00 | 560.00 | 104.35 | 730.45 | 350.00 | shivam sharma
2.31 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring and necessary bends / tees conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 8.00 | m |  | 220.50 | 1764.00 | 213.00 | 1704.00 | 200.00 | 1600.00 | 213.00 | 1704.00 | 1600.00 | Utpal Jyoti Kalita
2.32 | Providing, supplying and installation of 100mm dia PVC pipes with elbows & tees. This includes jointing of pipes & fittings with solvent cement and the cost of cutting chases and making good the same including testing of joints including chamber etc. complete as per direction of Engineer in Charge. | 1.00 | job |  | 30000.00 | 30000.00 | 50000.00 | 50000.00 | 3000.00 | 3000.00 | 95000.00 | 95000.00 | 3000.00 | Utpal Jyoti Kalita
2.33 | Supplying, boring,installation, fitting, etc all complete to the required depth for hand pump with all necessary fittings 50mm dia pipe alongwith a 1 HP tool Pump or required size (Crompton Greaves/Kirloskar) complete the job as per direction of Engineer-in-charge or his authorized representative Boring depth - upto the level of finely good water strata /layer PVC pipe of make Supreme/ Astral/ Ashirbaad | 1.00 | job |  | 50000.00 | 50000.00 | 479000.00 | 479000.00 | 15000.00 | 15000.00 | 71600.00 | 71600.00 | 15000.00 | Utpal Jyoti Kalita
3.00 | Laying of Paver blocks
3.01 | Around Toilet Block Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, driveways or light traffic parking etc, of required strength, thickness and size/shape made by table vibratory method using PU mould, laid in required colour and pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved color, design and pattern. | 363.30 | sqm |  | 950.25 | 345225.83 | 1011.20 | 367368.96 | 950.00 | 345135.00 | 932.35 | 338722.76 | 338722.76 | SRI DILIP PATOWARY
3.02 | Near Tansit Shed Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, driveways or light traffic parking etc, of required strength, thickness and size/shape made by table vibratory method using PU mould, laid in required colour and pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand complete all as per direction of Engineer-in-Charge. 80mm thick cement concrete paver block of M-35 grade with approved color, design and pattern. | 1403.00 | sqm |  | 1050.20 | 1473430.60 | 1011.20 | 1418713.60 | 950.00 | 1332850.00 | 1011.20 | 1418713.60 | 1332850.00 | Utpal Jyoti Kalita
4.00 | Electrical works
4.01 | Supplying, fixing and wiring for light point / fan point / exhaust fan point / call bell point with 1.5sq.mm FRLS PVC insulated coper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate , suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 21.00 | point |  | 1840.00 | 38640.00 | 1823.00 | 38283.00 | 1400.00 | 29400.00 | 1823.00 | 38283.00 | 29400.00 | Utpal Jyoti Kalita
4.02 | Laying of one number PVC insulated and PVC sheathed / XLPE including excavation, sand cushioning, protective covering andpower cable of 1.1 KV grade of following size direct in ground refilling the trench etc as required. (Main line) Upto 25 sq.mm | 50.00 | m |  | 395.50 | 19775.00 | 387.00 | 19350.00 | 320.00 | 16000.00 | 387.00 | 19350.00 | 16000.00 | Utpal Jyoti Kalita
4.03 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required | 18.00 | nos |  | 121.50 | 2187.00 | 2730.00 | 49140.00 | 100.00 | 1800.00 | 119.00 | 2142.00 | 1800.00 | Utpal Jyoti Kalita
4.04 | Supply of exhaust fan | 3.00 | nos |  | 2750.00 | 8250.00 | 2000.00 | 6000.00 | 1600.00 | 4800.00 | 2700.00 | 8100.00 | 4800.00 | Utpal Jyoti Kalita
4.05 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required Upto 450mm sweep. Make: Bajaj/USHA/Havells/Crompton | 3.00 | nos |  | 465.50 | 1396.50 | 224.00 | 672.00 | 200.00 | 600.00 | 450.00 | 1350.00 | 600.00 | Utpal Jyoti Kalita
4.06 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 3.00 | nos |  | 210.65 | 631.95 | 99.00 | 297.00 | 1000.00 | 3000.00 | 207.00 | 621.00 | 297.00 | shivam sharma
4.07 | Supply & fixing of following size of medium class PVC conduit along with accessories in surface/recessed including cutting the wall and making good the same in case of recessed conduit as required. 25mm | 50.00 | m |  | 152.00 | 7600.00 | 69.00 | 3450.00 | 90.00 | 4500.00 | 145.00 | 7250.00 | 3450.00 | shivam sharma
4.08 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6A modular socket outlet and 5/6A modular switch, connections etc. as required. | 5.00 | nos |  | 481.00 | 2405.00 | 406.00 | 2030.00 | 400.00 | 2000.00 | 477.00 | 2385.00 | 2000.00 | Utpal Jyoti Kalita
4.09 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 Way, Double door Make:- L&T/Schneider/Legrand | 1.00 | nos |  | 2250.00 | 2250.00 | 942.00 | 942.00 | 2000.00 | 2000.00 | 2206.95 | 2206.95 | 942.00 | shivam sharma
4.10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole Make:- L&T/Schneider/Legrand | 3.00 | nos |  | 260.50 | 781.50 | 173.00 | 519.00 | 220.00 | 660.00 | 256.00 | 768.00 | 519.00 | shivam sharma
4.11 | Supplying and fixing following rating, double pole, 240 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A Make:- L&T/Schneider/Legrand | 1.00 | nos |  | 440.50 | 440.50 | 222.00 | 222.00 | 400.00 | 400.00 | 435.00 | 435.00 | 222.00 | shivam sharma
4.12 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 15.00 | nos |  | 13.50 | 202.50 | 7.00 | 105.00 | 10.00 | 150.00 | 13.00 | 195.00 | 105.00 | shivam sharma
4.13 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required | 4.00 | nos |  | 41.35 | 165.40 | 24.00 | 96.00 | 30.00 | 120.00 | 40.00 | 160.00 | 96.00 | shivam sharma
4.14 | 2.5 sq. mm ISI marked, FRLS PVC insulated, single core copper Metre conductor cable Make:- Finolex/KEI/Havells | 100.00 | m |  | 30.52 | 3052.00 | 17.84 | 1784.00 | 22.00 | 2200.00 | 28.00 | 2800.00 | 1784.00 | shivam sharma
4.15 | Supplying and fixing following modular switch on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6A switch ISI marked Make:- Finolex/KEI/Havells | 25.00 | nos |  | 110.00 | 2750.00 | 17.84 | 446.00 | 90.00 | 2250.00 | 103.00 | 2575.00 | 446.00 | shivam sharma
4.16 | Supplying and fixing following modular socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A modular socket outlet, ISI marked Make:- Finolex/KEI/Havells | 5.00 | nos |  | 125.00 | 625.00 | 350.00 | 1750.00 | 110.00 | 550.00 | 122.00 | 610.00 | 550.00 | Utpal Jyoti Kalita
4.17 | Supplying and fixing PVC batten / angle holder including connection etc. as required | 18.00 | nos |  | 115.50 | 2079.00 | 75.00 | 1350.00 | 100.00 | 1800.00 | 110.00 | 1980.00 | 1350.00 | shivam sharma
4.18 | 10 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable Make:- Finolex/KEI/Havells | 50.00 | m |  | 110.25 | 5512.50 | 66.43 | 3321.50 | 90.00 | 4500.00 | 106.00 | 5300.00 | 3321.50 | shivam sharma
4.19 | Earthing with G.I. earth pipe 4.5 metre long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc with charcoal / coke and salt as required. | 1.00 | set |  | 6900.00 | 6900.00 | 3672.00 | 3672.00 | 5000.00 | 5000.00 | 6855.00 | 6855.00 | 3672.00 | shivam sharma
4.20 | LED Bulb 9W | 18.00 | nos |  | 111.65 | 2009.70 | 750.00 | 13500.00 | 500.00 | 9000.00 | 109.25 | 1966.50 | 1966.50 | SRI DILIP PATOWARY
4.21 | Square Board | 19.00 | nos |  | 52.50 | 997.50 | 2300.00 | 43700.00 | 90.00 | 1710.00 | 51.75 | 983.25 | 983.25 | SRI DILIP PATOWARY
4.22 | Switch board 6 inch x 4 inch | 1.00 | nos |  | 119.20 | 119.20 | 2000.00 | 2000.00 | 120.00 | 120.00 | 115.00 | 115.00 | 115.00 | SRI DILIP PATOWARY
4.23 | Switch board 6 inch x 8 inch | 4.00 | nos |  | 165.20 | 660.80 | 2500.00 | 10000.00 | 140.00 | 560.00 | 161.00 | 644.00 | 560.00 | Utpal Jyoti Kalita
4.24 | Screw 2'' | 15.00 | nos |  | 2.51 | 37.65 | 2.00 | 30.00 | 80.00 | 1200.00 | 2.30 | 34.50 | 30.00 | shivam sharma
4.25 | Screw 1'' | 1.00 | packet |  | 53.50 | 53.50 | 200.00 | 200.00 | 70.00 | 70.00 | 57.50 | 57.50 | 53.50 | Ranu Nandi
4.26 | Gutka 1'' | 1.00 | packet |  | 35.50 | 35.50 | 400.00 | 400.00 | 50.00 | 50.00 | 40.25 | 40.25 | 35.50 | Ranu Nandi
4.27 | PVC Tape | 2.00 | roll |  | 11.80 | 23.60 | 300.00 | 600.00 | 25.00 | 50.00 | 13.80 | 27.60 | 23.60 | Ranu Nandi
| Total in Figures |  |  |  |  | 5153968.69 |  | 4756564.62 |  | 4306098.00 |  | 4680000.00
Lowest Amount Quoted BY: Utpal Jyoti Kalita(4306098.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of toilet block and other miscellaneous works at IWAI, Pandu terminal Tender ID: 2023_IWAI_737874_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Utpal Jyoti Kalita | 4306098.00 | L1
| 2 | SRI DILIP PATOWARY | 4680000.00 | L2
| 3 | shivam sharma | 4756564.62 | L3
| 4 | Ranu Nandi | 5153968.69 | L4