## BoQ1
eProcurement System Government of India Created By: VIKRANT AVINASH SHIRBHATE Created Date/Time: 05-Oct-2023 06:18 PM Tender Title: Construction of Foot Over Bridge on NH 753 H at Motibagh Square Design Ch. Km 49.100 at District Collector Jalna Design Ch. 47.200 at Jalna in the state of Maharashtra Tender ID: 2023_MoRTH_748399_2
Tender Inviting Authority:
Name of Work: Construction of Foot Over Bridge on NH 753 H at Motibagh Square (Design Ch. Km 49/100) & at District Collector Jalna (Design Ch. 47/200) at Jalna in the state of Maharashtra. 2nd Call
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAI SHRADDHA ENGINEERS & CONTRACTORS LLP(GSTN-NA) |  | D.M.MALU AND ASSOCIATES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavation for foundation in earth, soil of all types, sand, gravel and soft murum, including removing the excavated material up to a distance of 50 m. beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift upto 1.5 m.) By Mechanical Means. | 628.40 | Cum |  | 500.00 | 314200.00 | 151.00 | 94888.40 | 94888.40 | D.M.MALU AND ASSOCIATES
2.00 | Providing and laying Cast in situ/Ready Mix cement concrete in M15 of trap/ granite/quartzite/gneiss metal for bed blocks, foundation blocks and such other items including bailing out water, Steel centering, formwork, laying/ pumping, compacting, roughening them if special finish is to be provided, finishing uneven and honeycombed surface and curing etc. complete. The Cement Mortar 1:3 plaster is considered for rendering uneven and honeycombed surface only. Newly laid concrete shall be covered by gunny bag, plastic, tarpaulin etc. (Wooden centering will not be allowed.), with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 47.14 | Cum |  | 6000.00 | 282840.00 | 5101.00 | 240461.14 | 240461.14 | D.M.MALU AND ASSOCIATES
3.00 | Providing soling using 80 mm size trap metal in 15 cm. layer including filling voids with Crushed sand/grit, ramming, watering etc. complete. | 94.26 | Cum |  | 900.00 | 84834.00 | 1201.00 | 113206.26 | 84834.00 | SAI SHRADDHA ENGINEERS & CONTRACTORS LLP
4.00 | Providing and laying Cast in situ/Ready Mix cement concrete M-35 of trap / granite/quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. columns as per detailed designs and drawing or as directed including Steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 168.46 | Cum |  | 7000.00 | 1179220.00 | 6251.00 | 1053043.46 | 1053043.46 | D.M.MALU AND ASSOCIATES
5.00 | Providing and laying Cast in situ/Ready Mix cement concrete M-35 of trap / granite/quartzite/ gneiss metal for R.C.C. columns as per detailed designs and drawing or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC without SCAD Aenabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 37.00 | Cum |  | 7500.00 | 277500.00 | 7251.00 | 268287.00 | 268287.00 | D.M.MALU AND ASSOCIATES
6.00 | Providing and fixing in position TMT - FE - 500 bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete. | 17.22 | MT |  | 90000.00 | 1549800.00 | 83001.00 | 1429277.22 | 1429277.22 | D.M.MALU AND ASSOCIATES
7.00 | Foundation Nut & Bolts | 416.00 | Nos |  | 300.00 | 124800.00 | 201.00 | 83616.00 | 83616.00 | D.M.MALU AND ASSOCIATES
8.00 | Providing and fabricating structural steel work in rolled sections like joists, channels, angles, tees etc. as per detailed design and drawings or as directed including cutting, fabricating, hoisting, erecting, fixing in position making riveted / bolted /welded connections without connecting plates, braces etc. and including one coat of anticorrosive paint and over it two coats of oil painting of approved quality and shade etc. complete. | 100.00 | MT |  | 110000.00 | 11000000.00 | 115001.00 | 11500100.00 | 11000000.00 | SAI SHRADDHA ENGINEERS & CONTRACTORS LLP
9.00 | Providing and fixing corrugated galvanised iron sheets of 0.63mm thick (24 B.W.G.) for roofing without wind tiles including fastening with galvanised iron screws and bolts, lead and bitumen washers as per drawing etc. complete.(Weight of 5.5 Kilogram/sq.m.). | 517.54 | Sqm |  | 700.00 | 362278.00 | 1001.00 | 518057.54 | 362278.00 | SAI SHRADDHA ENGINEERS & CONTRACTORS LLP
10.00 | Electrical Utility Shifting- Shifting of 33 KV & 11 KV line which is obstructing for construction of FOB (for both FOB at ch. Km 49+100 & ch. Km 47+200) | 1.00 | Lumpsum |  | 300000.00 | 300000.00 | 1550001.00 | 1550001.00 | 300000.00 | SAI SHRADDHA ENGINEERS & CONTRACTORS LLP
| Total in Figures |  |  |  |  | 15475472.00 |  | 16850938.02
Lowest Amount Quoted BY: SAI SHRADDHA ENGINEERS & CONTRACTORS LLP(15475472.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Foot Over Bridge on NH 753 H at Motibagh Square Design Ch. Km 49.100 at District Collector Jalna Design Ch. 47.200 at Jalna in the state of Maharashtra Tender ID: 2023_MoRTH_748399_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAI SHRADDHA ENGINEERS & CONTRACTORS LLP | 15475472.00 | L1
| 2 | D.M.MALU AND ASSOCIATES | 16850938.02 | L2