## BoQ1
Government eProcurement System Created By: Arvind Dev Created Date/Time: 13-Feb-2023 04:24 PM Tender Title: Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand Tender ID: 2023_WAPCO_141095_1
Tender Inviting Authority: < WAPCOS LIMITED >
Name of Work: < Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand >
Contract No: < WAP-EM-TENDER-132kV-SS-2023-01 >
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AAR ESS EXIM PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-A (Supply of Material)
1.01 | 145 KV SF6 Circuit Breaker | 1.00 | Nos. | 0.00 | 800000.00 | 840000.00 | 840000.00 | AAR ESS EXIM PVT LTD
1.02 | 145 KV Horizontal Double Break Isolator with Earth Switch | 1.00 | Nos. | 0.00 | 280000.00 | 290000.00 | 290000.00 | AAR ESS EXIM PVT LTD
1.03 | 145 KV Horizontal Double Break Isolator without Earth Switch | 2.00 | Nos. | 0.00 | 280000.00 | 580000.00 | 580000.00 | AAR ESS EXIM PVT LTD
1.04 | 145 KV Current Transformer 200/100/50/1A, 0.2S with CT clamp with Rod Type Bushing (without thread bushing) and Junction Box | 3.00 | Nos. | 0.00 | 160000.00 | 495000.00 | 495000.00 | AAR ESS EXIM PVT LTD
1.05 | 145 KV Current Transformer (200/100/50/1A), Accuracy Class-0.2S with CT clamp with Rod Type Bushing (without thread bushing) and Junction Box and having only metering core. | 3.00 | Nos. | 0.00 | 160000.00 | 495000.00 | 495000.00 | AAR ESS EXIM PVT LTD
1.06 | 145 KV Potential Transformer 132KV/110V with PT clamp with Rod Type Bushing (without thread bushing) and Junction Box. | 3.00 | Nos. | 0.00 | 160000.00 | 495000.00 | 495000.00 | AAR ESS EXIM PVT LTD
1.07 | 145 KV Potential Transformer 132KV/110V with PT clamp with Rod Type Bushing (without thread bushing) and Junction Box and having only metering core. | 3.00 | Nos. | 0.00 | 160000.00 | 495000.00 | 495000.00 | AAR ESS EXIM PVT LTD
1.08 | 120 KV LA (10 KV, Gapless Type) | 3.00 | Nos. | 0.00 | 52000.00 | 162000.00 | 162000.00 | AAR ESS EXIM PVT LTD
1.09 | 132 KV Control & Relay Panel for feeder | 1.00 | Nos. | 0.00 | 1500000.00 | 1520000.00 | 1520000.00 | AAR ESS EXIM PVT LTD
1.10 | 145 KV Bus Post Insulator Solid Core Type | 9.00 | Nos. | 0.00 | 12000.00 | 117000.00 | 117000.00 | AAR ESS EXIM PVT LTD
1.11 | Lattice Type Structure with N&B and Anchor Bolts | 4.00 | MT | 0.00 | 120000.00 | 488000.00 | 488000.00 | AAR ESS EXIM PVT LTD
2.00 | Auxiliary Control and Power Cables
2.01 | 2.5 Sq.mm, 10 Core Armoured Copper Control Cable | 1.00 | KM | 0.00 | 351000.00 | 371000.00 | 371000.00 | AAR ESS EXIM PVT LTD
2.02 | 2.5 Sq.mm, 06 Core Armoured Copper Control Cable | .50 | KM | 0.00 | 103000.00 | 61500.00 | 61500.00 | AAR ESS EXIM PVT LTD
2.03 | 2.5 Sq.mm, 4 Core Armoured Copper Control Cable | .50 | KM | 0.00 | 75000.00 | 47500.00 | 47500.00 | AAR ESS EXIM PVT LTD
2.04 | 2.5 Sq.mm, 2 Core Armoured Copper Control Cable | 1.00 | KM | 0.00 | 92000.00 | 112000.00 | 112000.00 | AAR ESS EXIM PVT LTD
2.05 | 35 Sq.mm, 3.5 Core Aluminium Power Cable | .40 | KM | 0.00 | 208000.00 | 91200.00 | 91200.00 | AAR ESS EXIM PVT LTD
2.06 | 132 KV XLPE cable 240 Sqmm | .52 | KM | 0.00 | 6500000.00 | 3406000.00 | 3406000.00 | AAR ESS EXIM PVT LTD
2.07 | Outdoor termination kit suitable for 240 sqmm 132 KV XLPE cable | 12.00 | Nos. | 0.00 | 250000.00 | 3024000.00 | 3024000.00 | AAR ESS EXIM PVT LTD
2.08 | Main Earth Mat and Riser (MS Round 40 mm Dia) | .50 | MT | 0.00 | 85000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
2.09 | 75×12 mm MS Flat | .50 | MT | 0.00 | 85000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
2.10 | 50X6 mm MS Flat | .50 | MT | 0.00 | 85000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
2.11 | Disc Insulator 70 KN | 33.00 | Nos. | 0.00 | 700.00 | 29700.00 | 29700.00 | AAR ESS EXIM PVT LTD
2.12 | Suspension Fitting for ACSR Zebra Conductor | 3.00 | Nos. | 0.00 | 4000.00 | 13500.00 | 13500.00 | AAR ESS EXIM PVT LTD
2.13 | ACSR Zebra Conductor | .20 | KM | 0.00 | 510000.00 | 104000.00 | 104000.00 | AAR ESS EXIM PVT LTD
2.14 | C-wedge Clamp Suitable for ACSR to Zebra to Zebra Conductor | 24.00 | Nos. | 0.00 | 4000.00 | 156000.00 | 156000.00 | AAR ESS EXIM PVT LTD
2.15 | 150 Watt LED flood light with fitting | 6.00 | Nos. | 0.00 | 6500.00 | 54000.00 | 54000.00 | AAR ESS EXIM PVT LTD
| Total in Figures |  |  |  |  | 13582400.00
Lowest Amount Quoted BY: AAR ESS EXIM PVT LTD(13582400.00)

## BoQ2
Government eProcurement System Created By: Arvind Dev Created Date/Time: 13-Feb-2023 04:24 PM Tender Title: Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand Tender ID: 2023_WAPCO_141095_1
Tender Inviting Authority: < Enter Tender Inviting Authority Officer Details >
Name of Work: < Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand >
Contract No: < WAP-EM-TENDER-132kV-SS-2023-01 >
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AAR ESS EXIM PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-B (Erection of Material): Erection and Commissioning of following structures/equipments panels auxiliaries etc as per standard procedures
1.01 | 145 KV SF6 Circuit Breaker | 1.00 | Nos. | 0.00 | 15000.00 | 15000.00 | 15000.00 | AAR ESS EXIM PVT LTD
1.02 | 145 KV Horizontal Double Break Isolator with Earth Switch | 1.00 | Nos. | 0.00 | 10000.00 | 10000.00 | 10000.00 | AAR ESS EXIM PVT LTD
1.03 | 145 KV Horizontal Double Break Isolator without Earth Switch | 2.00 | Nos. | 0.00 | 10000.00 | 40000.00 | 40000.00 | AAR ESS EXIM PVT LTD
1.04 | 145 KV Current Transformer 200/100/50/1A, 0.2S with CT clamp with Rod Type Bushing (without thread bushing) and Junction Box | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
1.05 | 145 KV Current Transformer 200/100/50/1A, 0.2S with CT clamp with Rod Type Bushing (without thread bushing) and Junction Box and having only metering core. | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
1.06 | 145 KV Potential Transformer 132KV/110V with PT clamp with Rod Type Bushing (without thread bushing) and Junction Box. | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
1.07 | 145 KV Potential Transformer 132KV/110V with PT clamp with Rod Type Bushing (without thread bushing) and Junction Box and having only metering core. | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
1.08 | 120 KV LA (10 KV, Gapless Type) | 3.00 | Nos. | 0.00 | 3000.00 | 27000.00 | 27000.00 | AAR ESS EXIM PVT LTD
1.09 | 132 KV Control & Relay Panel for feeder | 1.00 | Nos. | 0.00 | 25000.00 | 25000.00 | 25000.00 | AAR ESS EXIM PVT LTD
1.10 | 145 KV Bus Post Insulator Solid Core Type | 9.00 | Nos. | 0.00 | 3000.00 | 243000.00 | 243000.00 | AAR ESS EXIM PVT LTD
1.11 | Lattice Type Structure with N&B and Anchor Bolts | 4.00 | MT | 0.00 | 10000.00 | 160000.00 | 160000.00 | AAR ESS EXIM PVT LTD
2.00 | Auxiliary Control and Power Cables
2.01 | 2.5 Sq.mm, 10 Core Armoured Copper Control Cable | 1.00 | KM | 0.00 | 25000.00 | 25000.00 | 25000.00 | AAR ESS EXIM PVT LTD
2.02 | 2.5 Sq.mm, 06 Core Armoured Copper Control Cable | .50 | KM | 0.00 | 20000.00 | 5000.00 | 5000.00 | AAR ESS EXIM PVT LTD
2.03 | 2.5 Sq.mm, 4 Core Armoured Copper Control Cable | .50 | Km | 0.00 | 20000.00 | 5000.00 | 5000.00 | AAR ESS EXIM PVT LTD
2.04 | 2.5 Sq.mm, 2 Core Armoured Copper Control Cable | 1.00 | KM | 0.00 | 20000.00 | 20000.00 | 20000.00 | AAR ESS EXIM PVT LTD
2.05 | 35 Sq.mm, 3.5 Core Aluminium Power Cable | .40 | KM | 0.00 | 35000.00 | 5600.00 | 5600.00 | AAR ESS EXIM PVT LTD
2.06 | 132 KV XLPE cable 240 Sqmm | .52 | KM | 0.00 | 8000000.00 | 2163200.00 | 2163200.00 | AAR ESS EXIM PVT LTD
2.07 | 132 KV outdoor termination suitable for 240 sqmm | 12.00 | Nos. | 0.00 | 50000.00 | 7200000.00 | 7200000.00 | AAR ESS EXIM PVT LTD
3.00 | Main Earth Mat and Riser (MS Round 40 mm Dia) | .50 | MT | 0.00 | 25000.00 | 6250.00 | 6250.00 | AAR ESS EXIM PVT LTD
4.00 | 75×12 mm MS Flat | .50 | MT | 0.00 | 25000.00 | 6250.00 | 6250.00 | AAR ESS EXIM PVT LTD
5.00 | 50×6 mm MS Flat | .50 | MT | 0.00 | 25000.00 | 6250.00 | 6250.00 | AAR ESS EXIM PVT LTD
6.00 | Disc Insulator 70 KN | 33.00 | Nos. | 0.00 | 500.00 | 544500.00 | 544500.00 | AAR ESS EXIM PVT LTD
7.00 | Suspension Fitting for ACSR Zebra Conductor | 3.00 | Nos. | 0.00 | 1500.00 | 13500.00 | 13500.00 | AAR ESS EXIM PVT LTD
8.00 | ACSR Zebra Conductor | .20 | Km | 0.00 | 150000.00 | 6000.00 | 6000.00 | AAR ESS EXIM PVT LTD
9.00 | C-wedge Clamp Suitable for ACSR Zebra to Zebra anther Conductor | 24.00 | Nos. | 0.00 | 250.00 | 144000.00 | 144000.00 | AAR ESS EXIM PVT LTD
10.00 | 150 Watt LED flood light with fitting | 6.00 | Nos. | 0.00 | 1500.00 | 54000.00 | 54000.00 | AAR ESS EXIM PVT LTD
11.00 | Dismentaling of 145 KV Current Transformer (1600/800/400/1A) | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
12.00 | Dismantaling of 145 KV CVT Transformer (132KV/110V ) | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
13.00 | Re-erection of 145 KV Current Transformer (1600/800/400/1A) | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
14.00 | Re-erection of 145 KV CVT Transformer (132KV/110V ) | 3.00 | Nos. | 0.00 | 5000.00 | 45000.00 | 45000.00 | AAR ESS EXIM PVT LTD
15.00 | Dismentaling of 145 KV Circuit Breaker | 1.00 | Nos. | 0.00 | 10000.00 | 10000.00 | 10000.00 | AAR ESS EXIM PVT LTD
16.00 | Re-erection of 145 KV Circuit Breaker | 1.00 | Nos. | 0.00 | 15000.00 | 15000.00 | 15000.00 | AAR ESS EXIM PVT LTD
17.00 | Dismentaling of all three phase ( R,Y & B) of existing overhead ACSR Panther conductor approx length (35 Meters)along with hardwares, disc insulator, tension fitting and suspension fitting etc. complete in all respect. | 1.00 | Job | 0.00 | 25000.00 | 25000.00 | 25000.00 | AAR ESS EXIM PVT LTD
18.00 | Part-B (Civil Works)
18.01 | Supply and Spreading of earth by earth work in excavation by mechanical means(Hydraulic Excavation/ manual meansover surface area, consolidating each layer by ramming and watering. | 140.00 | CuM | 0.00 | 300.00 | 5880000.00 | 5880000.00 | AAR ESS EXIM PVT LTD
18.02 | Earth work in excavation by mechanical means (Hydraulic excavation)/manual means over surface areas including disposal of surplus excavated soil as directed. Disposed earth should be neatly levelled and dressed. | 122.00 | CuM | 0.00 | 300.00 | 4465200.00 | 4465200.00 | AAR ESS EXIM PVT LTD
18.03 | Providing and laying in position cement concrete of specified grade including the cost of centering shuttring etc. in ratio of 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 12.00 | CuM | 0.00 | 6000.00 | 864000.00 | 864000.00 | AAR ESS EXIM PVT LTD
18.04 | Providing and laying in position cement concrete, including the cost of cenetering, shuttering, finishing etc. in ratio of 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) | 6.00 | CuM | 0.00 | 8000.00 | 288000.00 | 288000.00 | AAR ESS EXIM PVT LTD
18.05 | Providing and laying in position of reinforcement cement concrete, including the cost of cenetering, shuttering, finishing etc. In ratio of 1:1.5:3 ( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size ) | 42.00 | CuM | 0.00 | 12000.00 | 21168000.00 | 21168000.00 | AAR ESS EXIM PVT LTD
18.06 | Bricks work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 Cement : 4 coarse sand ) | 16.00 | CuM | 0.00 | 8000.00 | 2048000.00 | 2048000.00 | AAR ESS EXIM PVT LTD
18.07 | 12 mm cement plaster of mix 1:4 (1cement : 4 fine sand ) | 210.00 | SqM | 0.00 | 300.00 | 13230000.00 | 13230000.00 | AAR ESS EXIM PVT LTD
18.08 | MS Steel bar work including supply of material, cutting, bending, moulding etc complete in all respect as per direction of engineer in charge | 2.60 | MT | 0.00 | 85000.00 | 574600.00 | 574600.00 | AAR ESS EXIM PVT LTD
| Total in Figures |  |  |  |  | 59652350.00
Lowest Amount Quoted BY: AAR ESS EXIM PVT LTD(59652350.00)

## BoQ3
Government eProcurement System Created By: Arvind Dev Created Date/Time: 13-Feb-2023 04:24 PM Tender Title: Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand Tender ID: 2023_WAPCO_141095_1
Tender Inviting Authority: < WAPCOS LIMITED >
Name of Work: < Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand >
Contract No: < WAP-EM-TENDER-132kV-SS-2023-01 >
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AAR ESS EXIM PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-A (Supply of Material)
1.01 | Total Part-A(Supply of Material) from BoQ1 sheet without GST | 1.00 | Nos | 0.00 | 0.00 | 0.00 | 0.00 | AAR ESS EXIM PVT LTD
1.02 | Total Part-B (Erection of material and Civil Works) from BoQ2 sheet without GST | 1.00 | Nos | 0.00 | 0.00 | 0.00 | 0.00 | AAR ESS EXIM PVT LTD
1.03 | Add GST*Amount on (Total of Part-A + Total of Part-B above) | 1.00 | Nos | 0.00 | 0.00 | 0.00 | 0.00 | AAR ESS EXIM PVT LTD
| Total in Figures |  |  |  |  | 0.00
Lowest Amount Quoted BY: AAR ESS EXIM PVT LTD(0.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of 01 No. 132 kV Bay at 132 kV Substation Kichha for 132 kV Kichha-Lalkuan Railway Line, Uttarakhand Tender ID: 2023_WAPCO_141095_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AAR ESS EXIM PVT LTD | 13582400.00 | L1
BoQ2 | 1 | AAR ESS EXIM PVT LTD | 59652350.00 | L1
BoQ3 | 1 | AAR ESS EXIM PVT LTD | 0.00 | L1