## BoQ1
Government eProcurement System Created By: Bhawani Dutt Deoli Created Date/Time: 23-May-2023 05:28 PM Tender Title: Construction of Park in Police Colony at Kasumpti, Himachal Pradesh Tender ID: 2023_WAPCO_148948_1
Tender Inviting Authority: WAPCOS Limited
Name of Work: Construction of Park in Police Colony at Kasumpti, Himachal Pradesh
Contract No: WAP/INFS-IV/HP/KASUMPTI/PARK/2023
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Archit Infraventure(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS
2.00 | EARTH WORKS
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.
4.00 | All kinds of soil. | 155.00 | Cum | 100.00 | 109.00 | 16895.00 | 16895.00 | Archit Infraventure
5.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 155.00 | Cum | 100.00 | 140.00 | 21700.00 | 21700.00 | Archit Infraventure
6.00 | Excavating, supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. | 161.00 | Cum | 10.00 | 278.00 | 44758.00 | 44758.00 | Archit Infraventure
7.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 2.00 | Cum | 10.00 | 295.00 | 590.00 | 590.00 | Archit Infraventure
8.00 | CONCRETE WORKS
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
10.00 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 22.00 | Cum | 10.00 | 4500.00 | 99000.00 | 99000.00 | Archit Infraventure
11.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing:
12.00 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 1.00 | Cum | 10.00 | 4650.00 | 4650.00 | 4650.00 | Archit Infraventure
13.00 | Centering and shuttering including strutting, propping etc. and removal of form work for :
14.00 | Foundations, footings, bases for columns | 13.00 | Sqm | 10.00 | 290.00 | 3770.00 | 3770.00 | Archit Infraventure
15.00 | REINFORCED CEMENT CONCRETE WORK
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for :
17.00 | Foundations, footings, bases of columns, etc. for mass concrete. | 48.00 | Sqm | 10.00 | 3550.00 | 170400.00 | 170400.00 | Archit Infraventure
18.00 | Walls (any thickness) including attached pilasters, butteresses,plinth and string courses etc. | 284.80 | Sqm | 10.00 | 2955.00 | 841584.00 | 841584.00 | Archit Infraventure
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
20.00 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 7249.04 | kg | 10.00 | 60.00 | 434942.40 | 434942.40 | Archit Infraventure
21.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, PortlandPozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairingstrength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete.
22.00 | Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cementcontent, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
23.00 | All works upto plinth level.
24.00 | Concrete of M25 grade with minimum cement content of 330 kg /cum | 107.00 | Cum | 10.00 | 4590.00 | 491130.00 | 491130.00 | Archit Infraventure
25.00 | BRICK WORK
26.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
27.00 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 14.00 | Cum | 10.00 | 4650.00 | 65100.00 | 65100.00 | Archit Infraventure
28.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
29.00 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 3.00 | Cum | 10.00 | 4700.00 | 14100.00 | 14100.00 | Archit Infraventure
30.00 | STEEL WORK
31.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces | 72.00 | Kg | 10.00 | 98.00 | 7056.00 | 7056.00 | Archit Infraventure
32.00 | FLOORING WORK
33.00 | Extra for pre finished nosing to treads of steps of marble / granite stone. | 50.00 | Rmt | 10.00 | 22.00 | 1100.00 | 1100.00 | Archit Infraventure
34.00 | Extra for marble / granite stone flooring in treads of steps and risers using single length up to 2.00 metre. | 23.00 | Sqm | 100.00 | 2410.00 | 55430.00 | 55430.00 | Archit Infraventure
35.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab,including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 23.00 | Sqm | 100.00 | 1860.00 | 42780.00 | 42780.00 | Archit Infraventure
36.00 | FINISHING WORK
37.00 | 12 mm cement plaster of mix :
38.00 | 1:6 (1 cement: 6 coarse sand) | 159.00 | Sqm | 10.00 | 176.00 | 27984.00 | 27984.00 | Archit Infraventure
39.00 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturers. | 18.00 | per bag of 50KG Cement Used in Mix | 10.00 | 100.00 | 1800.00 | 1800.00 | Archit Infraventure
40.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
41.00 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 159.00 | Sqm | 10.00 | 135.00 | 21465.00 | 21465.00 | Archit Infraventure
42.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
43.00 | Two or more coats on new work | 7.20 | Sqm | 10.00 | 137.00 | 986.40 | 986.40 | Archit Infraventure
44.00 | ROAD WORK
45.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mmthick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 69.00 | Sqm | 10.00 | 890.00 | 61410.00 | 61410.00 | Archit Infraventure
46.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shallbe measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 3.00 | Cum | 10.00 | 2700.00 | 8100.00 | 8100.00 | Archit Infraventure
47.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of aildirt, scales, oil, grease and other foreign material etc. and lining out complete.
48.00 | New work (Two or more coats) | 18.00 | Sqm | 10.00 | 88.00 | 1584.00 | 1584.00 | Archit Infraventure
49.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 25x25 mm made of G.I. wire of dia 3 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. | 67.00 | Sqm | 10.00 | 1120.00 | 75040.00 | 75040.00 | Archit Infraventure
50.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mmto 0.075 mm ) having CBR Value-25 | 10.00 | Cum | 10.00 | 399.00 | 3990.00 | 3990.00 | Archit Infraventure
51.00 | WATER PROOFING
52.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification andthe direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage.
53.00 | For vertical surface two coats @ 0.70 kg per sqm | 101.00 | Sqm | 10.00 | 152.00 | 15352.00 | 15352.00 | Archit Infraventure
54.00 | For horizontal surface one coat @1.10 kg per sqm | 114.00 | Sqm | 10.00 | 178.00 | 20292.00 | 20292.00 | Archit Infraventure
55.00 | Providing and applying crystalline mortar by mixing in the ratio of 4.5 : 1 (4.5 parts crystalline mortar : 1 part water) for the treatment of faulty construction joints, cracks, tie rod holes and spalled & honeycombed surface of RCC underground structures like basement,water tanks, bridge deck etc. to ensure water tightness. The crystallie mortar shall conform to the EN 1504-3 having compressive strength Class R4 ?45 MPa and adhesive bond strength Class R3 ?1.5 MPa.The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage.
56.00 | For sealing cracks and faulty construction joints, routedout/making U-shape groove size 25x25mm and thenprimed the area with integral crystalline slurry @0.05kg/ running metre and while the surface is tacky filled the groove upto surface with crystalline mortar @1.50kg/ running metre. Once crystalline mortar is touch dry then finally applied two coats of integral crystalline slurry @0.05kg/running metre per coat. | 56.00 | Rmt | 10.00 | 16.00 | 896.00 | 896.00 | Archit Infraventure
57.00 | Providing and applying of swellable type water stop tape, 19mm x 25mm thick in linear meter (expansive nature) for construction joints treatment of RCC structure such as raft slab, retaining walls, waterstorage tank and at the junctions of raft slab with the retaining walls etc.. After cleaning the surface, one coat of required primer for swellable water stop tape shall be applied throughout the length of the joint @3.78 litre per 240 running meter. Over the primed surfaceswellable type water stop tape shall be placed. The work shall be carried out all complete as per specification and the direction of the Engineer-In-Charge. The product performance shall carry guarantee for 10 years against any leakage. | 56.00 | Rmt | 100.00 | 28.00 | 1568.00 | 1568.00 | Archit Infraventure
58.00 | HORTICULTURE AND LAND SCAPING
59.00 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km complete (earth measured in stacks will be reduced by 20% for payment). | 63.86 | Cum | 100.00 | 21.00 | 1341.04 | 1341.04 | Archit Infraventure
60.00 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km complete (manure measured in stacks will be reduced by 8% for payment) :
61.00 | Screened through sieve of I.S. designation 16 mm | 2.00 | Cum | 10.00 | 122.00 | 244.00 | 244.00 | Archit Infraventure
62.00 | Screened through sieve of I.S. designation 4.75 mm | 5.00 | Cum | 10.00 | 135.00 | 675.00 | 675.00 | Archit Infraventure
63.00 | Fine dressing of the ground. | 212.86 | Sqm | 10.00 | 150.00 | 31929.60 | 31929.60 | Archit Infraventure
64.00 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately). | 63.86 | Cum | 10.00 | 35.00 | 2235.07 | 2235.07 | Archit Infraventure
65.00 | Mixing earth and sludge or manure in the required proportion specified or directed by the Officer-in-charge | 63.86 | Cum | 10.00 | 22.00 | 1404.90 | 1404.90 | Archit Infraventure
66.00 | Grassing with selection No. 1 grass including watering and maintenance of the lawn for 60 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and earth shall be paid for separately).
67.00 | With grass Turf | 127.72 | Sqm | 10.00 | 32.00 | 4086.99 | 4086.99 | Archit Infraventure
68.00 | Digging holes in ordinary soil and refilling the same with the excavated earth mixed with manure or sludge in the ratio of 2:1 by volume (2 parts of stacked volume of earth after reduction by 20% : 1 part of stacked volume of manure after reduction by 8%) flooding with water, dressing including removal of rubbish and surplus earth, if any, with all leads and lifts (cost of manure, sludge or extra good earth if needed to be paid for separately) :
69.00 | Holes 1.2 m dia and 1.2 m deep | 1.00 | Each | 10.00 | 165.00 | 165.00 | 165.00 | Archit Infraventure
70.00 | Holes 90 cm dia, and 90 cm deep | 2.00 | Each | 10.00 | 155.00 | 310.00 | 310.00 | Archit Infraventure
71.00 | Holes 60 cm dia, and 60 cm deep | 3.00 | Each | 10.00 | 176.00 | 528.00 | 528.00 | Archit Infraventure
72.00 | Holes 45 cm dia, and 45 cm deep. | 5.00 | Each | 10.00 | 179.00 | 895.00 | 895.00 | Archit Infraventure
73.00 | Providing and fixing M.S. flat iron tree guard 60 cm dia and 2 m high, above ground consisting 4 nos 25 x 6 mm, 2.25 m long and 8 nos 25 x 3 mm 2 m long verticals M.S. flats, riveted to 3 nos 25 x 6 mm M.S. flat iron rings in two halves, fixing together at site with required six numbers of 8 mm dia and 30 mm long bolts, including painting two coats with synthetic enamel paint of approved brand and manufacture over a coat of primer. One name plate of 1 mm thick M.S. sheet of size 250x100 mm shall be welded to the tree guard near the middle height and lettered CPWD / PWD/ any other approved name. The tree guard shall be suitably fixed to the ground by embedding four legs of tree guard in pits of suitable dia and to a depth of 25 cm, refilling the pits with soil and ramming, complete in all respect as per satisfaction and direction of Officer-in-charge. | 3.00 | Each | 10.00 | 1900.00 | 5700.00 | 5700.00 | Archit Infraventure
74.00 | Providing and fixing M. S. tree guard 45 cm square in plan, height 1.20 metre above ground level and 0.40 metre below ground level. The vertical members shall consist of four nos. angle iron of size 25x25x3 mm, 1.6 m long, one at each corner and 8 nos flat iron of size 25x3 mm, 1.2 m long. The vertical members shall be welded to 4 nos. 25x6 mm M. S. flats placed horizontally around the vertical member of the cage. One name plate of 1 mm thick M.S. sheet of size 250x100 mm shall be welded to the tree guard near the middle height and lettered CPWD/ PWD/ any other approved name. The tree guard shall be fixed to the ground by making suitable holes and by embedding four corners leg in the ground, including refilling the earth, compaction etc. complete. The tree guard shall be painted with two or more coats of synthetic enamel paint of approved brand and manufacture over a coat of primer, complete in all respect. | 8.00 | Each | 10.00 | 2200.00 | 17600.00 | 17600.00 | Archit Infraventure
75.00 | Providing Circular Cement Concrete pots of specified size, cast with cement concrete of nominal mix 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 6 mm nominal size), reinforced with 7 Nos ( 3 nos horizontal & 4 nos vertical “ U “ shape) M.S. wires of 3.5 mm dia as per design, including required form work, finishing with cement punning on exposed surface, curing for specified period and stacking in required rows & height, all complete as per direction of Officer-in-charge.
76.00 | Top inside dia 35 cm, outer bottom dia 25 cm, total height 35 cm with wall thickness of 25.4 mm | 1.00 | Each | 10.00 | 1600.00 | 1600.00 | 1600.00 | Archit Infraventure
77.00 | Providing Square Cement Concrete pots of specified size, cast with cement concrete of nominal mix 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 6 mm nominal size), reinforced with 7 Nos ( 3 nos horizontal & 4 nos vertical “ U “ shape) M.S. wires of 3.5 mm dia as per design, including required frame work, finishing with cement punning on exposed surface, curing for specified period and stacking in required rows & height, all complete as per direction of Officer-in-charge.
78.00 | Top inner width 35 cm, outer bottom width 25 cm, total height 35 cm and wall thickness 25.4 mm | 1.00 | Each | 100.00 | 1600.00 | 1600.00 | 1600.00 | Archit Infraventure
79.00 | Providing and laying Neelgiri/Mexican grass turf with earth 50mm to 60mm thickness of existing ground prepared with proper level and ramming with tools wooden (Dhurmos) and than rolling the surface with light roller make the surface smoothen and light waterning with sprinkler and maintenance for 30 days or more till the grass establish properly, as per direction of officer-in-charge. | 85.15 | Sqm | 100.00 | 24.00 | 2043.49 | 2043.49 | Archit Infraventure
80.00 | Complete maintenance of the entire garden features having as per yard stick in the garden area i.e. lawn trees, shrubs, hedge, flower beds, foliages, creepers etc. including hoeing,weeding pruning replacement of plants, gap filling, watering, mowing of lawn, grass cutting by lawn mover and brush cutter , removal of garden waste, applying insecticide, pesticide & fertilizers(whenever required) top dressing of lawn with good earth and menure and maintenance of other garden related works as directed by office-in-charge (Cost of Good Earth, Manure, Fertilizer, Insecticide , Pesticide will be provided by the Department & lawn mover and brush cutter with fuel , other T & P material/articles shall be provided by the contractor.)
81.00 | Play grounds / Public parks (as per yard stick 1Mali =2.00Acre). | 85.15 | Per Sq.Mt. Per Month | 10.00 | 122.00 | 10387.76 | 10387.76 | Archit Infraventure
82.00 | Complete maintenance of shrubs (Out side garden features), jobs like making of basin at regular interval i/c watering, weeding, pruning & application of fertilizer etc, (excluding the cost of material which shall be supplied by the department) and as per direction of officer in charge. | 5.00 | Per Shrub Per Month | 10.00 | 22.00 | 110.00 | 110.00 | Archit Infraventure
83.00 | Providing & fixing of White River (Stone) Pables size of 2" to 2.50" dia in natural colour at site of work including loading, unloading, carriage and all taxes paid etc.and as per direction of officer in charge. | 1.00 | Qtl. | 10.00 | 2900.00 | 2900.00 | 2900.00 | Archit Infraventure
84.00 | Providing and applying anti termite treatment of infected trees i/c all branches/leaves by spraying chemical emulsion 0.5% (Chlorpyriphos 20% EC) concentration through power spray machine (@ 100 ml Chlorpyriphos per tree i/c cost of chemical) and as per direction of officer-in-charge.and as per direction of officer-in-charge. | 11.00 | Each Tree | 10.00 | 100.00 | 1100.00 | 1100.00 | Archit Infraventure
85.00 | Anti termite treatment of lawn area through premise 30.50% I P. one liter premise diluted in 499 liters water and applying solution @ 1.00 litre solution per sqm lawn or bed area.(two application) i/c cost of chemical)and as per direction of officer-in-charge.and as per direction of officer-in-charge. | 106.43 | Sqm | 10.00 | 25.00 | 2660.80 | 2660.80 | Archit Infraventure
86.00 | Rose Plants
87.00 | Providing and Displaying plants Budded Rose (H.T. variety) 3 to 4 healthy branch 30 cm and above ht. well developed with one and above flower plant in 20 cm Earthen Pot, as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 170.00 | 850.00 | 850.00 | Archit Infraventure
88.00 | Providing and Displaying plants Creeper Rose variety 3 to 4 healthy branch 60 cm and above ht. well developed with one and above flowers in 25 cm Earthen Pot, as per direction of the officer-in-charge. | 8.00 | Each | 10.00 | 165.00 | 1320.00 | 1320.00 | Archit Infraventure
89.00 | Providing and Displaying plants Standard Rose (H.T. variety) 3 to 4 healthy branch 90 cm and above ht. well developed with one and above flowers in 25 cm Earthen Pot, as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 199.00 | 1990.00 | 1990.00 | Archit Infraventure
90.00 | Ornamental Plants
91.00 | Providing and Displaying Bismarkia Palm plant 115 to 180 cm ht., well developed 12 and above good color fresh and healthy leaves in 40 cm Cement Pot as per direction of the officer-in-charge. | 2.00 | Each | 10.00 | 850.00 | 1700.00 | 1700.00 | Archit Infraventure
92.00 | Providing and Displaying Bougainvillea named variety, Sobhra, Thima, Marry palmar, Cherry Blossom etc. well developed with fresh & healthy bushy plant in full bloom 75 to 90 cm ht. in 40 cm Cement Pot as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 550.00 | 5500.00 | 5500.00 | Archit Infraventure
93.00 | Providing and Displaying Cycus revoluta in 35 cm challi, specimen plant, having 30 to 40 with fresh and healthy, leaves having 25cm to 30cm circumfrance of base stem well developed as per direction of the officer-in-charge. | 1.00 | Each | 10.00 | 2200.00 | 2200.00 | 2200.00 | Archit Infraventure
94.00 | Providing and Displaying Cyprus Golden plant Conical Shape 150 to 165 cm ht., with fresh and healthy Golden colour foliage in 35cm Cement Pot as per direction of the officer-in-charge. | 1.00 | Each | 10.00 | 2600.00 | 2600.00 | 2600.00 | Archit Infraventure
95.00 | Providing and Displaying Ficus Long Island topiary plant well developed with fresh & healthy 5 to 6 ball specific size and shape 120 to 150 cm ht in 40 cm Cement Pot as per direction of the officer-in-charge. | 1.00 | Each | 10.00 | 2100.00 | 2100.00 | 2100.00 | Archit Infraventure
96.00 | Providing and Displaying Foxtail palm plant well developed with fresh & healthy foliage of ht. 210 to 240 cm in big 40 cm Cement Pot as per direction of the officer-in-charge. | 1.00 | Each | 100.00 | 1600.00 | 1600.00 | 1600.00 | Archit Infraventure
97.00 | Providing and Displaying Golden Bottle brush Topiary plant well developed with fresh & healthy foliage 5 to 6 big ball 115 to 180 cm ht in 40 cm Cement Pot as per direction of the officer-in-charge. | 5.00 | Each | 100.00 | 1100.00 | 5500.00 | 5500.00 | Archit Infraventure
98.00 | Providing and Displaying Latania Rubra Palm plant well developed with fresh & healthy foliage 150 to 180 cm ht. with 6 to 7 leaves in big 35 cm Cement Pot as per direction of the officer-in-charge. | 2.00 | Each | 10.00 | 670.00 | 1340.00 | 1340.00 | Archit Infraventure
99.00 | Providing and Displaying Topiary plant of Ficus Bush King well developed with fresh & healthy foliage from Top to Bottom with single piller 60 to 75 cm spread, 210 to 225 cm ht., in 35 cm Cement Tray/Cement Pot as per direction of the officer-in-charge. | 1.00 | Each | 10.00 | 875.00 | 875.00 | 875.00 | Archit Infraventure
100.00 | Ground Covers Plants
101.00 | Providing and Displaying of Clerodendron inerme plant of ht. 30 cm to 40 cm multi branched in 25 cm size of Earthen Pot / Plastic Pot & as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 235.00 | 1175.00 | 1175.00 | Archit Infraventure
102.00 | Providing and Displaying of Duranta Golden plant, having ht.15 to 20 cm bushty shape plant with fresh and healthy leaves in 20 cm size of Earthen Pot / Plastic Pot & as per direction of the officer-in-charge.. | 10.00 | Each | 10.00 | 240.00 | 2400.00 | 2400.00 | Archit Infraventure
103.00 | Providing and Displaying of Iresine herbstii plant, of height 20-30 cm., full of branches well developed in 20 cm size of Earthen Pot / Plastic Pot & as per direction of the officer-in-charge.. | 8.00 | Each | 10.00 | 320.00 | 2560.00 | 2560.00 | Archit Infraventure
104.00 | Providing and Displaying of Wadelia trilobata plant,full of leaves in 15 cm size of Poly bags & as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 421.00 | 4210.00 | 4210.00 | Archit Infraventure
105.00 | Tree Plants
106.00 | Supply and stacking of Alstonia scholaris plant of height 150-165 cm. in bag of size 25 cm as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 1900.00 | 9500.00 | 9500.00 | Archit Infraventure
107.00 | Supply and stacking of Azadirachta indica ( Neem ) plant of height 120- 130cm in big polybag of size 25 cm as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 800.00 | 8000.00 | 8000.00 | Archit Infraventure
108.00 | Supply and stacking of Bottle palm plant of ht. 270-300 cm bottom girth 40-50 cm well developed in big HDPE bags as per direction of the officer-in-charge. | 3.00 | Each | 10.00 | 768.00 | 2304.00 | 2304.00 | Archit Infraventure
109.00 | Supply and stacking of Callistemon lanceolatus plant of height 150-165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. | 7.00 | Each | 10.00 | 456.00 | 3192.00 | 3192.00 | Archit Infraventure
110.00 | Supply and stacking of Delonix regia (Gulmohar) plant of height 150-165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge | 8.00 | Each | 10.00 | 954.00 | 7632.00 | 7632.00 | Archit Infraventure
111.00 | Supply and stacking of Ficus benjamina (green) plant of height 150-165 cm., bushy with healthy branches and lush green foliage in big size HDPE bags as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 245.00 | 1225.00 | 1225.00 | Archit Infraventure
112.00 | Supply and stacking of Ficus bengalensis (Bargad) plant of height 120-135 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 245.00 | 2450.00 | 2450.00 | Archit Infraventure
113.00 | Supply and stacking of Ficus nuda plant of height 150-165 cm., bushy with healthy branches and lush green foliage in big size HDPE bags as per direction of the officer-in-charge. | 5.00 | Each | 100.00 | 425.00 | 2125.00 | 2125.00 | Archit Infraventure
114.00 | Supply and stacking of Ficus religiosa (Peepal) plant of height 150-165 cm. in big poly bags of size 30 cm as per direction of the officer-in-charge. | 5.00 | Each | 100.00 | 231.00 | 1155.00 | 1155.00 | Archit Infraventure
115.00 | Supply and stacking of Nauclea cadamba (Kadam) plant of height 150-165 cm. in big poly bag of size 25 cm as per direction of the officer-in-charge.v | 5.00 | Each | 10.00 | 232.00 | 1160.00 | 1160.00 | Archit Infraventure
116.00 | Supply and stacking of Plumeria acutifolia plant of height 150-165 cm. with 3-4 branches in big size HDPE bag as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 321.00 | 1605.00 | 1605.00 | Archit Infraventure
117.00 | Supply and stacking of Plumeria rubra plant of height 120-150 cm. with 3- 4 branches and thick stem in big size HDPE bags as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 422.00 | 2110.00 | 2110.00 | Archit Infraventure
118.00 | Supply and stacking of Polyalthia longifolia (Ashok) plant of height 180- 195 cm. in gunny bag of size 30 cm as per direction of the officer-incharge. | 5.00 | Each | 10.00 | 310.00 | 1550.00 | 1550.00 | Archit Infraventure
119.00 | Supply and stacking of Eugenia jambolana (Jamun) plant of height 150- 165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 309.00 | 1545.00 | 1545.00 | Archit Infraventure
120.00 | Supply and stacking of Washingtonia filifea palm plant stem ht. 120-135 cm with 8-10 healthy leaves lush green leaves well developed in big size HDPE Bags as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 180.00 | 900.00 | 900.00 | Archit Infraventure
121.00 | SHRUBS
122.00 | Supply and stacking of plant Euphorbia caracasana (bronze colour leaves) of height 60-75 cm. with 2-3 branches in earthen pots of size 20 cm as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 67.00 | 670.00 | 670.00 | Archit Infraventure
123.00 | Supply and stacking of plant Ficus blackii (F.vivion) (bushy) of height 150- 165 cm. with 8-10 branches and healthy foliage in earthen pots of size 30 cm as per direction of the officer-in-charge. | 5.00 | Each | 10.00 | 87.00 | 435.00 | 435.00 | Archit Infraventure
124.00 | Supply and stacking of plant Hibiscus rosasinensis of height 90-105 cm., bushy in big size HDPE bag as per direction of the officer-in-charge. | 10.00 | Each | 10.00 | 89.00 | 890.00 | 890.00 | Archit Infraventure
125.00 | Supply and stacking of plant Malpighia coccigera of height 30-45 cm., multibranched in earthen pots of size 20 cm as per direction of the officer-in-charge. | 12.00 | Each | 10.00 | 98.00 | 1176.00 | 1176.00 | Archit Infraventure
126.00 | Supply and stacking of plant Nerium oleander (kaner) of height 60-75 cm. with 5-6 branches in poly bags of size 25 cm as per direction of the officer-in-charge. | 8.00 | Each | 10.00 | 135.00 | 1080.00 | 1080.00 | Archit Infraventure
127.00 | Supply and stacking of plant Putranjiva roxburghii of ht. 60-75 cm in bag of size 20 cm as per direction of the officer-in-charge. | 15.00 | Each | 10.00 | 298.00 | 4470.00 | 4470.00 | Archit Infraventure
128.00 | Supply and stacking of plant Thuja compacta of height 75-90 cm., conical shaped, well formed with healthy foliage in earthen pots of size 30 cm as per direction of the officer-in-charge. | 5.00 | Each | 100.00 | 543.00 | 2715.00 | 2715.00 | Archit Infraventure
129.00 | MISCELLANEOUS ITEMS
130.00 | FUN STATION 4 Seater Sea-saw : Dimensions : - 9' 10" X 1' 7" X 1' 8"Components : - LLDPE Seats - 4nos, Plastic Bowl - 4nos, Metal frame with Bearing system, Powder coating : 100 micron.Material : - GI Poles - 114mm with 3.2mm thickness, CRC Pipe for hand railing : 31.8mm with 2mm thickness, 25mm BearingsMaterial : - GI Poles - 114mm with 3.2mm thickness, CRC Pipe for hand railing : 31.8mm with 2mm thickness, 25mm BearingsDescription : - The product is manufactured in india. We used galvanized pipes & further powder coated to make a structure & LLDPE plastic granuels, which are further Roto Moulded to form plastic seats. These high grade plastic components are non-toxic, antistatic, fire retardant and the colors are U.V Stabilized. No sharp corners & rough surface in Matel Parts which are used as per indian standard tomake this see saw. | 1.00 | Each | 100.00 | 16000.00 | 16000.00 | 16000.00 | Archit Infraventure
131.00 | FUN STATION Merry Go Round-New :Dimensions : - 4' 0" (Dia) X 3' 9" (H)Material : - GI Poles - 75mm with 3.2mm thicknes, Handle Bars : CRC pipe 31.8mm with 2mm thicknes, Platform : MS Flat sheet with 2mm thicknes, Powder coating : 100 micron.Description : - The product is manufactured in india. We used MS flat sheet to make the base in round shape to get no sharp corners & further powder coated to make a structure. No sharp corners & rough surface in matel parts.This products in idle for 3 - 4 children which goes round & round for kids fun. | 1.00 | Each | 10.00 | 11350.00 | 11350.00 | 11350.00 | Archit Infraventure
132.00 | FUN STATION Duck RIDER: Dimensions : - 2' 9" X 1' 7" X 3' 0"Material : - MS base Plate with spring & LLDPE plastic. Description : - The product is manufactured in india. We used LLDPE plastic granuels, which are further Roto Moulded to form plastic component in shape of Duck.These high grade plastic components are non-toxic, antistatic, fire retardant and the colors are U.V Stabilized. No sharp corners & rough surface in Matel Parts which are used as per indian standard to make this spring based rider. | 1.00 | Each | 10.00 | 12350.00 | 12350.00 | 12350.00 | Archit Infraventure
133.00 | FUN STATION ECONOMY MODEL - 9: Dimensions : - 10' 0" X 4' 0" X 7' 0" Components : - Rubberized Swing Flap - 2nos, SS Chain -4nos, Round clamps with barring system - 4nos.Material : - GI Pipes - 114mm with 3.2mm thickness, 25mm Bearings, powder coated of 100 micron for perfection.Description : - The product is manufactured in india. We used galvanized pipes & further powder coated to make a swing structure in the shape of arch. It is attached with 2nos of rubberised swing seat with PVC coated chain. | 1.00 | Each | 10.00 | 12200.00 | 12200.00 | 12200.00 | Archit Infraventure
134.00 | FUN STATION Twirly Climber :Dimensions : - 8' 3" (Dia) X 6' 8" (H) Components : - Twister 3nos, 114mm pole - 1nosMaterial : - GI Pipes - 114mm with 3.2mm thickness & LLDPE Plastic.Description : - The product is manufactured in india. We used galvanized pipes & further powder coated to make a structure & LLDPE plastic granuels, which are further Rotational Moulded Twister attached with 1no of Pole to form a climber which helps the child in balancing & coordination. These high grade plastic components are non- toxic, antistatic, fire retardant and the colors are U.V Stabilized. No sharp corners & rough surface in Matel Parts& Plastic parts. | 1.00 | Each | 10.00 | 14400.00 | 14400.00 | 14400.00 | Archit Infraventure
135.00 | Supply and installation Rectangular garden bench with h-shaped sides made of reinforced concrete (M-30), thickness 100 mm, back height 750mm, base width 450 mm. Back and seat shall consist of rectangular reinforced concrete planks 1500 mm x 350 mm x 50mm. Seating height of the bench shall be 450 mm. The bench shall be fixed with nuts on concrete mount, all holes sealed after assembly and installation | 7.00 | Each | 10.00 | 2900.00 | 20300.00 | 20300.00 | Archit Infraventure
| Total in Figures |  |  |  |  | 2827378.46
Lowest Amount Quoted BY: Archit Infraventure(2827378.46)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Park in Police Colony at Kasumpti, Himachal Pradesh Tender ID: 2023_WAPCO_148948_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Archit Infraventure | 2827378.46 | L1