## BoQ1
Government eProcurement System Created By: Rahul Kumar Sharma Created Date/Time: 21-Sep-2023 10:50 AM Tender Title: Construction of ice hockey rink Tender ID: 2023_WAPCO_155073_1
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: Construction of Ice Hockey Rink and provision for store and dressing room at Shara/Igoo
Tender No: WAP/INFS-IV/LADAKH/RDD/2023-24/22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R K Construction(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
2.00 | Earthwork in excavation by Mechanical means (Hydraulic excavator) in trenches for foundation, drians, pipes, cables etc., not exceeding 1.5m in width and for shafts wells, cesspits and the like not exceeding 10sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5m, including getting out excavated earth and disposal of surplus excavated earth as directed, within lead of 50meters in all kinds of soil | 3929.00 | Cum | 100.00 | 424.54 | 1668017.66 | 1668017.66 | R K Construction
3.00 | Earth work in excavation by mechanical means (hydraulic excavator) in trenches for foundations, drains, pipes, cables etc. (not exceeding 1.5 m in width) and for shafts, wells, cesspits and the like not exceeding 10 sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5 m, including getting out excavated earth and disposal of surplus excavated earth as directed, within a lead of 50 metres in ordinary rock | 1511.15 | Cum | 100.00 | 774.78 | 1170808.80 | 1170808.80 | R K Construction
4.00 | Earth work in excavation by mechanical means (hydraulic excavator) in trenches for foundations, drains, pipes, cables etc. (not exceeding 1.5 m in width) and for shafts, wells, cesspits and the like not exceeding 10 sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5 m, including getting out excavated earth and disposal of surplus excavated earth as directed, within a lead of 50 metres in hard rock | 604.46 | Cum | 100.00 | 1252.45 | 757055.93 | 757055.93 | R K Construction
5.00 | Filling available excavated Earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m.(2.11 JKSR 2020) | 4825.84 | Cum | 100.00 | 375.85 | 1813791.96 | 1813791.96 | R K Construction
6.00 | Carriage of Materials By Mechanical Transport including loading,unloading and stacking upto 5 km (Earth) | 819.35 | Cum | 100.00 | 401.75 | 329173.86 | 329173.86 | R K Construction
7.00 | Carriage of Materials By Mechanical Transport including loading,unloading and stacking upto 5 km (Rock) | 2115.61 | Cum | 10.00 | 642.79 | 1359892.95 | 1359892.95 | R K Construction
8.00 | Stone Soling | 387.58 | Cum | 10.00 | 378.11 | 146547.87 | 146547.87 | R K Construction
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 434.51 | Cum | 10.00 | 9362.55 | 4068121.60 | 4068121.60 | R K Construction
10.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-incharge. Note: - Cement in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is content considered payable or recoverable separately(All works upto plinth level) | 107.86 | Cum | 10.00 | 11836.00 | 1276630.96 | 1276630.96 | R K Construction
11.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-incharge. Note: - Cement in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is content considered payable or recoverable separately(All works above plinth level)e. | 25.65 | Cum | 10.00 | 14918.62 | 382662.60 | 382662.60 | R K Construction
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Thermo-Mechanically Treated bars of grade Fe-500D or more. | 18691.63 | Kg | 10.00 | 132.68 | 2480005.47 | 2480005.47 | R K Construction
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Foundations, footings, bases of columns etc. for mass concrete. | 48.60 | Sqm | 10.00 | 455.77 | 22150.42 | 22150.42 | R K Construction
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Columns, pillars, piers, abutments, posts and struts. | 60.26 | Sqm | 10.00 | 1190.29 | 71726.88 | 71726.88 | R K Construction
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Lintel, beams, plinth beam, girders, bressumes and cantilever. | 438.66 | Sqm | 10.00 | 900.36 | 394951.92 | 394951.92 | R K Construction
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Suspended floors, roofs, landings, balconies and access platforms. | 97.41 | Sqm | 10.00 | 1134.49 | 110510.67 | 110510.67 | R K Construction
17.00 | Providing and fixing up to floor five level precast cement concrete solid block, including hoisting and setting in position with cement mortar 1:3 (1 cement : 3 coarse sand), cost of required centering, shuttering complete : 1:1½:3 (1 Cement: 1½ coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources).(DSR Pg No 110) | 49.26 | Cum | 10.00 | 23328.43 | 1149158.46 | 1149158.46 | R K Construction
18.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia and length (hold fast lugs or with dash fasteners shall be paid for separately): | 1.30 | Cum | 10.00 | 160282.52 | 208367.28 | 208367.28 | R K Construction
19.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. 4 mm thick glass pane (weighing not less than 10 kg/sqm | 5.70 | Sqm | 10.00 | 2877.93 | 16404.20 | 16404.20 | R K Construction
20.00 | Providing and fixing ISI marked flush door shutters 25 mm thick pre-laminated glush door shutter bothside decorative. | 4.68 | Sqm | 10.00 | 4385.09 | 20522.22 | 20522.22 | R K Construction
21.00 | 15 mm thick cement plaster (1:4) mix outer/ inner. (DSR 2021 Vol II Pg No.258) | 467.53 | Sqm | 10.00 | 601.03 | 280999.56 | 280999.56 | R K Construction
22.00 | 6 mm cement plaster to ceiling of mix 1 : 3 (1 cement : 3 fine sand) | 87.07 | Sqm | 10.00 | 601.03 | 52331.68 | 52331.68 | R K Construction
23.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge | 136.64 | Sqm | 10.00 | 1466.00 | 200314.24 | 200314.24 | R K Construction
24.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 90.42 | Sqm | 10.00 | 1466.00 | 132555.72 | 132555.72 | R K Construction
25.00 | Providing and applying white cement based putty of specified thickness, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 467.53 | Sqm | 10.00 | 183.30 | 85698.25 | 85698.25 | R K Construction
26.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade 13.41.1 New work (two or more coats) over and including waterthinnable priming coat with cement primer(DSR Vol II Pg nO 261) | 467.53 | Sqft | 10.00 | 240.57 | 112473.69 | 112473.69 | R K Construction
27.00 | Finishing walls with water proofing cement paint of required shade on New work (two or more coats applied @ 3.84 kg/10sqm) | 179.53 | Sqm | 10.00 | 144.45 | 25933.11 | 25933.11 | R K Construction
28.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound) content. With ready mixed pink or grey primer on wood work (hard and soft wood) having VOC content less than 50 grams/ liter | 191.17 | Sqm | 10.00 | 90.95 | 17386.91 | 17386.91 | R K Construction
29.00 | Providing and fixing 150 mm bright finished floor brass door stopper withrubber cushion, necessary brass screws etc. to suit shutter thickness complete | 14.00 | Nos | 10.00 | 344.99 | 4829.86 | 4829.86 | R K Construction
30.00 | Providing and fixing 85x42mm chromium plated brass pull bolt lock with necessary C.P. brass screws, nuts, bolts and washers etc. complete | 14.00 | Nos | 10.00 | 378.58 | 5300.12 | 5300.12 | R K Construction
31.00 | Providing and fixing aluminum tubular handle bar 32mm outer dia, 3.0mm thick & 2100mm long with SS screw etc. complete as per direction of Engineer-in-charge. Anodized (AC 15)aluminum tubular handle bar | 14.00 | Nos | 10.00 | 759.54 | 10633.56 | 10633.56 | R K Construction
32.00 | Providing and fixing of PPR conforming to IS- 15450 UV stabilized with carbon black having thermal stability for hot and cold water supply , capable to withstand temperature upto 80 degree C including all specials fittings of composed material e.g Elbows / tees , reducers , couplers and connectors etc , this includes the cost of cutting chases and including testing of joints complete as per the direction of Engineer in charge ( concealed work including cutting chases and making good the wall etc) including all required accessories complete job. 32 mm Dia OD | 30.00 | mtr | 10.00 | 900.00 | 27000.00 | 27000.00 | R K Construction
33.00 | Providing and fixing of PPR conforming to IS- 15450 UV stabilized with carbon black having thermal stability for hot and cold water supply , capable to withstand temperature upto 80 degree C including all specials fittings of composed material e.g Elbows / tees , reducers , couplers and connectors etc , this includes the cost of cutting chases and including testing of joints complete as per the direction of Engineer in charge ( concealed work including cutting chases and making good the wall etc) including all required accessories complete job. 20 mm OD dia | 80.00 | mtr | 10.00 | 600.00 | 48000.00 | 48000.00 | R K Construction
34.00 | Providing and installation of PUF( Insulated tanks ) water tank of capacity 1000 litres of approved brand ( SYNTEX/ STAR) or any other approved brand as per direction of Engineer in charge. | 1.00 | Nos | 10.00 | 30000.00 | 30000.00 | 30000.00 | R K Construction
35.00 | Supply and installation of heigh quality and self regulating Heat Tracer for specialized heating solutions for winterisation of water pipe line including all accessories complete , including supply and insulation of circuit control panel with RCBO MCB THERMOSTAT (0-120) DEG C,power connector two way 6-sq mm w.p.splice connector w.p.tee connector and seal mounting kit w.pjb.j.i pipe strap 4” all adhesive tap roll 50 mm x 20 ml f.g adhesive tap roll (DANFOSS make or CHROMALOX any other approved brand as per direction of engineer in charge. | 50.00 | mtr | 10.00 | 3000.00 | 150000.00 | 150000.00 | R K Construction
36.00 | Supply and fixing of heigh quality 32mm thick Nitrile insulation tube for water pipe line of a[approved brand 2” size rock wool of apparent density 128 kg/ m3 on outer side of Nitrile tube of 50 mm thickness including aluminium duct cladding aluminium sheet gauge thickness 0.46 mm to 0.71 mm of approved quality and finished as per direction of engineer in charge (Nitrile Tube 32 mm > rock wool 50 mm > aluminium duct cladding 0.46 mm -0.71 mm. | 20.00 | mtr | 10.00 | 2500.00 | 50000.00 | 50000.00 | R K Construction
37.00 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:17.1.1 White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests(DSR 2021 Vol II Pg 329) | 10.00 | Nos | 10.00 | 5418.35 | 54183.50 | 54183.50 | R K Construction
38.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: 17.7.1 White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps(DSR 2021 Vol II Pg 330) | 12.00 | Nos | 10.00 | 2275.00 | 27300.00 | 27300.00 | R K Construction
39.00 | Providing and fixing soil, waste and vent pipes :100 mm dia PVC | 40.00 | mtr | 10.00 | 1018.05 | 40722.00 | 40722.00 | R K Construction
40.00 | Providing and fixing soil, waste and vent pipes :75 mm dia PVC | 40.00 | mtr | 10.00 | 931.55 | 37262.00 | 37262.00 | R K Construction
41.00 | Providing and fixing plain bend of required degree. 17.39.1 100 mm dia 17.39.1.1 Sand cast iron S&S as per IS - 1729 75 mm dia17.39.2.1 Sand cast iron S&S as per IS -1729(DSR Vol II Page No 335 & 336):100 mm dia PVC | 20.00 | Nos | 10.00 | 280.00 | 5600.00 | 5600.00 | R K Construction
42.00 | Providing and fixing plain bend of required degree. 17.39.1 100 mm dia 17.39.1.1 Sand cast iron S&S as per IS - 1729 75 mm dia17.39.2.1 Sand cast iron S&S as per IS -1729(DSR Vol II Page No 335 & 336)75 mm dia PVC | 20.00 | Nos | 10.00 | 250.00 | 5000.00 | 5000.00 | R K Construction
43.00 | Providing and fixing of fixtures ( CP fittings )Ball Valve (PVC) :- 10 No OR1924 H.P. or L.P. ball valve with polythene floats: 25 mm dia | 20.00 | Nos | 10.00 | 300.00 | 6000.00 | 6000.00 | R K Construction
44.00 | C.P. Brass angle valve 15 mm(DSR Vol II Pg No 356) | 30.00 | Nos | 10.00 | 400.00 | 12000.00 | 12000.00 | R K Construction
45.00 | Providing and fixing of fixtures ( CP fittings )Bib Cock :- 20 No | 40.00 | Nos | 10.00 | 400.00 | 16000.00 | 16000.00 | R K Construction
46.00 | Providing and fixing of fixtures ( CP fittings ) PVC Connector :- 10 No | 20.00 | Nos | 10.00 | 100.00 | 2000.00 | 2000.00 | R K Construction
47.00 | Supply and fixing of 240 volt miniature circuit breaker of following poles in the existing MCB DB complete with connection testing and commissioning etc as required.Double pole 16 amp | 1.00 | Nos | 10.00 | 400.00 | 400.00 | 400.00 | R K Construction
48.00 | Supply and fixing of 240 volt miniature circuit breaker of following poles in the existing MCB DB complete with connection testing and commissioning etc as required. Single pole 16 amp | 2.00 | Nos | 10.00 | 300.00 | 600.00 | 600.00 | R K Construction
49.00 | Providing and fixing of 63 amp D pole changeover switch iron cold switch fuse unit inoculating drilling pole on the board tumbling connection earth the body etc. as required. | 1.00 | Nos | 10.00 | 7500.00 | 7500.00 | 7500.00 | R K Construction
50.00 | Supply, installations, testing and commissioning of 300mm sweep heavy duty exhaust fan, 1400 RPM including all accessories suitable for single phase 240 volts 50 HZ AC supply complete as required. | 1.00 | Nos | 10.00 | 1300.00 | 1300.00 | 1300.00 | R K Construction
51.00 | Supply, installation, testing and commissioning of the following light fixtures including all accessories like electronic ballasts, bulbs, lamp etc complete as required:1x18 watt surface mounted mirror LED fixture as per Ankur Cat no XWL 010/0013 including 18 watt lamp as required. | 15.00 | Nos | 10.00 | 950.00 | 14250.00 | 14250.00 | R K Construction
52.00 | Supply, installation, testing and commissioning of the following light fixtures including all accessories like electronic ballasts, bulbs, lamp etc complete as required: 1x13 watt surface mounted LED fixtures as per Decon Cat no: 03TY including as required. | 4.00 | Nos | 10.00 | 1050.00 | 4200.00 | 4200.00 | R K Construction
53.00 | Wiring for telephone outlets with 2 pair of 0.5 sq mm PVC insulated copper conductor unarmoured telephone cable in the existing surface/casing and required. | 1.00 | Pts | 10.00 | 150.00 | 150.00 | 150.00 | R K Construction
54.00 | wiring of sub main wiring with following size of PVC insulated copper conductor single core cable in existing surface/recessed PVC conduct/ casting as required 10 sq.mm. | 30.00 | Mtr | 10.00 | 580.00 | 17400.00 | 17400.00 | R K Construction
55.00 | Supply and fixing of PVC conduit along accessories in surface walls and making good the same in case of recessed conduit as required. 25 mm dia 2 mm thick | 50.00 | Mtr | 10.00 | 80.00 | 4000.00 | 4000.00 | R K Construction
56.00 | Supply and fixing of a combied 5 pin 240 volt 16 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed cover plate in recessed zinc chromate passivated MS box complete as required. | 4.00 | Nos | 10.00 | 1400.00 | 5600.00 | 5600.00 | R K Construction
57.00 | Supply and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole mounted switch with moulded switch with moulded cover plate in recessed zinc chromate passivated MS box complete as required. | 15.00 | Nos | 10.00 | 1200.00 | 18000.00 | 18000.00 | R K Construction
58.00 | Wiring for 16 map socket otlet with 4 sq mm FR PVC insulated stranded copper conductor cable in surface/recessed steel conduit including wooden box, sheet and 1.5 sq mm FR PVC insulated copper conductor wire as earth wire. | 15.00 | Pts | 10.00 | 280.00 | 4200.00 | 4200.00 | R K Construction
59.00 | Wiring for light point/fan/call bell point/6 amp socket with 1.5 sq mm. For PVC insulated strand copper cable in existing surface /recessed PVC conduict including 6ap 240 volt single pole switch with moulded cover plate in zinc chromate passivated MS box, and including cost of loop earthing wit 1.5sq mm FR PVC insulatd stranded copper conductor cable, complete as required. | 15.00 | Pts | 10.00 | 250.00 | 3750.00 | 3750.00 | R K Construction
60.00 | Providing and fixing GI Chain-link fabric fencing of required width in mesh size 100 x 100 mm including strengthening with nuts, bolts, and washers as required complete as per the directions of Engineer in charge. Made of Gi wire of dia 4mm. | 212.28 | mtr | 10.00 | 798.10 | 169420.67 | 169420.67 | R K Construction
61.00 | LED bulbs. | 10.00 | Nos | 10.00 | 300.00 | 3000.00 | 3000.00 | R K Construction
62.00 | Carriage of materials by mechanical transport including loading,unloading and stacking (Soling Stone) | 387.58 | Cum | 10.00 | 255.48 | 99018.94 | 99018.94 | R K Construction
| Total in Figures |  |  |  |  | 19238815.52
Lowest Amount Quoted BY: R K Construction(19238815.52)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ice hockey rink Tender ID: 2023_WAPCO_155073_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R K Construction | 19238815.52 | L1