## BoQ1
Government eProcurement System Created By: Rahul Kumar Sharma Created Date/Time: 18-Sep-2023 10:05 AM Tender Title: Construction of Multipurpose Playground at Hunder, Nubra, Union Territory of Ladakh Tender ID: 2023_WAPCO_160539_1
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: CONSTRUCTION OF MULTIPURPOSE PLAYGROUND AT HUNDER, NUBRA,UNION TERRITORY OF LADAKH
Tender No: WAP/INFS-IV/LADAKH/RDD/2023-24/17-2nd Call
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R K Construction(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
2.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms,lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m.(DSR 2021 pg no. 93 item no. 2.9) in all kinds of soil | 154.68 | Cum | 100.00 | 385.95 | 59698.75 | 59698.75 | R K Construction
3.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms,lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m.(DSR 2021 pg no. 93 item no. 2.9) in ordinary rock | 15.47 | Cum | 100.00 | 704.35 | 10896.29 | 10896.29 | R K Construction
4.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. in all kinds of soil | 301.10 | Cum | 100.00 | 1138.59 | 342829.45 | 342829.45 | R K Construction
5.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. in ordinary rock | 33.46 | Cum | 100.00 | 341.68 | 11432.61 | 11432.61 | R K Construction
6.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m.(DSR 2021, 2.25, Pg no 95, Vol 1) | 170.00 | Cum | 100.00 | 340.91 | 57954.70 | 57954.70 | R K Construction
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources)(DSR 2021 pg no.107 item no. 4.1.8) | 16.00 | Cum | 100.00 | 8510.91 | 136174.56 | 136174.56 | R K Construction
8.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12graded stone aggregate 20 mm nominal size) upto plinth level with : 7.1.1 Cement mortar 1:6 (1 cement : 6 coarse sand) | 32.00 | Cum | 100.00 | 8770.00 | 280640.00 | 280640.00 | R K Construction
9.00 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level and the like. Cement mortar 1:6 (1 cement : 6 coarse sand)(DSR 2021 pg no. 149 item no.7.2.1 ) | 87.00 | Cum | 100.00 | 10908.18 | 949011.66 | 949011.66 | R K Construction
10.00 | Providing and laying in position ready mixed or site batched design mix M-25 grade cement concrete for reinforced cement concrete work; using coarseaggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriagefor all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge. All work upto plinth level Note:- Concrete of M25 grade with minimum cement content of 330 kg /cum.(DSR 2021 pg no.129 item no. 5.33.1.1) | 9.00 | Cum | 100.00 | 10760.00 | 96840.00 | 96840.00 | R K Construction
11.00 | Providing and laying in position ready mixed or site batched design mix M-25 grade cement concrete for reinforced cement concrete work; using coarseaggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriagefor all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge. Note:- Concrete of M25 grade with minimum cement content of 330 kg /cum.(DSR 2021 pg no.129 item no. 5.33.2.1) | 24.50 | Cum | 100.00 | 13561.82 | 332264.59 | 332264.59 | R K Construction
12.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:3 (1 cement: 3 fine sand) | 46.00 | Sqm | 100.00 | 546.36 | 25132.56 | 25132.56 | R K Construction
13.00 | Red oxide Zinc chromate primer | 300.00 | Litre | 100.00 | 145.45 | 43635.00 | 43635.00 | R K Construction
14.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 26.00 | Cum | 100.00 | 3658.18 | 95112.68 | 95112.68 | R K Construction
15.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade. 13.70.1 Two or more coats on new work | 375.00 | Sqm | 100.00 | 172.73 | 64773.75 | 64773.75 | R K Construction
16.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical and compacting with vibratory roller of 8 to 10 tonne capacity to paverfinisher in sub- base / base course on well prepared surface achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 17.50 | Cum | 100.00 | 3695.45 | 64670.38 | 64670.38 | R K Construction
17.00 | Installing and Welding Mild steel square bar (10mm*10mm) | 500.00 | Kg | 100.00 | 145.45 | 72725.00 | 72725.00 | R K Construction
18.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light trafficparking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying ofinter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved colour design and pattern. | 155.00 | Sqm | 100.00 | 1332.73 | 206573.15 | 206573.15 | R K Construction
19.00 | Pointing on stone work with cement mortar 1 : 3 (1 cement : 3 fine sand) 13.42.1 Flush/Ruled Pointing | 390.00 | Sqm | 10.00 | 4.09 | 1595.10 | 1595.10 | R K Construction
20.00 | Precast C.C. kerb stone M-25 | 21.76 | Cum | 10.00 | 11354.55 | 247075.01 | 247075.01 | R K Construction
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more (DSR 2021pg no.127 item no. 5.22A.6) upto & above plinth beam. | 1550.00 | Kg | 10.00 | 120.00 | 186000.00 | 186000.00 | R K Construction
22.00 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement : 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer-in-charge. (Length of finished kerb edging shall be measured for payment). (Old kerb stones shall be supplied by the department free of cost) | 272.00 | mtr | 10.00 | 119.09 | 32392.48 | 32392.48 | R K Construction
23.00 | Supplying and stacking at site. Good earth | 230.00 | Cum | 10.00 | 822.73 | 189227.90 | 189227.90 | R K Construction
24.00 | Centering and shuttering incl. strutting, propping etc. and removal of form for; Columns, Pillars, Piers, Abutments, Posts and Struts (DSR 2021 pgNo. 123 Item No. 5.9.6) | 120.00 | Sqm | 10.00 | 1081.82 | 129818.40 | 129818.40 | R K Construction
25.00 | Royalty for Good Earth | 230.00 | Cum | 10.00 | 52.73 | 12127.90 | 12127.90 | R K Construction
26.00 | Grassing with selection No. 1 Doob grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and good earth shall be paid for separately).2.10.1 In rows 5 cm apart in both directions | 720.00 | mtr | 10.00 | 150.00 | 108000.00 | 108000.00 | R K Construction
27.00 | Centering and shuttering incl. strutting, propping etc. and removal of form for; Foundations, footings, bases of columns etc. for mass concrete (DSR 2021 pgNo. 123 Item No. 5.9.1) | 52.00 | Sqm | 10.00 | 1081.82 | 56254.64 | 56254.64 | R K Construction
28.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 51.00 | Cum | 10.00 | 715.45 | 36487.95 | 36487.95 | R K Construction
29.00 | Providing and Placing Garden Plants as per design and requirement at site and complete as per direction of Engineer-in-charge. | 1.00 | Nos | 10.00 | 77272.73 | 77272.73 | 77272.73 | R K Construction
30.00 | Disposal of executed earth up to 10 km. Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto5 km for all lifts, complete as per directions of Engineer-in-charge(DSR 2021 Page No 84, 1.1.18) | 300.00 | Cum | 10.00 | 227.27 | 68181.00 | 68181.00 | R K Construction
31.00 | Disposal of Excavated rock | 53.10 | Cum | 10.00 | 354.55 | 18826.61 | 18826.61 | R K Construction
32.00 | Providing and fixing Cc Grass Green Football Turf in all respect | 500.00 | Sqft | 10.00 | 136.36 | 68180.00 | 68180.00 | R K Construction
33.00 | Providing and fixing Ultra Castle Palace in all respect 1. Conical Shaped Roof 1no 2. Leaf 1no 3. Spiral Slider 5’ Ht 1no 4. Double Slider with entrance 3’ Ht 1no 5. Panel 3no 6. MS Perforated Sq. Deck 2 no 7. MS Box Ladder 1no. complete as per direction of Engineer-in-charge. | 1.00 | Nos | 10.00 | 227272.73 | 227272.73 | 227272.73 | R K Construction
34.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 51.00 | Cum | 10.00 | 715.45 | 36487.95 | 36487.95 | R K Construction
35.00 | Providing and fixing Wavy Slide in all respect | 2.00 | Nos | 10.00 | 51090.91 | 102181.82 | 102181.82 | R K Construction
36.00 | Providing and fixing Spiral Slide in all respect | 2.00 | Nos | 10.00 | 78545.45 | 157090.90 | 157090.90 | R K Construction
37.00 | Providing and fixing 2 seater U Swing in all respect | 2.00 | Nos | 10.00 | 50181.82 | 100363.64 | 100363.64 | R K Construction
38.00 | Providing and fixing Combo See Saw in all respect | 2.00 | Nos | 10.00 | 23818.18 | 47636.36 | 47636.36 | R K Construction
39.00 | Providing and fixing Park Benches in all respect | 15.00 | Nos | 10.00 | 16363.64 | 245454.60 | 245454.60 | R K Construction
40.00 | Providing and fixing Horse Spring Rider in all respect | 3.00 | Nos | 10.00 | 14272.73 | 42818.19 | 42818.19 | R K Construction
41.00 | Providing and fixing Tree Bin in all respect | 2.00 | Nos | 10.00 | 6818.18 | 13636.36 | 13636.36 | R K Construction
42.00 | Providing and fixing Pencil Bin in all respect | 2.00 | Nos | 10.00 | 6818.18 | 13636.36 | 13636.36 | R K Construction
43.00 | Providing and fixing Monkey Bin in all respect | 2.00 | Nos | 10.00 | 8181.82 | 16363.64 | 16363.64 | R K Construction
44.00 | Providing and fixing Penguin Bin in all respect | 2.00 | Nos | 10.00 | 8181.82 | 16363.64 | 16363.64 | R K Construction
45.00 | Providing and Fixing Gazebo of 4.5 m dia at site and complete as per direction of Engineer-in-charge. | 1.00 | Nos | 10.00 | 272727.27 | 272727.27 | 272727.27 | R K Construction
46.00 | Providing and fixing Triple Twister in all respect | 1.00 | Nos | 10.00 | 54409.09 | 54409.09 | 54409.09 | R K Construction
47.00 | Providing and fixing Cycle in all respect | 1.00 | Nos | 10.00 | 51818.18 | 51818.18 | 51818.18 | R K Construction
48.00 | Providing and fixing Double Push Chair in all respect | 1.00 | Nos | 10.00 | 108818.18 | 108818.18 | 108818.18 | R K Construction
49.00 | Providing and fixing Cross Trainer in all respect | 1.00 | Nos | 10.00 | 69000.00 | 69000.00 | 69000.00 | R K Construction
50.00 | Providing and fixing Electrical Work in all respect | 1.00 | Nos | 10.00 | 500000.00 | 500000.00 | 500000.00 | R K Construction
51.00 | Providing and fixing Air Walker in all respect | 1.00 | Nos | 10.00 | 81818.18 | 81818.18 | 81818.18 | R K Construction
52.00 | Providing and fixing Iron Uma-1500 in all respect | 1.00 | Nos | 10.00 | 47727.27 | 47727.27 | 47727.27 | R K Construction
53.00 | Providing and fixing Double Arm Wheel in all respect | 1.00 | Nos | 10.00 | 47727.27 | 47727.27 | 47727.27 | R K Construction
54.00 | Providing and fixing Mild Steel Push Up And Dip Station in all respect | 1.00 | Nos | 10.00 | 34772.73 | 34772.73 | 34772.73 | R K Construction
55.00 | Providing and fixing GI Sit Up Board in all respect | 1.00 | Nos | 10.00 | 136363.64 | 136363.64 | 136363.64 | R K Construction
56.00 | Providing and fixing Leg Press Tripple in all respect | 1.00 | Nos | 10.00 | 75000.00 | 75000.00 | 75000.00 | R K Construction
57.00 | Providing and fixing Chest Garden For Cardio in all respect | 1.00 | Nos | 10.00 | 48181.82 | 48181.82 | 48181.82 | R K Construction
58.00 | Providing and fixing OUTDOOR GYM TRIBAR in all respect | 1.00 | Nos | 10.00 | 109090.91 | 109090.91 | 109090.91 | R K Construction
59.00 | Providing and fixing Manual Outdoor Gym Pec Fly in all respect | 1.00 | Nos | 10.00 | 49090.91 | 49090.91 | 49090.91 | R K Construction
60.00 | Providing and fixing Grandslam Sit-Up Station in all respect | 1.00 | Nos | 10.00 | 81818.18 | 81818.18 | 81818.18 | R K Construction
61.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level. (Quantity of depth of bore hole indicated in quantity is indicative. Exact depth will be ascertened as per water aquifer of site) Rocky strata including boulders 300 mm dia | 80.00 | mtr | 10.00 | 1113.64 | 89091.20 | 89091.20 | R K Construction
62.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, ERW (Electric Resistance Welded) FE 410 mild steel screwed and socketed/plain ended casing pipes of required dia, conforming to IS: 4270, of reputed & approved make, including painted with outside surface with two coats of anticorrosive paint of approved brand and manufacture, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer-in-charge.. (Quantity of pipes of indicated in quanty is indicative. Exact depth will be ascertened as per water aquifer of site)150 mm nominal size dia having minimum wall thickness 5.00 mm | 40.00 | mtr | 10.00 | 1513.64 | 60545.60 | 60545.60 | R K Construction
63.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, ERW (Electric Resistance Welded) FE 410 plain slotted (having slot of size 1.6/3.2 mm) mild steel threaded and socketed/ plain bevel ended pipe (type A) of required dia, conforming to IS: 8110, of reputed and approved make, having wall thickness not less than 5.40 mm, including painted with outside surface with two coats of anticorrosive bitumestic paint of approved brand and manufacture, including hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer -in-charge. (Quantity of pipes of indicated in quanty is indicative. Exact depth will be ascertened as per water aquifer of site) 150 mm nominal size dia | 40.00 | mtr | 10.00 | 1609.09 | 64363.60 | 64363.60 | R K Construction
64.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete150 mm clamp. | 1.00 | Nos | 10.00 | 1354.55 | 1354.55 | 1354.55 | R K Construction
65.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by “V” notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. (Quantity given is indicated in quantity is indicative. Exact time of development quality of water aquifer of site) | 40.00 | hrs | 10.00 | 781.82 | 31272.80 | 31272.80 | R K Construction
66.00 | Providing and fixing single / multistage submersible tubewell pump suitable for 150mm bore with stainless steel casing, NORYL impeller, stainless steel shaft and built in non return valve coupled with submersible squirrel cage motors suitable for 145V ± 10% volts. 3 phase, 50 cycles AC supply.Capacity 250 lpmHead 50m to 60m.Head may vary depdending upon depth of auqafire of site. The agency to quote accordingly | 1.00 | Nos | 10.00 | 34545.45 | 34545.45 | 34545.45 | R K Construction
67.00 | Providing 65mm dia GI column pipe of heavy class duly flanged. | 75.00 | mtr | 10.00 | 568.18 | 42613.50 | 42613.50 | R K Construction
68.00 | Providing and fixing gunmetal pressure gauge (100mm dia) of rating (0-10 kg/cm2) with gunmetal isolating cock and connecting pipe. | 1.00 | Nos | 10.00 | 2272.73 | 2272.73 | 2272.73 | R K Construction
69.00 | Providing and fixing 65mm cable clips with nuts & bolts. | 24.00 | Nos | 10.00 | 22.73 | 545.52 | 545.52 | R K Construction
70.00 | Providing and fixing 65mm dia supporting clamps with nuts and bolts. | 1.00 | Nos | 10.00 | 909.09 | 909.09 | 909.09 | R K Construction
71.00 | Providing and fixing 3C - 6 sq.m submersible cable. (Quantity of cable may vary depding upon the the depth of water aquafire at site.) | 1.00 | Nos | 10.00 | 13636.36 | 13636.36 | 13636.36 | R K Construction
72.00 | Providing and fixing Butterfly valve of cast body with stainless steel disc and stainless steel stem, teflon bushing and niterite o'rings.65mm dia | 2.00 | Nos | 10.00 | 4090.91 | 8181.82 | 8181.82 | R K Construction
73.00 | Providing and fixing steel wire rope 6mm dia complete with wire rope clamps for safety of pump set. | 1.00 | Nos | 10.00 | 9090.91 | 9090.91 | 9090.91 | R K Construction
74.00 | Supplying & laying 1.1KV grade aluminium conductor PVC insulated and PVC sheathed armoured cables including 8 SWG GI earth wire on surface/cable trays as required.3 Core - 6sq.mm | 10.00 | mtr | 10.00 | 454.55 | 4545.50 | 4545.50 | R K Construction
75.00 | Providing, installation, testing & commissioning of dust and vermin proof motor control panel fabricated from 14 SWG MS sheet with stove enamelled paint and comprising of: Outdoor type.63 amps incoming MCB (1 No.)One no fully automatic Dol starter with push buttons and indicating lights.5.5 KWsOne panel type volt meter 96mm square with Rotary selection switch for reading voltage between phase and neutral or incoming feeder.Three Neon Phase indicating lights on the incoming Main.One Ampere meter 96mm square panel type of appropriate range.Etched plastic identification plates for all switch gears.Space for liquid level controller.All internal wiring should be colour coded from incoming main to switchgear, starters, meters, indicating lights. | 1.00 | Nos | 10.00 | 13636.36 | 13636.36 | 13636.36 | R K Construction
76.00 | Supplying of 150mm dia tail plug with all required specials complete as per directions of Engineer -in-Charge. | 1.00 | Nos | 10.00 | 454.55 | 454.55 | 454.55 | R K Construction
77.00 | Supply, installation,testing and successful commissioning of all in one Integrated Solar Street Light at with following specifications: System Rated Power 30W Power Consumption Peak 30±5% Battery ( LiFePo4 ) 12.8V, 18Ah Battery Pack Life Time 1000 Cycles BIS Available Solar Panel PMax : 70Wp Vmp : 15V System Operating Voltage 10.8V to 14.4V DC Electronics Total Electronics Efficiency :85% Battery Upper & Lower Cut off : 14.4 / 10.8 V Idle Current : 10 mA Optical Lumen Efficacy : 120 - 150 Lumen / Watt Temperature 5700° K - 6500° K Autonomy 1 Day IP Rating IP65 Pole length 6 meter (18 Feet approx.) SPV PANEL 70wp Lithium Fero Phosphate Battery 30 AH 12.8VA Luminarie LED 30 watt Pole (Steel Tabular pole 6 meter with cement concrete bottoming in ratio of 1:2:4 mix with dimensions 600mm x 600 mm x 750 mm) including Nut Bolts and other accessories | 12.00 | Nos | 10.00 | 45454.55 | 545454.60 | 545454.60 | R K Construction
| Total in Figures |  |  |  |  | 7791988.81
Lowest Amount Quoted BY: R K Construction(7791988.81)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Multipurpose Playground at Hunder, Nubra, Union Territory of Ladakh Tender ID: 2023_WAPCO_160539_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R K Construction | 7791988.81 | L1