## BoQ1
Government eProcurement System Created By: Sanjay Kumar Created Date/Time: 08-Feb-2024 12:51 PM Tender Title: Providing and laying of drinking water pipe line from underground sump to Residential Qtrs. and other areas at Silchar Airport Tender ID: 2024_AAI_179990_1
Tender Inviting Authority: Airports Authority of India , Silchar Airport, Engg (Civil)
Name of Work: Providing and laying of drinking water pipe line from underground sump to Residential Qtrs. and other areas at Silchar Airport.
Contract No: 2024_AAI_179990_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Chandan Deb(GSTN-16AAEFC6353Q1Z0) |  | vaderas interiors and exteriors(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. (a) All kinds of soil. | 5.00 | Cum | 0.00 | 300.00 | 1500.00 | 185.00 | 925.00 | 925.00 | vaderas interiors and exteriors
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: (a) 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources). | 5.00 | Cum | 0.00 | 8500.00 | 42500.00 | 6551.00 | 32755.00 | 32755.00 | vaderas interiors and exteriors
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: (a) 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources). | 5.00 | Cum | 0.00 | 6800.00 | 34000.00 | 5988.00 | 29940.00 | 29940.00 | vaderas interiors and exteriors
4.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: (a) Cement mortar 1:4 (1 cement : 4 coarse sand). | 5.00 | Cum | 0.00 | 5500.00 | 27500.00 | 9145.00 | 45725.00 | 27500.00 | M/s Chandan Deb
5.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. (a) Nominal concrete 1:4:8 or leaner mix (including equivalent design mix). | 5.00 | Cum | 0.00 | 600.00 | 3000.00 | 1232.00 | 6160.00 | 3000.00 | M/s Chandan Deb
6.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. :External work: (a) 25 mm dia nominal bore. | 94.00 | Mtr. | 0.00 | 360.00 | 33840.00 | 319.00 | 29986.00 | 29986.00 | vaderas interiors and exteriors
7.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. : External work: (a) 40 mm dia nominal bore. | 197.00 | Mtr. | 0.00 | 458.00 | 90226.00 | 477.00 | 93969.00 | 90226.00 | M/s Chandan Deb
8.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. :External work: (a) 50 mm dia nominal bore. | 104.00 | Mtr. | 0.00 | 567.00 | 58968.00 | 636.00 | 66144.00 | 58968.00 | M/s Chandan Deb
9.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : (a) 25 to 40 mm nominal bore. | 6.00 | Each | 0.00 | 100.00 | 600.00 | 1848.00 | 11088.00 | 600.00 | M/s Chandan Deb
10.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : (a) 50 to 80 mm nominal bore. | 6.00 | Each | 0.00 | 125.00 | 750.00 | 3080.00 | 18480.00 | 750.00 | M/s Chandan Deb
11.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 40 mm nominal bore. | 13.00 | Each | 0.00 | 3020.00 | 39260.00 | 5411.00 | 70343.00 | 39260.00 | M/s Chandan Deb
12.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 50 mm nominal bore. | 2.00 | Each | 0.00 | 2885.00 | 5770.00 | 8393.00 | 16786.00 | 5770.00 | M/s Chandan Deb
13.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 65 mm nominal bore. | 2.00 | Each | 0.00 | 4185.00 | 8370.00 | 13262.00 | 26524.00 | 8370.00 | M/s Chandan Deb
14.00 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately): (i) 100 mm diameter (a) Class I. | 3.00 | Each | 0.00 | 5725.00 | 17175.00 | 16148.00 | 48444.00 | 17175.00 | M/s Chandan Deb
15.00 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : (a) With common burnt clay F.P.S.(non modular) bricks of class designation 7.5. | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 19714.00 | 78856.00 | 12000.00 | M/s Chandan Deb
16.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plasteringwith cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design: (a) With common burnt clay F.P.S.(non modular) bricks of class designation 7.5. | 3.00 | Each | 0.00 | 3500.00 | 10500.00 | 24641.00 | 73923.00 | 10500.00 | M/s Chandan Deb
17.00 | Constructing masonry Chamber 60x60x75 cm, inside in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for fire hydrants, with C.I. surface box 350x350 mm top and 165 mm deep ( inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand:10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design: (a) With common burnt clay F.P.S.(non modular) bricks of class designation 7.5. | 4.00 | Each | 0.00 | 2800.00 | 11200.00 | 12937.00 | 51748.00 | 11200.00 | M/s Chandan Deb
18.00 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : (a) 25 mm diameter pipe. | 94.00 | Mtr. | 0.00 | 35.00 | 3290.00 | 31.00 | 2914.00 | 2914.00 | vaderas interiors and exteriors
19.00 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : (a) 40 mm diameter pipe. | 197.00 | Mtr. | 0.00 | 50.00 | 9850.00 | 31.00 | 6107.00 | 6107.00 | vaderas interiors and exteriors
20.00 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : (a) 50 mm diameter pipe. | 104.00 | Mtr. | 0.00 | 60.00 | 6240.00 | 31.00 | 3224.00 | 3224.00 | vaderas interiors and exteriors
21.00 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : (a) 25 mm diameter pipe. | 94.00 | Mtr. | 0.00 | 55.00 | 5170.00 | 52.00 | 4888.00 | 4888.00 | vaderas interiors and exteriors
22.00 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : (a) 40 mm diameter pipe. | 197.00 | Mtr. | 0.00 | 60.00 | 11820.00 | 52.00 | 10244.00 | 10244.00 | vaderas interiors and exteriors
23.00 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : (a) 50 mm diameter pipe. | 104.00 | Mtr. | 0.00 | 75.00 | 7800.00 | 52.00 | 5408.00 | 5408.00 | vaderas interiors and exteriors
24.00 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. Pipes or equivalent in external work : (a) 100 mm diameter pipe. | 1950.00 | Mtr. | 0.00 | 110.00 | 214500.00 | 52.00 | 101400.00 | 101400.00 | vaderas interiors and exteriors
25.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): (a) 25 mm nominal bore. | 16.00 | Each | 0.00 | 70.00 | 1120.00 | 244.00 | 3904.00 | 1120.00 | M/s Chandan Deb
26.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : (a) 40 mm nominal bore. | 22.00 | Each | 0.00 | 125.00 | 2750.00 | 446.00 | 9812.00 | 2750.00 | M/s Chandan Deb
27.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : (a) 50 mm nominal bore. | 18.00 | Each | 0.00 | 201.00 | 3618.00 | 685.00 | 12330.00 | 3618.00 | M/s Chandan Deb
28.00 | Providing and fixing C.I. double acting air valve of approved quality with bolts, nuts, rubber insertions etc. complete (The tail pieces, tapers etc if required will be paid separately): (a) For 100 mm dia. | 2.00 | Each | 0.00 | 8500.00 | 17000.00 | 29179.00 | 58358.00 | 17000.00 | M/s Chandan Deb
29.00 | Providing and laying Double Flanged (Screwed/ Welded) Centrifugally (Spun) Ductile Iron Pipes of Class K - 9 conforming to IS : 8329: (a) 100 mm dia Ductile Iron Double Flanged. | 1950.00 | Mtr. | 0.00 | 2480.00 | 4836000.00 | 2700.00 | 5265000.00 | 4836000.00 | M/s Chandan Deb
| Total in Figures |  |  |  |  | 5516317.00 |  | 6185385.00
Lowest Amount Quoted BY: M/s Chandan Deb(5516317.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing and laying of drinking water pipe line from underground sump to Residential Qtrs. and other areas at Silchar Airport Tender ID: 2024_AAI_179990_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Chandan Deb | 5516317.00 | L1
| 2 | vaderas interiors and exteriors | 6185385.00 | L2