## BoQ1
Government eProcurement System Created By: SYED TANWEER ASHRAF Created Date/Time: 06-Feb-2024 06:21 PM Tender Title: Supply of day to day electrical Spares for E and M Installations at Gaya Airport Gaya. Tender ID: 2024_AAI_180441_1
Tender Inviting Authority: <AGM ( Engg. Elect), AAI, Gaya Airport, Gaya>
Name of Work: <Supply of day to day electrical Spares for E & M Installations at Gaya Airport Gaya.>
Contract No: <0631-2210043>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREE NURSING TIMBER AND ELECTRIC STORES(GSTN-19AAQFS7594F1ZC) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | B B ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED indicating Lamps for LT Panel of following colours suitable to work on 24V DC/110V AC/240V AC as and when required as per site condition.
1.10 | (a) RED | 10.00 | Each | 263.00 | 95.00 | 950.00 | 200.00 | 2000.00 | 92.00 | 920.00 | 113.00 | 1130.00 | 99.00 | 990.00 | 105.00 | 1050.00 | 920.00 | SHREE GOURI ELECTRIC ENTERPRISE
1.20 | (b) YELLOW | 10.00 | Each | 263.00 | 95.00 | 950.00 | 200.00 | 2000.00 | 92.00 | 920.00 | 113.00 | 1130.00 | 99.00 | 990.00 | 105.00 | 1050.00 | 920.00 | SHREE GOURI ELECTRIC ENTERPRISE
1.30 | (c) GREEN | 10.00 | Each | 263.00 | 95.00 | 950.00 | 200.00 | 2000.00 | 92.00 | 920.00 | 113.00 | 1130.00 | 99.00 | 990.00 | 105.00 | 1050.00 | 920.00 | SHREE GOURI ELECTRIC ENTERPRISE
1.40 | (d) BLUE | 10.00 | Each | 263.00 | 165.00 | 1650.00 | 200.00 | 2000.00 | 155.00 | 1550.00 | 181.00 | 1810.00 | 168.00 | 1680.00 | 175.00 | 1750.00 | 1550.00 | SHREE GOURI ELECTRIC ENTERPRISE
1.50 | (e) WHITE | 10.00 | Each | 263.00 | 165.00 | 1650.00 | 200.00 | 2000.00 | 155.00 | 1550.00 | 181.00 | 1810.00 | 168.00 | 1680.00 | 175.00 | 1750.00 | 1550.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.00 | Supply of following size of PVC FRLSH insulated Multistrands, Cooper Conductor Wire suitable to work upto 1100V, AC Supply having length upto 90 Mtrs. confirming to IS:694.
2.10 | (a) 1.5 Sq mm | 1800.00 | Mtr | 263.00 | 16.00 | 28800.00 | 15.00 | 27000.00 | 13.00 | 23400.00 | 18.00 | 32400.00 | 22.00 | 39600.00 | 17.00 | 30600.00 | 23400.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.20 | (b) 2.5 Sq mm | 900.00 | Mtr | 263.00 | 26.00 | 23400.00 | 24.00 | 21600.00 | 22.00 | 19800.00 | 30.00 | 27000.00 | 36.00 | 32400.00 | 22.00 | 19800.00 | 19800.00 | B B ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
2.30 | (c) 4 Sq mm | 450.00 | Mtr | 263.00 | 40.00 | 18000.00 | 36.00 | 16200.00 | 33.00 | 14850.00 | 45.00 | 20250.00 | 52.00 | 23400.00 | 40.00 | 18000.00 | 14850.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.40 | (d) 6 Sq mm | 450.00 | Mtr | 263.00 | 60.00 | 27000.00 | 54.00 | 24300.00 | 50.00 | 22500.00 | 69.00 | 31050.00 | 78.00 | 35100.00 | 60.00 | 27000.00 | 22500.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.50 | (e ) 10 Sq mm | 90.00 | Mtr | 263.00 | 124.00 | 11160.00 | 94.00 | 8460.00 | 85.00 | 7650.00 | 123.00 | 11070.00 | 114.00 | 10260.00 | 120.00 | 10800.00 | 7650.00 | SHREE GOURI ELECTRIC ENTERPRISE
3.00 | Supply of Two core round FR PVC Insulated Industrial grade copper conductor , round seathed, flexible cables, 1100 Volts confirming to IS:694.
3.10 | (a) 2 X 1.5 Sq mm | 300.00 | Mtr | 263.00 | 37.00 | 11100.00 | 36.00 | 10800.00 | 30.00 | 9000.00 | 44.00 | 13200.00 | 44.00 | 13200.00 | 32.00 | 9600.00 | 9000.00 | SHREE GOURI ELECTRIC ENTERPRISE
3.20 | (b) 2 X 2.5 Sq mm | 300.00 | Mtr | 263.00 | 60.00 | 18000.00 | 58.00 | 17400.00 | 49.00 | 14700.00 | 68.00 | 20400.00 | 72.00 | 21600.00 | 50.00 | 15000.00 | 14700.00 | SHREE GOURI ELECTRIC ENTERPRISE
4.00 | Supply of Three core FR PVC Insulated Industrial grade copper conductor, round seathed, flexible cables, 1100 Volts confirming to IS:694.
4.10 | (a) 3 X 2.5 Sq mm | 600.00 | Mtr | 263.00 | 87.00 | 52200.00 | 79.00 | 47400.00 | 70.00 | 42000.00 | 94.00 | 56400.00 | 101.00 | 60600.00 | 70.00 | 42000.00 | 42000.00 | B B ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
4.20 | (b) 3 X 4 Sq mm | 200.00 | Mtr | 263.00 | 136.00 | 27200.00 | 126.00 | 25200.00 | 110.00 | 22000.00 | 150.00 | 30000.00 | 154.00 | 30800.00 | 120.00 | 24000.00 | 22000.00 | SHREE GOURI ELECTRIC ENTERPRISE
5.00 | Supply of following Piano type Switches / Sockets/ Plug Top suitable to work on 230V, 50Hz, AC Supply. ISI Marked, Colour - White.
5.10 | a) 6A/ 10 A 1way Switch. | 60.00 | Each | 263.00 | 12.00 | 720.00 | 15.00 | 900.00 | 12.00 | 720.00 | 16.00 | 960.00 | 14.00 | 840.00 | 15.00 | 900.00 | 720.00 | SHREE NURSING TIMBER AND ELECTRIC STORES, SHREE GOURI ELECTRIC ENTERPRISE
5.20 | b) 16/20A Switch 1way Switch. | 60.00 | Each | 263.00 | 65.00 | 3900.00 | 60.00 | 3600.00 | 55.00 | 3300.00 | 85.00 | 5100.00 | 76.00 | 4560.00 | 65.00 | 3900.00 | 3300.00 | SHREE GOURI ELECTRIC ENTERPRISE
5.30 | c) 6A, multiple socket for 2 pin & 3 Pin | 50.00 | Each | 263.00 | 23.00 | 1150.00 | 20.00 | 1000.00 | 48.00 | 2400.00 | 31.00 | 1550.00 | 29.00 | 1450.00 | 25.00 | 1250.00 | 1000.00 | M/S AMAR ENTERPRISES
5.40 | d) 10/20A Uni Socket | 50.00 | Each | 263.00 | 69.00 | 3450.00 | 60.00 | 3000.00 | 63.00 | 3150.00 | 85.00 | 4250.00 | 83.00 | 4150.00 | 65.00 | 3250.00 | 3000.00 | M/S AMAR ENTERPRISES
5.50 | e) Indicator Lamp | 25.00 | Each | 263.00 | 28.00 | 700.00 | 25.00 | 625.00 | 25.00 | 625.00 | 33.00 | 825.00 | 167.00 | 4175.00 | 32.00 | 800.00 | 625.00 | M/S AMAR ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
5.60 | f) Bell push Switch 6 Amp | 20.00 | Each | 263.00 | 23.00 | 460.00 | 20.00 | 400.00 | 20.00 | 400.00 | 28.00 | 560.00 | 29.00 | 580.00 | 30.00 | 600.00 | 400.00 | M/S AMAR ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
5.70 | g) Jumbo Ceiling Rose 3 plate 6 Amp | 50.00 | Each | 263.00 | 28.00 | 1400.00 | 20.00 | 1000.00 | 20.00 | 1000.00 | 38.00 | 1900.00 | 27.00 | 1350.00 | 30.00 | 1500.00 | 1000.00 | M/S AMAR ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
5.80 | h) Surface bell push switchwith body 6 Amp | 10.00 | Each | 263.00 | 23.00 | 230.00 | 25.00 | 250.00 | 26.00 | 260.00 | 31.00 | 310.00 | 42.00 | 420.00 | 40.00 | 400.00 | 230.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
5.90 | (i) 10/20A Uni Switch Socket combined alongwith Box. | 20.00 | Each | 263.00 | 123.00 | 2460.00 | 114.00 | 2280.00 | 112.00 | 2240.00 | 263.00 | 5260.00 | 136.00 | 2720.00 | 125.00 | 2500.00 | 2240.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.00 | Supply of following Piano type Switches / Sockets/ Plug Top suitable to work on 230V, 50Hz, AC Supply. ISI Marked, Colour - White.
6.10 | (j) 6A 3 Pin plug Top | 50.00 | Each | 263.00 | 47.00 | 2350.00 | 45.00 | 2250.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 52.00 | 2600.00 | 50.00 | 2500.00 | 2000.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.20 | (k) 16 A 3 Pin Plug Top | 50.00 | Each | 263.00 | 61.00 | 3050.00 | 55.00 | 2750.00 | 62.00 | 3100.00 | 69.00 | 3450.00 | 69.00 | 3450.00 | 60.00 | 3000.00 | 2750.00 | M/S AMAR ENTERPRISES
6.30 | (l) Angle Holder (Metal Ring) | 50.00 | Each | 263.00 | 26.00 | 1300.00 | 24.00 | 1200.00 | 23.00 | 1150.00 | 34.00 | 1700.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1150.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.40 | (m) Batten Holder (Metal Ring) | 50.00 | Each | 263.00 | 26.00 | 1300.00 | 24.00 | 1200.00 | 23.00 | 1150.00 | 34.00 | 1700.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1150.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.50 | (n) 4 Way Extension Board | 10.00 | Each | 263.00 | 360.00 | 3600.00 | 300.00 | 3000.00 | 330.00 | 3300.00 | 744.00 | 7440.00 | 641.00 | 6410.00 | 400.00 | 4000.00 | 3000.00 | M/S AMAR ENTERPRISES
7.00 | Supply of following 'C' Series , 10 KA, MCBs.
7.10 | (a) 6A, SP, MCB | 20.00 | Each | 263.00 | 101.00 | 2020.00 | 94.00 | 1880.00 | 125.00 | 2500.00 | 153.00 | 3060.00 | 105.00 | 2100.00 | 125.00 | 2500.00 | 1880.00 | M/S AMAR ENTERPRISES
7.20 | (b) 10A, SP MCB | 20.00 | Each | 263.00 | 101.00 | 2020.00 | 94.00 | 1880.00 | 125.00 | 2500.00 | 153.00 | 3060.00 | 105.00 | 2100.00 | 125.00 | 2500.00 | 1880.00 | M/S AMAR ENTERPRISES
7.30 | (c) 20A, SP MCB | 20.00 | Each | 263.00 | 101.00 | 2020.00 | 94.00 | 1880.00 | 125.00 | 2500.00 | 153.00 | 3060.00 | 105.00 | 2100.00 | 125.00 | 2500.00 | 1880.00 | M/S AMAR ENTERPRISES
7.40 | (d) 32A, SP, MCB | 20.00 | Each | 263.00 | 101.00 | 2020.00 | 94.00 | 1880.00 | 125.00 | 2500.00 | 153.00 | 3060.00 | 105.00 | 2100.00 | 125.00 | 2500.00 | 1880.00 | M/S AMAR ENTERPRISES
7.50 | (e) 63,DP, MCB | 10.00 | Each | 263.00 | 364.00 | 3640.00 | 750.00 | 7500.00 | 775.00 | 7750.00 | 844.00 | 8440.00 | 593.00 | 5930.00 | 700.00 | 7000.00 | 3640.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
7.60 | (f) 40A, FP, MCB | 10.00 | Each | 263.00 | 593.00 | 5930.00 | 1300.00 | 13000.00 | 980.00 | 9800.00 | 1501.00 | 15010.00 | 1016.00 | 10160.00 | 1300.00 | 13000.00 | 5930.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
7.70 | (g) 32A, DP, MCB | 20.00 | Each | 263.00 | 221.00 | 4420.00 | 400.00 | 8000.00 | 430.00 | 8600.00 | 519.00 | 10380.00 | 345.00 | 6900.00 | 450.00 | 9000.00 | 4420.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
7.80 | (h) 63A, TP, MCB | 10.00 | Each | 263.00 | 542.00 | 5420.00 | 1000.00 | 10000.00 | 160.00 | 1600.00 | 1283.00 | 12830.00 | 900.00 | 9000.00 | 1100.00 | 11000.00 | 1600.00 | SHREE GOURI ELECTRIC ENTERPRISE
7.90 | (i) 63A, FP, MCB | 10.00 | Each | 263.00 | 719.00 | 7190.00 | 1300.00 | 13000.00 | 1350.00 | 13500.00 | 1501.00 | 15010.00 | 1081.00 | 10810.00 | 1300.00 | 13000.00 | 7190.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
8.00 | Supply of 40A, DP, MCB 'C' Series , 10 KA. | 20.00 | Each | 263.00 | 288.00 | 5760.00 | 600.00 | 12000.00 | 680.00 | 13600.00 | 788.00 | 15760.00 | 533.00 | 10660.00 | 700.00 | 14000.00 | 5760.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
9.00 | Supply of following Distribution Boards.
9.10 | a) 8 way DB SPN | 5.00 | Each | 263.00 | 428.00 | 2140.00 | 600.00 | 3000.00 | 1070.00 | 5350.00 | 1438.00 | 7190.00 | 814.00 | 4070.00 | 1200.00 | 6000.00 | 2140.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
9.20 | b) 12 way DB SPN | 5.00 | Each | 263.00 | 574.00 | 2870.00 | 800.00 | 4000.00 | 1340.00 | 6700.00 | 1725.00 | 8625.00 | 707.00 | 3535.00 | 1300.00 | 6500.00 | 2870.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
9.30 | c) 16 way TPN DB | 3.00 | Each | 263.00 | 5250.00 | 15750.00 | 2100.00 | 6300.00 | 2050.00 | 6150.00 | 7969.00 | 23907.00 | 6902.00 | 20706.00 | 600.00 | 1800.00 | 1800.00 | B B ENTERPRISES
9.40 | d) 4 way DB SPN | 10.00 | Each | 263.00 | 299.00 | 2990.00 | 500.00 | 5000.00 | 830.00 | 8300.00 | 1165.00 | 11650.00 | 672.00 | 6720.00 | 1000.00 | 10000.00 | 2990.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
10.00 | Supply of Aluminium Lugs of following size.
10.10 | a) 25 sqmm | 30.00 | Each | 263.00 | 10.00 | 300.00 | 10.00 | 300.00 | 5.00 | 150.00 | 8.00 | 240.00 | 6.00 | 180.00 | 20.00 | 600.00 | 150.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.20 | b) 35 sqmm | 30.00 | Each | 263.00 | 12.00 | 360.00 | 15.00 | 450.00 | 6.00 | 180.00 | 10.00 | 300.00 | 7.00 | 210.00 | 20.00 | 600.00 | 180.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.30 | c) 50 sq mm | 30.00 | Each | 263.00 | 19.00 | 570.00 | 25.00 | 750.00 | 9.00 | 270.00 | 15.00 | 450.00 | 10.00 | 300.00 | 20.00 | 600.00 | 270.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.40 | d) 70 sq mm | 30.00 | Each | 263.00 | 30.00 | 900.00 | 30.00 | 900.00 | 15.00 | 450.00 | 24.00 | 720.00 | 16.00 | 480.00 | 20.00 | 600.00 | 450.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.50 | e) 95 sq mm | 30.00 | Each | 263.00 | 32.00 | 960.00 | 40.00 | 1200.00 | 17.00 | 510.00 | 26.00 | 780.00 | 16.00 | 480.00 | 30.00 | 900.00 | 480.00 | ABHISHEK INTEGRATIONS LIMITED
10.60 | f) 120 sq mm | 30.00 | Each | 263.00 | 44.00 | 1320.00 | 50.00 | 1500.00 | 23.00 | 690.00 | 38.00 | 1140.00 | 23.00 | 690.00 | 40.00 | 1200.00 | 690.00 | ABHISHEK INTEGRATIONS LIMITED, SHREE GOURI ELECTRIC ENTERPRISE
10.70 | g)150 sq mm | 30.00 | Each | 263.00 | 59.00 | 1770.00 | 60.00 | 1800.00 | 30.00 | 900.00 | 44.00 | 1320.00 | 31.00 | 930.00 | 50.00 | 1500.00 | 900.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.80 | h) 185 sq mm | 30.00 | Each | 263.00 | 72.00 | 2160.00 | 70.00 | 2100.00 | 36.00 | 1080.00 | 56.00 | 1680.00 | 39.00 | 1170.00 | 60.00 | 1800.00 | 1080.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.90 | i)240 sq mm | 30.00 | Each | 263.00 | 123.00 | 3690.00 | 80.00 | 2400.00 | 64.00 | 1920.00 | 94.00 | 2820.00 | 64.00 | 1920.00 | 80.00 | 2400.00 | 1920.00 | ABHISHEK INTEGRATIONS LIMITED, SHREE GOURI ELECTRIC ENTERPRISE
11.00 | Supply of following Capacitor for fan with wire terminals suitable to work on 230V,50Hz, AC supply.
11.10 | a) 2.5 MFD Model/ Equivalent | 100.00 | Each | 263.00 | 52.00 | 5200.00 | 20.00 | 2000.00 | 16.00 | 1600.00 | 38.00 | 3800.00 | 23.00 | 2300.00 | 25.00 | 2500.00 | 1600.00 | SHREE GOURI ELECTRIC ENTERPRISE
11.20 | b) 4 MFD Model/ Equivalent | 100.00 | Each | 263.00 | 59.00 | 5900.00 | 45.00 | 4500.00 | 24.00 | 2400.00 | 56.00 | 5600.00 | 26.00 | 2600.00 | 50.00 | 5000.00 | 2400.00 | SHREE GOURI ELECTRIC ENTERPRISE
11.30 | c) 50 MFD for 1 HP Submersible motor. | 10.00 | Each | 263.00 | 283.00 | 2830.00 | 200.00 | 2000.00 | 170.00 | 1700.00 | 275.00 | 2750.00 | 268.00 | 2680.00 | 250.00 | 2500.00 | 1700.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.00 | Supply of SP&N enclosure with 2 pole and Earth Metal Industrial Plug & Socket Board for incorporating 20A SPN / DP MCB. | 5.00 | Each | 263.00 | 950.00 | 4750.00 | 500.00 | 2500.00 | 680.00 | 3400.00 | 1213.00 | 6065.00 | 1927.00 | 9635.00 | 1500.00 | 7500.00 | 2500.00 | M/S AMAR ENTERPRISES
13.00 | Supply of PVC Insulation Tape of 19mm sizes 9mtrs length. | 200.00 | Each | 263.00 | 11.00 | 2200.00 | 10.00 | 2000.00 | 15.00 | 3000.00 | 13.00 | 2600.00 | 12.00 | 2400.00 | 20.00 | 4000.00 | 2000.00 | M/S AMAR ENTERPRISES
14.00 | Supply of Multi Colour HT Insulation Tape .8 mm Thick, 9 Mtr Length 3/4" | 20.00 | Each | 263.00 | 240.00 | 4800.00 | 700.00 | 14000.00 | 65.00 | 1300.00 | 100.00 | 2000.00 | 774.00 | 15480.00 | 800.00 | 16000.00 | 1300.00 | SHREE GOURI ELECTRIC ENTERPRISE
15.00 | Supplying of following sizes of medium class FRLS , PVC Items ISI Marked.
15.10 | (a) PVC Board 4" x 4" | 20.00 | Each | 263.00 | 30.00 | 600.00 | 20.00 | 400.00 | 40.00 | 800.00 | 69.00 | 1380.00 | 36.00 | 720.00 | 30.00 | 600.00 | 400.00 | M/S AMAR ENTERPRISES
15.20 | (b) PVC Board 7"x4" | 50.00 | Each | 263.00 | 48.00 | 2400.00 | 30.00 | 1500.00 | 65.00 | 3250.00 | 105.00 | 5250.00 | 58.00 | 2900.00 | 50.00 | 2500.00 | 1500.00 | M/S AMAR ENTERPRISES
15.30 | (c) PVC Board 6"x8" | 30.00 | Each | 263.00 | 66.00 | 1980.00 | 45.00 | 1350.00 | 95.00 | 2850.00 | 128.00 | 3840.00 | 132.00 | 3960.00 | 50.00 | 1500.00 | 1350.00 | M/S AMAR ENTERPRISES
15.40 | ( d)PVC Board 12x8 | 30.00 | Each | 263.00 | 93.00 | 2790.00 | 55.00 | 1650.00 | 225.00 | 6750.00 | 231.00 | 6930.00 | 173.00 | 5190.00 | 100.00 | 3000.00 | 1650.00 | M/S AMAR ENTERPRISES
15.50 | (e) PVC Saddle 20 mm- packet of minimum 100 Nos | 10.00 | Each | 263.00 | 5.00 | 50.00 | 120.00 | 1200.00 | 500.00 | 5000.00 | 688.00 | 6880.00 | 357.00 | 3570.00 | 25.00 | 250.00 | 50.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
15.60 | (f) PVC Saddle 25mm - packet of minimum 100 Nos | 10.00 | Each | 263.00 | 5.00 | 50.00 | 120.00 | 1200.00 | 600.00 | 6000.00 | 888.00 | 8880.00 | 417.00 | 4170.00 | 25.00 | 250.00 | 50.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
15.70 | (g) Casing-caping 3/4 " wide | 50.00 | Each | 263.00 | 41.00 | 2050.00 | 30.00 | 1500.00 | 39.00 | 1950.00 | 50.00 | 2500.00 | 27.00 | 1350.00 | 40.00 | 2000.00 | 1350.00 | ABHISHEK INTEGRATIONS LIMITED
15.80 | (h) Casiing-caping 1 " wide | 50.00 | Each | 263.00 | 54.00 | 2700.00 | 38.00 | 1900.00 | 49.00 | 2450.00 | 63.00 | 3150.00 | 33.00 | 1650.00 | 50.00 | 2500.00 | 1650.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supplying of following sizes of medium class FRLS , PVC Items ISI Marked.
16.10 | (i) flexible Pipe 20mm | 50.00 | Mtr | 263.00 | 220.00 | 11000.00 | 200.00 | 10000.00 | 9.00 | 450.00 | 38.00 | 1900.00 | 14.00 | 700.00 | 25.00 | 1250.00 | 450.00 | SHREE GOURI ELECTRIC ENTERPRISE
16.20 | (j) flexible Pipe 25mm | 50.00 | Mtr | 263.00 | 230.00 | 11500.00 | 200.00 | 10000.00 | 12.00 | 600.00 | 50.00 | 2500.00 | 18.00 | 900.00 | 25.00 | 1250.00 | 600.00 | SHREE GOURI ELECTRIC ENTERPRISE
17.00 | Supplying of Flush Mounted Metal Box (Hot dip galavnized factory fabricated) of following Size of Module. .
17.10 | (a) 3 Module | 30.00 | Each | 263.00 | 31.00 | 930.00 | 50.00 | 1500.00 | 48.00 | 1440.00 | 88.00 | 2640.00 | 89.00 | 2670.00 | 70.00 | 2100.00 | 930.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.20 | (b) 4 Module | 10.00 | Each | 263.00 | 37.00 | 370.00 | 50.00 | 500.00 | 58.00 | 580.00 | 104.00 | 1040.00 | 114.00 | 1140.00 | 70.00 | 700.00 | 370.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.30 | (c) 6 Module | 30.00 | Each | 263.00 | 41.00 | 1230.00 | 70.00 | 2100.00 | 88.00 | 2640.00 | 126.00 | 3780.00 | 152.00 | 4560.00 | 100.00 | 3000.00 | 1230.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.40 | (d) 8 Module | 10.00 | Each | 263.00 | 62.00 | 620.00 | 93.00 | 930.00 | 105.00 | 1050.00 | 168.00 | 1680.00 | 170.00 | 1700.00 | 125.00 | 1250.00 | 620.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.50 | (e ) 12 Module | 30.00 | Each | 263.00 | 74.00 | 2220.00 | 115.00 | 3450.00 | 135.00 | 4050.00 | 205.00 | 6150.00 | 217.00 | 6510.00 | 160.00 | 4800.00 | 2220.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
18.00 | Supplying of Cover Plate of moulded plastic sheets of following size Modular Boxes .
18.10 | (a) 3 Module | 30.00 | Each | 263.00 | 245.00 | 7350.00 | 40.00 | 1200.00 | 58.00 | 1740.00 | 90.00 | 2700.00 | 80.00 | 2400.00 | 70.00 | 2100.00 | 1200.00 | M/S AMAR ENTERPRISES
18.20 | (b) 4 Module | 10.00 | Each | 263.00 | 390.00 | 3900.00 | 40.00 | 400.00 | 64.00 | 640.00 | 99.00 | 990.00 | 99.00 | 990.00 | 70.00 | 700.00 | 400.00 | M/S AMAR ENTERPRISES
18.30 | (c) 6 Module | 30.00 | Each | 263.00 | 667.00 | 20010.00 | 60.00 | 1800.00 | 98.00 | 2940.00 | 144.00 | 4320.00 | 140.00 | 4200.00 | 80.00 | 2400.00 | 1800.00 | M/S AMAR ENTERPRISES
18.40 | (d) 8 Module | 10.00 | Each | 263.00 | 740.00 | 7400.00 | 80.00 | 800.00 | 122.00 | 1220.00 | 188.00 | 1880.00 | 171.00 | 1710.00 | 100.00 | 1000.00 | 800.00 | M/S AMAR ENTERPRISES
18.50 | ( e ) 12 Module | 30.00 | Each | 263.00 | 1219.00 | 36570.00 | 100.00 | 3000.00 | 140.00 | 4200.00 | 225.00 | 6750.00 | 226.00 | 6780.00 | 160.00 | 4800.00 | 3000.00 | M/S AMAR ENTERPRISES
19.00 | Supplying of following rating of Modular Switches/Sockets etc (White)
19.10 | (a) 6/10 A One way Switch | 60.00 | Each | 263.00 | 39.00 | 2340.00 | 120.00 | 7200.00 | 32.00 | 1920.00 | 35.00 | 2100.00 | 38.00 | 2280.00 | 30.00 | 1800.00 | 1800.00 | B B ENTERPRISES
19.20 | (b) 16 A One way Switch | 60.00 | Each | 263.00 | 116.00 | 6960.00 | 50.00 | 3000.00 | 95.00 | 5700.00 | 93.00 | 5580.00 | 98.00 | 5880.00 | 80.00 | 4800.00 | 3000.00 | M/S AMAR ENTERPRISES
19.30 | (c) 6A 3 Pin Shuttered Socket | 50.00 | Each | 263.00 | 119.00 | 5950.00 | 40.00 | 2000.00 | 82.00 | 4100.00 | 109.00 | 5450.00 | 86.00 | 4300.00 | 80.00 | 4000.00 | 2000.00 | M/S AMAR ENTERPRISES
19.40 | (d) 16A 5 Pin Shuttered Socket | 50.00 | Each | 263.00 | 171.00 | 8550.00 | 70.00 | 3500.00 | 122.00 | 6100.00 | 169.00 | 8450.00 | 149.00 | 7450.00 | 100.00 | 5000.00 | 3500.00 | M/S AMAR ENTERPRISES
20.00 | Supply of Surface Mounting batten for fitting 1X20 Watts LED Tube light. Make- Havells - or Equivalent. | 10.00 | Each | 263.00 | 145.00 | 1450.00 | 140.00 | 1400.00 | 138.00 | 1380.00 | 238.00 | 2380.00 | 274.00 | 2740.00 | 300.00 | 3000.00 | 1380.00 | SHREE GOURI ELECTRIC ENTERPRISE
21.00 | Supply of Surface Mounting 18 Watts batten integrated LED Channel made up of extruded polycorbonate housing & integrated electronic driver to work on 230V, 50HZ, AC supply. Make - Havells LUMILINEBS18W LED or Equivalent. | 200.00 | Each | 263.00 | 221.00 | 44200.00 | 140.00 | 28000.00 | 300.00 | 60000.00 | 220.00 | 44000.00 | 268.00 | 53600.00 | 300.00 | 60000.00 | 28000.00 | M/S AMAR ENTERPRISES
22.00 | Supply of 72 Watt LED street light luminaries having pressure die cast aluminium housing, heat resistant toughened glass with frame, IP 65 or higher protection and uniform distribution of light . Make - Havells ENDURASUNDOWNSL72WLED or equivalent | 5.00 | Each | 263.00 | 2542.00 | 12710.00 | 3000.00 | 15000.00 | 2400.00 | 12000.00 | 2500.00 | 12500.00 | 5655.00 | 28275.00 | 2500.00 | 12500.00 | 12000.00 | SHREE GOURI ELECTRIC ENTERPRISE
23.00 | Supply of 40 Watt LED street light luminaries having pressure die cast aluminium housing, heat resistant toughened glass with frame, IP 65 or higher protection and uniform distribution of light . Make - Havells ENDURASUNDOWNSL40WLED or equivalent | 5.00 | Each | 263.00 | 1676.00 | 8380.00 | 1540.00 | 7700.00 | 1450.00 | 7250.00 | 2000.00 | 10000.00 | 2513.00 | 12565.00 | 2300.00 | 11500.00 | 7250.00 | SHREE GOURI ELECTRIC ENTERPRISE
24.00 | Supply of 80W Watts LED Flood Light, having pressure die cast aluminium housing, heat resistant toughened glass with frame, IP 66 protection and uniform distribution of light .Model Havells JETAALBAFLOODLIGHT80W or equivalent | 5.00 | Each | 263.00 | 2728.00 | 13640.00 | 2200.00 | 11000.00 | 2700.00 | 13500.00 | 4875.00 | 24375.00 | 4516.00 | 22580.00 | 4000.00 | 20000.00 | 11000.00 | M/S AMAR ENTERPRISES
25.00 | Supply of Gate light made of high grade unbreakable polycarbonate material suitable for 20 W LeD lamp B22 base. Make HavellsLexo Prismatic LHFOGAE1T11F015 | 8.00 | Each | 263.00 | 3800.00 | 30400.00 | 2000.00 | 16000.00 | 5750.00 | 46000.00 | 3750.00 | 30000.00 | 726.00 | 5808.00 | 2000.00 | 16000.00 | 5808.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supply of 7 Watts LED Bulb Model Havells LHLDDDBEBI2R007 or similar & equivalent in other approved makes) | 50.00 | Each | 263.00 | 68.00 | 3400.00 | 50.00 | 2500.00 | 70.00 | 3500.00 | 119.00 | 5950.00 | 83.00 | 4150.00 | 100.00 | 5000.00 | 2500.00 | M/S AMAR ENTERPRISES
27.00 | Supply of 100 Watts (Threaded Type) GLS Bulb(Incandescent) with Clear BC, Suitable to work on 230V, 50Hz, AC Supply. | 20.00 | Each | 263.00 | 56.00 | 1120.00 | 20.00 | 400.00 | 20.00 | 400.00 | 88.00 | 1760.00 | 60.00 | 1200.00 | 25.00 | 500.00 | 400.00 | M/S AMAR ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
28.00 | Supply of driver suitable for 72 W LED Street Light Luminaire | 50.00 | Each | 263.00 | 973.00 | 48650.00 | 1500.00 | 75000.00 | 1250.00 | 62500.00 | 1375.00 | 68750.00 | 1428.00 | 71400.00 | 1200.00 | 60000.00 | 48650.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
29.00 | Supply of driver suitable for 36 W LED Street Light Luminaire | 70.00 | Each | 263.00 | 539.00 | 37730.00 | 1500.00 | 105000.00 | 725.00 | 50750.00 | 688.00 | 48160.00 | 643.00 | 45010.00 | 1000.00 | 70000.00 | 37730.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
30.00 | Supply of 5 HP (3.73 KW ) DOL Submersible Pump Starter in SS enclosure incoporating 4 pole contactor, OLR range 17 - 25 Amps, Ammeter, Voltmeter, phase selector switch, Motor ON indication, danger plate, trip indicator etc. | 4.00 | Each | 263.00 | 7569.00 | 30276.00 | 6000.00 | 24000.00 | 9500.00 | 38000.00 | 6575.00 | 26300.00 | 8522.00 | 34088.00 | 6000.00 | 24000.00 | 24000.00 | M/S AMAR ENTERPRISES, B B ENTERPRISES
31.00 | Supply of 1 HP (.75 KW ) Submersible Pump Starter in SS enclosure incoporating 2 pole contactor, OLR, Ammeter, Voltmeter, On/Off Push Button, Motor ON indication with provision of terminal dry run relay | 2.00 | Each | 263.00 | 5692.00 | 11384.00 | 4000.00 | 8000.00 | 8000.00 | 16000.00 | 4769.00 | 9538.00 | 4165.00 | 8330.00 | 4000.00 | 8000.00 | 8000.00 | M/S AMAR ENTERPRISES, B B ENTERPRISES
32.00 | Supply of the following pole Metal enclosure with din rail for mounting MCB/RCCB/Isolators etc.
32.10 | (a) DP Enclosure | 10.00 | Each | 263.00 | 138.00 | 1380.00 | 300.00 | 3000.00 | 235.00 | 2350.00 | 469.00 | 4690.00 | 444.00 | 4440.00 | 400.00 | 4000.00 | 1380.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
32.20 | (b) FP Enclosure | 10.00 | Each | 263.00 | 174.00 | 1740.00 | 300.00 | 3000.00 | 285.00 | 2850.00 | 469.00 | 4690.00 | 444.00 | 4440.00 | 400.00 | 4000.00 | 1740.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
33.00 | Supply of energy saving ceiling fan, 1200 mm sweep suitable for operation on 240V, 50Hz A.C. supply with down rod canopies etc. complete as required. | 50.00 | Each | 263.00 | 1480.00 | 74000.00 | 1800.00 | 90000.00 | 2450.00 | 122500.00 | 1438.00 | 71900.00 | 1702.00 | 85100.00 | 1300.00 | 65000.00 | 65000.00 | B B ENTERPRISES
34.00 | Supply of following size of Metallic heavy duty Exhaust Fan to operate on 1 Phase, 230V 50 Hz Supply.
34.10 | (a) 300 mm | 20.00 | Each | 263.00 | 2470.00 | 49400.00 | 1400.00 | 28000.00 | 2800.00 | 56000.00 | 2313.00 | 46260.00 | 1666.00 | 33320.00 | 2300.00 | 46000.00 | 28000.00 | M/S AMAR ENTERPRISES
35.00 | Supply of 450 mm of Metal Body Pedastal fan to operate on 1 Phase, 230V 50 Hz Supply. | 20.00 | Each | 263.00 | 6040.00 | 120800.00 | 3000.00 | 60000.00 | 6750.00 | 135000.00 | 2875.00 | 57500.00 | 3213.00 | 64260.00 | 5700.00 | 114000.00 | 57500.00 | Awasthi Electric Works
36.00 | Supply of 450 mm of Wall Mounting fan to operate on 1 Phase, 230V 50 Hz Supply. | 20.00 | Each | 263.00 | 5300.00 | 106000.00 | 3500.00 | 70000.00 | 5250.00 | 105000.00 | 5300.00 | 106000.00 | 5563.00 | 111260.00 | 4800.00 | 96000.00 | 70000.00 | M/S AMAR ENTERPRISES
37.00 | Supply of following rating and pole ACB. |  |  | 263.00
37.10 | (a) 2000 Amps, 4P, EDO, 50 KA without protection release with undervoltage release to be used as Bus Coupler ( Make & Model-L & T Upower Omega Model Number - UW120NFD01000). Ics= Icu =100%. Agency must ensure the site requirement before supply of ACB | 1.00 | Each | 263.00 | 286000.00 | 286000.00 | 170000.00 | 170000.00 | 125000.00 | 125000.00 | 175000.00 | 175000.00 | 196742.00 | 196742.00 | 170000.00 | 170000.00 | 125000.00 | SHREE GOURI ELECTRIC ENTERPRISE
38.00 | Supply of ISI marked 2000W Room Heater cum blower | 5.00 | Each | 263.00 | 3100.00 | 15500.00 | 1800.00 | 9000.00 | 1750.00 | 8750.00 | 1250.00 | 6250.00 | 2678.00 | 13390.00 | 2500.00 | 12500.00 | 6250.00 | Awasthi Electric Works
39.00 | Supply of ISI marked 2400 W Oil Filled Room Heater | 4.00 | Each | 263.00 | 11500.00 | 46000.00 | 10000.00 | 40000.00 | 8750.00 | 35000.00 | 10250.00 | 41000.00 | 10889.00 | 43556.00 | 8000.00 | 32000.00 | 32000.00 | B B ENTERPRISES
40.00 | Supply of Tri-Colour Indian National Flag of size 20Ft x 30Ft in 100% shinny Knitted Polyester(160gsm), with reinforced super-strong nylon webbing, double stiched on 3 sides & 4th side sleeve with double hemming on all 4 sides for more durablity as per industry standard top withsatand hasrh weather condition etc complete as per the Flag Code and Specification of the Indian Flag as required. The flags shall be supplied in individual drum packaging with seal to avoid damage due to storage of material for long period upto 01 year. | 20.00 | Each | 263.00 | 8300.00 | 166000.00 | 9000.00 | 180000.00 | 18000.00 | 360000.00 | 18500.00 | 370000.00 | 8687.00 | 173740.00 | 13000.00 | 260000.00 | 166000.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
41.00 | Supply of ISI marked Angle Grinder Machine of minimum output power of 400 W, to be operated on 230 V single phase supply, minimum weight of 1.5 Kg with 01 year warranty. | 1.00 | Each | 263.00 | 2250.00 | 2250.00 | 2200.00 | 2200.00 | 2350.00 | 2350.00 | 4375.00 | 4375.00 | 4629.00 | 4629.00 | 10000.00 | 10000.00 | 2200.00 | M/S AMAR ENTERPRISES
42.00 | Supply of ISI marked 550 W variable speed hammer drill (13 mm) with 01 Year warranty. | 1.00 | Each | 263.00 | 2600.00 | 2600.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 6875.00 | 6875.00 | 4198.00 | 4198.00 | 8000.00 | 8000.00 | 2500.00 | M/S AMAR ENTERPRISES
43.00 | Supply of Kachha Rubber. | 5.00 | kg | 263.00 | 192.00 | 960.00 | 200.00 | 1000.00 | 450.00 | 2250.00 | 438.00 | 2190.00 | 196.00 | 980.00 | 500.00 | 2500.00 | 960.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
44.00 | Supply of ISI marked light weight portable step type SEARCH LIGHT/ DRAGON LIGHT having operating range of more than 400 mtrs (in clear weather) with provision of LED type light of minimum 15 watt , maintenance free recharageable upto 12 volt, min 7AH battery, recharageable from 230volt +/- 15% AC supply with battery charger , just plug and charge ,Toughened & scratch resistant Glass , Housing Material of ABS etc complete as required. | 10.00 | Each | 263.00 | 4340.00 | 43400.00 | 5000.00 | 50000.00 | 8000.00 | 80000.00 | 5575.00 | 55750.00 | 4165.00 | 41650.00 | 10000.00 | 100000.00 | 41650.00 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Supply of 12 volt, 180AH Lead Acid heavy duty Battery (Make Exide Model XP-1800 or equivalent) | 8.00 | Each | 263.00 | 13986.00 | 111888.00 | 15000.00 | 120000.00 | 13000.00 | 104000.00 | 16000.00 | 128000.00 | 15619.00 | 124952.00 | 18000.00 | 144000.00 | 104000.00 | SHREE GOURI ELECTRIC ENTERPRISE
46.00 | Supply of 12 volt, 100 AH Sealed Maintenance Free VRLA Battery (Make Exide Powersafe or equivalent) | 4.00 | Each | 263.00 | 9548.00 | 38192.00 | 7500.00 | 30000.00 | 8000.00 | 32000.00 | 9375.00 | 37500.00 | 8647.00 | 34588.00 | 11000.00 | 44000.00 | 30000.00 | M/S AMAR ENTERPRISES
47.00 | Supply of Electrically Operated Double Mounting siren suitable for operation on single phase and having an audible range minimum upto 1 Kilometers. | 2.00 | Each | 263.00 | 13020.00 | 26040.00 | 4000.00 | 8000.00 | 3250.00 | 6500.00 | 14300.00 | 28600.00 | 11980.00 | 23960.00 | 40000.00 | 80000.00 | 6500.00 | SHREE GOURI ELECTRIC ENTERPRISE
| Total in Figures |  |  |  |  | 1825990.00 |  | 1582315.00 |  | 1881705.00 |  | 1986605.00 |  | 1779972.00 |  | 1916100.00
Lowest Amount Quoted BY: M/S AMAR ENTERPRISES(1582315.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of day to day electrical Spares for E and M Installations at Gaya Airport Gaya. Tender ID: 2024_AAI_180441_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S AMAR ENTERPRISES | 1582315.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 1779972.00 | L2
| 3 | SHREE NURSING TIMBER AND ELECTRIC STORES | 1825990.00 | L3
| 4 | SHREE GOURI ELECTRIC ENTERPRISE | 1881705.00 | L4
| 5 | B B ENTERPRISES | 1916100.00 | L5
| 6 | Awasthi Electric Works | 1986605.00 | L6