## BoQ1
Government eProcurement System Created By: JOSEPHINE JULIANA Created Date/Time: 02-Feb-2024 06:06 PM Tender Title: SITC of ATCS for Chillers at HVAC plant including 5 year CMC Tender ID: 2024_AAI_180579_1
Tender Inviting Authority: AGM Engg(Elect),AMED-VIII,Operational Offices,Chennai Airport.
Name of Work: SITC of Automatic Tube Cleaning System(ATCS) for Chillers at HVAC Plant in Chennai Airport including AICMC Of 5 years.
Tender Id: 2024_AAI_180579_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLTAS LIMITED(GSTN-33AAACV2809DIZT) |  | A. K. Associates(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | a)Supply, Installation, Testing and Commissioning of following Automatic Tube Cleaning system for HT and LT chillers with separate Ball traps and Ball Collectors operated by a single /multiple skid with separate pumps each for injection and collection of balls and a controller suitable for Condenser inlet/outlet size. The ATCS system shall be complete with all valves, fittings, piping, required for the successful operation of the plant control cabling, etc. The ATCS system shall be online with the chiller operation and should not unload the Chiller during cleaning cycle. The ATCS system shall be smart enough to decide to send the balls only to the running chillers and not in standby chillers. Cost will include supply and replacement of sponge balls as and when required for a year. b)Ball Trap - MOC of Carbon Steel, epoxy painted, with SS 304 strainer along with Ball Collectors with clear peri - glass view window with complete valves and fittings, check valves and manual valves. c)ATCS Skid complete with pipings and pump d)Control Panel complete with all Touch screen Colour graphics screen, motor protection, alarms, feedback mechanism, time lead and lag, etc complete with Safety and Control Logics. e)Actuated Motorized valves for Controlling injection and collection seperately.(Lot)
1.10 | HT Chillers ( for 4 nos of 2500 TR) | 1.00 | Job |  | 2580650.00 | 2580650.00 | 1920000.00 | 1920000.00 | 1920000.00 | A. K. Associates
1.20 | LT Chillers ( for 2 nos of 1000 TR) | 1.00 | Job |  | 1032260.00 | 1032260.00 | 627700.00 | 627700.00 | 627700.00 | A. K. Associates
2.00 | All inclusive comprehensive maintenance contract for Automatic tube cleaning system provided in the existing HT & LT Chillers i/c Controller, Ball Traps, replacement of sponge balls & Actuated Motorized valves etc complete as required. the same shall commence after completion of one year (ie DLP) from the actual date of completion.
2.10 | 1st year after DLP | 1.00 | year |  | 108387.00 | 108387.00 | 76431.00 | 76431.00 | 76431.00 | A. K. Associates
2.20 | 2nd year after DLP | 1.00 | year |  | 113807.00 | 113807.00 | 80253.00 | 80253.00 | 80253.00 | A. K. Associates
2.30 | 3rd year after DLP | 1.00 | year |  | 119587.00 | 119587.00 | 84329.00 | 84329.00 | 84329.00 | A. K. Associates
2.40 | 4th year after DLP | 1.00 | year |  | 125368.00 | 125368.00 | 88405.00 | 88405.00 | 88405.00 | A. K. Associates
2.50 | 5th year after DLP | 1.00 | year |  | 131871.00 | 131871.00 | 92991.00 | 92991.00 | 92991.00 | A. K. Associates
| Total in Figures |  |  |  |  | 4211930.00 |  | 2970109.00
Lowest Amount Quoted BY: A. K. Associates(2970109.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of ATCS for Chillers at HVAC plant including 5 year CMC Tender ID: 2024_AAI_180579_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A. K. Associates | 2970109.00 | L1
| 2 | VOLTAS LIMITED | 4211930.00 | L2