## BoQ1
Government eProcurement System Created By: ANKIT JAIN Created Date/Time: 23-Feb-2024 12:19 PM Tender Title: Renovation work of Residential Colony, CISF office and Barack and AAI office and other Non-Operational Area at Agra Airport. Tender ID: 2024_AAI_180925_1
Tender Inviting Authority: Senior Manager(Engg.(C)/AAI,Civil Air Terminal Kheria Agra.
Name of Work:Renovation work of residential colony, CISF Office & Barack and AAI Office & Other Area in Non-operational area at Agra Airport.
Contract No: 2024_AAI_180925_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MINOCHA CONSTRUCTION COMPANY(GSTN-09AFMPM2502A1ZW) |  | ATUL LOGISTICS(GSTN-NA) |  | M/s SUBODH AGARWAL(GSTN-NA) |  | M/s Singh and sons construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS: Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | 15.00 | Each | 0.00 | 100.00 | 1500.00 | 115.00 | 1725.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1500.00 | MINOCHA CONSTRUCTION COMPANY, M/s Singh and sons construction
2.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of s tainless steel members shall be considered excluding fixing accessories such as nuts, bolts, | 1800.00 | Kg | 0.00 | 550.00 | 990000.00 | 450.00 | 810000.00 | 500.00 | 900000.00 | 380.00 | 684000.00 | 684000.00 | M/s Singh and sons construction
3.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete : 125x64x1.90 mm | 104.00 | Each | 0.00 | 100.00 | 10400.00 | 90.00 | 9360.00 | 500.00 | 52000.00 | 40.00 | 4160.00 | 4160.00 | M/s Singh and sons construction
4.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125 mm | 24.00 | Each | 0.00 | 150.00 | 3600.00 | 98.00 | 2352.00 | 2400.00 | 57600.00 | 100.00 | 2400.00 | 2352.00 | ATUL LOGISTICS
5.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge.. | 30.00 | Each | 0.00 | 700.00 | 21000.00 | 800.00 | 24000.00 | 850.00 | 25500.00 | 400.00 | 12000.00 | 12000.00 | M/s Singh and sons construction
6.00 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 30.00 | Each | 0.00 | 100.00 | 3000.00 | 600.00 | 18000.00 | 260.00 | 7800.00 | 300.00 | 9000.00 | 3000.00 | MINOCHA CONSTRUCTION COMPANY
7.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 30.00 | Each | 0.00 | 1000.00 | 30000.00 | 1500.00 | 45000.00 | 900.00 | 27000.00 | 1800.00 | 54000.00 | 27000.00 | M/s SUBODH AGARWAL
8.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : (copper oxidized as per IS: 1378) 250x10 mm | 30.00 | Each | 0.00 | 70.00 | 2100.00 | 250.00 | 7500.00 | 300.00 | 9000.00 | 40.00 | 1200.00 | 1200.00 | M/s Singh and sons construction
9.00 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately. Cement concrete prepared with batch mixing machine | 273.00 | Cum | 0.00 | 6900.00 | 1883700.00 | 6300.00 | 1719900.00 | 8000.00 | 2184000.00 | 6200.00 | 1692600.00 | 1692600.00 | M/s Singh and sons construction
10.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 218.00 | Quintal | 0.00 | 400.00 | 87200.00 | 400.00 | 87200.00 | 600.00 | 130800.00 | 700.00 | 152600.00 | 87200.00 | ATUL LOGISTICS, MINOCHA CONSTRUCTION COMPANY
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for:Foundations, footings, bases of columns, etc. for mass concrete | 68.00 | Sqm | 0.00 | 200.00 | 13600.00 | 300.00 | 20400.00 | 200.00 | 13600.00 | 250.00 | 17000.00 | 13600.00 | MINOCHA CONSTRUCTION COMPANY, M/s SUBODH AGARWAL
12.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 27.00 | Cum | 0.00 | 200.00 | 5400.00 | 2000.00 | 54000.00 | 1500.00 | 40500.00 | 300.00 | 8100.00 | 5400.00 | MINOCHA CONSTRUCTION COMPANY
13.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by echanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete .as per directions of Engineer-in-charge. | 58.00 | Cum | 0.00 | 400.00 | 23200.00 | 600.00 | 34800.00 | 250.00 | 14500.00 | 125.00 | 7250.00 | 7250.00 | M/s Singh and sons construction
14.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge | 403.00 | Cum | 0.00 | 60.00 | 24180.00 | 100.00 | 40300.00 | 60.00 | 24180.00 | 20.00 | 8060.00 | 8060.00 | M/s Singh and sons construction
15.00 | Laying old cement cocrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin- charge. (Old CC paver blocks shall be supplied by the department free of cost). | 288.00 | Sqm | 0.00 | 200.00 | 57600.00 | 300.00 | 86400.00 | 250.00 | 72000.00 | 125.00 | 36000.00 | 36000.00 | M/s Singh and sons construction
16.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 60.00 | Cum | 0.00 | 900.00 | 54000.00 | 2000.00 | 120000.00 | 1600.00 | 96000.00 | 300.00 | 18000.00 | 18000.00 | M/s Singh and sons construction
17.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 43.00 | Cum | 0.00 | 3700.00 | 159100.00 | 5300.00 | 227900.00 | 5500.00 | 236500.00 | 4000.00 | 172000.00 | 159100.00 | MINOCHA CONSTRUCTION COMPANY
18.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 318.00 | Sqm | 0.00 | 755.00 | 240090.00 | 1000.00 | 318000.00 | 1100.00 | 349800.00 | 650.00 | 206700.00 | 206700.00 | M/s Singh and sons construction
19.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 288.00 | Sqm | 0.00 | 60.00 | 17280.00 | 250.00 | 72000.00 | 140.00 | 40320.00 | 10.00 | 2880.00 | 2880.00 | M/s Singh and sons construction
20.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. New work (Two or more coats) | 7.00 | Sqm | 0.00 | 120.00 | 840.00 | 500.00 | 3500.00 | 2000.00 | 14000.00 | 150.00 | 1050.00 | 840.00 | MINOCHA CONSTRUCTION COMPANY
21.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 6.00 | Cum | 0.00 | 7000.00 | 42000.00 | 12000.00 | 72000.00 | 7800.00 | 46800.00 | 10000.00 | 60000.00 | 42000.00 | MINOCHA CONSTRUCTION COMPANY
22.00 | Providing and fixing Black And Yellow Rubber Speed Breaker, For Road, with necessary screws etc. complete :500 X 400 X 75 Mm | 30.00 | Mtrs | 0.00 | 1500.00 | 45000.00 | 2500.00 | 75000.00 | 4000.00 | 120000.00 | 2500.00 | 75000.00 | 45000.00 | MINOCHA CONSTRUCTION COMPANY
23.00 | Providing and fixing ISI marked, IS : 1341, SOLAR ROAD STUD (CAT EYE), Solar panel 0.3W 45X65mm with necessary screws etc. complete :115MMX100MMX22MM | 30.00 | Nos | 0.00 | 800.00 | 24000.00 | 1200.00 | 36000.00 | 2000.00 | 60000.00 | 1500.00 | 45000.00 | 24000.00 | MINOCHA CONSTRUCTION COMPANY
24.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 90.72 | Cum | 0.00 | 120.00 | 10886.40 | 250.00 | 22680.00 | 200.00 | 18144.00 | 100.00 | 9072.00 | 9072.00 | M/s Singh and sons construction
25.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 24.10 | Cum | 0.00 | 3700.00 | 89170.00 | 5500.00 | 132550.00 | 5600.00 | 134960.00 | 4000.00 | 96400.00 | 89170.00 | MINOCHA CONSTRUCTION COMPANY
26.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 56.00 | Cum | 0.00 | 5500.00 | 308000.00 | 5800.00 | 324800.00 | 5700.00 | 319200.00 | 5000.00 | 280000.00 | 280000.00 | M/s Singh and sons construction
27.00 | 12 mm cement plaster of mix :1:4 (1 cement: 4 fine sand) | 503.00 | Sqm | 0.00 | 180.00 | 90540.00 | 200.00 | 100600.00 | 250.00 | 125750.00 | 250.00 | 125750.00 | 90540.00 | MINOCHA CONSTRUCTION COMPANY
28.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 504.00 | Kg | 0.00 | 85.00 | 42840.00 | 100.00 | 50400.00 | 100.00 | 50400.00 | 100.00 | 50400.00 | 42840.00 | MINOCHA CONSTRUCTION COMPANY
29.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :One or more coats on old work | 161.00 | Sqm | 0.00 | 60.00 | 9660.00 | 100.00 | 16100.00 | 150.00 | 24150.00 | 40.00 | 6440.00 | 6440.00 | M/s Singh and sons construction
30.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 520.00 | Sqm | 0.00 | 110.00 | 57200.00 | 120.00 | 62400.00 | 130.00 | 67600.00 | 120.00 | 62400.00 | 57200.00 | MINOCHA CONSTRUCTION COMPANY
31.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth | 159.00 | Sqm | 0.00 | 200.00 | 31800.00 | 670.00 | 106530.00 | 570.00 | 90630.00 | 350.00 | 55650.00 | 31800.00 | MINOCHA CONSTRUCTION COMPANY
32.00 | Brick edging laid lengthwise with half brick depth including excavation, refilling and disposal of surplus earth lead upto 50 metres : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 168.00 | Mtrs | 0.00 | 150.00 | 25200.00 | 170.00 | 28560.00 | 60.00 | 10080.00 | 140.00 | 23520.00 | 10080.00 | M/s SUBODH AGARWAL
33.00 | Supplying and stacking at site. Good earth | 78.00 | Cum | 0.00 | 700.00 | 54600.00 | 1000.00 | 78000.00 | 800.00 | 62400.00 | 250.00 | 19500.00 | 19500.00 | M/s Singh and sons construction
34.00 | Providing, placing and fixing Artificial grass of Pile height 40mm (heavy duty) DTEX-8800,tuft gauge 3 to 8 inch, stiches 180s/m with double backing with monofilamnet or curly yarn . The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in- Charge. | 30.00 | Sqm | 0.00 | 1000.00 | 30000.00 | 1200.00 | 36000.00 | 2000.00 | 60000.00 | 1200.00 | 36000.00 | 30000.00 | MINOCHA CONSTRUCTION COMPANY
35.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 275.00 | Cum | 0.00 | 30.00 | 8250.00 | 40.00 | 11000.00 | 20.00 | 5500.00 | 20.00 | 5500.00 | 5500.00 | M/s Singh and sons construction, M/s SUBODH AGARWAL
36.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 75.00 | Cum | 0.00 | 3700.00 | 277500.00 | 5300.00 | 397500.00 | 4500.00 | 337500.00 | 3600.00 | 270000.00 | 270000.00 | M/s Singh and sons construction
37.00 | Providing and laying matt finished vitrified tile of size 100x100x16mm having water absorption less than 0.5% and conforming to IS: 15622 of approved make in all colours and shades in out door floors such as footpath, court yard multi models etc., laid on 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as direction of Engineer-in-Charge. | 75.00 | Sqm | 0.00 | 1800.00 | 135000.00 | 1000.00 | 75000.00 | 1300.00 | 97500.00 | 800.00 | 60000.00 | 60000.00 | M/s Singh and sons construction
38.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 300.00 | Kg | 0.00 | 85.00 | 25500.00 | 100.00 | 30000.00 | 120.00 | 36000.00 | 100.00 | 30000.00 | 25500.00 | MINOCHA CONSTRUCTION COMPANY
39.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 400.00 | Kg | 0.00 | 120.00 | 48000.00 | 120.00 | 48000.00 | 140.00 | 56000.00 | 120.00 | 48000.00 | 48000.00 | ATUL LOGISTICS, MINOCHA CONSTRUCTION COMPANY, M/s Singh and sons construction
40.00 | Providing and laying 500x500x40 mm thick Turf paver (Turfpave XD) on 150 mm thick sub grade of compacted bed of 20 mm thick nominal size stone aggregate and base course and filling with 150 mm thick jamuna sand, including spreading, well ramming, consolidating and finishing smooth etc. all complete as per direction of Engineer-in-charge. | 60.00 | Sqm | 0.00 | 1395.00 | 83700.00 | 2000.00 | 120000.00 | 1400.00 | 84000.00 | 1000.00 | 60000.00 | 60000.00 | M/s Singh and sons construction
41.00 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | 80.00 | Sqm | 0.00 | 1100.00 | 88000.00 | 1200.00 | 96000.00 | 1300.00 | 104000.00 | 600.00 | 48000.00 | 48000.00 | M/s Singh and sons construction
42.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of pproved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | 800.00 | Sqm | 0.00 | 60.00 | 48000.00 | 90.00 | 72000.00 | 90.00 | 72000.00 | 50.00 | 40000.00 | 40000.00 | M/s Singh and sons construction
43.00 | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives. New work (Two or more coats applied @ 1.43 litre/ 10 sqm. Over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm. | 2610.00 | Sqm | 0.00 | 70.00 | 182700.00 | 100.00 | 261000.00 | 135.00 | 352350.00 | 70.00 | 182700.00 | 182700.00 | MINOCHA CONSTRUCTION COMPANY, M/s Singh and sons construction
44.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 780.00 | Sqm | 0.00 | 60.00 | 46800.00 | 100.00 | 78000.00 | 120.00 | 93600.00 | 80.00 | 62400.00 | 46800.00 | MINOCHA CONSTRUCTION COMPANY
45.00 | Painting (two or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive itumastic paint of approved brand and manufacture, over and including a priming of ready mixed zinc chromate yellow primer on new work: 100 mm diameter pipes | 240.00 | Mtrs | 0.00 | 55.00 | 13200.00 | 80.00 | 19200.00 | 55.00 | 13200.00 | 10.00 | 2400.00 | 2400.00 | M/s Singh and sons construction
46.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 1540.00 | Sqm | 0.00 | 8.00 | 12320.00 | 10.00 | 15400.00 | 100.00 | 154000.00 | 12.00 | 18480.00 | 12320.00 | MINOCHA CONSTRUCTION COMPANY
47.00 | Repair to plaster of thickness 12mm to 20 mm in patches of area 2.5 sqm and under, including cutting the patch in proper shape, raking out joints and preparing plastering the wall surface with white cement based polymer modified self curing mortar, including disposal of rubbish, all complete as per the direction of Engineer-In-Charge. | 100.00 | Sqm | 0.00 | 200.00 | 20000.00 | 800.00 | 80000.00 | 350.00 | 35000.00 | 320.00 | 32000.00 | 20000.00 | MINOCHA CONSTRUCTION COMPANY
48.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and anufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1640.00 | Sqm | 0.00 | 60.00 | 98400.00 | 80.00 | 131200.00 | 100.00 | 164000.00 | 40.00 | 65600.00 | 65600.00 | M/s Singh and sons construction
49.00 | Distempering with 1st quality acrylic distemper, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to chieve even shade and colour. One coat | 780.00 | Sqm | 0.00 | 25.00 | 19500.00 | 50.00 | 39000.00 | 85.00 | 66300.00 | 30.00 | 23400.00 | 19500.00 | MINOCHA CONSTRUCTION COMPANY
50.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) :With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 12.00 | Nos | 0.00 | 8000.00 | 96000.00 | 12000.00 | 144000.00 | 18000.00 | 216000.00 | 10000.00 | 120000.00 | 96000.00 | MINOCHA CONSTRUCTION COMPANY
51.00 | Raising manhole cover and frame slab to required level including dismantling existing slab and making good the damage as required (Raising depth of manhole to be paid separately) : Rectangular manhole 90x80 cm with rectangular cover 600 x 450 mm of grade LD - 2.5 | 8.00 | Nos | 0.00 | 1800.00 | 14400.00 | 4000.00 | 32000.00 | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 8000.00 | M/s Singh and sons construction
52.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : 19.21.1 For pipes 100 to 250 mm diameter | 8.00 | Nos | 0.00 | 500.00 | 4000.00 | 1000.00 | 8000.00 | 600.00 | 4800.00 | 500.00 | 4000.00 | 4000.00 | MINOCHA CONSTRUCTION COMPANY, M/s Singh and sons construction
53.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 100 mm diameter | 40.00 | Mtrs | 0.00 | 250.00 | 10000.00 | 360.00 | 14400.00 | 300.00 | 12000.00 | 400.00 | 16000.00 | 10000.00 | MINOCHA CONSTRUCTION COMPANY
54.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 100 mm diameter S.W. pipe | 40.00 | Mtrs | 0.00 | 400.00 | 16000.00 | 880.00 | 35200.00 | 360.00 | 14400.00 | 400.00 | 16000.00 | 14400.00 | M/s SUBODH AGARWAL
55.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Nos | 0.00 | 25000.00 | 25000.00 | 150000.00 | 150000.00 | 40000.00 | 40000.00 | 65000.00 | 65000.00 | 25000.00 | MINOCHA CONSTRUCTION COMPANY
56.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | 109.00 | Nos | 0.00 | 30.00 | 3270.00 | 100.00 | 10900.00 | 500.00 | 54500.00 | 80.00 | 8720.00 | 3270.00 | MINOCHA CONSTRUCTION COMPANY
57.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/ window/ clerestory windows & desertory other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 45 x 70 mm | 640.00 | Mtrs | 0.00 | 700.00 | 448000.00 | 320.00 | 204800.00 | 500.00 | 320000.00 | 1500.00 | 960000.00 | 204800.00 | ATUL LOGISTICS
58.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 192.00 | Sqm | 0.00 | 2800.00 | 537600.00 | 3500.00 | 672000.00 | 2800.00 | 537600.00 | 3000.00 | 576000.00 | 537600.00 | MINOCHA CONSTRUCTION COMPANY, M/s SUBODH AGARWAL
59.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. Each | 95.00 | Nos | 0.00 | 700.00 | 66500.00 | 700.00 | 66500.00 | 800.00 | 76000.00 | 2100.00 | 199500.00 | 66500.00 | ATUL LOGISTICS, MINOCHA CONSTRUCTION COMPANY
60.00 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 116.00 | Each | 0.00 | 200.00 | 23200.00 | 200.00 | 23200.00 | 230.00 | 26680.00 | 300.00 | 34800.00 | 23200.00 | ATUL LOGISTICS, MINOCHA CONSTRUCTION COMPANY
61.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete : 125x64x1.90 mm | 355.00 | Nos | 0.00 | 90.00 | 31950.00 | 100.00 | 35500.00 | 200.00 | 71000.00 | 20.00 | 7100.00 | 7100.00 | M/s Singh and sons construction
62.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 80 mm | 471.00 | Nos | 0.00 | 110.00 | 51810.00 | 50.00 | 23550.00 | 50.00 | 23550.00 | 18.00 | 8478.00 | 8478.00 | M/s Singh and sons construction
63.00 | Providing and fixing ISI marked Godrej Locks 5808 Classic Cylindrical Stainless Steel bright finished with necessary screws etc. all complete as per the direction of Engineer-In-Charge. | 28.00 | Each | 0.00 | 900.00 | 25200.00 | 1000.00 | 28000.00 | 1200.00 | 33600.00 | 2000.00 | 56000.00 | 25200.00 | MINOCHA CONSTRUCTION COMPANY
64.00 | Providing and fixing ISI marked Magic Eye finished with necessary screws etc. all complete as per the direction of Engineer-In-Charge. | 13.00 | Each | 0.00 | 250.00 | 3250.00 | 300.00 | 3900.00 | 1400.00 | 18200.00 | 400.00 | 5200.00 | 3250.00 | MINOCHA CONSTRUCTION COMPANY
65.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion, Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 896.00 | Kg | 0.00 | 500.00 | 448000.00 | 350.00 | 313600.00 | 500.00 | 448000.00 | 415.00 | 371840.00 | 313600.00 | ATUL LOGISTICS
66.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for eparately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 806.00 | Kg | 0.00 | 440.00 | 354640.00 | 400.00 | 322400.00 | 500.00 | 403000.00 | 415.00 | 334490.00 | 322400.00 | ATUL LOGISTICS
67.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately | 11500.00 | Per Litre | 0.00 | 10.00 | 115000.00 | 8.00 | 92000.00 | 8.00 | 92000.00 | 9.00 | 103500.00 | 92000.00 | ATUL LOGISTICS, M/s SUBODH AGARWAL
68.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 13.00 | Nos | 0.00 | 100.00 | 1300.00 | 200.00 | 2600.00 | 450.00 | 5850.00 | 60.00 | 780.00 | 780.00 | M/s Singh and sons construction
69.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 260.00 | Sqm | 0.00 | 40.00 | 10400.00 | 55.00 | 14300.00 | 200.00 | 52000.00 | 15.00 | 3900.00 | 3900.00 | M/s Singh and sons construction
70.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 1090.00 | Mtrs | 0.00 | 360.00 | 392400.00 | 400.00 | 436000.00 | 380.00 | 414200.00 | 140.00 | 152600.00 | 152600.00 | M/s Singh and sons construction
71.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 1090.00 | Mtrs | 0.00 | 390.00 | 425100.00 | 490.00 | 534100.00 | 444.00 | 483960.00 | 180.00 | 196200.00 | 196200.00 | M/s Singh and sons construction
72.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 71.00 | Nos | 0.00 | 700.00 | 49700.00 | 850.00 | 60350.00 | 513.00 | 36423.00 | 1100.00 | 78100.00 | 36423.00 | M/s SUBODH AGARWAL
73.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 71.00 | Nos | 0.00 | 500.00 | 35500.00 | 700.00 | 49700.00 | 560.00 | 39760.00 | 900.00 | 63900.00 | 35500.00 | MINOCHA CONSTRUCTION COMPANY
74.00 | Providing and fixing PTMT soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | 56.00 | Nos | 0.00 | 100.00 | 5600.00 | 200.00 | 11200.00 | 130.00 | 7280.00 | 200.00 | 11200.00 | 5600.00 | MINOCHA CONSTRUCTION COMPANY
75.00 | Providing and fixing vitreous china dual purpose closet suitable for use as squatting pan or European type water closet (Anglo Indian W.C pan) with seat & lid fixed with C.P. brass hinges and rubber buffers, 10 litre low level flushing cistern with fitting and brackets, 40 mm flush bend, 20 mm over flow pipe, with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required: White vitreous china dual purpose WC pan with white solid plastic seat and lid with white vitreous china flushing cistern and C.P. flush bend. | 20.00 | Nos | 0.00 | 8000.00 | 160000.00 | 6500.00 | 130000.00 | 9311.00 | 186220.00 | 5000.00 | 100000.00 | 100000.00 | M/s Singh and sons construction
76.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 13.00 | Nos | 0.00 | 250.00 | 3250.00 | 1200.00 | 15600.00 | 600.00 | 7800.00 | 600.00 | 7800.00 | 3250.00 | MINOCHA CONSTRUCTION COMPANY
77.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 13.00 | Nos | 0.00 | 2300.00 | 29900.00 | 3500.00 | 45500.00 | 2600.00 | 33800.00 | 4000.00 | 52000.00 | 29900.00 | MINOCHA CONSTRUCTION COMPANY
78.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 13.00 | Nos | 0.00 | 6000.00 | 78000.00 | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 65000.00 | ATUL LOGISTICS, M/s Singh and sons construction, M/s SUBODH AGARWAL
79.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 219.00 | Sqm | 0.00 | 750.00 | 164250.00 | 900.00 | 197100.00 | 950.00 | 208050.00 | 900.00 | 197100.00 | 164250.00 | MINOCHA CONSTRUCTION COMPANY
80.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc.,complete. | 343.00 | Sqm | 0.00 | 700.00 | 240100.00 | 900.00 | 308700.00 | 861.00 | 295323.00 | 600.00 | 205800.00 | 205800.00 | M/s Singh and sons construction
81.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore | 13.00 | Nos | 0.00 | 200.00 | 2600.00 | 500.00 | 6500.00 | 650.00 | 8450.00 | 100.00 | 1300.00 | 1300.00 | M/s Singh and sons construction
82.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 145.00 | Sqm | 0.00 | 3000.00 | 435000.00 | 3300.00 | 478500.00 | 3300.00 | 478500.00 | 3000.00 | 435000.00 | 435000.00 | MINOCHA CONSTRUCTION COMPANY, M/s Singh and sons construction
83.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesive for cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of irgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/ mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel piano hinges/soft close clip on concealed hinges and necessary S.S screws shall be paid separately) 18 mm thick | 24.00 | Sqm | 0.00 | 3200.00 | 76800.00 | 2800.00 | 67200.00 | 1800.00 | 43200.00 | 3500.00 | 84000.00 | 43200.00 | M/s SUBODH AGARWAL
84.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 22.00 | Kg | 0.00 | 600.00 | 13200.00 | 800.00 | 17600.00 | 150.00 | 3300.00 | 120.00 | 2640.00 | 2640.00 | M/s Singh and sons construction
85.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 82.00 | Cum | 0.00 | 5200.00 | 426400.00 | 6300.00 | 516600.00 | 7510.00 | 615820.00 | 5400.00 | 442800.00 | 426400.00 | MINOCHA CONSTRUCTION COMPANY
86.00 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface. | 466.00 | Mtrs | 0.00 | 100.00 | 46600.00 | 100.00 | 46600.00 | 180.00 | 83880.00 | 38.00 | 17708.00 | 17708.00 | M/s Singh and sons construction
87.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 466.00 | Mtrs | 0.00 | 200.00 | 93200.00 | 150.00 | 69900.00 | 220.00 | 102520.00 | 38.00 | 17708.00 | 17708.00 | M/s Singh and sons construction
88.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 18.00 | Each | 0.00 | 300.00 | 5400.00 | 500.00 | 9000.00 | 226.00 | 4068.00 | 200.00 | 3600.00 | 3600.00 | M/s Singh and sons construction
89.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | 13.00 | Per Bag Of Cement | 0.00 | 100.00 | 1300.00 | 300.00 | 3900.00 | 400.00 | 5200.00 | 350.00 | 4550.00 | 1300.00 | MINOCHA CONSTRUCTION COMPANY
90.00 | Supplying and applying bituminous solution primer on roof and / or wall surface at 0.24 litre per sqm. | 755.00 | Sqm | 0.00 | 50.00 | 37750.00 | 100.00 | 75500.00 | 60.00 | 45300.00 | 20.00 | 15100.00 | 15100.00 | M/s Singh and sons construction
91.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 16.00 | Cum | 0.00 | 6000.00 | 96000.00 | 6500.00 | 104000.00 | 6300.00 | 100800.00 | 5500.00 | 88000.00 | 88000.00 | M/s Singh and sons construction
92.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of ottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 72.00 | Cum | 0.00 | 150.00 | 10800.00 | 200.00 | 14400.00 | 250.00 | 18000.00 | 115.00 | 8280.00 | 8280.00 | M/s Singh and sons construction
93.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 20.00 | Mtrs | 0.00 | 300.00 | 6000.00 | 305.00 | 6100.00 | 500.00 | 10000.00 | 300.00 | 6000.00 | 6000.00 | MINOCHA CONSTRUCTION COMPANY, M/s Singh and sons construction
94.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural so rces) | 13.00 | Cum | 0.00 | 6500.00 | 84500.00 | 7000.00 | 91000.00 | 7300.00 | 94900.00 | 6000.00 | 78000.00 | 78000.00 | M/s Singh and sons construction
95.00 | Providing and fixing Glass mossaic tiles on finished plain wall surface of size 20 mm x 20 mm x 4 mm in all colour, design , fixing in customize design as per direction of Engineer-in- Charge. The glass mosaic tiles to be fixed on the wall surface with the help of approved adhesive applied at the rate of 2.5 kg per sqm and grouting of the same. The rate is inclusive of all operation, material and required pattern approved by Engineer-in-Charge: | 52.00 | Sqm | 0.00 | 3000.00 | 156000.00 | 2000.00 | 104000.00 | 3200.00 | 166400.00 | 2800.00 | 145600.00 | 104000.00 | ATUL LOGISTICS
96.00 | Supply and erection of road barriers (good quality). with proper bonding system As per the instructions of the Engineer in Charge | 20.00 | Each | 0.00 | 6000.00 | 120000.00 | 3000.00 | 60000.00 | 5000.00 | 100000.00 | 1000.00 | 20000.00 | 20000.00 | M/s Singh and sons construction
97.00 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately.Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer | 777.97 | Cum | 0.00 | 7500.00 | 5834775.00 | 6300.00 | 4901211.00 | 7600.00 | 5912572.00 | 6500.00 | 5056805.00 | 4901211.00 | ATUL LOGISTICS
98.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 226.05 | Sqm | 0.00 | 250.00 | 56512.50 | 300.00 | 67815.00 | 200.00 | 45210.00 | 250.00 | 56512.50 | 45210.00 | M/s SUBODH AGARWAL
99.00 | Providing and filling in position, blown bitumen in expansion joints. | 3.36 | Cum | 0.00 | 46000.00 | 154560.00 | 55000.00 | 184800.00 | 63000.00 | 211680.00 | 25000.00 | 84000.00 | 84000.00 | M/s Singh and sons construction
100.00 | providing and mixing water proofing materia lELEPHANT SHIELD make - LIQUID RUBBER of approved Make for water proofing treatment of damaged portion as per manufacturer's specification. | 60.00 | Litre | 0.00 | 500.00 | 30000.00 | 750.00 | 45000.00 | 500.00 | 30000.00 | 1000.00 | 60000.00 | 30000.00 | MINOCHA CONSTRUCTION COMPANY, M/s SUBODH AGARWAL
101.00 | providing and mixing water proofing materia lELEPHANT SHIELD make - LIQUID RUBBER of approved Make for water proofing treatment of damaged portion as per manufacturer's specification. | 60.00 | Litre | 0.00 | 500.00 | 30000.00 | 400.00 | 24000.00 | 500.00 | 30000.00 | 300.00 | 18000.00 | 18000.00 | M/s Singh and sons construction
102.00 | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos emulsifiable concentrate of 20% | 300.00 | Litre | 0.00 | 200.00 | 60000.00 | 350.00 | 105000.00 | 800.00 | 240000.00 | 340.00 | 102000.00 | 60000.00 | MINOCHA CONSTRUCTION COMPANY
103.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineerin-charge.e. | 80.00 | Each | 0.00 | 1500.00 | 120000.00 | 1000.00 | 80000.00 | 1500.00 | 120000.00 | 800.00 | 64000.00 | 64000.00 | M/s Singh and sons construction
104.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: With Chlorpyriphos E.C. 20% with 1% concentration | 4500.00 | Sqm | 0.00 | 200.00 | 900000.00 | 150.00 | 675000.00 | 250.00 | 1125000.00 | 25.00 | 112500.00 | 112500.00 | M/s Singh and sons construction
105.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment of existing masonry using chemical emulsion @ one litre per hole at 300 mm interval including drilling holes at 45 degree and plugging them with cement mortar 1:2 (1 cement : 2 coarse sand) to the full depth of the hole : With Chlorpyriphos E.C. 20% with 1% concentration | 7650.00 | Mtrs | 0.00 | 25.00 | 191250.00 | 40.00 | 306000.00 | 35.00 | 267750.00 | 8.00 | 61200.00 | 61200.00 | M/s Singh and sons construction
| Total in Figures |  |  |  |  | 18453523.90 |  | 18426983.00 |  | 21269210.00 |  | 15998423.50
Lowest Amount Quoted BY: M/s Singh and sons construction(15998423.50)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation work of Residential Colony, CISF office and Barack and AAI office and other Non-Operational Area at Agra Airport. Tender ID: 2024_AAI_180925_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Singh and sons construction | 15998423.50 | L1
| 2 | ATUL LOGISTICS | 18426983.00 | L2
| 3 | MINOCHA CONSTRUCTION COMPANY | 18453523.90 | L3
| 4 | M/s SUBODH AGARWAL | 21269210.00 | L4