## BoQ1
Government eProcurement System Created By: PARAPPIL GOPAL GOPALAKRISHNAN Created Date/Time: 08-Mar-2024 05:20 PM Tender Title: Construction of Staff quarters at Coimbatore International Airport. SH Provision of Mosquito mesh, UPVC windows and other ancillary works in Staff Quarters Tender ID: 2024_AAI_181331_1
Tender Inviting Authority: Sr. Manager (E-C)
Name of Work: Construction of Staff quarters at Coimbatore International Airport and construction of New Residential Staff quarters, CISF barracks, Dog Kennel and community hall at Old Wireless Station at Trichy Airport. SH: Provision of Mosquito mesh, Upvc windows and other ancillary works in Staff Quarters
Contract No: W-36/2023-24/SM(E-C)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMAN FABRICATORS AND CONTRACTORS(GSTN-30ALDPP2860M1Z2) |  | BLESSO CONSTRUCTIONS(GSTN-33ABIPC9066F1ZS) |  | Classicon Projects India Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron | 2200.00 | kg | 100.00 | 515.00 | 1133000.00 | 650.00 | 1430000.00 | 480.00 | 1056000.00 | 1056000.00 | Classicon Projects India Pvt. Ltd.
2.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron | 5850.00 | kg | 100.00 | 550.00 | 3217500.00 | 650.00 | 3802500.00 | 520.00 | 3042000.00 | 3042000.00 | Classicon Projects India Pvt. Ltd.
3.00 | Providing and fixing Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture in existing frame, etc complete as per direction of EIC | 1300.00 | Sqm | 100.00 | 320.00 | 416000.00 | 1200.00 | 1560000.00 | 500.00 | 650000.00 | 416000.00 | SUMAN FABRICATORS AND CONTRACTORS
4.00 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : Kiln seasoned and chemically treated hollock wood : 50x20 mm | 620.00 | meter | 100.00 | 225.00 | 139500.00 | 100.00 | 62000.00 | 140.00 | 86800.00 | 62000.00 | BLESSO CONSTRUCTIONS
5.00 | Providing and fixing velcron over the existing wooden beading using nail or as required at site as directed by EIC | 620.00 | meter | 100.00 | 150.00 | 93000.00 | 50.00 | 31000.00 | 30.00 | 18600.00 | 18600.00 | Classicon Projects India Pvt. Ltd.
6.00 | Providing and fixing mosquito proof of PVC fibre mesh over frames of windows, ventilators, etc. fixing arrangement like Velcron strip over wooden frames including stiching, etc complete as per direction of EIC | 250.00 | Sqm | 100.00 | 285.00 | 71250.00 | 100.00 | 25000.00 | 220.00 | 55000.00 | 25000.00 | BLESSO CONSTRUCTIONS
7.00 | Providing and fixing factory made uPVC white colour sliding/cum fixed glazed window in required dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm upto floor 5th level & from floor 5th level onwards 2.20 ± 0.2mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads, uPVC extruded interlocks and uPVC extruded Inline sash adaptor (if required), TPE (Thermo plastic elastometers) / EPDM gasket, wool pile, zinc alloy (white powder coated) handle on one side of extreme panel along with zinc plated mild steel multi point locking having transmission gear with keeps, zinc alloy (white powder coated) touch lock with hook (if required for wire mesh panel), stainless steel (SS 304 grade) body with adjustable double nylon rollers (weight bearing capacity to be 120 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, i/c 5mm thick clear glass Single / double glass panes of approved makes. all complete as per approved drawing & direction of Engineer-in-Charge. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Note: For uPVC frame and sash extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable Two track two panels sliding window made of frame 60*45 mm / 60*52 mm or equivalent & sash 39*58mm/44*60 mm or equivalent and for fixed window made of frame 60*55 mm/60*58 mm or equivalent both having wall thickness of 2.3 ± 0.2 mm and clear single glazing bead / double glazing bead of appropriate dimension. | 340.00 | Sqm | 100.00 | 6800.00 | 2312000.00 | 7800.00 | 2652000.00 | 6200.00 | 2108000.00 | 2108000.00 | Classicon Projects India Pvt. Ltd.
8.00 | Providing and fixing factory made uPVC white colour casement/casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm upto floor 5th level & from floor 5th level onwards 2.20 ± 0.2mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, TPE / EPDM gasket, stainless steel (SS 304 grade) 16" friction stay hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, i/c 5mm thick clear glass Single / double glass panes of approved brand and silicon sealant all complete as per approved drawing & direction of Engineer-in-Charge. . Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerancein dimension i.e. in depth & width of profile shall be acceptable : Casement window single /double panels with S.S. 16" friction stay hinges made of frame 58*60 mm / 60*55 mm or equivalent, sash 78*60 mm / 75*60mm or equivalent & mullion 74*60 mm / 72*60 mm or equivalent of approved brand all having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. | 50.00 | Sqm | 100.00 | 6400.00 | 320000.00 | 7800.00 | 390000.00 | 9000.00 | 450000.00 | 320000.00 | SUMAN FABRICATORS AND CONTRACTORS
9.00 | Supplying and filling of coarse sand in Childrens park area including dressing complete etc as directed by EIC. (Note: Measurement will be made for loose sand after deducting voids ) | 150.00 | Cum | 100.00 | 6900.00 | 1035000.00 | 2000.00 | 300000.00 | 4200.00 | 630000.00 | 300000.00 | BLESSO CONSTRUCTIONS
10.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 20.00 | Sqm | 100.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 100.00 | 2000.00 | 2000.00 | Classicon Projects India Pvt. Ltd.
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 30.00 | Cum | 100.00 | 3500.00 | 105000.00 | 7000.00 | 210000.00 | 5000.00 | 150000.00 | 105000.00 | SUMAN FABRICATORS AND CONTRACTORS
12.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | 35.00 | Cum | 100.00 | 75.00 | 2625.00 | 350.00 | 12250.00 | 250.00 | 8750.00 | 2625.00 | SUMAN FABRICATORS AND CONTRACTORS
13.00 | Carriage of material By Mechanical Transport and stacking: -earth upto 2 km | 35.00 | Cum | 100.00 | 150.00 | 5250.00 | 350.00 | 12250.00 | 700.00 | 24500.00 | 5250.00 | SUMAN FABRICATORS AND CONTRACTORS
14.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete | 20.00 | Cum | 100.00 | 1500.00 | 30000.00 | 2000.00 | 40000.00 | 2100.00 | 42000.00 | 30000.00 | SUMAN FABRICATORS AND CONTRACTORS
15.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 6.00 | Cum | 100.00 | 5000.00 | 30000.00 | 9000.00 | 54000.00 | 7500.00 | 45000.00 | 30000.00 | SUMAN FABRICATORS AND CONTRACTORS
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 900.00 | kg | 100.00 | 86.00 | 77400.00 | 100.00 | 90000.00 | 95.00 | 85500.00 | 77400.00 | SUMAN FABRICATORS AND CONTRACTORS
17.00 | Providing and laying factory made Precast concrete solid blocks of 200 mm thickness of grade M10 made of C&D waste from approved manufacturer in superstructure above plinth level up to floor V level : Cement mortar 1:6 (1 cement : 6 coarse sand) | 90.00 | Cum | 100.00 | 5500.00 | 495000.00 | 9000.00 | 810000.00 | 7000.00 | 630000.00 | 495000.00 | SUMAN FABRICATORS AND CONTRACTORS
18.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.00 | Cum | 100.00 | 15000.00 | 45000.00 | 9000.00 | 27000.00 | 9000.00 | 27000.00 | 27000.00 | Classicon Projects India Pvt. Ltd., BLESSO CONSTRUCTIONS
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 300.00 | Kg | 100.00 | 86.00 | 25800.00 | 100.00 | 30000.00 | 95.00 | 28500.00 | 25800.00 | SUMAN FABRICATORS AND CONTRACTORS
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 35.00 | Sqm | 100.00 | 250.00 | 8750.00 | 600.00 | 21000.00 | 700.00 | 24500.00 | 8750.00 | SUMAN FABRICATORS AND CONTRACTORS
21.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 300.00 | Sqm | 100.00 | 300.00 | 90000.00 | 400.00 | 120000.00 | 350.00 | 105000.00 | 90000.00 | SUMAN FABRICATORS AND CONTRACTORS
22.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 180.00 | Sqm | 100.00 | 300.00 | 54000.00 | 400.00 | 72000.00 | 300.00 | 54000.00 | 54000.00 | Classicon Projects India Pvt. Ltd., SUMAN FABRICATORS AND CONTRACTORS
23.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre / 10 sqm | 270.00 | Sqm | 100.00 | 85.00 | 22950.00 | 200.00 | 54000.00 | 140.00 | 37800.00 | 22950.00 | SUMAN FABRICATORS AND CONTRACTORS
24.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer,and of required shade and colour all complete, to achieve even shade and colour New work (two or more coats) over and including water thinnable priming coat with cement primerhavingVOC content less than 50 gms/litre | 210.00 | Sqm | 100.00 | 85.00 | 17850.00 | 150.00 | 31500.00 | 120.00 | 25200.00 | 17850.00 | SUMAN FABRICATORS AND CONTRACTORS
25.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 25.00 | Sqm | 100.00 | 85.00 | 2125.00 | 200.00 | 5000.00 | 130.00 | 3250.00 | 2125.00 | SUMAN FABRICATORS AND CONTRACTORS
26.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 12.00 | Sqm | 100.00 | 2800.00 | 33600.00 | 4000.00 | 48000.00 | 2600.00 | 31200.00 | 31200.00 | Classicon Projects India Pvt. Ltd.
27.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 4.00 | Each | 100.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 800.00 | 3200.00 | 3200.00 | Classicon Projects India Pvt. Ltd.
28.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 4.00 | Each | 100.00 | 150.00 | 600.00 | 200.00 | 800.00 | 100.00 | 400.00 | 400.00 | Classicon Projects India Pvt. Ltd.
29.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 244.00 | Each | 100.00 | 50.00 | 12200.00 | 200.00 | 48800.00 | 80.00 | 19520.00 | 12200.00 | SUMAN FABRICATORS AND CONTRACTORS
30.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 4.00 | Each | 100.00 | 150.00 | 600.00 | 50.00 | 200.00 | 100.00 | 400.00 | 200.00 | BLESSO CONSTRUCTIONS
31.00 | Providing and fixing ISi marked oxidised M.S. door latches conforming to IS:5930 with screws etc. complete : (copper oxidized as per IS: 1378) 300x20x6 mm | 2.00 | Each | 100.00 | 350.00 | 700.00 | 300.00 | 600.00 | 100.00 | 200.00 | 200.00 | Classicon Projects India Pvt. Ltd.
32.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 8.00 | Each | 100.00 | 150.00 | 1200.00 | 400.00 | 3200.00 | 120.00 | 960.00 | 960.00 | Classicon Projects India Pvt. Ltd.
33.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 7000.00 | Kg | 100.00 | 91.00 | 637000.00 | 150.00 | 1050000.00 | 130.00 | 910000.00 | 637000.00 | SUMAN FABRICATORS AND CONTRACTORS
34.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) of total coated thickness 0.50 mm ( Base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters andtrusses and including cutting to size and shape wherever required | 640.00 | Sqm | 100.00 | 550.00 | 352000.00 | 1100.00 | 704000.00 | 600.00 | 384000.00 | 352000.00 | SUMAN FABRICATORS AND CONTRACTORS
35.00 | Anchoring in existing RCC structure using Forsroc Lock Fix of approved make and quality by drilling 16mm dia 8' deep holes and filling the mortar in foundation trenches, existing walls, or drains as per the directions of Engineer in Charge | 60.00 | Each | 100.00 | 400.00 | 24000.00 | 300.00 | 18000.00 | 400.00 | 24000.00 | 18000.00 | BLESSO CONSTRUCTIONS
36.00 | Supplying & Fixing of MARRY GO ROUND 6 SEATS with SAI approval materilas to be made in approved brand mild steel all Complete as per direction of EIC | 1.00 | Each | 100.00 | 32000.00 | 32000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 30000.00 | Classicon Projects India Pvt. Ltd.
37.00 | Supplying & Fixing of Double See Saw with SAI approval, frames to be made in approved brand mild steel and seatings in FRP materials all Complete as per direction of EIC | 1.00 | Each | 10.00 | 18000.00 | 18000.00 | 40000.00 | 40000.00 | 15000.00 | 15000.00 | 15000.00 | Classicon Projects India Pvt. Ltd.
38.00 | Supplying & Fixing of Double HEAVY DUTY DOUBLE SWING with SAI approval, frames to be made in approved brand mild steel and seatings in FRP materials all Complete as per direction of EIC | 1.00 | Each | 10.00 | 37000.00 | 37000.00 | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 25000.00 | Classicon Projects India Pvt. Ltd.
39.00 | Supplying & Fixing of MS 3 Seater made of approved brands of MS materials all Complete as per direction of EIC | 5.00 | Each | 10.00 | 22000.00 | 110000.00 | 20000.00 | 100000.00 | 7000.00 | 35000.00 | 35000.00 | Classicon Projects India Pvt. Ltd.
40.00 | Supplying & Fixing of Stone bench with all Complete as per direction of EIC | 5.00 | Each | 10.00 | 22000.00 | 110000.00 | 20000.00 | 100000.00 | 10000.00 | 50000.00 | 50000.00 | Classicon Projects India Pvt. Ltd.
| Total in Figures |  |  |  |  | 11126900.00 |  | 14063100.00 |  | 10918280.00
Lowest Amount Quoted BY: Classicon Projects India Pvt. Ltd.(10918280.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Staff quarters at Coimbatore International Airport. SH Provision of Mosquito mesh, UPVC windows and other ancillary works in Staff Quarters Tender ID: 2024_AAI_181331_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Classicon Projects India Pvt. Ltd. | 10918280.00 | L1
| 2 | SUMAN FABRICATORS AND CONTRACTORS | 11126900.00 | L2
| 3 | BLESSO CONSTRUCTIONS | 14063100.00 | L3