## BoQ1
Government eProcurement System Created By: ABHIJIT DATTA Created Date/Time: 08-Mar-2024 03:57 PM Tender Title: Works Contract for RMO AC Equipment at NSCBI Airport dg. 2023-26 Tender ID: 2024_AAI_181332_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: Works Contract for RMO AC Equipment at NSCBI Airport dg. 2023-26. SH:-All Inclusive / Comprehensive maintenance contract of window ACs, Split ACs, Ductable ACs, Package AC for 3 years.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | V Save Electronics Pvt Ltd(GSTN-09AADCV5572A1ZD) |  | Aqua Cool Co.Pvt Ltd(GSTN-27AAICA1835E1ZX) |  | M/s AGFA(GSTN-19ACVPR5281M1ZG) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I To carryout Day to day maintenance of Window AC, Split AC, Ductable AC of various capacity 1 Ph/3 Ph including all accessories of AC units by providing sufficient manpower & attending complaints / faults / breakdown , rectification and ensuring serviceability / satisfactory working condition and maintaining all records as per PMI schedule as per the special conditions of contract throughout the year as per the instruction of the Engineer - in - charge or his authorized representative and as per the requirement of works at various installations inside/outside the operational area of Airport. [Quoted rate should be inclusive of mediclaim premium]
1.01 | a) For 1st Year | 1.00 | months | 324773.00 | 262000.00 | 3144000.00 | 300000.00 | 3600000.00 | 318000.00 | 3816000.00 | 340000.00 | 4080000.00 | 3144000.00 | V Save Electronics Pvt Ltd
1.02 | b) For 2nd Year | 1.00 | months | 325140.00 | 262000.00 | 3144000.00 | 300000.00 | 3600000.00 | 318000.00 | 3816000.00 | 340000.00 | 4080000.00 | 3144000.00 | V Save Electronics Pvt Ltd
1.03 | c) For 3rd Year | 1.00 | months | 325526.00 | 262000.00 | 3144000.00 | 300000.00 | 3600000.00 | 318000.00 | 3816000.00 | 340000.00 | 4080000.00 | 3144000.00 | V Save Electronics Pvt Ltd
2.00 | SH : II Annual maintainance of 1.5 TR Window type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
2.01 | a) For 1st Year | 100.00 | Per machine per month | 199.00 | 225.00 | 270000.00 | 500.00 | 600000.00 | 71.00 | 85200.00 | 125.00 | 150000.00 | 85200.00 | M/s AGFA
2.02 | b) For 2nd Year | 100.00 | Per machine per month | 211.00 | 225.00 | 270000.00 | 500.00 | 600000.00 | 75.00 | 90000.00 | 125.00 | 150000.00 | 90000.00 | M/s AGFA
2.03 | c) For 3rd Year | 100.00 | Per machine per month | 224.00 | 225.00 | 270000.00 | 500.00 | 600000.00 | 79.00 | 94800.00 | 125.00 | 150000.00 | 94800.00 | M/s AGFA
3.00 | Annual maintainance of 1.0 TR Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
3.01 | a) For 1st Year | 26.00 | Per machine per month | 134.00 | 260.00 | 81120.00 | 400.00 | 124800.00 | 50.00 | 15600.00 | 85.00 | 26520.00 | 15600.00 | M/s AGFA
3.02 | b) For 2nd Year | 26.00 | Per machine per month | 140.00 | 260.00 | 81120.00 | 400.00 | 124800.00 | 53.00 | 16536.00 | 85.00 | 26520.00 | 16536.00 | M/s AGFA
3.03 | c) For 3rd Year | 26.00 | Per machine per month | 145.00 | 260.00 | 81120.00 | 400.00 | 124800.00 | 56.00 | 17472.00 | 85.00 | 26520.00 | 17472.00 | M/s AGFA
4.00 | Annual maintainance of 1.5 TR Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
4.01 | a) For 1st Year | 95.00 | Per machine per month | 210.00 | 285.00 | 324900.00 | 500.00 | 570000.00 | 71.00 | 80940.00 | 150.00 | 171000.00 | 80940.00 | M/s AGFA
4.02 | b) For 2nd Year | 95.00 | Per machine per month | 223.00 | 285.00 | 324900.00 | 500.00 | 570000.00 | 75.00 | 85500.00 | 150.00 | 171000.00 | 85500.00 | M/s AGFA
4.03 | c) For 3rd Year | 95.00 | Per machine per month | 236.00 | 285.00 | 324900.00 | 500.00 | 570000.00 | 79.00 | 90060.00 | 150.00 | 171000.00 | 90060.00 | M/s AGFA
5.00 | Annual maintainance of 2 TR Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
5.01 | a) For 1st Year | 146.00 | Per machine per month | 280.00 | 290.00 | 508080.00 | 700.00 | 1226400.00 | 95.00 | 166440.00 | 150.00 | 262800.00 | 166440.00 | M/s AGFA
5.02 | b) For 2nd Year | 146.00 | Per machine per month | 297.00 | 290.00 | 508080.00 | 700.00 | 1226400.00 | 100.00 | 175200.00 | 150.00 | 262800.00 | 175200.00 | M/s AGFA
5.03 | c) For 3rd Year | 146.00 | Per machine per month | 315.00 | 290.00 | 508080.00 | 700.00 | 1226400.00 | 106.00 | 185712.00 | 150.00 | 262800.00 | 185712.00 | M/s AGFA
6.00 | Annual maintainance of 2 TR Slim Line Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
6.01 | a) For 1st Year | 9.00 | Per machine per month | 280.00 | 300.00 | 32400.00 | 700.00 | 75600.00 | 95.00 | 10260.00 | 160.00 | 17280.00 | 10260.00 | M/s AGFA
6.02 | b) For 2nd Year | 9.00 | Per machine per month | 297.00 | 300.00 | 32400.00 | 700.00 | 75600.00 | 100.00 | 10800.00 | 160.00 | 17280.00 | 10800.00 | M/s AGFA
6.03 | c) For 3rd Year | 9.00 | Per machine per month | 315.00 | 300.00 | 32400.00 | 700.00 | 75600.00 | 106.00 | 11448.00 | 160.00 | 17280.00 | 11448.00 | M/s AGFA
7.00 | Annual maintainance of 3 TR Single Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
7.01 | a) For 1st Year | 10.00 | Per machine per month | 420.00 | 310.00 | 37200.00 | 900.00 | 108000.00 | 143.00 | 17160.00 | 200.00 | 24000.00 | 17160.00 | M/s AGFA
7.02 | b) For 2nd Year | 10.00 | Per machine per month | 445.00 | 310.00 | 37200.00 | 900.00 | 108000.00 | 150.00 | 18000.00 | 200.00 | 24000.00 | 18000.00 | M/s AGFA
7.03 | c) For 3rd Year | 10.00 | Per machine per month | 472.00 | 310.00 | 37200.00 | 900.00 | 108000.00 | 158.00 | 18960.00 | 200.00 | 24000.00 | 18960.00 | M/s AGFA
8.00 | Annual maintainance of 3 TR Slim Line Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
8.01 | a) For 1st Year | 39.00 | Per machine per month | 420.00 | 320.00 | 149760.00 | 900.00 | 421200.00 | 143.00 | 66924.00 | 200.00 | 93600.00 | 66924.00 | M/s AGFA
8.02 | b) For 2nd Year | 39.00 | Per machine per month | 445.00 | 320.00 | 149760.00 | 900.00 | 421200.00 | 150.00 | 70200.00 | 200.00 | 93600.00 | 70200.00 | M/s AGFA
8.03 | c) For 3rd Year | 39.00 | Per machine per month | 472.00 | 320.00 | 149760.00 | 900.00 | 421200.00 | 158.00 | 73944.00 | 200.00 | 93600.00 | 73944.00 | M/s AGFA
9.00 | Annual maintainance of 4 TR Slim Line Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
9.01 | a) For 1st Year | 2.00 | Per machine per month | 562.00 | 590.00 | 14160.00 | 1200.00 | 28800.00 | 190.00 | 4560.00 | 250.00 | 6000.00 | 4560.00 | M/s AGFA
9.02 | b) For 2nd Year | 2.00 | Per machine per month | 596.00 | 590.00 | 14160.00 | 1200.00 | 28800.00 | 200.00 | 4800.00 | 250.00 | 6000.00 | 4800.00 | M/s AGFA
9.03 | c) For 3rd Year | 2.00 | Per machine per month | 632.00 | 590.00 | 14160.00 | 1200.00 | 28800.00 | 210.00 | 5040.00 | 250.00 | 6000.00 | 5040.00 | M/s AGFA
10.00 | Annual maintainance of 5.0 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
10.01 | a) For 1st Year | 2.00 | Per machine per month | 726.00 | 740.00 | 17760.00 | 1500.00 | 36000.00 | 1.00 | 24.00 | 250.00 | 6000.00 | 24.00 | M/s AGFA
10.02 | b) For 2nd Year | 2.00 | Per machine per month | 762.00 | 740.00 | 17760.00 | 1500.00 | 36000.00 | 1.00 | 24.00 | 250.00 | 6000.00 | 24.00 | M/s AGFA
10.03 | c) For 3rd Year | 2.00 | Per machine per month | 800.00 | 740.00 | 17760.00 | 1500.00 | 36000.00 | 1.00 | 24.00 | 250.00 | 6000.00 | 24.00 | M/s AGFA
11.00 | Annual maintainance of 5.5 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
11.01 | a) For 1st Year | 5.00 | Per machine per month | 780.00 | 820.00 | 49200.00 | 1800.00 | 108000.00 | 1.00 | 60.00 | 250.00 | 15000.00 | 60.00 | M/s AGFA
11.02 | b) For 2nd Year | 5.00 | Per machine per month | 820.00 | 820.00 | 49200.00 | 1800.00 | 108000.00 | 1.00 | 60.00 | 250.00 | 15000.00 | 60.00 | M/s AGFA
11.03 | c) For 3rd Year | 5.00 | Per machine per month | 860.00 | 820.00 | 49200.00 | 1800.00 | 108000.00 | 1.00 | 60.00 | 250.00 | 15000.00 | 60.00 | M/s AGFA
12.00 | Annual maintainance of 7.5 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
12.01 | a) For 1st Year | 5.00 | Per machine per month | 1089.00 | 1125.00 | 67500.00 | 2200.00 | 132000.00 | 355.00 | 21300.00 | 250.00 | 15000.00 | 15000.00 | Zamzam Refrigeration and airconditioning
12.02 | b) For 2nd Year | 5.00 | Per machine per month | 1154.00 | 1125.00 | 67500.00 | 2200.00 | 132000.00 | 374.00 | 22440.00 | 250.00 | 15000.00 | 15000.00 | Zamzam Refrigeration and airconditioning
12.03 | c) For 3rd Year | 5.00 | Per machine per month | 1223.00 | 1125.00 | 67500.00 | 2200.00 | 132000.00 | 394.00 | 23640.00 | 250.00 | 15000.00 | 15000.00 | Zamzam Refrigeration and airconditioning
13.00 | Annual maintainance of 8.5 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
13.01 | a) For 1st Year | 4.00 | Per machine per month | 1235.00 | 1275.00 | 61200.00 | 4786.00 | 229728.00 | 405.00 | 19440.00 | 300.00 | 14400.00 | 14400.00 | Zamzam Refrigeration and airconditioning
13.02 | b) For 2nd Year | 4.00 | Per machine per month | 1309.00 | 1275.00 | 61200.00 | 4786.00 | 229728.00 | 426.00 | 20448.00 | 300.00 | 14400.00 | 14400.00 | Zamzam Refrigeration and airconditioning
13.03 | c) For 3rd Year | 4.00 | Per machine per month | 1387.00 | 1275.00 | 61200.00 | 4786.00 | 229728.00 | 449.00 | 21552.00 | 300.00 | 14400.00 | 14400.00 | Zamzam Refrigeration and airconditioning
14.00 | Annual maintainance of 11.0 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
14.01 | a) For 1st Year | 3.00 | Per machine per month | 1597.00 | 1650.00 | 59400.00 | 5786.00 | 208296.00 | 525.00 | 18900.00 | 325.00 | 11700.00 | 11700.00 | Zamzam Refrigeration and airconditioning
14.02 | b) For 2nd Year | 3.00 | Per machine per month | 1693.00 | 1650.00 | 59400.00 | 5786.00 | 208296.00 | 553.00 | 19908.00 | 325.00 | 11700.00 | 11700.00 | Zamzam Refrigeration and airconditioning
14.03 | c) For 3rd Year | 3.00 | Per machine per month | 1795.00 | 1650.00 | 59400.00 | 5786.00 | 208296.00 | 582.00 | 20952.00 | 325.00 | 11700.00 | 11700.00 | Zamzam Refrigeration and airconditioning
15.00 | Annual maintainance of 15.0 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
15.01 | a) For 1st Year | 2.00 | Per machine per month | 2130.00 | 2250.00 | 54000.00 | 6786.00 | 162864.00 | 2.00 | 48.00 | 400.00 | 9600.00 | 48.00 | M/s AGFA
15.02 | b) For 2nd Year | 2.00 | Per machine per month | 2235.00 | 2250.00 | 54000.00 | 6786.00 | 162864.00 | 2.00 | 48.00 | 400.00 | 9600.00 | 48.00 | M/s AGFA
15.03 | c) For 3rd Year | 2.00 | Per machine per month | 2345.00 | 2250.00 | 54000.00 | 6786.00 | 162864.00 | 2.00 | 48.00 | 400.00 | 9600.00 | 48.00 | M/s AGFA
16.00 | Annual maintainance of 17.0 TR Ductable Split type AC units including replacement of all Spare parts like capacitors, Relays, Contractors, Refrigerant, Repairing of PCB , Condenser & Cooling Coil, Compressors, Rewinding of Motor & Gas charging, Rectification of System Leakage and Rectification of any kind of Breakdown of above AC Units Complete as Required.
16.01 | a) For 1st Year | 4.00 | Per machine per month | 2414.00 | 2550.00 | 122400.00 | 7786.00 | 373728.00 | 2.00 | 96.00 | 400.00 | 19200.00 | 96.00 | M/s AGFA
16.02 | b) For 2nd Year | 4.00 | Per machine per month | 2460.00 | 2550.00 | 122400.00 | 7786.00 | 373728.00 | 2.00 | 96.00 | 400.00 | 19200.00 | 96.00 | M/s AGFA
16.03 | c) For 3rd Year | 4.00 | Per machine per month | 2500.00 | 2550.00 | 122400.00 | 7786.00 | 373728.00 | 2.00 | 96.00 | 400.00 | 19200.00 | 96.00 | M/s AGFA
17.00 | SH : III Dismantling of 1/1.5/2 TR Window AC from existing location and shifting the same in the store etc. as required.
17.01 | a) For 1st Year | 15.00 | Each | 1069.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1.00 | 15.00 | 800.00 | 12000.00 | 15.00 | M/s AGFA
17.02 | b) For 2nd Year | 15.00 | Each | 1100.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1.00 | 15.00 | 800.00 | 12000.00 | 15.00 | M/s AGFA
17.03 | C) For 3Rd Year | 15.00 | Each | 1150.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1.00 | 15.00 | 800.00 | 12000.00 | 15.00 | M/s AGFA
18.00 | Dismantling of 1/1.5/2 TR Split AC from existing location and shifting the same in the store etc. as required.
18.01 | a) For 1st Year | 15.00 | Nos | 1425.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1.00 | 15.00 | 1200.00 | 18000.00 | 15.00 | M/s AGFA
18.02 | b) For 2nd Year | 15.00 | Nos | 1496.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1.00 | 15.00 | 1200.00 | 18000.00 | 15.00 | M/s AGFA
18.03 | C) For 3Rd Year | 15.00 | Nos | 1571.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1.00 | 15.00 | 1200.00 | 18000.00 | 15.00 | M/s AGFA
19.00 | Dismantling of 3/4 TR Split AC from existing location and shifting the same in the store etc. as required.
19.01 | a) For 1st Year | 10.00 | Nos | 1890.00 | 600.00 | 6000.00 | 200.00 | 2000.00 | 1.00 | 10.00 | 700.00 | 7000.00 | 10.00 | M/s AGFA
19.02 | b) For 2nd Year | 10.00 | Nos | 1984.00 | 600.00 | 6000.00 | 200.00 | 2000.00 | 1.00 | 10.00 | 700.00 | 7000.00 | 10.00 | M/s AGFA
19.03 | c) For 3rd Year | 10.00 | Nos | 2083.00 | 600.00 | 6000.00 | 200.00 | 2000.00 | 1.00 | 10.00 | 700.00 | 7000.00 | 10.00 | M/s AGFA
20.00 | Dismantling of 5/7.5 TR Split AC from existing location and shifting the same in the store etc. as required.
20.01 | a) For 1st Year | 5.00 | Nos | 2615.00 | 650.00 | 3250.00 | 300.00 | 1500.00 | 2.00 | 10.00 | 1000.00 | 5000.00 | 10.00 | M/s AGFA
20.02 | b) For 2nd Year | 5.00 | Nos | 2746.00 | 650.00 | 3250.00 | 300.00 | 1500.00 | 2.00 | 10.00 | 1000.00 | 5000.00 | 10.00 | M/s AGFA
20.03 | c) For 3rd Year | 5.00 | Nos | 2883.00 | 650.00 | 3250.00 | 300.00 | 1500.00 | 2.00 | 10.00 | 1000.00 | 5000.00 | 10.00 | M/s AGFA
21.00 | Installation/testing and commissioning of 1.5/2 TR window AC with suitable wooden frame i/c making opening in the wall and making opening good with sand cement plaster etc as required.
21.01 | a) For 1st Year | 15.00 | Nos | 1680.00 | 650.00 | 9750.00 | 1200.00 | 18000.00 | 1.00 | 15.00 | 2000.00 | 30000.00 | 15.00 | M/s AGFA
21.02 | b) For 2nd Year | 15.00 | Nos | 1764.00 | 650.00 | 9750.00 | 1200.00 | 18000.00 | 1.00 | 15.00 | 2000.00 | 30000.00 | 15.00 | M/s AGFA
21.03 | c) For 3rd Year | 15.00 | Nos | 1848.00 | 650.00 | 9750.00 | 1200.00 | 18000.00 | 1.00 | 15.00 | 2000.00 | 30000.00 | 15.00 | M/s AGFA
22.00 | Installation/testing and commissioning of 1.5/2 TR window AC including gas charging in the existing opening with suitable wooden etc as required.
22.01 | a) For 1st Year | 15.00 | Nos | 2949.00 | 700.00 | 10500.00 | 1200.00 | 18000.00 | 1.00 | 15.00 | 3000.00 | 45000.00 | 15.00 | M/s AGFA
22.02 | b) For 2nd Year | 15.00 | Nos | 3096.00 | 700.00 | 10500.00 | 1200.00 | 18000.00 | 1.00 | 15.00 | 3000.00 | 45000.00 | 15.00 | M/s AGFA
22.03 | c) For 3rd Year | 15.00 | Nos | 3251.00 | 700.00 | 10500.00 | 1200.00 | 18000.00 | 1.00 | 15.00 | 3000.00 | 45000.00 | 15.00 | M/s AGFA
23.00 | Installation/testing and commissioning of 1/ 1.5/2 TR Split AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
23.01 | a) For 1st Year | 15.00 | Nos | 3617.00 | 700.00 | 10500.00 | 1800.00 | 27000.00 | 1.00 | 15.00 | 3000.00 | 45000.00 | 15.00 | M/s AGFA
23.02 | b) For 2nd Year | 15.00 | Nos | 3798.00 | 700.00 | 10500.00 | 1800.00 | 27000.00 | 1.00 | 15.00 | 3000.00 | 45000.00 | 15.00 | M/s AGFA
23.03 | c) For 3rd Year | 15.00 | Nos | 3988.00 | 700.00 | 10500.00 | 1800.00 | 27000.00 | 1.00 | 15.00 | 3000.00 | 45000.00 | 15.00 | M/s AGFA
24.00 | Installation/testing and commissioning of 3/ 4 TR Split AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
24.01 | a) For 1st Year | 10.00 | Nos | 7234.00 | 800.00 | 8000.00 | 2200.00 | 22000.00 | 1.00 | 10.00 | 3000.00 | 30000.00 | 10.00 | M/s AGFA
24.02 | b) For 2nd Year | 10.00 | Nos | 7596.00 | 800.00 | 8000.00 | 2200.00 | 22000.00 | 1.00 | 10.00 | 3000.00 | 30000.00 | 10.00 | M/s AGFA
24.03 | c) For 3rd Year | 10.00 | Nos | 7750.00 | 800.00 | 8000.00 | 2200.00 | 22000.00 | 1.00 | 10.00 | 3000.00 | 30000.00 | 10.00 | M/s AGFA
25.00 | Installation/testing and commissioning of 5/7.5 TR ductable AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
25.01 | a) For 1st Year | 5.00 | Nos | 12910.00 | 1000.00 | 5000.00 | 2600.00 | 13000.00 | 2.00 | 10.00 | 4000.00 | 20000.00 | 10.00 | M/s AGFA
25.02 | b) For 2nd Year | 5.00 | Nos | 13555.00 | 1000.00 | 5000.00 | 2600.00 | 13000.00 | 2.00 | 10.00 | 4000.00 | 20000.00 | 10.00 | M/s AGFA
25.03 | c) For 3rd Year | 5.00 | Nos | 14230.00 | 1000.00 | 5000.00 | 2600.00 | 13000.00 | 2.00 | 10.00 | 4000.00 | 20000.00 | 10.00 | M/s AGFA
26.00 | Supply and laying of 3x2.5 Sq.mm PVC insulated PVC sheathed unarmoured copper conductor cable on wall surface/recess etc as required and as per direction of Engineer-in-charge.
26.01 | a) For 1st Year | 100.00 | Mtr | 127.00 | 155.00 | 15500.00 | 120.00 | 12000.00 | 90.00 | 9000.00 | 120.00 | 12000.00 | 9000.00 | M/s AGFA
26.02 | b) For 2nd Year | 100.00 | Mtr | 132.00 | 155.00 | 15500.00 | 120.00 | 12000.00 | 92.00 | 9200.00 | 120.00 | 12000.00 | 9200.00 | M/s AGFA
26.03 | c) For 3rd Year | 100.00 | Mtr | 137.00 | 155.00 | 15500.00 | 120.00 | 12000.00 | 95.00 | 9500.00 | 120.00 | 12000.00 | 9500.00 | M/s AGFA
27.00 | Supply and fixing of 1 "dia hard PVC pipe for drain line on wall surface/recess etc as required and as per direction of Engineer-in-charge.
27.01 | a) For 1st Year | 100.00 | Mtr | 108.00 | 75.00 | 7500.00 | 110.00 | 11000.00 | 55.00 | 5500.00 | 50.00 | 5000.00 | 5000.00 | Zamzam Refrigeration and airconditioning
27.02 | b) For 2nd Year | 100.00 | Mtr | 112.00 | 75.00 | 7500.00 | 110.00 | 11000.00 | 60.00 | 6000.00 | 50.00 | 5000.00 | 5000.00 | Zamzam Refrigeration and airconditioning
27.03 | c) For 3rd Year | 100.00 | Mtr | 116.00 | 75.00 | 7500.00 | 110.00 | 11000.00 | 65.00 | 6500.00 | 50.00 | 5000.00 | 5000.00 | Zamzam Refrigeration and airconditioning
28.00 | Supply and fixing following refrigerant piping with superlon insulation on wall surface /recess etc as required and as per direction of Engineer-in-charge.
28.01 | 3/8" copper pipe with Nitrile Rubber insulation
28.02 | a) For 1st Year | 100.00 | Mtr | 325.00 | 115.00 | 11500.00 | 200.00 | 20000.00 | 175.00 | 17500.00 | 250.00 | 25000.00 | 11500.00 | V Save Electronics Pvt Ltd
28.03 | b) For 2nd Year | 100.00 | Mtr | 338.00 | 115.00 | 11500.00 | 200.00 | 20000.00 | 180.00 | 18000.00 | 250.00 | 25000.00 | 11500.00 | V Save Electronics Pvt Ltd
28.04 | c) For 3rd Year | 100.00 | Mtr | 351.00 | 115.00 | 11500.00 | 200.00 | 20000.00 | 185.00 | 18500.00 | 250.00 | 25000.00 | 11500.00 | V Save Electronics Pvt Ltd
29.00 | 5/8" copper pipe with Nitrile Rubber insulation
29.01 | a) For 1st Year | 100.00 | Mtr | 368.00 | 250.00 | 25000.00 | 270.00 | 27000.00 | 275.00 | 27500.00 | 250.00 | 25000.00 | 25000.00 | V Save Electronics Pvt Ltd, Zamzam Refrigeration and airconditioning
29.02 | b) For 2nd Year | 100.00 | Mtr | 383.00 | 250.00 | 25000.00 | 270.00 | 27000.00 | 280.00 | 28000.00 | 250.00 | 25000.00 | 25000.00 | V Save Electronics Pvt Ltd, Zamzam Refrigeration and airconditioning
29.03 | c) For 3rd Year | 100.00 | Mtr | 398.00 | 250.00 | 25000.00 | 270.00 | 27000.00 | 285.00 | 28500.00 | 250.00 | 25000.00 | 25000.00 | V Save Electronics Pvt Ltd, Zamzam Refrigeration and airconditioning
30.00 | 1/4" copper pipe with Nitrile Rubber insulation
30.01 | a) For 1st Year | 100.00 | Mtr | 242.00 | 100.00 | 10000.00 | 125.00 | 12500.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 10000.00 | V Save Electronics Pvt Ltd
30.02 | b) For 2nd Year | 100.00 | Mtr | 252.00 | 100.00 | 10000.00 | 125.00 | 12500.00 | 155.00 | 15500.00 | 150.00 | 15000.00 | 10000.00 | V Save Electronics Pvt Ltd
30.03 | c) For 3rd Year | 100.00 | Mtr | 262.00 | 100.00 | 10000.00 | 125.00 | 12500.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 10000.00 | V Save Electronics Pvt Ltd
31.00 | 1/2" copper pipe with Nitrile Rubber insulation
31.01 | a) For 1st Year | 100.00 | Mtr | 331.00 | 180.00 | 18000.00 | 350.00 | 35000.00 | 250.00 | 25000.00 | 150.00 | 15000.00 | 15000.00 | Zamzam Refrigeration and airconditioning
31.02 | b) For 2nd Year | 100.00 | Mtr | 344.00 | 180.00 | 18000.00 | 350.00 | 35000.00 | 255.00 | 25500.00 | 150.00 | 15000.00 | 15000.00 | Zamzam Refrigeration and airconditioning
31.03 | c) For 3rd Year | 100.00 | Mtr | 331.00 | 180.00 | 18000.00 | 350.00 | 35000.00 | 260.00 | 26000.00 | 150.00 | 15000.00 | 15000.00 | Zamzam Refrigeration and airconditioning
32.00 | supply of R- 22/32/410/407 Reefrigent.
32.01 | a) For 1st Year | 90.00 | Kgs. | 827.00 | 650.00 | 58500.00 | 850.00 | 76500.00 | 650.00 | 58500.00 | 900.00 | 81000.00 | 58500.00 | V Save Electronics Pvt Ltd, M/s AGFA
32.02 | b) For 2nd Year | 90.00 | Kgs. | 860.00 | 650.00 | 58500.00 | 850.00 | 76500.00 | 665.00 | 59850.00 | 900.00 | 81000.00 | 58500.00 | V Save Electronics Pvt Ltd
32.03 | c) For 3rd Year | 90.00 | Kgs. | 894.00 | 650.00 | 58500.00 | 850.00 | 76500.00 | 680.00 | 61200.00 | 900.00 | 81000.00 | 58500.00 | V Save Electronics Pvt Ltd
33.00 | supply of 7/8 Copper Pipe
33.01 | a) For 1st Year | 50.00 | Mtr | 588.00 | 500.00 | 25000.00 | 570.00 | 28500.00 | 1.00 | 50.00 | 300.00 | 15000.00 | 50.00 | M/s AGFA
33.02 | b) For 2nd Year | 50.00 | Mtr | 610.00 | 500.00 | 25000.00 | 570.00 | 28500.00 | 1.00 | 50.00 | 300.00 | 15000.00 | 50.00 | M/s AGFA
33.03 | c) For 3rd Year | 50.00 | Mtr | 634.00 | 500.00 | 25000.00 | 570.00 | 28500.00 | 1.00 | 50.00 | 300.00 | 15000.00 | 50.00 | M/s AGFA
34.00 | Supply of 1.0 TR 1 PH Rotary Compressor | 1.00 | No | 6190.00 | 5999.00 | 5999.00 | 7000.00 | 7000.00 | 5600.00 | 5600.00 | 6000.00 | 6000.00 | 5600.00 | M/s AGFA
35.00 | Supply of 1.5 TR 1 PH Rotary Compressor | 2.00 | Nos | 6820.00 | 8499.00 | 16998.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 12000.00 | M/s AGFA
36.00 | Supply of 2.0 TR 1 PH Rotary Compressor | 2.00 | Nos | 8552.00 | 9999.00 | 19998.00 | 9500.00 | 19000.00 | 7600.00 | 15200.00 | 9000.00 | 18000.00 | 15200.00 | M/s AGFA
37.00 | Supply of 3.0 TR 3 PH Scroll Compressor | 2.00 | Nos | 27560.00 | 25990.00 | 51980.00 | 22000.00 | 44000.00 | 24500.00 | 49000.00 | 15000.00 | 30000.00 | 30000.00 | Zamzam Refrigeration and airconditioning
38.00 | Supply of 5.0 TR 3 PH Scroll Compressor | 1.00 | No | 31240.00 | 29990.00 | 29990.00 | 28910.00 | 28910.00 | 1.00 | 1.00 | 25000.00 | 25000.00 | 1.00 | M/s AGFA
39.00 | Supply of 5.5 TR 3 PH Scroll Compressor | 1.00 | No | 32400.00 | 29990.00 | 29990.00 | 28910.00 | 28910.00 | 1.00 | 1.00 | 25000.00 | 25000.00 | 1.00 | M/s AGFA
40.00 | Supply of 7.5 TR 3 PH Scroll Compressor | 1.00 | No | 56680.00 | 44900.00 | 44900.00 | 46610.00 | 46610.00 | 2.00 | 2.00 | 45000.00 | 45000.00 | 2.00 | M/s AGFA
41.00 | Supply of 8.5 TR 3 PH Scroll Compressor | 1.00 | No | 66160.00 | 54000.00 | 54000.00 | 46610.00 | 46610.00 | 2.00 | 2.00 | 45000.00 | 45000.00 | 2.00 | M/s AGFA
| Total in Figures |  |  |  |  | 15950095.00 |  | 25233288.00 |  | 13621371.00 |  | 16189300.00
Lowest Amount Quoted BY: M/s AGFA(13621371.00)

## BOQ Summary
BOQ Summary Details Tender Title: Works Contract for RMO AC Equipment at NSCBI Airport dg. 2023-26 Tender ID: 2024_AAI_181332_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s AGFA | 13621371.00 | L1
| 2 | V Save Electronics Pvt Ltd | 15950095.00 | L2
| 3 | Zamzam Refrigeration and airconditioning | 16189300.00 | L3
| 4 | Aqua Cool Co.Pvt Ltd | 25233288.00 | L4