## BoQ1
Government eProcurement System Created By: AJI RAM Created Date/Time: 29-Feb-2024 11:46 AM Tender Title: Reconfiguration of Ground and first floor for expansion of SHA at Jodhpur Airport Tender ID: 2024_AAI_181716_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Civil.), AAI, Civil Enclave, Jodhpur.
Name of Work: Reconfiguration of Ground and first floor for expansion of SHA at Jodhpur Airport
Contract No: 2024_AAI_181716_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | UTTSAV INDIA LIMITED(GSTN-08AABCU0081F1ZM) |  | Bindal Constructions(GSTN-NA) |  | Hanumant enterprises(GSTN-NA) |  | Bhagirath Khawa(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin- Charge. (a) Internal Work- Exposed on wall | 50.00 | mtr | 0.00 | 100.00 | 5000.00 | 3.01 | 150.50 | 90.00 | 4500.00 | 5.00 | 250.00 | 150.50 | Bindal Constructions
2.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 4.00 | each |  | 500.00 | 2000.00 | 450.00 | 1800.00 | 100.00 | 400.00 | 100.00 | 400.00 | 400.00 | Hanumant enterprises, Bhagirath Khawa
3.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 4.00 | each |  | 500.00 | 2000.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 100.00 | 400.00 | 400.00 | Bhagirath Khawa
4.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalentdesign mix) | 15.95 | cum |  | 500.00 | 7972.94 | 1450.00 | 23121.52 | 750.00 | 11959.41 | 500.00 | 7972.94 | 7972.94 | UTTSAV INDIA LIMITED, Bhagirath Khawa
5.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 7.01 | cum |  | 1000.00 | 7014.00 | 2000.00 | 14028.00 | 850.00 | 5961.90 | 500.00 | 3507.00 | 3507.00 | Bhagirath Khawa
6.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge--.In cement mortar | 54.00 | cum |  | 500.00 | 27000.00 | 950.00 | 51300.00 | 650.00 | 35100.00 | 500.00 | 27000.00 | 27000.00 | UTTSAV INDIA LIMITED, Bhagirath Khawa
7.00 | Dismantling steel work manually/ by mechanical means in built up sections without is membering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 2256.48 | kg |  | 10.00 | 22564.77 | 15.00 | 33847.16 | 3.50 | 7897.67 | 5.00 | 11282.39 | 7897.67 | Hanumant enterprises
8.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 609.00 | sqm |  | 100.00 | 60900.00 | 200.00 | 121800.00 | 100.00 | 60900.00 | 50.00 | 30450.00 | 30450.00 | Bhagirath Khawa
9.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 232.75 | sqm |  | 50.00 | 11637.66 | 150.00 | 34912.99 | 70.00 | 16292.73 | 50.00 | 11637.66 | 11637.66 | UTTSAV INDIA LIMITED, Bhagirath Khawa
10.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of:G.S. Sheet | 125.85 | sqm |  | 200.00 | 25170.00 | 250.00 | 31462.50 | 60.00 | 7551.00 | 50.00 | 6292.50 | 6292.50 | Bhagirath Khawa
11.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area beyond 3 sq. metres | 9.00 | each |  | 300.00 | 2700.00 | 1500.00 | 13500.00 | 300.00 | 2700.00 | 1000.00 | 9000.00 | 2700.00 | UTTSAV INDIA LIMITED, Hanumant enterprises
12.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg/cum | 24.44 | cum |  | 6000.00 | 146643.75 | 7500.00 | 183304.69 | 5000.00 | 122203.12 | 10000.00 | 244406.25 | 122203.12 | Hanumant enterprises
13.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 83.79 | cum |  | 6000.00 | 502722.00 | 7000.00 | 586509.00 | 5050.00 | 423124.35 | 10000.00 | 837870.00 | 423124.35 | Hanumant enterprises
14.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 43.29 | qunital |  | 800.00 | 34632.84 | 1100.00 | 47620.15 | 500.00 | 21645.52 | 1000.00 | 43291.05 | 21645.52 | Hanumant enterprises
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 176.44 | sqm |  | 350.00 | 61752.60 | 650.00 | 114683.40 | 400.00 | 70574.40 | 900.00 | 158792.40 | 61752.60 | UTTSAV INDIA LIMITED
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 55.63 | sqm |  | 350.00 | 19470.50 | 450.00 | 25033.50 | 250.00 | 13907.50 | 900.00 | 50067.00 | 13907.50 | Hanumant enterprises
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 362.98 | sqm |  | 350.00 | 127043.00 | 524.00 | 190201.52 | 450.00 | 163341.00 | 900.00 | 326682.00 | 127043.00 | UTTSAV INDIA LIMITED
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 133.14 | sqm |  | 350.00 | 46599.00 | 550.00 | 73227.00 | 400.00 | 53256.00 | 900.00 | 119826.00 | 46599.00 | UTTSAV INDIA LIMITED
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 3055.08 | kg |  | 80.00 | 244406.25 | 98.00 | 299397.66 | 68.00 | 207745.31 | 77.00 | 235241.02 | 207745.31 | Hanumant enterprises
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 10473.37 | kg |  | 80.00 | 837870.00 | 98.00 | 1026390.75 | 68.00 | 712189.50 | 77.00 | 806449.87 | 712189.50 | Hanumant enterprises
21.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil. | 70.78 | cum |  | 150.00 | 10616.89 | 220.00 | 15571.44 | 120.00 | 8493.51 | 300.00 | 21233.78 | 8493.51 | Hanumant enterprises
22.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 6.51 | cum |  | 3500.00 | 22768.37 | 4520.00 | 29403.73 | 3900.00 | 25370.47 | 6000.00 | 39031.50 | 22768.37 | UTTSAV INDIA LIMITED
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 36.48 | cum |  | 5000.00 | 182380.80 | 8500.00 | 310047.36 | 4200.00 | 153199.87 | 6207.00 | 226407.53 | 153199.87 | Hanumant enterprises
24.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level Cement mortar 1:4 (1 cement :4 coarse sand) | 10.08 | sqm |  | 500.00 | 5040.00 | 1050.00 | 10584.00 | 530.00 | 5342.40 | 620.00 | 6249.60 | 5040.00 | UTTSAV INDIA LIMITED
25.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. --Granite of any colour and shade--Area of slab over 0.50 sqm | 12.00 | sqm |  | 3500.00 | 42000.00 | 5200.00 | 62400.00 | 2600.00 | 31200.00 | 3000.00 | 36000.00 | 31200.00 | Hanumant enterprises
26.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 489.00 | sqm |  | 3000.00 | 1467000.00 | 5500.00 | 2689500.00 | 2600.00 | 1271400.00 | 3000.00 | 1467000.00 | 1271400.00 | Hanumant enterprises
27.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.Granite work | 5.10 | mtr |  | 1000.00 | 5100.00 | 150.00 | 765.00 | 200.00 | 1020.00 | 1000.00 | 5100.00 | 765.00 | Bindal Constructions
28.00 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | 12.00 | sqm |  | 1000.00 | 12000.00 | 400.00 | 4800.00 | 350.00 | 4200.00 | 1000.00 | 12000.00 | 4200.00 | Hanumant enterprises
29.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 5.00 | each |  | 2000.00 | 10000.00 | 1100.00 | 5500.00 | 500.00 | 2500.00 | 1000.00 | 5000.00 | 2500.00 | Hanumant enterprises
30.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete--300x16 mm | 7.00 | each |  | 100.00 | 700.00 | 300.00 | 2100.00 | 250.00 | 1750.00 | 400.00 | 2800.00 | 700.00 | UTTSAV INDIA LIMITED
31.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :250x10mm | 5.00 | each |  | 100.00 | 500.00 | 250.00 | 1250.00 | 120.00 | 600.00 | 400.00 | 2000.00 | 500.00 | UTTSAV INDIA LIMITED
32.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :- 125 mm | 7.00 | each |  | 100.00 | 700.00 | 80.00 | 560.00 | 150.00 | 1050.00 | 400.00 | 2800.00 | 560.00 | Bindal Constructions
33.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.--Twin rubber stopper each | 7.00 | each |  | 75.00 | 525.00 | 80.00 | 560.00 | 200.00 | 1400.00 | 400.00 | 2800.00 | 525.00 | UTTSAV INDIA LIMITED
34.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. | 5.00 | each |  | 500.00 | 2500.00 | 2000.00 | 10000.00 | 800.00 | 4000.00 | 400.00 | 2000.00 | 2000.00 | Bhagirath Khawa
35.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 543.00 | kg |  | 110.00 | 59730.00 | 87.00 | 47241.00 | 100.00 | 54300.00 | 200.00 | 108600.00 | 47241.00 | Bindal Constructions
36.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. --Hot finished welded type tubes | 9654.32 | kg |  | 110.00 | 1061975.20 | 115.00 | 1110246.80 | 100.00 | 965432.00 | 200.00 | 1930864.00 | 965432.00 | Hanumant enterprises
37.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 1026.00 | kg |  | 550.00 | 564300.00 | 598.00 | 613548.00 | 450.00 | 461700.00 | 450.00 | 461700.00 | 461700.00 | Hanumant enterprises, Bhagirath Khawa
38.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 59.28 | kg |  | 110.00 | 6520.80 | 160.00 | 9484.80 | 100.00 | 5928.00 | 200.00 | 11856.00 | 5928.00 | Hanumant enterprises
39.00 | Providing and fixing bolts including nuts and washers complete | 10.00 | kg |  | 130.00 | 1300.00 | 140.00 | 1400.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 1000.00 | Hanumant enterprises
40.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 160.59 | sqm |  | 1250.00 | 200736.00 | 1300.00 | 208765.44 | 750.00 | 120441.60 | 600.00 | 96353.28 | 96353.28 | Bhagirath Khawa
41.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete -- Size of Tile 600x600 mm | 49.91 | sqm |  | 1250.00 | 62389.38 | 1400.00 | 69876.10 | 800.00 | 39929.20 | 600.00 | 29946.90 | 29946.90 | Bhagirath Khawa
42.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete-.Size of Tile 600x600 mm | 86.18 | sqm |  | 1250.00 | 107730.00 | 1500.00 | 129276.00 | 850.00 | 73256.40 | 600.00 | 51710.40 | 51710.40 | Bhagirath Khawa
43.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 388.08 | sqm |  | 1250.00 | 485100.00 | 1500.00 | 582120.00 | 1700.00 | 659736.00 | 2500.00 | 970200.00 | 485100.00 | UTTSAV INDIA LIMITED
44.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 118.27 | sqm |  | 200.00 | 23654.40 | 280.00 | 33116.16 | 220.00 | 26019.84 | 200.00 | 23654.40 | 23654.40 | UTTSAV INDIA LIMITED, Bhagirath Khawa
45.00 | 15 mm cement plaster on the rough side of single or half brick wall--of mix :1:6 (1 cement: 6 fine sand) | 118.27 | sqm |  | 200.00 | 23654.40 | 290.00 | 34298.88 | 225.00 | 26611.20 | 200.00 | 23654.40 | 23654.40 | UTTSAV INDIA LIMITED, Bhagirath Khawa
46.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 538.46 | sqm |  | 200.00 | 107692.00 | 280.00 | 150768.80 | 215.00 | 115768.90 | 200.00 | 107692.00 | 107692.00 | UTTSAV INDIA LIMITED, Bhagirath Khawa
47.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 436.54 | sqm |  | 150.00 | 65481.60 | 105.00 | 45837.12 | 100.00 | 43654.40 | 170.00 | 74212.48 | 43654.40 | Hanumant enterprises
48.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 538.46 | sqm |  | 150.00 | 80769.00 | 110.00 | 59230.60 | 100.00 | 53846.00 | 170.00 | 91538.20 | 53846.00 | Hanumant enterprises
49.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 236.54 | sqm |  | 100.00 | 23654.40 | 110.00 | 26019.84 | 100.00 | 23654.40 | 170.00 | 40212.48 | 23654.40 | UTTSAV INDIA LIMITED, Hanumant enterprises
50.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : -- Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 500.00 | sqm |  | 100.00 | 50000.00 | 85.00 | 42500.00 | 100.00 | 50000.00 | 170.00 | 85000.00 | 42500.00 | Bindal Constructions
51.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:--White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 5.00 | each |  | 10000.00 | 50000.00 | 1800.00 | 9000.00 | 1200.00 | 6000.00 | 170.00 | 850.00 | 850.00 | Bhagirath Khawa
52.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia -- Sand cast iron S&S as per IS - 1729 | 2.00 | each |  | 500.00 | 1000.00 | 700.00 | 1400.00 | 300.00 | 600.00 | 170.00 | 340.00 | 340.00 | Bhagirath Khawa
53.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : --100 mm inlet and 100 mm outlet --.1 Sand cast iron S&S as per IS: 3989 | 1.00 | each |  | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 170.00 | 170.00 | 170.00 | Bhagirath Khawa
54.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 20.00 | mtr |  | 100.00 | 2000.00 | 200.00 | 4000.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 2000.00 | UTTSAV INDIA LIMITED, Bhagirath Khawa
55.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 10.00 | mtr |  | 110.00 | 1100.00 | 320.00 | 3200.00 | 350.00 | 3500.00 | 100.00 | 1000.00 | 1000.00 | Bhagirath Khawa
56.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 10.00 | mtr |  | 200.00 | 2000.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 100.00 | 1000.00 | 1000.00 | Bhagirath Khawa
57.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 20.00 | mtr |  | 300.00 | 6000.00 | 410.00 | 8200.00 | 400.00 | 8000.00 | 100.00 | 2000.00 | 2000.00 | Bhagirath Khawa
58.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete--100 mm diameter | 20.00 | mtr |  | 400.00 | 8000.00 | 250.00 | 5000.00 | 600.00 | 12000.00 | 100.00 | 2000.00 | 2000.00 | Bhagirath Khawa
59.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design--100 mm diameter S.W. pipe | 20.00 | mtr |  | 450.00 | 9000.00 | 570.00 | 11400.00 | 300.00 | 6000.00 | 100.00 | 2000.00 | 2000.00 | Bhagirath Khawa
60.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 4.20 | sqm |  | 1000.00 | 4200.00 | 10000.00 | 42000.00 | 3800.00 | 15960.00 | 4000.00 | 16800.00 | 4200.00 | UTTSAV INDIA LIMITED
61.00 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade | 2.70 | sqm |  | 2500.00 | 6750.00 | 4000.00 | 10800.00 | 3542.00 | 9563.40 | 4000.00 | 10800.00 | 6750.00 | UTTSAV INDIA LIMITED
62.00 | Providing and fixing white vitreous china squatting plate urinal with integral rim longitudinal flush pipe. | 5.00 | each |  | 10000.00 | 50000.00 | 2000.00 | 10000.00 | 4500.00 | 22500.00 | 500.00 | 2500.00 | 2500.00 | Bhagirath Khawa
63.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 8.92 | sqm |  | 4000.00 | 35700.00 | 1600.00 | 14280.00 | 3000.00 | 26775.00 | 1200.00 | 10710.00 | 10710.00 | Bhagirath Khawa
64.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .13 | cum |  | 10000.00 | 1262.50 | 90000.00 | 11362.50 | 110000.00 | 13887.50 | 4000.00 | 505.00 | 505.00 | Bhagirath Khawa
65.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 200.00 | kg |  | 400.00 | 80000.00 | 500.00 | 100000.00 | 400.00 | 80000.00 | 300.00 | 60000.00 | 60000.00 | Bhagirath Khawa
66.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 500.00 | kg |  | 400.00 | 200000.00 | 500.00 | 250000.00 | 400.00 | 200000.00 | 300.00 | 150000.00 | 150000.00 | Bhagirath Khawa
67.00 | Providing, assembling and supplying vision glass panels (IGUs) comprising of hermetically-sealed 6-12- 6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. (Payment for fixing of IGU Panels in the curtain glazing is included in cost of item No.68) For payment, only the actual area of glass on face # 1 of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm. (i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on face # 2, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20 %, shading coefficient (0.25- 0.28) and U value of 3.0 to 3.3 W/m2 degree K etc. The properties of performance glass shall be decided by technical sanctioning authority as per the site requirement. | 326.40 | sqm |  | 5000.00 | 1632000.00 | 4500.00 | 1468800.00 | 4350.00 | 1419840.00 | 3000.00 | 979200.00 | 979200.00 | Bhagirath Khawa
68.00 | Designing, fabricating, testing, protection, installing and fixing in position semi (grid) unitized system of structural glazing (with open joints) for linear as well as curvilinear portions of the building for all heights and all levels, including: (a) Structural analysis & design and preparation of shop drawings for the specified design loads conforming to IS 875 part III (the system must passed the proof test at 1.5 times design wind pressure without any failure), including functional design of the aluminum sections for fixing glazing panels of various thicknesses, aluminium cleats, sleeves and splice plates etc. gaskets, screws, toggles, nuts, bolts, clamps etc., structural and weather silicone sealants, flashings, fire stop (barrier)- cum-smoke seals, microwave cured EPDM gaskets for water tightness, pressure equalisation & drainage and protection against fire hazard including: (b) Fabricating and supplying serrated M.S. hot dip galvanised / Aluminium alloy of 6005 T5 brackets of required sizes, sections and profiles etc. to accommodate 3 Dimentional movement for achieving perfect verticality and fixing structural glazing system rigidly to the RCC/ masonry/structural steel framework of building structure using stainless steel anchor fasteners/ bolts, nylon seperator to prevent bimetallic contacts with nuts and washers etc. of stainless steel grade 316, of the required capacity and in required numbers (c) Providing and filling, two part pump filled, structural silicone sealant and one part weather silicone sealant compatible with the structural silicone sealant of required bite size in a clean and controlled factory / work shop environment, including double sided spacer tape, setting blocks and backer rod, all of approved grade, brand and manufacture, as per the approved sealant design, within and all around the perimeter for holding glass. (d) Providing and fixing in position flashings of solid aluminium sheet 1 mm thick and of sizes, shapes and profiles, as required as per the site conditions, to seal the gap between the building structure and all its interfaces with curtain glazing to make it watertight. (e) Making provision for drainage of moisture/ water that enters the curtain glazing system to make it watertight, by incorporating principles of pressure equalization, providing suitable gutter profiles at bottom (if required), making necessary holes of required sizes and of required numbers etc. complete. This item includes cost of all inputs of designing, labour for fabricating and installation of aluminium grid, installation of glazed units, T&P, scaffolding and other incidental charges including wastages etc., enabling temporary structures and services, cranes or cradles etc. as described above and as specified. The item includes the cost of getting all the structural and functional design including shop drawings checked by a structural designer, dully approved by Engineer-in-charge. The item also includes the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working structural glazing as specified, cleaning and protection till the handing over of the building for occupation. In the end, the Contractor shall provide a water tight structural glazing having all the performance characteristics etc. all complete as required, as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer- in-Charge. | 326.40 | sqm |  | 8000.00 | 2611200.00 | 4500.00 | 1468800.00 | 2500.00 | 816000.00 | 5000.00 | 1632000.00 | 816000.00 | Hanumant enterprises
69.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as requiredIn stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 1795.35 | kg |  | 110.00 | 197488.50 | 90.00 | 161581.50 | 100.00 | 179535.00 | 200.00 | 359070.00 | 161581.50 | Bindal Constructions
70.00 | Providing and fixing 3mm thick aluminium composite panel consisting of 2.4 mm thick polythene core sandwitched between 0.3 mm thick aluminium sheets with surface finish in PVDF (Fluro carbon) lacquer coating of approved colour shaped to approved profile on the wooden/ aluminium members with nail,screws/pasting & finish edges all complete as per satisfaction of Engineer-in-Charge. (Aluminium frame work to be paid separatly) | 115.60 | sqm |  | 3000.00 | 346800.00 | 3450.00 | 398820.00 | 2000.00 | 231200.00 | 1500.00 | 173400.00 | 173400.00 | Bhagirath Khawa
71.00 | Providing and fixing toilet paper holder of jaquar(Model no AKP-CHR-35753P) or equivalent as per direction of the Engineer- in Charge. | 4.00 | each |  | 3500.00 | 14000.00 | 1800.00 | 7200.00 | 1400.00 | 5600.00 | 1500.00 | 6000.00 | 5600.00 | Hanumant enterprises
72.00 | Providing and fixing Quarter Turn C.P. brass Long body Bib Cock with wall Cap of approved quality (jaquar model no.FLR 5047N) or eqivalent conforming to IS standards . 15 mm nominal bore | 1.00 | each |  | 3500.00 | 3500.00 | 1700.00 | 1700.00 | 1550.00 | 1550.00 | 1500.00 | 1500.00 | 1500.00 | Bhagirath Khawa
73.00 | Providing and fixing C.P. brass 2 Way Bib Cock with wall Cap of approved quality (jaquar model no.FLR 5041N) or eqivalent conforming to IS standards . 15 mm nominal bore | 4.00 | each |  | 4500.00 | 18000.00 | 2350.00 | 9400.00 | 2100.00 | 8400.00 | 1500.00 | 6000.00 | 6000.00 | Bhagirath Khawa
74.00 | Providing and fixing C.P Brass bottel trap JAQUAR (Model no. ALD-769L 300x190) or Equivalent of approved Make and size at wash basin & urinals basins including connection C.P pipe all complete . | 10.00 | each |  | 3800.00 | 38000.00 | 2300.00 | 23000.00 | 1950.00 | 19500.00 | 1500.00 | 15000.00 | 15000.00 | Bhagirath Khawa
75.00 | Providing & fixing C.P. brass Waste coupling of Jaquar(model no.ALD-705 L130) or Equivalent approved by EIC on Urinal/wash basin all complete . | 10.00 | each |  | 1200.00 | 12000.00 | 625.00 | 6250.00 | 750.00 | 7500.00 | 1500.00 | 15000.00 | 6250.00 | Bindal Constructions
76.00 | Providing and fixing C.P Brass Health faucet of Jaquar (Mdel No.ALD-573)or Equivalent of approved Make and size including connection pipe and Holder all complete . | 4.00 | each |  | 3200.00 | 12800.00 | 1700.00 | 6800.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 6000.00 | Hanumant enterprises, Bhagirath Khawa
77.00 | Providing and fixing C.P. brass angular Stop cock with wall flange of Jaquar Cat. No. FLR- 5053N or equivalent make complete as per directed by Engineer-in-charge. | 5.00 | each |  | 2500.00 | 12500.00 | 1400.00 | 7000.00 | 950.00 | 4750.00 | 1500.00 | 7500.00 | 4750.00 | Hanumant enterprises
78.00 | Providing and fixing Jaquar sensor faucet for washbasin (battery operated ) model no SNR-51011N including battery, connection pipe complete as directed by Engineer-in-charge. | 5.00 | each |  | 25000.00 | 125000.00 | 16000.00 | 80000.00 | 14450.00 | 72250.00 | 1500.00 | 7500.00 | 7500.00 | Bhagirath Khawa
79.00 | Providing and fixing jaquar automatic soap dispensor jaquar model no SDR-BLR-DJ0160AS and dismantling old one complete as direceted by Engineer-in-charge. | 5.00 | each |  | 11000.00 | 55000.00 | 6500.00 | 32500.00 | 6810.00 | 34050.00 | 1500.00 | 7500.00 | 7500.00 | Bhagirath Khawa
80.00 | Providing and fixing jaquar urinal sensor concealed type flushing valve complete set with installation box and control cock jaquar model no SNR-STL-51087 as directed by engineer-in-charge. | 5.00 | each |  | 17000.00 | 85000.00 | 9800.00 | 49000.00 | 9800.00 | 49000.00 | 1500.00 | 7500.00 | 7500.00 | Bhagirath Khawa
81.00 | Providing and fixing Jaquar metropole flush valve regulator 32 mm size (concealed body ) with exposed shut off provision & 100mm square plate model no FLV-1093NSQ as directed by Engineer-in-charge. | 4.00 | each |  | 7500.00 | 30000.00 | 4200.00 | 16800.00 | 4400.00 | 17600.00 | 1500.00 | 6000.00 | 6000.00 | Bhagirath Khawa
82.00 | Providing and fixing white vitreous china water closet squatting pan Indian type of Jaquar Cat. No. CNS-WHT-451 make complete as per directed by Engineer-in-charge .(a) Orissa pattern W.C. pan of size 580x445x260 mm. | 1.00 | each |  | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 2300.00 | 2300.00 | 15000.00 | 15000.00 | 2000.00 | Bindal Constructions
83.00 | Providing and fixing 6mm thick Clear mirror on the wall with VHB Tape (3M) and 10mm brush finish stainless steel trims, machine cut in required size, approved shade & colour etc. complete at all levels as directed by Engineer-in-charge. (Sample of Mirror shall be got approved from Engineer-in-Charge). | 2.78 | sqm |  | 1500.00 | 4162.50 | 2000.00 | 5550.00 | 1100.00 | 3052.50 | 5000.00 | 13875.00 | 3052.50 | Hanumant enterprises
84.00 | Providing & fixing vitreous china wall hung European type water closet of make Jaquar cat no LYS-WHT-38953B1UFSM or equivalent make with C.P. bolts, nuts, C.I. chair or other hanging arrangement, C.P. brass hinge rubber buffers with accessories, C.P. brass screws including cutting and making good the wall and floors wherever required as directed by Engineer-in-charge | 4.00 | each |  | 30000.00 | 120000.00 | 17000.00 | 68000.00 | 14500.00 | 58000.00 | 15000.00 | 60000.00 | 58000.00 | Hanumant enterprises
85.00 | Providing and fixing self supported conceal fixed, permanently colour coated hot dip Galvalume/ Zincalume standing seam roofing system using LYSAGHT TRIMDEK profile sheet roof system of Tata Blue Scope Steel/ RIVER CLACK of CRIL Tiger Profiles or equivalent with 0.55mm BMT (minimum)with 550 MPA or 0.60mm BMT (minimum )with 240 MPA comprising of the following layers: i) Top Layer- Lysaght Trimdek/ River Clack/ Tiger Profiles profile sheet manufactured out of 0.55mm Base Metal Thickness (BMT), Hi-strength steel with min. 550 Mpa yield strength or 0.60mm BMT with 240 MPA yield strength, metallic hot dip coated with zinc- aluminium alloy as per manufacturer's specification AZ150 (Min. 275gms/ sqm. total on both sides) as per AS: 1397 with approved color oven-baked COLORBOND® steel quality paint coat as per AS/NZS 2728 of BlueScope Steel make or equivalent as approved by Engineer-in-Charge. ii) Insulation layer - Glass wool of 100mm in two layers each of thickness 50mm, of minimum density 48kg/m³ iii) One single layer of 4mm thick super-polynum bubble pack made of 9 Microns thick double shield Aluminium Foils - on both sides of bubble pack to be laid with overlaps, tape joints between two layers of glass wool insulation as per manufacturer specifications. iv) Perforated Galvalume/ Zincalume Steel liner (25 microns polyester coated hot dip galvanized) steel type 28 to 35mm x 200 to 250mm trapezoidal sheeting of same material as of top layer sheet, 0.55mm (BMT) thick perforations of required size and shape) as approved by Engineer-in-charge, over laid with black non-woven acoustic Soundtex material (63gms/ sqm.) of 0.22mm thickness with protective film of aluminium foil, with all required system accessories such as Galvalume ST./ polyamide clips or equivalent as per system of Manufacturer. (Item includes Supplying, installation and fixing of profiled sheeting including cost of system accessories, insulation, bubble pack, Soundtex material, bottom liner sheet (28% perforated), fasteners, gaskets, brackets, 40 micron zinc coated screws, rivets.) sealants, inner closure fillers, fixtures, flashings, gutters, eaves, gables, scaffolding for all heights of building etc., as per approved drawings, particular specifications and as per directions of the Engineer-in-charge, T&P and all taxes & duties etc., complete. The above work is to be executed by associate specialized agency approved by Engineer-in- charge.) | 628.08 | sqm |  | 3000.00 | 1884240.00 | 4200.00 | 2637936.00 | 4700.00 | 2951976.00 | 2000.00 | 1256160.00 | 1256160.00 | Bhagirath Khawa
86.00 | All the accessories like flashing / capping/Gutter shall be made from the material specifications (0.55 MM) mentioned in item no. 29 in approved colour shade & as per manufacturers’ recommendation. 0-300 MM (MS framing/aluminium etc to be paid seperately) | 136.00 | mtr |  | 3000.00 | 408000.00 | 300.00 | 40800.00 | 500.00 | 68000.00 | 500.00 | 68000.00 | 40800.00 | Bindal Constructions
87.00 | All the accessories like flashing / capping/Gutter shall be made from the material specifications (0.55 MM) mentioned in item no. 29 in approved colour shade & as per manufacturers’ recommendation.301-600 MM (MS framing/aluminium etc to be paid seperately) | 79.80 | mtr |  | 3000.00 | 239400.00 | 450.00 | 35910.00 | 550.00 | 43890.00 | 500.00 | 39900.00 | 35910.00 | Bindal Constructions
88.00 | Providing and fixing sliding door of 10 mm thick toughened glass fixed with Top rail of approved make Droma or eqvlanet, stock length 3000 mm with cover profile, including two pair of H type pull handle of approved make and guide rails at Bottom complete with all necessary fittings and accessories complete and making necessary holes etc. for fixing required door fitting,all complete as per direction of Engineer-in-Charge (M.S structure,look and stoper etc.to be paid in relevant items seperately.) | 4.00 | each |  | 3000.00 | 12000.00 | 60000.00 | 240000.00 | 110000.00 | 440000.00 | 500.00 | 2000.00 | 2000.00 | Bhagirath Khawa
89.00 | (Buy Back i.e. Minus) Taking away dismantled of C.P. brass / Brass fittings like bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve,gate valve, basin mixer, waste coupling in basin / sink etc. duly weighed / measured before removing from the site as per direction of Engineer-in-charge. | 25.00 | kg |  | 10.00 | 250.00 | 40.00 | 1000.00 | 140.00 | 3500.00 | .10 | 2.50 | 2.50 | Bhagirath Khawa
90.00 | (Buy Back i.e. Minus) Taking away dismantled of SCI/GI/mild Steel fitting and fixtures like SCI pipe, centrifugal pipe, steel door/window/ventilators/grill etc. duly weighed measured before removing from the site as per direction of Engineer-in-charge. | 2256.48 | kg |  | 10.00 | 22564.80 | 30.00 | 67694.40 | 27.00 | 60924.96 | .10 | 225.65 | 225.65 | Bhagirath Khawa
91.00 | (Buy Back i.e. Minus) Taking away dismantled of PVC fitting & fixtures like connections, PVC flushing cistern with fittings,PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. duly weighed / measured before removing from the site as per direction of Engineer-in-charge. | 25.00 | kg |  | 10.00 | 250.00 | 15.00 | 375.00 | 7.00 | 175.00 | .10 | 2.50 | 2.50 | Bhagirath Khawa
92.00 | (Buy Back i.e. Minus) Taking away dismantled Stainless Steel frames ,Stainless Steel Washbasin ,railing ,SS Sensor plate and Paper Holder etc. as directed by Engineer-In-Charge. | 15.00 | kg |  | 10.00 | 150.00 | 90.00 | 1350.00 | 78.00 | 1170.00 | .10 | 1.50 | 1.50 | Bhagirath Khawa
93.00 | (Buy Back i.e. Minus) Taking away dismantled Aluminium Sections various size ( doors, windows, single sections and fittings) as directed by Engineer-In-Charge. | 6090.00 | kg |  | 30.00 | 182700.00 | 70.00 | 426300.00 | 110.00 | 669900.00 | .10 | 609.00 | 609.00 | Bhagirath Khawa
94.00 | Preparation & Providing detailed structural design & drawings i/c layout plan, sections, elevations etc. for the proposed steel structures (on 1st floor of open plan area 16.8 x 23.1 sqm), foundation/anchors, J-bolts , RCC slabs, Lift shaft, lift pit & escalator footings and RCC ramp air side etc (as per attached/proposed drawing) in totally as per plan approved by Engineer-In-Charge. The building component & other facilities are to be designed based on latest BIS codes, standard Engineering practice. The design shall be prepared by registered structural consultant & got vetted from Govt. Engg. college, who shall be solely responsible for the adequacy & structural safety of the proposed structures and 5 copies of detailed structural drawings, shop drawing alongwith two sets of detailed design calculation to be submitted, all complete as per direction and satisfaction of Engineer-In-Charge. NOTE: Delayed submission by consultant will not entitle agency for extension of time in any manner. | 1.00 | Job |  | 150000.00 | 150000.00 | 925000.00 | 925000.00 | 80000.00 | 80000.00 | 2000000.00 | 2000000.00 | 80000.00 | Hanumant enterprises
95.00 | Supplying of LED type 600 mm x 600 mm decorative type recessed in door light fixture with good quality plastic optics/ translucent PMMA cover with nominal wattage of 36W, with built in drivers/ external driver in case of slim LED panels, housing body made of metallic CRCA powder coated sheet/ white coated Aluminium body for panels, suitable to operate on 50 Hz AC single phase supply including connection etc. complete and it shall meet as per technical specifications enclosed with tender complete in all respect as required. LED must be covered 5 year warranty. (Make: Havells, Cat. No. LHEBAEP7IW1W036 or equiv.) | 135.00 | Each |  | 2000.00 | 270000.00 | 3400.00 | 459000.00 | 2700.00 | 364500.00 | 1500.00 | 202500.00 | 202500.00 | Bhagirath Khawa
96.00 | Supplying of LED decorative type recessed in door light fixture with good quality plastic optics/ translucent PMMA cover with nominal wattage of 12 W, with built in drivers/ external driver in case of slim LED panels, housing body made of metallic CRCA powder coated sheet/ white coated Aluminium body for panels, suitable to operate on 50 Hz AC single phase supply including connection etc. complete and it shall meet as per technical specifications enclosed with tender complete in all respect as required. LED must be covered 5 year warranty. (Make: Havells, Cat. No. LHEBHEP6IZ1W012 or equiv.) | 25.00 | Each |  | 800.00 | 20000.00 | 1950.00 | 48750.00 | 700.00 | 17500.00 | 1000.00 | 25000.00 | 17500.00 | Hanumant enterprises
97.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/ LED Panel of all types, complete with all accessories etc. directly on fall ceiling/ wall/ ceiling , including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, chain, fastners, single core cable and earthing etc. as required. | 160.00 | Each |  | 300.00 | 48000.00 | 100.00 | 16000.00 | 150.00 | 24000.00 | 500.00 | 80000.00 | 16000.00 | Bindal Constructions
98.00 | Supplying of 400mm sweep wall mounted fan having not less than 2000 RPM, with speed regulator suitable for operation at 230Volts 50Hz AC supply etc complete as required. (Make Havells model PLATINA HS or similar). | 20.00 | Each |  | 3500.00 | 70000.00 | 4715.00 | 94300.00 | 2500.00 | 50000.00 | 2500.00 | 50000.00 | 50000.00 | Hanumant enterprises, Bhagirath Khawa
99.00 | Supplying of 3½ X 35 Sqmm size of PVC insulated PVC sheathed aluminium conductor armoured cable of 1.1 KV grade etc as required. | 400.00 | Meter |  | 530.00 | 212000.00 | 318.00 | 127200.00 | 270.00 | 108000.00 | 500.00 | 200000.00 | 108000.00 | Hanumant enterprises
100.00 | Installation, testing and commissioning of exhaust fan/wall fan in the existing opening, including making good the damage, connection, i/c suitable fixing arrangement as per direction of engineer in charrge complete etc. as required. Upto 450 mm sweep | 20.00 | Each |  | 5500.00 | 110000.00 | 600.00 | 12000.00 | 300.00 | 6000.00 | 2500.00 | 50000.00 | 6000.00 | Hanumant enterprises
101.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 150.00 | Point |  | 600.00 | 90000.00 | 800.00 | 120000.00 | 1350.00 | 202500.00 | 500.00 | 75000.00 | 75000.00 | Bhagirath Khawa
102.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 200.00 | MTR |  | 175.00 | 35000.00 | 180.00 | 36000.00 | 250.00 | 50000.00 | 500.00 | 100000.00 | 35000.00 | UTTSAV INDIA LIMITED
103.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50.00 | MTR |  | 225.00 | 11250.00 | 220.00 | 11000.00 | 300.00 | 15000.00 | 500.00 | 25000.00 | 11000.00 | Bindal Constructions
104.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | MTR |  | 325.00 | 32500.00 | 290.00 | 29000.00 | 350.00 | 35000.00 | 500.00 | 50000.00 | 29000.00 | Bindal Constructions
105.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | MTR |  | 375.00 | 18750.00 | 370.00 | 18500.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 18500.00 | Bindal Constructions
106.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 100.00 | MTR |  | 50.00 | 5000.00 | 80.00 | 8000.00 | 100.00 | 10000.00 | 500.00 | 50000.00 | 5000.00 | UTTSAV INDIA LIMITED
107.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.25 mm | 100.00 | MTR |  | 55.00 | 5500.00 | 100.00 | 10000.00 | 110.00 | 11000.00 | 500.00 | 50000.00 | 5500.00 | UTTSAV INDIA LIMITED
108.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 80.00 | Each |  | 80.00 | 6400.00 | 90.00 | 7200.00 | 50.00 | 4000.00 | 500.00 | 40000.00 | 4000.00 | Hanumant enterprises
109.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amp switch | 80.00 | Each |  | 150.00 | 12000.00 | 120.00 | 9600.00 | 100.00 | 8000.00 | 500.00 | 40000.00 | 8000.00 | Hanumant enterprises
110.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 80.00 | Each |  | 175.00 | 14000.00 | 100.00 | 8000.00 | 100.00 | 8000.00 | 500.00 | 40000.00 | 8000.00 | Hanumant enterprises, Bindal Constructions
111.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 amp socket outlet | 80.00 | Each |  | 200.00 | 16000.00 | 170.00 | 13600.00 | 150.00 | 12000.00 | 500.00 | 40000.00 | 12000.00 | Hanumant enterprises
112.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.1 Module USB charger 1000mA, 5V DC, | 16.00 | Each |  | 250.00 | 4000.00 | 676.00 | 10816.00 | 800.00 | 12800.00 | 500.00 | 8000.00 | 4000.00 | UTTSAV INDIA LIMITED
113.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 80.00 | Each |  | 30.00 | 2400.00 | 15.00 | 1200.00 | 400.00 | 32000.00 | 500.00 | 40000.00 | 1200.00 | Bindal Constructions
114.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 12.00 | Each |  | 150.00 | 1800.00 | 250.00 | 3000.00 | 350.00 | 4200.00 | 500.00 | 6000.00 | 1800.00 | UTTSAV INDIA LIMITED
115.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 64.00 | Each |  | 200.00 | 12800.00 | 165.00 | 10560.00 | 350.00 | 22400.00 | 500.00 | 32000.00 | 10560.00 | Bindal Constructions
116.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 32.00 | Each |  | 250.00 | 8000.00 | 350.00 | 11200.00 | 400.00 | 12800.00 | 500.00 | 16000.00 | 8000.00 | UTTSAV INDIA LIMITED
117.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 8 Module (125mmX125mm) / (75mmX225mm) | 16.00 | Each |  | 300.00 | 4800.00 | 450.00 | 7200.00 | 450.00 | 7200.00 | 500.00 | 8000.00 | 4800.00 | UTTSAV INDIA LIMITED
118.00 | Supplying and fixing 8 way (4 + 24), Double door way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 6.00 | Each |  | 5500.00 | 33000.00 | 5500.00 | 33000.00 | 11000.00 | 66000.00 | 500.00 | 3000.00 | 3000.00 | Bhagirath Khawa
119.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 72.00 | Each |  | 150.00 | 10800.00 | 180.00 | 12960.00 | 315.00 | 22680.00 | 500.00 | 36000.00 | 10800.00 | UTTSAV INDIA LIMITED
120.00 | Supplying and fixing 63A rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | Each |  | 2000.00 | 6000.00 | 2800.00 | 8400.00 | 1400.00 | 4200.00 | 500.00 | 1500.00 | 1500.00 | Bhagirath Khawa
121.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 35 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Each |  | 20.00 | 120.00 | 800.00 | 4800.00 | 280.00 | 1680.00 | 500.00 | 3000.00 | 120.00 | UTTSAV INDIA LIMITED
122.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/submain wiring/ cable as required. | 350.00 | Meter |  | 60.00 | 21000.00 | 35.00 | 12250.00 | 15.00 | 5250.00 | 500.00 | 175000.00 | 5250.00 | Hanumant enterprises
123.00 | SITC of stainless steel body & impeller 1400 rpm or above of cross flow type, single phase with air throw mini. 2.5 mtr., velocity min. 14m/sec, Air curtain of size 72" | 2.00 | Each |  | 55000.00 | 110000.00 | 45000.00 | 90000.00 | 30000.00 | 60000.00 | 500.00 | 1000.00 | 1000.00 | Bhagirath Khawa
124.00 | Re-programing of existing Microprocessor based 02 loop intelligent analogue Addressable Type UL/EN listed Fire Alarm Control Panel (Make - Bosch, Model- AVENAR 2000 SWM) to incorporate of additional smoke detectors, manual call points, Hooters, Response Indicators etc. Which have LCD display, the panel is equipped with sufficient number of loops with loop capacity to take 125+125 intelligent addressable detectors/ devices in one loop for connecting smoke detectors, manual call points, Hooters etc. | 1.00 | Job |  | 50000.00 | 50000.00 | 60000.00 | 60000.00 | 75000.00 | 75000.00 | 500.00 | 500.00 | 500.00 | Bhagirath Khawa
125.00 | Supply, installation, testing and commissioning of UL/EN listed intelligent analogue addressable type multi criteria (photo+heat) detector having minimum photo electric and thermal detection with built-in LED flasher with standard mounting base including accessories like base, base box etc to install under/above false ceiling with out isolator base complete as require as per technical specifications. | 40.00 | Each |  | 3000.00 | 120000.00 | 3500.00 | 140000.00 | 1850.00 | 74000.00 | 500.00 | 20000.00 | 20000.00 | Bhagirath Khawa
126.00 | Supply, installation, testing and commissioning of UL/EN listed Hooter cum Strobe with control module interconnecting to loop cable complete as required. The strobes shall be synchronized for better evacuation as per specification complete as required. | 1.00 | Each |  | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 5170.00 | 5170.00 | 500.00 | 500.00 | 500.00 | Bhagirath Khawa
127.00 | Supply, installation, testing and commissioning of UL/EN listed Addressable type Manual Call Point (break glass type) complete with Input Module, push button, enclosed in box with provision for cable or conduit coupling, self adhesive sticker indicating loop number and address.The unit to be painted fire red outside, white inside and written 'In case of fire break glass. | 10.00 | Each |  | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 1620.00 | 16200.00 | 500.00 | 5000.00 | 5000.00 | Bhagirath Khawa
128.00 | Supply, Installation, testing & commissioning of Response Indicator (METAL CLADE) which consists of steady glowing LED. This LED shall be mounted within a M.S. box and connected in parallel to the built in indicator of the detector as per specifications. The RI shall come "ON" as soon as the detector activates complete in all respects as per specification. | 15.00 | Each |  | 400.00 | 6000.00 | 4500.00 | 67500.00 | 1200.00 | 18000.00 | 500.00 | 7500.00 | 6000.00 | UTTSAV INDIA LIMITED
129.00 | Providing and fixing of ISI marked ABC (Powder Type) type 9.0 Kg. capacity Fire Extinguisher externally painted with red enamel paint conforming to IS:15683:2006 including initial fill with ABC powder (Mono Ammonium Phosphate) pressured by Nitrogen filled alongwith discharge valve, discharge hose pipe, wall suspension brakets and all other accessories etc. complete as required. | 4.00 | Each |  | 7500.00 | 30000.00 | 16000.00 | 64000.00 | 7000.00 | 28000.00 | 500.00 | 2000.00 | 2000.00 | Bhagirath Khawa
130.00 | Supply, installation, testing and commissioning of maintained LED slim Exit / Egress Lights of size 200x500 mm with 4 hrs Backup, Ni-Mh/Ni-Cd Rechargeable Battery, Constant Current Charger, Confirms to IS: 9583-1981, Aluminium Housing Body suitable for working on 230V, single phase, 50 hz AC supply. | 10.00 | Each |  | 5000.00 | 50000.00 | 4000.00 | 40000.00 | 2500.00 | 25000.00 | 500.00 | 5000.00 | 5000.00 | Bhagirath Khawa
131.00 | Supply and drawing of 2c x 1.5 Sq.mm FRLS XLPE insulated PVC sheathed, stranded copper conductor armoured cable 1100 Volts grade as per IS 7098(part 1)1988, amended upto date complete as required. in the existing surface/ recessed steel/ PVC conduit /RCC /Hume /Metal pipe etc. complete as required. | 200.00 | Mtr |  | 75.00 | 15000.00 | 105.00 | 21000.00 | 130.00 | 26000.00 | 500.00 | 100000.00 | 15000.00 | UTTSAV INDIA LIMITED
132.00 | Supply, Installaiton, Testing, Commissioning of Single inlet cabinet type toilet exhaust unit complete with a direct driven Forward curved centrifugal fan, single phase, 50 Hz, 245Watt motor, fan and motor base frame, Flanged inlet and outlet for easy ductwork connection, drain point with plug in the fan section etc. complete as required. | 3.00 | Each |  | 5500.00 | 16500.00 | 15000.00 | 45000.00 | 4200.00 | 12600.00 | 500.00 | 1500.00 | 1500.00 | Bhagirath Khawa
133.00 | Supplying, fixing testing commissioning of ventilation air diffusers of rectangular (150mm x 150mm) /150mm Round size made powder coated aluminium without volume control dampers with anti smudge ring etc. complete as required | 30.00 | Each |  | 2000.00 | 60000.00 | 300.00 | 9000.00 | 1100.00 | 33000.00 | 500.00 | 15000.00 | 9000.00 | Bindal Constructions
134.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neopreme rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.63 mm sheet | 150.00 | sqm |  | 1000.00 | 150000.00 | 1000.00 | 150000.00 | 1125.00 | 168750.00 | 500.00 | 75000.00 | 75000.00 | Bhagirath Khawa
135.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neopreme rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.80 mm sheet | 160.00 | sqm |  | 1300.00 | 208000.00 | 1100.00 | 176000.00 | 1275.00 | 204000.00 | 500.00 | 80000.00 | 80000.00 | Bhagirath Khawa
136.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neopreme rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 1.00 mm sheet | 50.00 | sqm |  | 1500.00 | 75000.00 | 1400.00 | 70000.00 | 1475.00 | 73750.00 | 500.00 | 25000.00 | 25000.00 | Bhagirath Khawa
137.00 | Supply, fixing testing commissioning of supply air diffusers of power coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 17.00 | sqm |  | 9000.00 | 153000.00 | 3000.00 | 51000.00 | 14750.00 | 250750.00 | 500.00 | 8500.00 | 8500.00 | Bhagirath Khawa
138.00 | Supply, fixing testing commissioning of Return air diffusers of powder coated aluminium without volume control dampers with anti smudge ring & removable core. | 17.00 | sqm |  | 6000.00 | 102000.00 | 2000.00 | 34000.00 | 20000.00 | 340000.00 | 500.00 | 8500.00 | 8500.00 | Bhagirath Khawa
139.00 | Supplying, Fixing, testing and commissioning of fire dampers in supply air duct/main branch and return air path as and where required of required sizes i/c control wiring, the damper shall be motorized and spring return so as to close the damper in the event of power failure automatically and open the same in case of power being restored. The spring return action shall be inabuilt mechanism and not externally mounted. The damper shall also be closed in the event of fire signal complete as required and as per specifications. Fire damper | 1.08 | sqm |  | 15000.00 | 16200.00 | 5000.00 | 5400.00 | 20000.00 | 21600.00 | 500.00 | 540.00 | 540.00 | Bhagirath Khawa
140.00 | Supplying, Fixing, testing and commissioning of fire dampers in supply air duct/main branch and return air path as and where required of required sizes i/c control wiring, the damper shall be motorized and spring return so as to close the damper in the event of power failure automatically and open the same in case of power being restored. The spring return action shall be inabuilt mechanism and not externally mounted. The damper shall also be closed in the event of fire signal complete as required and as per specifications. Actuator | 1.00 | Each |  | 20000.00 | 20000.00 | 12000.00 | 12000.00 | 120000.00 | 120000.00 | 500.00 | 500.00 | 500.00 | Bhagirath Khawa
141.00 | Supply and fixing of acoustic lining of supply air duct and plenum with 25 mm thick resin bonded glass wool having density of 32 kg/m3, with 25 mm X 25 mm GI section of 1.25 mm thick, at 600 mm centre to centre covered with Reinforced Plastic tissue paper and 0.5 mm thick perforated aluminum sheet fixed to inside surface of ducts with cadmium plated nuts, bolts, stick pins, CPRX compound etc. complete as required and as per specifications. | 20.00 | sqm |  | 10000.00 | 200000.00 | 450.00 | 9000.00 | 2500.00 | 50000.00 | 500.00 | 10000.00 | 9000.00 | Bindal Constructions
142.00 | Supplying and fixing 50 mm thick aluminium foil faced resin bonded fibre glass insulation (on duct) of density 24 kg/cu.m or mineral wool insulation (non combustible) of density 44 kg/cu.m after applying two coats of cold setting adhesive (CPRX compound) sealing all joints with self adhesive aluminiun tape & covering with 0.63mmx19mm GI wire mesh netting butting all joints and laced with GI wire complete as per specifications and as required. (for indoor applications). | 350.00 | sqm |  | 750.00 | 262500.00 | 600.00 | 210000.00 | 1500.00 | 525000.00 | 500.00 | 175000.00 | 175000.00 | Bhagirath Khawa
| Total in Figures |  |  |  |  | 18320955.85 |  | 20297706.81 |  | 17107832.98 |  | 17830096.17
Lowest Amount Quoted BY: Hanumant enterprises(17107832.98)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Ground and first floor for expansion of SHA at Jodhpur Airport Tender ID: 2024_AAI_181716_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Hanumant enterprises | 17107832.98 | L1
| 2 | Bhagirath Khawa | 17830096.17 | L2
| 3 | UTTSAV INDIA LIMITED | 18320955.85 | L3
| 4 | Bindal Constructions | 20297706.81 | L4