## BoQ1
Government eProcurement System Created By: Bijendra Kumar Singh Created Date/Time: 22-Feb-2024 12:36 PM Tender Title: ARMO of E and M installations of entire Operational Area of Airport including Terminal Building Technical Cum ATC and Fire Building etc for a period of 01 year 2023 24 at Deoghar Airport Deoghar Tender ID: 2024_AAI_181717_1
Tender Inviting Authority: Sr.Mgr,Engg.(Elect), AAI, Deoghar Airport, Deoghar.
Name of Work: ARMO of E & M installations of entire Operational Area of Airport including Terminal Building, Technical Cum ATC & Fire Building etc. for a period of 01 year (2023-24) at Deoghar Airport, Deoghar.
Contract No: 2024_AAI_181717_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | M/S CHAUDHARY CONSTRUCTION(GSTN-20AAPFC0455J1ZN) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance services for Internal and External Electrical & Mechanical Installations of Terminal Building, i/c Operation & day to day check of Lift installed in SHA, UPS etc. by deploying adequate manpower as per the conditions of contract involving operation, repairs & maintenance / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions and technical specifications of contract on all day including Sundays & Holidays. | 12.00 | Months |  | 147499.00 | 1769988.00 | 289785.00 | 3477420.00 | 148000.00 | 1776000.00 | 143900.00 | 1726800.00 | 145537.00 | 1746444.00 | 1726800.00 | M/S CHAUDHARY CONSTRUCTION
2.00 | Providing Operation and Maintenance Services of Electrical & Mechanical Installation in Operational area viz. GLF Systems, Navigational Aids Electrical installations, Apron Flood Light, other Electrical installations , Internal & External E.I. of Technical Block cum ATC building, fire station & operation of CCR, ALCMS & UPS (2 x 120 KVA) etc. by deploying adequate manpower as per the conditions of contract involving operation, repairs & maintenance/ faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ yearly basis, maintenance of records/ documentation etc. as per scope of work given in special conditions and technical specification of contract on all day including Sundays & Holidays. | 12.00 | Months |  | 147499.00 | 1769988.00 | 10000.00 | 120000.00 | 148000.00 | 1776000.00 | 143900.00 | 1726800.00 | 151381.00 | 1816572.00 | 120000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Supply of Two pin halogen lamp 200 Watt, 6.6 Amp Bi Pin Halogen PAPI Lamp having minimum rated life of 1000 hours burning at full brilliancy. (suitable for AMA make MK- III PAPI fitting). Make: OSRAM, Model No: 64386 or equivalent Make approved by Engineer-In-Charge. | 10.00 | Each |  | 449.00 | 4490.00 | 425.00 | 4250.00 | 650.00 | 6500.00 | 400.00 | 4000.00 | 435.00 | 4350.00 | 4000.00 | M/S CHAUDHARY CONSTRUCTION
4.00 | Supply of 105 Watt. Halogen lamp, 6.6Amp Halogen lamp having minimum rated life of 1000 hours burning at full brilliancy. (For Inset type light suitable for OCEM make SLRE - Runway edge light fitting). Make: Narva, Model No. 6108, Make: OSRAM Model No: 64339 or equivalent Make approved by Engineer-In-Charge. | 30.00 | Each |  | 1149.00 | 34470.00 | 1195.00 | 35850.00 | 1000.00 | 30000.00 | 750.00 | 22500.00 | 1012.00 | 30360.00 | 22500.00 | M/S CHAUDHARY CONSTRUCTION
5.00 | Supply of 200W, 6.6 A Halogen Lamp - Lead type OSRAM 64382 HLX-C or equivalents Make suitable for OCEM Make, Model: FAU-200 Approach Light Fitting. | 20.00 | Each |  | 1149.00 | 22980.00 | 795.00 | 15900.00 | 1000.00 | 20000.00 | 875.00 | 17500.00 | 1265.00 | 25300.00 | 15900.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | Supply of LED Signage Converter capable to drive LED strips of 5.5W for operational area signages. | 10.00 | Each |  | 3150.00 | 31500.00 | 9500.00 | 95000.00 | 5000.00 | 50000.00 | 4000.00 | 40000.00 | 4950.00 | 49500.00 | 31500.00 | M/s LEESHA ELECTRICALS
7.00 | Supply of LED Signage Strip of 0.5 W for 11 nos. in one strip | 10.00 | Each |  | 700.00 | 7000.00 | 820.00 | 8200.00 | 1200.00 | 12000.00 | 650.00 | 6500.00 | 413.00 | 4130.00 | 4130.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Supply of Isolating Transformer 200 W, 6.6/6.6 A | 20.00 | Each |  | 4350.00 | 87000.00 | 4200.00 | 84000.00 | 4200.00 | 84000.00 | 3600.00 | 72000.00 | 4400.00 | 88000.00 | 72000.00 | M/S CHAUDHARY CONSTRUCTION
9.00 | Supply of 360 Clear inner lens filter for Runway edge light fitings (for AMA make fitting). | 20.00 | Each |  | 2000.00 | 40000.00 | 2800.00 | 56000.00 | 2000.00 | 40000.00 | 1550.00 | 31000.00 | 3135.00 | 62700.00 | 31000.00 | M/S CHAUDHARY CONSTRUCTION
10.00 | Supply of 360 Clear outer lens filter for Runway edge light fitings (for AMA make fitting). | 20.00 | Each |  | 2500.00 | 50000.00 | 2800.00 | 56000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 3135.00 | 62700.00 | 40000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
11.00 | Supply of Two pin halogen lamp 150 W, 6.6 Amp, Bi pin Halogen lamp (Runway Edge Light Lamp having minimum rated life of 1000 hours burning at full brilliancy. suitable for Astronics DME Model L- 862 make fitting). OSRAM- 64354 or equivalent Make. | 300.00 | Each |  | 947.00 | 284100.00 | 950.00 | 285000.00 | 400.00 | 120000.00 | 500.00 | 150000.00 | 990.00 | 297000.00 | 120000.00 | M/S AMAR ENTERPRISES
12.00 | Supply of Halogen lamp holder for runway edge light suitable for 150W, 20/6.6A. HIRL Astronics DME Model L- 862 Elevated fittings. | 100.00 | Each |  | 948.00 | 94800.00 | 550.00 | 55000.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 439.00 | 43900.00 | 30000.00 | M/S CHAUDHARY CONSTRUCTION
13.00 | Supply of PAPI lamp holder suitable for AMA make MK- III PAPI light fittings. | 20.00 | Each |  | 498.00 | 9960.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 439.00 | 8780.00 | 8000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
14.00 | Supply of LED Type low intensity aviation obstruction light suitable for 220 V , 50 HZ AC supply and as per ICAO standard etc. complete as required. As per list of approved make or equivalent. | 10.00 | Each |  | 3549.00 | 35490.00 | 4850.00 | 48500.00 | 4000.00 | 40000.00 | 4100.00 | 41000.00 | 3850.00 | 38500.00 | 35490.00 | M/s LEESHA ELECTRICALS
15.00 | Supply of Wind Sock Cloth of color Red & White in the form of a truncated cone made of fabric and should have a length of not less than 3.6m and diameter at larger end of not less than 0.9m confirming to ICAO Annex 14 and Aerodrome Design Manual part-6/FAA. Make : AMA India Pvt. Ltd or equivalent Make approved by Engineer-In-Charge. | 4.00 | Each |  | 2500.00 | 10000.00 | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 8800.00 | 35200.00 | 10000.00 | M/s LEESHA ELECTRICALS
16.00 | Calibration of PAPI Clinometer Make: AMA,Clinometer should be Pick up from AAI site and bring back in good position after calibration. | 4.00 | Job |  | 9999.00 | 39996.00 | 10000.00 | 40000.00 | 19000.00 | 76000.00 | 12000.00 | 48000.00 | 15000.00 | 60000.00 | 39996.00 | M/s LEESHA ELECTRICALS
17.00 | SITC of Luminous Zolt 900VA Pure Sinewave Inverter & RC 18000 150Ah Battery Combo with Trolley complete as required suitable for single phase operation. Make : Luminous, Model: Luminous Zolt 900VA Pure Sinewave Inverter RC18000 150Ah Plus Trolley or equivalent as per AAI Approved make. | 12.00 | Each |  | 16000.00 | 192000.00 | 16500.00 | 198000.00 | 15000.00 | 180000.00 | 17000.00 | 204000.00 | 23986.00 | 287832.00 | 180000.00 | M/S AMAR ENTERPRISES
18.00 | Supply of rotating Beacon glass of colour Green & White suitable for Make-MANAIRCO, Model AB-1000F-CE approved by Engineer- In - Charge. | 2.00 | Each |  | 2351.00 | 4702.00 | 18500.00 | 37000.00 | 3500.00 | 7000.00 | 400.00 | 800.00 | 7700.00 | 15400.00 | 800.00 | M/S CHAUDHARY CONSTRUCTION
19.00 | Decorative lighting of Terminal Building and Garden area with 100 pcs PAR lights and 500 pcs fairy/ Rise lights with all accessories, men and materials, wiring and connections etc. complete as required [Occasion up to 3 days = 1 Job].The quantity and colour of LEds will be decided by Engineer- In - Charge on every occasion. | 3.00 | Job |  | 35000.00 | 105000.00 | 25000.00 | 75000.00 | 30000.00 | 90000.00 | 33000.00 | 99000.00 | 125000.00 | 375000.00 | 75000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Percentage above or below on the rate of CPWD DSR'2022 (E&M) worth totaling to Rs.5,00,000.00 as per requirement.( Items cover all DSR 2022 items except the items which are included in above schedule (if any)) (Note: The contractor has to quote/upload the percentage above/below(+/-%) on the quantity mentioned against this item directly in the form of multiplying factor in the rate column as clarified below. For Example: If desires to quote 5% above on DSR-2022 rate, the rate column shall be filled as 1.05. If desires to quote 3% below on DSR-2022 rates, the rate column shall be filled as 0.97.(Quotated Rate will be exclusive of GST) | 500000.00 | % Above or Below |  | .79 | 395000.00 | .95 | 475000.00 | .35 | 175000.00 | .35 | 175000.00 | 1.00 | 500000.00 | 175000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
| Total in Figures |  |  |  |  | 4988464.00 |  | 5193120.00 |  | 4582500.00 |  | 4458900.00 |  | 5551668.00
Lowest Amount Quoted BY: M/S CHAUDHARY CONSTRUCTION(4458900.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations of entire Operational Area of Airport including Terminal Building Technical Cum ATC and Fire Building etc for a period of 01 year 2023 24 at Deoghar Airport Deoghar Tender ID: 2024_AAI_181717_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S CHAUDHARY CONSTRUCTION | 4458900.00 | L1
| 2 | M/S AMAR ENTERPRISES | 4582500.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 4988464.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 5193120.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 5551668.00 | L5