## BoQ1
Government eProcurement System Created By: Bijendra Kumar Singh Created Date/Time: 22-Feb-2024 04:32 PM Tender Title: ARMO of E and M installations of Electrical substation ESS including non operational area of Airport for period of 01 year 2023 24 at Deoghar Airport Deoghar Tender ID: 2024_AAI_181757_1
Tender Inviting Authority: Sr.Mgr,Engg.(Elect), AAI, Deoghar Airport, Deoghar.
Name of Work: ARMO of E & M installations of Electrical substation (ESS) including non-operational area of Airport for period of 01 year (2023-24) at Deoghar Airport, Deoghar.
Contract No: 2024_AAI_181757_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GIRI ENTERPRISES(GSTN-20ACEPG3920H1ZA) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | M/S CHAUDHARY CONSTRUCTION(GSTN-20AAPFC0455J1ZN) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | Edge Telecom Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Periodical Maintenance of E & M installation of 11 KV sub station e.g. Power transformers, HT & LT Panels, feeders, Bus ducts etc., Internal and External Electrical Installations of Substation, E&M Workshop, Amenities in Car Parking, Street Lighting, High Mast Light, Feeder Pillars, Pumps etc. installed in Non operational Area of the Airport, Operation of DG Sets, Fire Fighting Pumps, UPS, by deploying adequate manpower as per the conditions of contract involving operation, repair & maintenance/Faults/breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, preventive maintenance on daily/weekly/ monthly/quarterly yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions and technical specifications of contract on all day including Sundays & Holidays. | 12.00 | Months |  | 255000.00 | 3060000.00 | 235000.00 | 2820000.00 | 248400.00 | 2980800.00 | 228000.00 | 2736000.00 | 228000.00 | 2736000.00 | 270000.00 | 3240000.00 | 242716.00 | 2912592.00 | 248238.00 | 2978856.00 | 2736000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
2.00 | SITC of motorized gate operation for existing 600 Kgs. sliding Iron gate of length 6 mtr and Height 2 Mtr. with 01 year on-site warranty including all accessories (Push Button., Remote Control, MS Racks with fixing studs, Photocell etc and cabling work complete as required. Note: The motor should be suitable over sized and of reputed make for proper operation and SITC will include all kind of Civil/Electrical/other items required to complete the as per specifications approved by E.I.C. | 2.00 | Job |  | 50000.00 | 100000.00 | 210000.00 | 420000.00 | 225000.00 | 450000.00 | 67000.00 | 134000.00 | 60000.00 | 120000.00 | 35000.00 | 70000.00 | 105000.00 | 210000.00 | 170000.00 | 340000.00 | 70000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.00 | Supply of 180 AH capacity, 25 Plates battery of low maintenance lead acid type complete as required as per specifications approved by E.I.C. | 4.00 | Each |  | 12000.00 | 48000.00 | 15000.00 | 60000.00 | 12500.00 | 50000.00 | 15000.00 | 60000.00 | 12900.00 | 51600.00 | 12500.00 | 50000.00 | 18546.00 | 74184.00 | 15000.00 | 60000.00 | 48000.00 | GIRI ENTERPRISES
4.00 | Supply of Thyristor (Make: Ruttonsha, Model: 250RK 160) as per specifications approved by E.I.C. | 20.00 | Each |  | 2500.00 | 50000.00 | 6500.00 | 130000.00 | 1500.00 | 30000.00 | 2900.00 | 58000.00 | 1500.00 | 30000.00 | 3000.00 | 60000.00 | 2213.00 | 44260.00 | 4500.00 | 90000.00 | 30000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, M/S CHAUDHARY CONSTRUCTION
5.00 | Servicing Maintenance and testing of L & T make Air Circuit Breaker of rating 2500/2000/1250/1000/800/630A FP, EDO complete as required (It should be done by OEM (L&T) or his authorized service agency). | 14.00 | Each |  | 5000.00 | 70000.00 | 4500.00 | 63000.00 | 4500.00 | 63000.00 | 2500.00 | 35000.00 | 3000.00 | 42000.00 | 4000.00 | 56000.00 | 5800.00 | 81200.00 | 10000.00 | 140000.00 | 35000.00 | M/S AMAR ENTERPRISES
6.00 | Servicing, Maintenance and testing of 11KV HT- Vaccum Circuit Breaker of ABB make etc. complete as required (It should be done by OEM or his authorized service agency). | 4.00 | Each |  | 6000.00 | 24000.00 | 10500.00 | 42000.00 | 8500.00 | 34000.00 | 8000.00 | 32000.00 | 7000.00 | 28000.00 | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 7500.00 | 30000.00 | 24000.00 | GIRI ENTERPRISES
7.00 | Supply of 4 Pole ACBs 2000A, Make L & T(U-Power Omega), Model: UW1-20N as per specifications approved by E.I.C. | 1.00 | Each |  | 160000.00 | 160000.00 | 17500.00 | 17500.00 | 135650.00 | 135650.00 | 135000.00 | 135000.00 | 170000.00 | 170000.00 | 200000.00 | 200000.00 | 181862.00 | 181862.00 | 65000.00 | 65000.00 | 17500.00 | M/s LEESHA ELECTRICALS
8.00 | Supply of 4 Pole ACBs 1000A, Make L & T(U-Power Omega), Model: UW1-10N as per specifications approved by E.I.C. | 1.00 | Each |  | 120000.00 | 120000.00 | 130000.00 | 130000.00 | 100750.00 | 100750.00 | 100000.00 | 100000.00 | 127000.00 | 127000.00 | 125000.00 | 125000.00 | 150494.00 | 150494.00 | 55000.00 | 55000.00 | 55000.00 | Edge Telecom Pvt Ltd
9.00 | Supply of 4 Pole ACBs 2500A, Make L & T(U-Power Omega), Model: UW1-25N as per specifications approved by E.I.C. | 1.00 | Each |  | 200000.00 | 200000.00 | 225000.00 | 225000.00 | 158250.00 | 158250.00 | 145000.00 | 145000.00 | 205000.00 | 205000.00 | 225000.00 | 225000.00 | 250138.00 | 250138.00 | 85000.00 | 85000.00 | 85000.00 | Edge Telecom Pvt Ltd
10.00 | PA SYSTEM Supply, Installation, Testing & Commissioning of of 6 zone Digital Voice Evacuation Master controller with built in 500 watt Amplifier. The System shall meet the standards of BS EN54 - 32 & EN 60849. The System Shall have Built in 500W Class-D Amplifier and it should be capable for the EVAC, Paging, PA and BGM functions. The Controller shall have SD card option to store the EVAC and Alert Voice Message. The Controller shall have Speaker line supervision record out and amplifier auto changeover. The Controller shall have following features: Separate Zone volume control at the front side of panel, Status indications on the Panel for EVAC,Fault ,AC,DC ,Fault, ALERT & Fireman mic, Zone capacity up to 120 Zones, 8 programmable Control Input and output, Fireman Microphone with High Priority, THD<1%, Frequency response 80Hz - 20kHz, Up to 1000 Record files, 100V Class-AB Speaker Output. | 1.00 | No |  | 120000.00 | 120000.00 | 35000.00 | 35000.00 | 215000.00 | 215000.00 | 100000.00 | 100000.00 | 112000.00 | 112000.00 | 125000.00 | 125000.00 | 159500.00 | 159500.00 | 120000.00 | 120000.00 | 35000.00 | M/s LEESHA ELECTRICALS
11.00 | Supply, Installation, Testing & Commissioning of 12 zone paging microphone (call station) with necessary Zone wise, Group Zones and all call facility. The Microphone should have LED Indication, Can be Expand with additional units, Compress function through microphone input to avoid distortion, Auxiliary input which supply local background music. Power 24V DC, Microphone should be able to Control the Music also. Microphone Should supply with all accessories and with standard specification, complete. | 2.00 | Nos |  | 30000.00 | 60000.00 | 13500.00 | 27000.00 | 87500.00 | 175000.00 | 65000.00 | 130000.00 | 27000.00 | 54000.00 | 25950.00 | 51900.00 | 40810.00 | 81620.00 | 35000.00 | 70000.00 | 27000.00 | M/s LEESHA ELECTRICALS
12.00 | Supply,Installation, Testing & Commissioning of 4"+1.5" Coaxial Ceiling speaker with ABS cover, 20W, 100V, & 10W at 70 V cutout 180 mm, ABS baffle & back cover, metal grille. The Speaker shall have following Feature: Max SPL > 102 dB, Sensitivity 102dB (1W/1M), Frequency Response 100-20kHZ. | 3.00 | Nos. |  | 4000.00 | 12000.00 | 15000.00 | 45000.00 | 1250.00 | 3750.00 | 2416.00 | 7248.00 | 3000.00 | 9000.00 | 10000.00 | 30000.00 | 5995.00 | 17985.00 | 4500.00 | 13500.00 | 3750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Supply,Installation, Testing & Commissioning of 12 U rack with All accessories | 1.00 | No. |  | 1171.00 | 1171.00 | 7500.00 | 7500.00 | 15500.00 | 15500.00 | 10000.00 | 10000.00 | 6000.00 | 6000.00 | 15000.00 | 15000.00 | 26895.00 | 26895.00 | 25000.00 | 25000.00 | 1171.00 | GIRI ENTERPRISES
14.00 | Supply,Installation, Testing & Commissioning of 6W fireproof Ceiling speakers with following features:-Speaker Drive 5", Complete Aluminium grille and line matching transformer 100/70V line. Variable wattage tapings of 6 / 3/ 1.5 at 100v, Effective frequency range 100-18,000Hz (BS6840), SPL@1m/1W=92dB, Peak SPL 98dB complete with necessary mounting hardware & accessories. | 8.00 | Nos. |  | 2500.00 | 20000.00 | 1550.00 | 12400.00 | 850.00 | 6800.00 | 2000.00 | 16000.00 | 1600.00 | 12800.00 | 4000.00 | 32000.00 | 28820.00 | 230560.00 | 2500.00 | 20000.00 | 6800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.00 | Supply ,Installation, Testing & Commissioning of 30W Weatherproof horn speakers with following features:- Complete metal grille and line matching transformer 100/70V line. Variable wattage tapings of 25/12.5W, Effective frequency range 250-6kHz (BS6840), SPL@1m/1W=110dB, Peak SPL 124dB complete with necessary mounting hardware & accessories. | 3.00 | Nos. |  | 5500.00 | 16500.00 | 6500.00 | 19500.00 | 4800.00 | 14400.00 | 2100.00 | 6300.00 | 3100.00 | 9300.00 | 15000.00 | 45000.00 | 7722.00 | 23166.00 | 5500.00 | 16500.00 | 6300.00 | M/S AMAR ENTERPRISES
16.00 | Supply of Volume Controller 30W | 1.00 | No. |  | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 2250.00 | 2250.00 | 1200.00 | 1200.00 | 1700.00 | 1700.00 | 2000.00 | 2000.00 | 2184.00 | 2184.00 | 7500.00 | 7500.00 | 1200.00 | M/S AMAR ENTERPRISES
17.00 | Supply of 2 core 1.5 sqmm unarmouded Speaker cable | 500.00 | Mtrs |  | 50.00 | 25000.00 | 45.00 | 22500.00 | 70.00 | 35000.00 | 51.00 | 25500.00 | 50.00 | 25000.00 | 25.00 | 12500.00 | 39.00 | 19500.00 | 80.00 | 40000.00 | 12500.00 | M/s BHARAT ELECTRIC, NAGPUR
18.00 | Supply of Cat6 Cable | 300.00 | Mtrs |  | 25.00 | 7500.00 | 55.00 | 16500.00 | 30.00 | 9000.00 | 30.00 | 9000.00 | 28.00 | 8400.00 | 50.00 | 15000.00 | 26.00 | 7800.00 | 90.00 | 27000.00 | 7500.00 | GIRI ENTERPRISES
19.00 | Supply of 20mm dia PVC Conduit(ISI mark) | 60.00 | Mtrs |  | 40.00 | 2400.00 | 80.00 | 4800.00 | 65.00 | 3900.00 | 50.00 | 3000.00 | 18.00 | 1080.00 | 25.00 | 1500.00 | 28.00 | 1680.00 | 75.00 | 4500.00 | 1080.00 | M/S CHAUDHARY CONSTRUCTION
20.00 | Laying of 2 core 1.5 sqmm unarmouded Speaker cable | 500.00 | Mtrs |  | 10.00 | 5000.00 | 25.00 | 12500.00 | 25.00 | 12500.00 | 70.00 | 35000.00 | 8.00 | 4000.00 | 5.00 | 2500.00 | 55.00 | 27500.00 | 40.00 | 20000.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
21.00 | Laying of Cat6 Cable with connector | 300.00 | Mtrs |  | 10.00 | 3000.00 | 25.00 | 7500.00 | 10.00 | 3000.00 | 30.00 | 9000.00 | 8.00 | 2400.00 | 5.00 | 1500.00 | 55.00 | 16500.00 | 40.00 | 12000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
22.00 | Laying PVC conduit | 60.00 | Mtrs |  | 10.00 | 600.00 | 50.00 | 3000.00 | 10.00 | 600.00 | 30.00 | 1800.00 | 8.00 | 480.00 | 5.00 | 300.00 | 33.00 | 1980.00 | 35.00 | 2100.00 | 300.00 | M/s BHARAT ELECTRIC, NAGPUR
23.00 | Percentage above or below on the rate of CPWD DSR'2022 (E&M) worth totaling to Rs.3,00,000.00 as per requirement.( Items cover all DSR 2022 items except the items which are included in above schedule (if any)) (Note: The contractor has to quote/upload the percentage above/below(+/-%) on the quantity mentioned against this item directly in the form of multiplying factor in the rate column as clarified below. For Example: If desires to quote 5% above on DSR-2022 rate, the rate column shall be filled as 1.05. If desires to quote 3% below on DSR-2022 rates, the rate column shall be filled as 0.97.(Quotated Rate will be exclusive of GST) | 300000.00 | % Above or Below |  | .50 | 150000.00 | .80 | 240000.00 | .85 | 255000.00 | .60 | 180000.00 | .40 | 120000.00 | .75 | 225000.00 | .90 | 270000.00 | 1.00 | 300000.00 | 120000.00 | M/S CHAUDHARY CONSTRUCTION
| Total in Figures |  |  |  |  | 4257671.00 |  | 4362200.00 |  | 4754150.00 |  | 3969048.00 |  | 3875760.00 |  | 4625200.00 |  | 4825600.00 |  | 4521956.00
Lowest Amount Quoted BY: M/S CHAUDHARY CONSTRUCTION(3875760.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations of Electrical substation ESS including non operational area of Airport for period of 01 year 2023 24 at Deoghar Airport Deoghar Tender ID: 2024_AAI_181757_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S CHAUDHARY CONSTRUCTION | 3875760.00 | L1
| 2 | M/S AMAR ENTERPRISES | 3969048.00 | L2
| 3 | GIRI ENTERPRISES | 4257671.00 | L3
| 4 | M/s LEESHA ELECTRICALS | 4362200.00 | L4
| 5 | Edge Telecom Pvt Ltd | 4521956.00 | L5
| 6 | M/s BHARAT ELECTRIC, NAGPUR | 4625200.00 | L6
| 7 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 4754150.00 | L7
| 8 | ABHISHEK INTEGRATIONS LIMITED | 4825600.00 | L8