## BoQ1
Government eProcurement System Created By: Pushpendra Singh Created Date/Time: 27-Feb-2024 03:47 PM Tender Title: Miscellaneous Air conditioning works / Procurement of Air Conditioners at RG Bhawan. SH Replacement of various unitary ACs and other related miscellaneous civil works at RG Bhawan, New Delhi Tender ID: 2024_AAI_181784_1
Tender Inviting Authority: AGM. (Engg. – Elect)- IMU, AAI, CHQ, R.G. Bhawan, New Delhi-110003
Name of Work: Miscellaneous Air conditioning works / Procurement of Air Conditioners at RG Bhawan. SH:- Replacement of various unitary AC's and other related miscellaneous civil works at RG Bhawan, New Delhi.
Contract No - Tender ID- 2024_AAI_ 181784
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Skyline Airconditioning Engineers Pvt. Ltd.(GSTN-09AAKCS1530L1Z4) |  | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following TR Capacity , 5 star rating inverter type (variable speed) High wall Split type room air conditioner (QCO Compliant) with copper condenser, eco friendly refrigerant complete with cordless remote confirming to relevant updated IS Code, suitable for operation on 220 Volts +/- 10%, 50 HZ, single phase A.C. supply and capable of performing standard functions with standard packing of unit as required from preferred make list of AAI and as per the technical specifications/conditions as specified in the tender document.
1.10 | 1.5 TR category, Min. 5.28kW /18000 BTU | 2.00 | Each | 10.00 | 37000.00 | 74000.00 | 43000.00 | 86000.00 | 34532.00 | 69064.00 | 69064.00 | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ
1.20 | 2.0 TR category, Min. 6.1kW / 20813 BTU | 13.00 | Each | 10.00 | 46600.00 | 605800.00 | 54500.00 | 708500.00 | 44688.00 | 580944.00 | 580944.00 | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ
2.00 | Supply of following TR Capacity, Minimum 5-star BEE rating, Inverter type (variable speed) Cassette type room air conditioner (QCO Compliant) having Indoor unit of size suitable for fixing in false ceiling cut-out, with copper condenser, eco-friendly refrigerant complete with cordless remote, suitable for operation on 220 Volts +/- 10%, 50 HZ, single phase A.C. supply or 415V, 3phase AC supply and capable of performing standard functions with standard packing of unit as required from preferred make list of AAI and as per the technical specifications/conditions as specified in the tender document.
2.10 | 2.0 TR category, Min. 7.05kW /24000BTU | 32.00 | Each | 10.00 | 72000.00 | 2304000.00 | 101500.00 | 3248000.00 | 75558.00 | 2417856.00 | 2304000.00 | VOLKS ENERGIE PVT LTD
2.20 | 3.0 TR category, Min. 10.51kW / 35860BTU | 3.00 | Each | 10.00 | 78000.00 | 234000.00 | 112500.00 | 337500.00 | 108976.00 | 326928.00 | 234000.00 | VOLKS ENERGIE PVT LTD
2.30 | 4.0 TR category, Min. 14kW / 47768 BTU | 25.00 | Each | 10.00 | 98000.00 | 2450000.00 | 132500.00 | 3312500.00 | 125244.00 | 3131100.00 | 2450000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply of Non- inverter (Fixed speed) floor standing type, Tower type air conditioners (QCO Compliant) fitted with hermetically sealed compressors operating on eco-friendly refrigerant with cordless remote suitable for operation on 220 Volts +/- 10%, 50 HZ, single phase A.C. supply or 415V, 3phase AC supply and capable of performing standard functions with standard packing of unit as required from preferred make list of AAI and as per the technical specifications/conditions as specified in the tender document.
3.10 | 2.0 TR category, Min. 6.2kW / 21206 BTU | 7.00 | Each | 10.00 | 58500.00 | 409500.00 | 73500.00 | 514500.00 | 82516.00 | 577612.00 | 409500.00 | VOLKS ENERGIE PVT LTD
3.20 | 4.0 TR category, Min. 12.896 kW / 44001 BTU | 12.00 | Each | 10.00 | 97000.00 | 1164000.00 | 119000.00 | 1428000.00 | 96922.00 | 1163064.00 | 1163064.00 | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ
4.00 | Installation, testing and commissioning of following type of AC units in the existing opening i/c fitting of indoor and outdoor unit at their respective locations, fixing of copper pipes alongwith insulation(if required), drilling holes / cutting the wall / roof etc. i/c repairing of the same using suitable hardware, ceiling supporting arrangement, installation of wall/floor mounted stand, connection of power/control cable leak testing of entire system, charging refrigerant gas in the unit, making good the surface as per requirement of the site, complete as required.
4.10 | Split AC upto 2 TR | 15.00 | Each | 10.00 | 2500.00 | 37500.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 30000.00 | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ, Skyline Airconditioning Engineers Pvt. Ltd.
4.20 | Cassette AC upto 2 TR | 32.00 | Each | 10.00 | 3500.00 | 112000.00 | 2000.00 | 64000.00 | 3500.00 | 112000.00 | 64000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.30 | Tower AC upto 2 TR | 7.00 | Each | 10.00 | 4000.00 | 28000.00 | 2000.00 | 14000.00 | 4000.00 | 28000.00 | 14000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.40 | Cassette AC above 2 TR and upto 4 TR | 28.00 | Each | 10.00 | 4500.00 | 126000.00 | 2000.00 | 56000.00 | 3500.00 | 98000.00 | 56000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.50 | Tower AC above 2TR and upto 4 TR | 12.00 | Each | 10.00 | 4500.00 | 54000.00 | 2000.00 | 24000.00 | 4000.00 | 48000.00 | 24000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
5.00 | Supply and installation of suitable size copper refrigerant piping (Supply and return) as per OEM recommendations with closed cell elastrometric nitrile rubber of class ‘O’ (minimum thickness 9 mm) as per specifications for copper tubing covering capable of handling for different rating and type of A/C units. (Measurement of 1 r.mtr. Will include both supply & return Cu. Piping with insulation ). Remarks: This item will be measured in excess of standard copper refrigerant piping supplied alongwith unit from OEM. Also, any repair / alteration related to the item will be in the scope of work of the agency. ITC will be done from OEM / authorised agency.
5.10 | For Split AC Upto 2 TR | 100.00 | R. Meter | 10.00 | 500.00 | 50000.00 | 500.00 | 50000.00 | 750.00 | 75000.00 | 50000.00 | VOLKS ENERGIE PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
5.20 | For Cassette upto 2 TR | 150.00 | R. Meter | 10.00 | 550.00 | 82500.00 | 650.00 | 97500.00 | 750.00 | 112500.00 | 82500.00 | VOLKS ENERGIE PVT LTD
5.30 | For Cassette AC above 2.0TR to Upto 4.0 TR | 150.00 | R. Meter | 10.00 | 600.00 | 90000.00 | 750.00 | 112500.00 | 925.00 | 138750.00 | 90000.00 | VOLKS ENERGIE PVT LTD
5.40 | For Tower AC upto 2 TR | 100.00 | R. Meter | 10.00 | 630.00 | 63000.00 | 650.00 | 65000.00 | 925.00 | 92500.00 | 63000.00 | VOLKS ENERGIE PVT LTD
5.50 | For Tower AC above 2.0TR to Upto 4.0 TR | 100.00 | R. Meter | 10.00 | 700.00 | 70000.00 | 700.00 | 70000.00 | 925.00 | 92500.00 | 70000.00 | VOLKS ENERGIE PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
6.00 | Supply of Wall mounted stand for outdoor unit of the following AC units.
6.10 | Split AC upto 2 TR | 10.00 | Each | 10.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 875.00 | 8750.00 | 5000.00 | VOLKS ENERGIE PVT LTD
6.20 | Cassette AC upto 2 TR | 10.00 | Each | 10.00 | 500.00 | 5000.00 | 1200.00 | 12000.00 | 875.00 | 8750.00 | 5000.00 | VOLKS ENERGIE PVT LTD
6.30 | Tower AC upto 2 TR | 5.00 | Each | 10.00 | 500.00 | 2500.00 | 1200.00 | 6000.00 | 1500.00 | 7500.00 | 2500.00 | VOLKS ENERGIE PVT LTD
7.00 | Supplying of 4c x 1.5 sq.mm. sizes FRLS copper flexible PVC insulated PVC sheathed, ISI mark cable for Air-conditioning unit as required. | 400.00 | Meter | 10.00 | 58.00 | 23200.00 | 125.00 | 50000.00 | 180.00 | 72000.00 | 23200.00 | VOLKS ENERGIE PVT LTD
8.00 | Supplying of 4c x 2.5 sq.mm. sizes FRLS copper flexible PVC insulated PVC sheathed, ISI mark cable for Air-conditioning unit as required. | 400.00 | Meter | 10.00 | 94.00 | 37600.00 | 200.00 | 80000.00 | 255.00 | 102000.00 | 37600.00 | VOLKS ENERGIE PVT LTD
9.00 | Supplying of 4c x 4 sqmm sizes FRLS copper flexible PVC insulated PVC sheathed, ISI mark cable for Air-conditioning unit as required. | 200.00 | Meter | 10.00 | 141.00 | 28200.00 | 250.00 | 50000.00 | 375.00 | 75000.00 | 28200.00 | VOLKS ENERGIE PVT LTD
10.00 | Supplying of 8c x 1.5 sqmm sizes copper flexible PVC insulated PVC sheathed, ISI mark cable for Air-conditioning unit as required. | 200.00 | Meter | 10.00 | 100.00 | 20000.00 | 250.00 | 50000.00 | 365.00 | 73000.00 | 20000.00 | VOLKS ENERGIE PVT LTD
11.00 | Supply and fixing of following size CPVC drain pipe, ISI marked from the respective units including insulation of 9mm thick closed cell nitrile rubber insulation , clamping on different surfaces, sealing the joints including making of openings as per site condition. Note : Any repair / alteration related to the item will be in the scope of work of the agency.
11.10 | 25mm | 400.00 | Meter | 10.00 | 165.00 | 66000.00 | 250.00 | 100000.00 | 295.00 | 118000.00 | 66000.00 | VOLKS ENERGIE PVT LTD
11.20 | 32mm | 300.00 | Meter | 10.00 | 221.00 | 66300.00 | 300.00 | 90000.00 | 375.00 | 112500.00 | 66300.00 | VOLKS ENERGIE PVT LTD
11.30 | 40mm | 100.00 | Meter | 10.00 | 225.00 | 22500.00 | 400.00 | 40000.00 | 490.00 | 49000.00 | 22500.00 | VOLKS ENERGIE PVT LTD
11.40 | 50mm | 100.00 | Meter | 10.00 | 250.00 | 25000.00 | 500.00 | 50000.00 | 715.00 | 71500.00 | 25000.00 | VOLKS ENERGIE PVT LTD
12.00 | Dismantling of old AC(Indoor and outdoor) including removal of old copper pipe, stand, control wiring etc and shifting to the store as required and as per directions of EIC.
12.10 | Split AC upto 2 TR | 15.00 | Each | 10.00 | 1400.00 | 21000.00 | 500.00 | 7500.00 | 1000.00 | 15000.00 | 7500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
12.20 | Cassette AC upto 4TR | 60.00 | Each | 10.00 | 1400.00 | 84000.00 | 800.00 | 48000.00 | 1500.00 | 90000.00 | 48000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
12.30 | Tower AC upto 4TR | 19.00 | Each | 10.00 | 1500.00 | 28500.00 | 800.00 | 15200.00 | 1500.00 | 28500.00 | 15200.00 | Skyline Airconditioning Engineers Pvt. Ltd.
13.00 | Supply, design , fabricating & fixing of Angle iron frame with wire mesh for following size angles for AC outdoor protection from monkeys and other nuisance at roof top or outside locations with suitable iron mesh of thickness 4mm complete with fixing, welding, providing suitable opening for cooper piping entrance, provision of outdoor removal towards one side for maintenance & other connections etc. as per site requirement and as per instruction of EIC. The item shall be weighed at site and measured accordingly.
13.10 | 25*25*5mm (Will also be used for Outdoor unit protective cover with mesh upto 2 TR AC as per site requirement) | 1200.00 | Kg | 10.00 | 90.00 | 108000.00 | 150.00 | 180000.00 | 155.00 | 186000.00 | 108000.00 | VOLKS ENERGIE PVT LTD
13.20 | 35*35*5mm (Will also be used for Outdoor unit protective cover with mesh for AC above 2 TR and upto 4 TR AC as per site requirement) | 1000.00 | Kg | 10.00 | 90.00 | 90000.00 | 150.00 | 150000.00 | 155.00 | 155000.00 | 90000.00 | VOLKS ENERGIE PVT LTD
14.00 | Painting of angle iron frame with wire mesh using one coat of red oxide and one coat of enamel paint for the following AC units complete as required at site.
14.10 | All AC upto 2 TR | 54.00 | Each | 10.00 | 500.00 | 27000.00 | 100.00 | 5400.00 | 1500.00 | 81000.00 | 5400.00 | Skyline Airconditioning Engineers Pvt. Ltd.
14.20 | All AC above 2 TR and upto 4 TR | 40.00 | Each | 10.00 | 500.00 | 20000.00 | 150.00 | 6000.00 | 1500.00 | 60000.00 | 6000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
15.00 | Supply, design , fabricating & fixing of Angle iron floor stand for following size angles for AC outdoor complete with fixing, welding, painting etc. as per site requirement and as per instruction of EIC. The item shall be weighed at site and measured accordingly.
15.10 | 25*25*5mm (Will also be used for Indoor / Outdoor stands for upto 4 TR AC as per site requirement) | 300.00 | Kg | 10.00 | 90.00 | 27000.00 | 150.00 | 45000.00 | 215.00 | 64500.00 | 27000.00 | VOLKS ENERGIE PVT LTD
16.00 | SITC of Voltage Stabilizer of following capacity copper wound without TDR three step auto and with high/low cut off complete as required suitable for input voltage from 150 to 280 volt giving output 200-240 volt at 50 Hz A.C supply complete in all respect as required at site.
16.10 | Stabilizer 4 kva | 10.00 | Each | 10.00 | 3000.00 | 30000.00 | 4500.00 | 45000.00 | 4150.00 | 41500.00 | 30000.00 | VOLKS ENERGIE PVT LTD
16.20 | Stabilizer 5 kva | 10.00 | Each | 10.00 | 3500.00 | 35000.00 | 6500.00 | 65000.00 | 4450.00 | 44500.00 | 35000.00 | VOLKS ENERGIE PVT LTD
17.00 | Repairing and fixing by providing 12.5mm thick (+/-0.5mm) gypsum plain board (conforming to IS: 2095- (Part I) : 2011, Board with BIS Certification marks) false ceiling at all height including providing and fixing of frame work made of special sections, if required, and other standard accessories required for fixing the gypsum false ceiling as per CPWD specifications. The item also includes jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cut-outs made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge with 02 coat of painting for the new / repaired portion matching with the existing paint complete in all respect as required at site. | 10.00 | Sq. Mtr | 10.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 5500.00 | 55000.00 | 10000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
18.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level with Cement mortar ratio 1:4 (1 cement : 4 coarse sand) in all shapes and sizes for the purpose of making base structure for fixing AC outdoor units and angle iron stand to protect the outdoor unit from damages by monkeys and other external nuisance as per the instruction of EIC complete in all respect as required at site. | 5.00 | Cubic Metre | 10.00 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 11250.00 | 56250.00 | 25000.00 | VOLKS ENERGIE PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
19.00 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels complete in all respect as required at site. | 5.00 | Sq. Mtr | 10.00 | 5000.00 | 25000.00 | 1000.00 | 5000.00 | 1150.00 | 5750.00 | 5000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
20.00 | Providing and laying in position cement concrete 1:3:6 (1 cement :3 coarse sand : 6 graded stone aggregate 20 mm nominal size) for the purpose of foundation of heavy outdoor AC units etc. complete in all respect as required at site. | 6.00 | Cubic Metre | 10.00 | 5000.00 | 30000.00 | 5000.00 | 30000.00 | 14500.00 | 87000.00 | 30000.00 | VOLKS ENERGIE PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
21.00 | Supply and installation of RO Water Purifier having filteration capacity of 20LPH with Reverse Osmosis(RO), UltraViolet(UV), Ultra filteration(UF) technology, TDS Control with inbuilt storage tank 9L capacity of ABS Food grade, Auto cut features, etc suitable for operation on 220Volts, 50Hz single phase AC supply complete etc as required on need basis as per directions of EIC.(Make Kent, Model Grand plus or equivalent as approved by EIC. | 2.00 | Each | 10.00 | 31650.00 | 63300.00 | 50000.00 | 100000.00 | 27500.00 | 55000.00 | 55000.00 | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ
| Total in Figures |  |  |  |  | 8884400.00 |  | 11493100.00 |  | 10816818.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(8884400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Air conditioning works / Procurement of Air Conditioners at RG Bhawan. SH Replacement of various unitary ACs and other related miscellaneous civil works at RG Bhawan, New Delhi Tender ID: 2024_AAI_181784_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 8884400.00 | L1
| 2 | AS AIR SYSTEMS PRIVATE LIMITED, 07AAGCA2440P1ZJ | 10816818.00 | L2
| 3 | Skyline Airconditioning Engineers Pvt. Ltd. | 11493100.00 | L3