## BoQ1
Government eProcurement System Created By: Samar Kumar Biswas Created Date/Time: 29-Feb-2024 06:07 PM Tender Title: Development of Civil Airport at Bokaro SITC of Perimeter Light at Bokaro Airport Tender ID: 2024_AAI_182262_1
Tender Inviting Authority: Airport Authority of India
Name of Work: Development of Civil Airport at Bokaro, SITC of Perimeter Light at Bokaro Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GIRI ENTERPRISES(GSTN-20ACEPG3920H1ZA) |  | CALCUTTA POWER CONSTRUCTION CO.(GSTN-19AADFC6165B1ZO) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | Instapower Ltd(GSTN-05AAACI9712L1ZG) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | Messers Rajesh Gawde(GSTN-23AFHPG7133A1Z4) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | SHANKAR AND COMPANY(GSTN-NA) |  | MANKHA ELECTROTECH PRIVATE LIMITED(GSTN-NA) |  | Variant Infratech Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098, Part-I 1988 with up to date amendments.
1.10 | 4c x 16 Sq. mm | 5000.00 | Metre |  | 120.00 | 600000.00 | 125.00 | 625000.00 | 124.00 | 620000.00 | 99.00 | 495000.00 | 250.00 | 1250000.00 | 136.25 | 681250.00 | 150.00 | 750000.00 | 142.00 | 710000.00 | 121.00 | 605000.00 | 115.00 | 575000.00 | 170.00 | 850000.00 | 200.00 | 1000000.00 | 102.00 | 510000.00 | 95.55 | 477750.00 | 130.00 | 650000.00 | 477750.00 | MANKHA ELECTROTECH PRIVATE LIMITED
1.20 | 3.5c x 70 Sq.mm | 2500.00 | Metre |  | 320.00 | 800000.00 | 323.00 | 807500.00 | 319.00 | 797500.00 | 270.00 | 675000.00 | 400.00 | 1000000.00 | 348.50 | 871250.00 | 500.00 | 1250000.00 | 332.00 | 830000.00 | 297.00 | 742500.00 | 340.00 | 850000.00 | 425.00 | 1062500.00 | 400.00 | 1000000.00 | 270.00 | 675000.00 | 264.60 | 661500.00 | 340.00 | 850000.00 | 661500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
1.30 | 3.5c x 185 Sq.mm | 2000.00 | Metre |  | 720.00 | 1440000.00 | 735.00 | 1470000.00 | 728.00 | 1456000.00 | 610.00 | 1220000.00 | 850.00 | 1700000.00 | 995.00 | 1990000.00 | 1100.00 | 2200000.00 | 722.00 | 1444000.00 | 673.00 | 1346000.00 | 750.00 | 1500000.00 | 810.00 | 1620000.00 | 800.00 | 1600000.00 | 643.00 | 1286000.00 | 640.50 | 1281000.00 | 740.00 | 1480000.00 | 1220000.00 | Youngmen Traders
2.00 | Supply of 3c x 1.5 sq. mm PVC insulated and FR PVC Round Sheathed, Copper Conductor (ﬂexible) industrial cable of 1.1 KV grade conforming to IS 694 with up to date amendments. | 1000.00 | Metre |  | 50.00 | 50000.00 | 48.00 | 48000.00 | 50.00 | 50000.00 | 45.00 | 45000.00 | 65.00 | 65000.00 | 125.00 | 125000.00 | 50.00 | 50000.00 | 63.00 | 63000.00 | 57.00 | 57000.00 | 65.00 | 65000.00 | 90.00 | 90000.00 | 100.00 | 100000.00 | 56.00 | 56000.00 | 47.25 | 47250.00 | 52.00 | 52000.00 | 45000.00 | Youngmen Traders
3.00 | Supply of minimum 40W LED type floodlight luminaire with minimum IP-65 protection for outdoor application, high pressure die-cast aluminum housing design & powder coated finishing, with heat resistant diffuser & toughened glass in front, with mounting bracket for aiming adjustment suitable to operate on 240 V, 50 Hz, AC supply with control gear and other accessories complete as required conforming to technical specification attached. | 350.00 | Each |  | 1400.00 | 490000.00 | 1920.00 | 672000.00 | 1856.00 | 649600.00 | 1700.00 | 595000.00 | 2000.00 | 700000.00 | 1250.00 | 437500.00 | 2100.00 | 735000.00 | 1750.00 | 612500.00 | 1595.00 | 558250.00 | 1700.00 | 595000.00 | 3200.00 | 1120000.00 | 1800.00 | 630000.00 | 1505.00 | 526750.00 | 1600.00 | 560000.00 | 1555.00 | 544250.00 | 437500.00 | Instapower Ltd
4.00 | Supply of 18/20W LED tube light fitting for surface mounting indoor application, IP 20 protection, suitable to operate on 230V ±, 10% single phase, AC supply. (Make: Bajaj, Model No. : BCLSB 10W WH or equivalent as per AAI approved make list). | 12.00 | Each |  | 150.00 | 1800.00 | 168.00 | 2016.00 | 422.00 | 5064.00 | 200.00 | 2400.00 | 293.00 | 3516.00 | 280.00 | 3360.00 | 500.00 | 6000.00 | 300.00 | 3600.00 | 275.00 | 3300.00 | 245.00 | 2940.00 | 1200.00 | 14400.00 | 250.00 | 3000.00 | 161.00 | 1932.00 | 200.00 | 2400.00 | 215.00 | 2580.00 | 1800.00 | GIRI ENTERPRISES
5.00 | Supply of 400 mm sweep, wall mounted fan suitable to operate on 230V ±, 10% single phase, AC supply along with all accessories (Make: Havells ; Model SAMEERA / Make: CROMPTON ; Model: WM Cressida or equivalent as per AAI approved make list) | 12.00 | Each |  | 1800.00 | 21600.00 | 2280.00 | 27360.00 | 2877.00 | 34524.00 | 1800.00 | 21600.00 | 2600.00 | 31200.00 | 2900.00 | 34800.00 | 3400.00 | 40800.00 | 1800.00 | 21600.00 | 4180.00 | 50160.00 | 550.00 | 6600.00 | 6500.00 | 78000.00 | 2250.00 | 27000.00 | 2340.00 | 28080.00 | 3310.00 | 39720.00 | 2875.00 | 34500.00 | 6600.00 | Awasthi Electric Works
6.00 | Supply of 3mtr height Octagonal galvanised street light pole made out from 3mm thick steel sheet (grade of steel S-355), top dia 70mm & bottom dia 135mm single sharp welding with base plate dimension 220 x 220 x12 mm, alongwith 4nos of galvanised foundation bolts (Bolt size 4 x 16mm dia J type bolts ; PCD 220mm ; bolt length 450mm.), Provision should be made for (i) Fixing of junction box out side of the pole (ii) Termination of two no's 6 SWG GI wire (earth terminal.) (iii) Fixing of 1000mm long GI T shaped bracket/ISMC chanel for holding the luminaire. | 335.00 | Each |  | 8000.00 | 2680000.00 | 5472.00 | 1833120.00 | 5100.00 | 1708500.00 | 4500.00 | 1507500.00 | 6100.00 | 2043500.00 | 6900.00 | 2311500.00 | 5000.00 | 1675000.00 | 6539.00 | 2190565.00 | 5500.00 | 1842500.00 | 5500.00 | 1842500.00 | 9500.00 | 3182500.00 | 6000.00 | 2010000.00 | 3627.00 | 1215045.00 | 3675.00 | 1231125.00 | 5578.00 | 1868630.00 | 1215045.00 | SHANKAR AND COMPANY
7.00 | ITC of pole including making foundation work (400mm(L) x 400mm(W) x 900mm(D) by providing and laying in position cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) with provision of cable entry and exit by providing 2 no's of 40mm dia HDPE pipe through the RCC work as required in site(i/c Reinforcement), 04 no's of "J" bolt of length 450mm. (included in supply item of GI Pole) to be inserted during foundation work with proper alignment for matching of hole of base plate of GI pole. The mounting arrangement shall be rigid enough to withstand maximum storm wind speed at site including excavation, refilling, painting etc. complete as required. | 330.00 | Job |  | 1000.00 | 330000.00 | 3024.00 | 997920.00 | 3336.00 | 1100880.00 | 1900.00 | 627000.00 | 1500.00 | 495000.00 | 840.00 | 277200.00 | 2500.00 | 825000.00 | 1500.00 | 495000.00 | 3245.00 | 1070850.00 | 2500.00 | 825000.00 | 3000.00 | 990000.00 | 1000.00 | 330000.00 | 3841.00 | 1267530.00 | 4500.00 | 1485000.00 | 7475.00 | 2466750.00 | 277200.00 | Instapower Ltd
8.00 | Supply and fixing of suitable size thermoplastic polycarbonate Cable Junction Boxes (Minimum IP 66 protection) in the existing pole with provision of metric knockouts for cable entry/exit, alongwith suitable terminal/connector for incoming & outgoing cable (upto 4c x 25 Sqmm) and 1 No. 6A "C" series SP MCB with necessary earthing provision for cable termination. complete as required as per the site condition. (Make: Hensel, Cat. No.- DK 2525 G or equivalant.) | 330.00 | Each |  | 1700.00 | 561000.00 | 4060.00 | 1339800.00 | 1337.00 | 441210.00 | 3100.00 | 1023000.00 | 995.00 | 328350.00 | 2250.00 | 742500.00 | 2500.00 | 825000.00 | 3000.00 | 990000.00 | 3498.00 | 1154340.00 | 3500.00 | 1155000.00 | 1200.00 | 396000.00 | 4000.00 | 1320000.00 | 1964.00 | 648120.00 | 850.00 | 280500.00 | 5750.00 | 1897500.00 | 280500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
9.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting /LED fitting/ compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 10.00 | Each |  | 50.00 | 500.00 | 96.00 | 960.00 | 238.00 | 2380.00 | 150.00 | 1500.00 | 59.00 | 590.00 | 200.00 | 2000.00 | 75.00 | 750.00 | 40.00 | 400.00 | 143.00 | 1430.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 75.00 | 750.00 | 176.00 | 1760.00 | 100.00 | 1000.00 | 575.00 | 5750.00 | 400.00 | M/S AMAR ENTERPRISES
10.00 | Installation, testing and commissioning of wall mounted fan, including wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required | 10.00 | Each |  | 100.00 | 1000.00 | 96.00 | 960.00 | 298.00 | 2980.00 | 100.00 | 1000.00 | 117.00 | 1170.00 | 200.00 | 2000.00 | 125.00 | 1250.00 | 50.00 | 500.00 | 275.00 | 2750.00 | 350.00 | 3500.00 | 900.00 | 9000.00 | 75.00 | 750.00 | 185.00 | 1850.00 | 100.00 | 1000.00 | 290.00 | 2900.00 | 500.00 | M/S AMAR ENTERPRISES
11.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
11.10 | 4 way, double door | 10.00 | Each |  | 1100.00 | 11000.00 | 2688.00 | 26880.00 | 5297.00 | 52970.00 | 1200.00 | 12000.00 | 1755.00 | 17550.00 | 5215.00 | 52150.00 | 1550.00 | 15500.00 | 1000.00 | 10000.00 | 2200.00 | 22000.00 | 1300.00 | 13000.00 | 3000.00 | 30000.00 | 300.00 | 3000.00 | 1720.00 | 17200.00 | 4000.00 | 40000.00 | 6325.00 | 63250.00 | 3000.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
12.10 | Single pole | 20.00 | Each |  | 200.00 | 4000.00 | 168.00 | 3360.00 | 320.00 | 6400.00 | 150.00 | 3000.00 | 230.00 | 4600.00 | 250.00 | 5000.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 198.00 | 3960.00 | 175.00 | 3500.00 | 210.00 | 4200.00 | 75.00 | 1500.00 | 140.00 | 2800.00 | 90.00 | 1800.00 | 3450.00 | 69000.00 | 1500.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.20 | Double pole | 10.00 | Each |  | 600.00 | 6000.00 | 528.00 | 5280.00 | 600.00 | 6000.00 | 450.00 | 4500.00 | 667.00 | 6670.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 770.00 | 7700.00 | 580.00 | 5800.00 | 600.00 | 6000.00 | 150.00 | 1500.00 | 575.00 | 5750.00 | 185.00 | 1850.00 | 5750.00 | 57500.00 | 1500.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 20.00 | Each |  | 30.00 | 600.00 | 10.00 | 200.00 | 30.00 | 600.00 | 10.00 | 200.00 | 12.00 | 240.00 | 250.00 | 5000.00 | 3.00 | 60.00 | 20.00 | 400.00 | 220.00 | 4400.00 | 21.00 | 420.00 | 100.00 | 2000.00 | 10.00 | 200.00 | 39.00 | 780.00 | 200.00 | 4000.00 | 230.00 | 4600.00 | 60.00 | jaydeep agency corporation
14.00 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required.
14.10 | 200 mm X 125 mm X 60 mm deep | 10.00 | Each |  | 150.00 | 1500.00 | 192.00 | 1920.00 | 545.00 | 5450.00 | 150.00 | 1500.00 | 211.00 | 2110.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 100.00 | 1000.00 | 550.00 | 5500.00 | 240.00 | 2400.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 115.00 | 1150.00 | 400.00 | 4000.00 | 2875.00 | 28750.00 | 1000.00 | M/S AMAR ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
15.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as required.
15.10 | 5/6 A switch | 20.00 | Each |  | 20.00 | 400.00 | 28.00 | 560.00 | 301.00 | 6020.00 | 40.00 | 800.00 | 47.00 | 940.00 | 125.00 | 2500.00 | 200.00 | 4000.00 | 20.00 | 400.00 | 220.00 | 4400.00 | 25.00 | 500.00 | 60.00 | 1200.00 | 20.00 | 400.00 | 20.00 | 400.00 | 36.00 | 720.00 | 175.00 | 3500.00 | 400.00 | GIRI ENTERPRISES, M/S AMAR ENTERPRISES, SHANKAR AND COMPANY, SHREE GOURI ELECTRIC ENTERPRISE
15.20 | 3 pin 5/6 A socket outlet | 20.00 | Each |  | 40.00 | 800.00 | 48.00 | 960.00 | 330.00 | 6600.00 | 55.00 | 1100.00 | 70.00 | 1400.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 30.00 | 600.00 | 220.00 | 4400.00 | 60.00 | 1200.00 | 120.00 | 2400.00 | 25.00 | 500.00 | 45.00 | 900.00 | 70.00 | 1400.00 | 175.00 | 3500.00 | 500.00 | SHREE GOURI ELECTRIC ENTERPRISE
16.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 20.00 | Point |  | 800.00 | 16000.00 | 960.00 | 19200.00 | 298.00 | 5960.00 | 850.00 | 17000.00 | 519.00 | 10380.00 | 1200.00 | 24000.00 | 2550.00 | 51000.00 | 500.00 | 10000.00 | 1320.00 | 26400.00 | 1250.00 | 25000.00 | 1200.00 | 24000.00 | 2500.00 | 50000.00 | 620.00 | 12400.00 | 1100.00 | 22000.00 | 5750.00 | 115000.00 | 5960.00 | BR Power Control and Automation Services
17.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required
17.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 70.00 | Metre |  | 400.00 | 28000.00 | 240.00 | 16800.00 | 214.00 | 14980.00 | 160.00 | 11200.00 | 263.00 | 18410.00 | 2160.00 | 151200.00 | 275.00 | 19250.00 | 100.00 | 7000.00 | 231.00 | 16170.00 | 350.00 | 24500.00 | 300.00 | 21000.00 | 100.00 | 7000.00 | 110.00 | 7700.00 | 300.00 | 21000.00 | 110.00 | 7700.00 | 7000.00 | M/S AMAR ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
18.00 | ITC of 30W/40W LED street light fitting in the existing GI pole including connections etc. as required. | 330.00 | Each |  | 200.00 | 66000.00 | 100.00 | 33000.00 | 238.00 | 78540.00 | 150.00 | 49500.00 | 117.00 | 38610.00 | 360.00 | 118800.00 | 150.00 | 49500.00 | 300.00 | 99000.00 | 55.00 | 18150.00 | 300.00 | 99000.00 | 250.00 | 82500.00 | 100.00 | 33000.00 | 165.00 | 54450.00 | 250.00 | 82500.00 | 289.00 | 95370.00 | 18150.00 | Messers Rajesh Gawde
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
19.10 | Upto 35 Sq mm | 4500.00 | Metre |  | 350.00 | 1575000.00 | 265.00 | 1192500.00 | 192.00 | 864000.00 | 250.00 | 1125000.00 | 95.00 | 427500.00 | 120.00 | 540000.00 | 200.00 | 900000.00 | 150.00 | 675000.00 | 352.00 | 1584000.00 | 260.00 | 1170000.00 | 300.00 | 1350000.00 | 100.00 | 450000.00 | 270.00 | 1215000.00 | 105.00 | 472500.00 | 30.00 | 135000.00 | 135000.00 | Variant Infratech Private Limited
19.20 | Above 35 sq. mm and upto 95 Sq mm | 2000.00 | Metre |  | 350.00 | 700000.00 | 275.00 | 550000.00 | 219.00 | 438000.00 | 260.00 | 520000.00 | 95.00 | 190000.00 | 144.00 | 288000.00 | 225.00 | 450000.00 | 180.00 | 360000.00 | 352.00 | 704000.00 | 275.00 | 550000.00 | 350.00 | 700000.00 | 100.00 | 200000.00 | 250.00 | 500000.00 | 135.00 | 270000.00 | 58.00 | 116000.00 | 116000.00 | Variant Infratech Private Limited
19.30 | Above 95 sq. mm and upto 185 Sq mm | 2000.00 | Metre |  | 350.00 | 700000.00 | 289.00 | 578000.00 | 235.00 | 470000.00 | 270.00 | 540000.00 | 105.00 | 210000.00 | 180.00 | 360000.00 | 250.00 | 500000.00 | 200.00 | 400000.00 | 363.00 | 726000.00 | 275.00 | 550000.00 | 400.00 | 800000.00 | 100.00 | 200000.00 | 260.00 | 520000.00 | 195.00 | 390000.00 | 115.00 | 230000.00 | 200000.00 | SHREE GOURI ELECTRIC ENTERPRISE
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
20.10 | Upto 35 Sq. mm | 200.00 | Metre |  | 100.00 | 20000.00 | 19.00 | 3800.00 | 83.00 | 16600.00 | 30.00 | 6000.00 | 59.00 | 11800.00 | 60.00 | 12000.00 | 25.00 | 5000.00 | 50.00 | 10000.00 | 22.00 | 4400.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 25.00 | 5000.00 | 30.00 | 6000.00 | 35.00 | 7000.00 | 30.00 | 6000.00 | 3800.00 | CALCUTTA POWER CONSTRUCTION CO.
20.20 | Above 35 Sq. Mm and upto 95 Sq. mm | 100.00 | Metre |  | 100.00 | 10000.00 | 29.00 | 2900.00 | 107.00 | 10700.00 | 35.00 | 3500.00 | 94.00 | 9400.00 | 72.00 | 7200.00 | 30.00 | 3000.00 | 50.00 | 5000.00 | 33.00 | 3300.00 | 50.00 | 5000.00 | 35.00 | 3500.00 | 25.00 | 2500.00 | 46.00 | 4600.00 | 50.00 | 5000.00 | 58.00 | 5800.00 | 2500.00 | SHREE GOURI ELECTRIC ENTERPRISE
20.30 | Above 95 Sq. Mm and upto 185 Sq. mm | 100.00 | Metre |  | 100.00 | 10000.00 | 39.00 | 3900.00 | 131.00 | 13100.00 | 40.00 | 4000.00 | 94.00 | 9400.00 | 120.00 | 12000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 39.00 | 3900.00 | 70.00 | 7000.00 | 40.00 | 4000.00 | 25.00 | 2500.00 | 65.00 | 6500.00 | 100.00 | 10000.00 | 115.00 | 11500.00 | 2500.00 | SHREE GOURI ELECTRIC ENTERPRISE
21.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
21.10 | 4 X 16 sq. mm | 660.00 | Set |  | 200.00 | 132000.00 | 290.00 | 191400.00 | 800.00 | 528000.00 | 375.00 | 247500.00 | 250.00 | 165000.00 | 625.00 | 412500.00 | 250.00 | 165000.00 | 200.00 | 132000.00 | 143.00 | 94380.00 | 275.00 | 181500.00 | 400.00 | 264000.00 | 50.00 | 33000.00 | 246.00 | 162360.00 | 200.00 | 132000.00 | 400.00 | 264000.00 | 33000.00 | SHREE GOURI ELECTRIC ENTERPRISE
21.20 | 3.5 x 70 Sq. mm. | 12.00 | Set |  | 300.00 | 3600.00 | 670.00 | 8040.00 | 1388.00 | 16656.00 | 350.00 | 4200.00 | 819.00 | 9828.00 | 937.50 | 11250.00 | 350.00 | 4200.00 | 500.00 | 6000.00 | 275.00 | 3300.00 | 450.00 | 5400.00 | 500.00 | 6000.00 | 100.00 | 1200.00 | 320.00 | 3840.00 | 350.00 | 4200.00 | 1150.00 | 13800.00 | 1200.00 | SHREE GOURI ELECTRIC ENTERPRISE
21.30 | 3.5 x 185 Sq.mm | 4.00 | Set |  | 500.00 | 2000.00 | 1440.00 | 5760.00 | 2800.00 | 11200.00 | 750.00 | 3000.00 | 1020.00 | 4080.00 | 1312.50 | 5250.00 | 1050.00 | 4200.00 | 1000.00 | 4000.00 | 550.00 | 2200.00 | 800.00 | 3200.00 | 1000.00 | 4000.00 | 200.00 | 800.00 | 501.00 | 2004.00 | 450.00 | 1800.00 | 1150.00 | 4600.00 | 800.00 | SHREE GOURI ELECTRIC ENTERPRISE
22.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Each |  | 12000.00 | 120000.00 | 4800.00 | 48000.00 | 12000.00 | 120000.00 | 6000.00 | 60000.00 | 6552.00 | 65520.00 | 4175.00 | 41750.00 | 5950.00 | 59500.00 | 4000.00 | 40000.00 | 10450.00 | 104500.00 | 7000.00 | 70000.00 | 9000.00 | 90000.00 | 7300.00 | 73000.00 | 6120.00 | 61200.00 | 6500.00 | 65000.00 | 4050.00 | 40500.00 | 40000.00 | M/S AMAR ENTERPRISES
23.00 | Providing & laying of following sizes of G.I. pipe (medium class) i/c all types of accessories in all kind of soil/hard rock (upto 75 cm deep) and re-filling the trench as required.
23.10 | 40 mm dia | 200.00 | Metre |  | 600.00 | 120000.00 | 432.00 | 86400.00 | 665.00 | 133000.00 | 425.00 | 85000.00 | 468.00 | 93600.00 | 50.00 | 10000.00 | 500.00 | 100000.00 | 300.00 | 60000.00 | 715.00 | 143000.00 | 385.00 | 77000.00 | 450.00 | 90000.00 | 400.00 | 80000.00 | 505.00 | 101000.00 | 550.00 | 110000.00 | 324.00 | 64800.00 | 10000.00 | Instapower Ltd
23.20 | 80 mm dia | 100.00 | Metre |  | 1000.00 | 100000.00 | 1152.00 | 115200.00 | 1180.00 | 118000.00 | 900.00 | 90000.00 | 878.00 | 87800.00 | 100.00 | 10000.00 | 850.00 | 85000.00 | 1000.00 | 100000.00 | 1210.00 | 121000.00 | 860.00 | 86000.00 | 1200.00 | 120000.00 | 700.00 | 70000.00 | 850.00 | 85000.00 | 950.00 | 95000.00 | 690.00 | 69000.00 | 10000.00 | Instapower Ltd
24.00 | Supplying and laying 6 SWG G.I. wire at 0.50 meter below ground level for conductor earth electrode, including connection/termination with existing GI pole / Feeder pillar as required as per the site condition. | 6000.00 | Metre |  | 30.00 | 180000.00 | 29.00 | 174000.00 | 97.00 | 582000.00 | 25.00 | 150000.00 | 40.00 | 240000.00 | 21.90 | 131400.00 | 38.00 | 228000.00 | 10.00 | 60000.00 | 26.00 | 156000.00 | 25.00 | 150000.00 | 30.00 | 180000.00 | 35.00 | 210000.00 | 35.00 | 210000.00 | 20.00 | 120000.00 | 18.00 | 108000.00 | 60000.00 | M/S AMAR ENTERPRISES
25.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in existing pipe as required as per the site condition. | 400.00 | Metre |  | 30.00 | 12000.00 | 19.00 | 7600.00 | 62.00 | 24800.00 | 22.00 | 8800.00 | 29.00 | 11600.00 | 21.90 | 8760.00 | 32.00 | 12800.00 | 10.00 | 4000.00 | 26.00 | 10400.00 | 25.00 | 10000.00 | 40.00 | 16000.00 | 20.00 | 8000.00 | 42.00 | 16800.00 | 25.00 | 10000.00 | 18.00 | 7200.00 | 4000.00 | M/S AMAR ENTERPRISES
26.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
26.10 | 4 X 16 sq.mm | 5.00 | Set |  | 3000.00 | 15000.00 | 2400.00 | 12000.00 | 2700.00 | 13500.00 | 1800.00 | 9000.00 | 2925.00 | 14625.00 | 875.00 | 4375.00 | 570.00 | 2850.00 | 1000.00 | 5000.00 | 2530.00 | 12650.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 1602.00 | 8010.00 | 12000.00 | 60000.00 | 5750.00 | 28750.00 | 2850.00 | jaydeep agency corporation
26.20 | 3.5 X 70 sq. mm | 10.00 | Set |  | 5000.00 | 50000.00 | 3360.00 | 33600.00 | 4200.00 | 42000.00 | 2500.00 | 25000.00 | 3276.00 | 32760.00 | 1125.00 | 11250.00 | 785.00 | 7850.00 | 2000.00 | 20000.00 | 2860.00 | 28600.00 | 3050.00 | 30500.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 3140.00 | 31400.00 | 25000.00 | 250000.00 | 7475.00 | 74750.00 | 7850.00 | jaydeep agency corporation
26.30 | 3.5 X 185 sq.mm | 4.00 | Set |  | 10000.00 | 40000.00 | 4320.00 | 17280.00 | 5800.00 | 23200.00 | 3300.00 | 13200.00 | 3510.00 | 14040.00 | 1250.00 | 5000.00 | 1475.00 | 5900.00 | 5000.00 | 20000.00 | 3410.00 | 13640.00 | 4150.00 | 16600.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 3290.00 | 13160.00 | 35000.00 | 140000.00 | 7475.00 | 29900.00 | 5000.00 | Instapower Ltd
27.00 | SITC of dust and vermin proof outdoor type pedestal mounted distribution feeder pillar (Approx size : 400mm(L) x 500mm(H) x 250mm(D). suitable for 3 phase, 415 Volts, 50 Hz. AC supply generally conforming to IS: 5039/1983 as ammended upto date and to withstand rough usage and weather fabricated with 2mm thick CRCA sheet with hinged double door with gasket, detachable gland plates for cable chamber, 2 earthing studs, bottom type cable entry provision having locking arrangement in front.(A) Incomer: 40 A, 4P MCCB (Ics=100%Icu) - 30 kA, = 1 No. (b) Contactor: 40A, 4 Pole - 1 No. (c) LED Indication Lamp, (R/Y/G/ON/OFF) = 5 Nos. (E) Outgoing: (i) 20A TPN MCB...3Nos, 24 Hrs. Timer switch - 1 no. | 6.00 | Job |  | 60000.00 | 360000.00 | 28800.00 | 172800.00 | 70000.00 | 420000.00 | 65000.00 | 390000.00 | 55500.00 | 333000.00 | 51750.00 | 310500.00 | 50000.00 | 300000.00 | 50000.00 | 300000.00 | 64350.00 | 386100.00 | 55000.00 | 330000.00 | 25000.00 | 150000.00 | 30000.00 | 180000.00 | 27100.00 | 162600.00 | 55000.00 | 330000.00 | 28900.00 | 173400.00 | 150000.00 | Manish Electricals
28.00 | SITC of dust and vermin proof outdoor type pedestal mounted distribution feeder pillar (Approx size : 800mm(L) x 1000mm(H) x 350mm(D). suitable for 3 phase, 415 Volts, 50 Hz. AC supply generally conforming to IS: 5039/1983 as ammended upto date and to withstand rough usage and weather fabricated with 2mm thick CRCA sheet with hinged double door with gasket, detachable gland plates for cable chamber, 2 earthing studs, bottom type cable entry provision having locking arrangement in front. This should have mounting arrangement on concreate pedestal (Approx size : 2 x (1000mm x750mm x500mm) with MS angle mounting legs.The panel shall be powder coated painting, supply and fixing of following switchgears, interconnections, internal control wiring, earthing etc. complete as required and as per specifications attached. | 2.00 | Job |  | 80000.00 | 160000.00 | 23000.00 | 46000.00 | 205000.00 | 410000.00 | 100000.00 | 200000.00 | 166180.00 | 332360.00 | 86250.00 | 172500.00 | 185000.00 | 370000.00 | 71450.00 | 142900.00 | 155000.00 | 310000.00 | 145000.00 | 290000.00 | 30000.00 | 60000.00 | 50000.00 | 100000.00 | 31300.00 | 62600.00 | 185000.00 | 370000.00 | 28900.00 | 57800.00 | 46000.00 | CALCUTTA POWER CONSTRUCTION CO.
| Total in Figures |  |  |  |  | 11419800.00 |  | 11181976.00 |  | 11306914.00 |  | 9799000.00 |  | 9981549.00 |  | 10205745.00 |  | 11723410.00 |  | 9845465.00 |  | 11958530.00 |  | 11149060.00 |  | 13480200.00 |  | 9773100.00 |  | 9493671.00 |  | 9090015.00 |  | 11743830.00
Lowest Amount Quoted BY: MANKHA ELECTROTECH PRIVATE LIMITED(9090015.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Civil Airport at Bokaro SITC of Perimeter Light at Bokaro Airport Tender ID: 2024_AAI_182262_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANKHA ELECTROTECH PRIVATE LIMITED | 9090015.00 | L1
| 2 | SHANKAR AND COMPANY | 9493671.00 | L2
| 3 | SHREE GOURI ELECTRIC ENTERPRISE | 9773100.00 | L3
| 4 | Youngmen Traders | 9799000.00 | L4
| 5 | M/S AMAR ENTERPRISES | 9845465.00 | L5
| 6 | Metropolitan Infrabuild Development And Services Pvt Ltd | 9981549.00 | L6
| 7 | Instapower Ltd | 10205745.00 | L7
| 8 | Awasthi Electric Works | 11149060.00 | L8
| 9 | CALCUTTA POWER CONSTRUCTION CO. | 11181976.00 | L9
| 10 | BR Power Control and Automation Services | 11306914.00 | L10
| 11 | GIRI ENTERPRISES | 11419800.00 | L11
| 12 | jaydeep agency corporation | 11723410.00 | L12
| 13 | Variant Infratech Private Limited | 11743830.00 | L13
| 14 | Messers Rajesh Gawde | 11958530.00 | L14
| 15 | Manish Electricals | 13480200.00 | L15