## BoQ1
Government eProcurement System Created By: BALAKRISHNA PALLA Created Date/Time: 05-Mar-2024 10:33 AM Tender Title: Special repairs to modificaiton of SHA extension by removing airline offices at Visakhapatnam airport Tender ID: 2024_AAI_182306_1
Tender Inviting Authority: <Asst General manager Engg(C) >
Name of Work: " Special repairs to modification of SHA extension by removing airline offices at Visakhapatnam Airport”
Contract No: AAI/VZ/ENGG(C)/ Extension SHA/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD(GSTN-19AAGCR6941N1ZN) |  | K RAMA KRISHNA RAJU(GSTN-37ALKPK5823E1Z2)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of materials by Manual Labour including loading, unloading and stacking for lead less than 0.50 KM Lime, moorum, building rubbish outside the airport. | 91.00 | Cum | 100.00 | 200.00 | 18200.00 | 150.00 | 13650.00 | 13650.00 | K RAMA KRISHNA RAJU
2.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 98.00 | Cum | 100.00 | 500.00 | 49000.00 | 500.00 | 49000.00 | 49000.00 | RECHI CONSTRUCTION PVT LTD, K RAMA KRISHNA RAJU
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 6.00 | Cum | 100.00 | 8500.00 | 51000.00 | 7500.00 | 45000.00 | 45000.00 | K RAMA KRISHNA RAJU
4.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.00 | Cum | 100.00 | 9500.00 | 19000.00 | 8500.00 | 17000.00 | 17000.00 | K RAMA KRISHNA RAJU
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 11.00 | Sqm | 100.00 | 750.00 | 8250.00 | 450.00 | 4950.00 | 4950.00 | K RAMA KRISHNA RAJU
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 223.00 | Kg | 100.00 | 100.00 | 22300.00 | 85.00 | 18955.00 | 18955.00 | K RAMA KRISHNA RAJU
7.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 12.00 | Cum | 100.00 | 9000.00 | 108000.00 | 6500.00 | 78000.00 | 78000.00 | K RAMA KRISHNA RAJU
8.00 | Providing and fixing stainless steel ( Grade 304) made of angles etc.,including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners adhesive etc.). | 40.00 | Kg | 100.00 | 750.00 | 30000.00 | 650.00 | 26000.00 | 26000.00 | K RAMA KRISHNA RAJU
9.00 | Providing and laying vitrified tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 60X 60 cm | 45.00 | Sqm | 100.00 | 1450.00 | 65250.00 | 1300.00 | 58500.00 | 58500.00 | K RAMA KRISHNA RAJU
10.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily - Glazed vitrified floor tiles polished finish of size - Size of Tile 1200 x 1200 mm | 548.00 | Sqm | 100.00 | 1950.00 | 1068600.00 | 2100.00 | 1150800.00 | 1068600.00 | RECHI CONSTRUCTION PVT LTD
11.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 548.00 | Sqm | 100.00 | 425.00 | 232900.00 | 200.00 | 109600.00 | 109600.00 | K RAMA KRISHNA RAJU
12.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 548.00 | Sqm | 100.00 | 650.00 | 356200.00 | 550.00 | 301400.00 | 301400.00 | K RAMA KRISHNA RAJU
13.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | 113.00 | Sqm | 100.00 | 1430.00 | 161590.00 | 1200.00 | 135600.00 | 135600.00 | K RAMA KRISHNA RAJU
14.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board | 1148.00 | Sqm | 100.00 | 1080.00 | 1239840.00 | 1000.00 | 1148000.00 | 1148000.00 | K RAMA KRISHNA RAJU
15.00 | 12 mm cement plaster of mix 1:6 (1 cement : 6 fine sand) | 100.00 | Sqm | 100.00 | 300.00 | 30000.00 | 350.00 | 35000.00 | 30000.00 | RECHI CONSTRUCTION PVT LTD
16.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 418.00 | Sqm | 100.00 | 125.00 | 52250.00 | 120.00 | 50160.00 | 50160.00 | K RAMA KRISHNA RAJU
17.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 2.00 | Cum | 100.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 5000.00 | K RAMA KRISHNA RAJU
18.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 41.00 | Cum | 100.00 | 1350.00 | 55350.00 | 400.00 | 16400.00 | 16400.00 | K RAMA KRISHNA RAJU
19.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 300.00 | Kg | 100.00 | 15.00 | 4500.00 | 5.00 | 1500.00 | 1500.00 | K RAMA KRISHNA RAJU
20.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 100.00 | Sqm | 100.00 | 45.00 | 4500.00 | 60.00 | 6000.00 | 4500.00 | RECHI CONSTRUCTION PVT LTD
21.00 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead : Thickness above 25 mm up to 40 mm | 66.00 | Sqm | 100.00 | 45.00 | 2970.00 | 80.00 | 5280.00 | 2970.00 | RECHI CONSTRUCTION PVT LTD
22.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 2901.00 | Sqm | 100.00 | 45.00 | 130545.00 | 25.00 | 72525.00 | 72525.00 | K RAMA KRISHNA RAJU
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal outer dia Pipes | 50.00 | Mtr | 100.00 | 380.00 | 19000.00 | 300.00 | 15000.00 | 15000.00 | K RAMA KRISHNA RAJU
24.00 | Extra for laying concrete in or under water and / or liquid mud including cost of pumping or bailing out water and removing slush etc. complete | 24.00 | Cum per meter depth | 100.00 | 750.00 | 18000.00 | 500.00 | 12000.00 | 12000.00 | K RAMA KRISHNA RAJU
25.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 45.00 | Sqm | 100.00 | 550.00 | 24750.00 | 600.00 | 27000.00 | 24750.00 | RECHI CONSTRUCTION PVT LTD
26.00 | Providing and fixing Two way bib cock Jaquar-OPP-15041 PM as per direction of EIC | 6.00 | Each | 100.00 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 15000.00 | K RAMA KRISHNA RAJU
27.00 | Providing and fixing of health faucet Jaquar make ALD -CHR-565 Hand shower (Health Faucet )(ABS Body) with 1 meter long easy flex tube in Chrome finish & wall hook with all necessary accessories complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-incharge. | 5.00 | Each | 100.00 | 1600.00 | 8000.00 | 1400.00 | 7000.00 | 7000.00 | K RAMA KRISHNA RAJU
28.00 | Providing and fixing Coloured toughed Frosted safety urinal partition glass 8mm thick with necessary Chrome Hardwre of size 900x450 mm Jaguar Model No.1810 UC (JSE-CHR-810UC 450X) all as per manufactureres specifications and direction of Engineer -in- Charge. | 4.00 | Each | 100.00 | 7000.00 | 28000.00 | 6500.00 | 26000.00 | 26000.00 | K RAMA KRISHNA RAJU
29.00 | Providing and fixing in wash basin counters with 6mm thick both side polished culutred Marble (Korian Marble) of approved brand and manufacturer in stainless Steel frame work as directed by the EIC (Stainless Steel work will be paid separately ) as per manufacturer specification etc., as directed by the Engineer-In-Charge. | 10.00 | Each | 100.00 | 8800.00 | 88000.00 | 6800.00 | 68000.00 | 68000.00 | K RAMA KRISHNA RAJU
30.00 | Providing and fixing gypsum board false ceiling border as approved by EIC | 40.00 | Mtr | 100.00 | 350.00 | 14000.00 | 250.00 | 10000.00 | 10000.00 | K RAMA KRISHNA RAJU
31.00 | Providing and fixing Urinal without sensor with fixing accessories of Make : Jaguar URS-WHT-13253N (385 x 325 x 635 mm), as directed by engineering in-charge. | 5.00 | Each | 100.00 | 10000.00 | 50000.00 | 10000.00 | 50000.00 | 50000.00 | RECHI CONSTRUCTION PVT LTD, K RAMA KRISHNA RAJU
32.00 | Providing and fixing sensors of Jaquar make SNR STL 51087 sensotronic sensor concealed type flushing valve for urinal complete set with installation box with control cock (Battery operated) complete as dircted by the EIC | 5.00 | Each | 100.00 | 14500.00 | 72500.00 | 13500.00 | 67500.00 | 67500.00 | K RAMA KRISHNA RAJU
33.00 | Providing and fixing CubIcal partitions of size 1.5 x 1m with Greenlam sturdo classique make or equivalent of 12mm thick compact laminate 2.1m overall height and door size 0.60m width x 1.945m height with divider S.S shoe box with standard S.S grade304 and S.S accesories like Gravity hinges, Coat hook with door stoppeer, Door knob, lock set with indicator, tabular holder, U channel, Toprall hollow circular pipe, corner connector, Wall bracket and Rab as per manfacture specifications and direction of Engineer -in- Charge. | 5.00 | Each | 100.00 | 38000.00 | 190000.00 | 45000.00 | 225000.00 | 190000.00 | RECHI CONSTRUCTION PVT LTD
34.00 | Providing and fixing CP pillar cock Make Jaquar PRS 031L65, 15 mm nominal bore with auto closing system with 65mm extension body as per manufactureres specifications and direction of Engineer -in- Charge | 6.00 | Each | 100.00 | 3000.00 | 18000.00 | 3300.00 | 19800.00 | 18000.00 | RECHI CONSTRUCTION PVT LTD
35.00 | Providing and fixing Under Counter Basin Make Jaquar CNS WHT 705, as per manufactureres specifications and direction of Engineer -in- Charge | 4.00 | Each | 100.00 | 3500.00 | 14000.00 | 4500.00 | 18000.00 | 14000.00 | RECHI CONSTRUCTION PVT LTD
36.00 | Providing and fixing Anchor Bolts, Drilling suitable holes in wall with power driven drill machine to a minimum depth of 100mm upto 200mm in walls in position using Hilti Adhesive epoxy resin anchor grout Upto and including 12mm dia.as per manufactureres specifications and direction of Engineer -in- Charge | 42.00 | Each | 100.00 | 75.00 | 3150.00 | 85.00 | 3570.00 | 3150.00 | RECHI CONSTRUCTION PVT LTD
37.00 | Providing and fixing of C.P. brass Angular Stop Cock for basin mixer and geyser points make Jaquar CQT 23059 of 15 mm nominal bore as per direction of Engineer -in- Charge | 5.00 | Each | 100.00 | 1500.00 | 7500.00 | 1050.00 | 5250.00 | 5250.00 | K RAMA KRISHNA RAJU
38.00 | Provoiding and fixing wall hung water closet of jaquar make: OPS WHT 15951 UF with UF soft close seat cover hinges and accessories set as per direction of Engineer -in- Charge | 5.00 | Each | 100.00 | 30000.00 | 150000.00 | 25000.00 | 125000.00 | 125000.00 | K RAMA KRISHNA RAJU
39.00 | Providing and fixing 12mm thick water proof plywood of approved make to frame backing or studding with nails or required adhisive as per the direction per the Engineer-in-charge. | 15.00 | Sqm | 100.00 | 1500.00 | 22500.00 | 1250.00 | 18750.00 | 18750.00 | K RAMA KRISHNA RAJU
40.00 | Providing and fixing Ist quality mirror of thickness 5mm as per direction of Engineer-incharge. | 5.00 | Sqm | 100.00 | 1500.00 | 7500.00 | 1250.00 | 6250.00 | 6250.00 | K RAMA KRISHNA RAJU
41.00 | Providing and fixing PVC Half round 10mm beading for Wall tiles corners as per the direction per the Engineer-in-charge. | 20.00 | Mtr | 100.00 | 100.00 | 2000.00 | 70.00 | 1400.00 | 1400.00 | K RAMA KRISHNA RAJU
42.00 | Extra rate for providing and laying bigger size Vitrified tiles of size 600x1200 mm to walls as per direction of EIC | 125.00 | Sqm | 100.00 | 500.00 | 62500.00 | 300.00 | 37500.00 | 37500.00 | K RAMA KRISHNA RAJU
43.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion - Shoe (Plain) - 75mm Yjoint | 10.00 | Each | 100.00 | 250.00 | 2500.00 | 180.00 | 1800.00 | 1800.00 | K RAMA KRISHNA RAJU
44.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion - Shoe (Plain) - 110mm Yjoint | 4.00 | Each | 100.00 | 375.00 | 1500.00 | 250.00 | 1000.00 | 1000.00 | K RAMA KRISHNA RAJU
45.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, 110 mm dia. 45 degree bend. | 4.00 | Each | 100.00 | 400.00 | 1600.00 | 200.00 | 800.00 | 800.00 | K RAMA KRISHNA RAJU
46.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, 75 mm dia. 45 degree bend. | 4.00 | Each | 100.00 | 150.00 | 600.00 | 180.00 | 720.00 | 600.00 | RECHI CONSTRUCTION PVT LTD
47.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, 50 mm dia. 90 degree bend. | 20.00 | Each | 100.00 | 150.00 | 3000.00 | 75.00 | 1500.00 | 1500.00 | K RAMA KRISHNA RAJU
48.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, 50 mm dia. 45 degree bend. | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 75.00 | 750.00 | 750.00 | K RAMA KRISHNA RAJU
49.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, 63 mm dia. 45 degree bend. | 11.00 | Each | 100.00 | 150.00 | 1650.00 | 110.00 | 1210.00 | 1210.00 | K RAMA KRISHNA RAJU
50.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 4.00 | Each | 100.00 | 1500.00 | 6000.00 | 1600.00 | 6400.00 | 6000.00 | RECHI CONSTRUCTION PVT LTD
51.00 | Providing and fixing flushing cistern of make Geberit / Jaquar or equivalent i/c of all fixtures and flush button with front actuation of make Geberit Alpha 15 bright chrome as per direction of EIC | 5.00 | Each | 100.00 | 18000.00 | 90000.00 | 14000.00 | 70000.00 | 70000.00 | K RAMA KRISHNA RAJU
52.00 | Providing and fixing of PVC nahani trap of size 110 x 75 mm including necessary jointing etc complete as directed at site by E.I.C | 16.00 | Each | 100.00 | 150.00 | 2400.00 | 180.00 | 2880.00 | 2400.00 | RECHI CONSTRUCTION PVT LTD
53.00 | Providing and fixing seamless mattfinish shower channel drain (Chilly Item code: SC CI 1000 100 with size 1000x100x30 mm or approved equivalent) with necessary fittings complete, including cutting & making of good the floors as directed by the EIC. | 6.00 | Each | 100.00 | 1200.00 | 7200.00 | 450.00 | 2700.00 | 2700.00 | K RAMA KRISHNA RAJU
54.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : - Fixed - Anodised aluminium work (Note: material shall be provided by department and payment will be for labour only) | 500.00 | Kg | 100.00 | 200.00 | 100000.00 | 90.00 | 45000.00 | 45000.00 | K RAMA KRISHNA RAJU
55.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge.Pre-laminated particle board with decorative lamination on both sides. (Note: material shall be provided by department and payment will be for labour only) | 35.00 | Sqm | 100.00 | 250.00 | 8750.00 | 100.00 | 3500.00 | 3500.00 | K RAMA KRISHNA RAJU
56.00 | Supplying of Toilet Paper holder (Jaguar make Code ACN-1151 N or Eqv ) with necessary fittings etc complete as per entire satisfaction of E.I.C | 6.00 | Each | 100.00 | 800.00 | 4800.00 | 1200.00 | 7200.00 | 4800.00 | RECHI CONSTRUCTION PVT LTD
57.00 | Providing and fixing of liquid soap dispensor of approved make of Plastic container complete. Diversey Make mini JD (Code No-39249090 Modular or equivalent) | 6.00 | Each | 100.00 | 1400.00 | 8400.00 | 1600.00 | 9600.00 | 8400.00 | RECHI CONSTRUCTION PVT LTD
58.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing (i) 75 mm diametre. | 50.00 | Mtr | 100.00 | 210.00 | 10500.00 | 180.00 | 9000.00 | 9000.00 | K RAMA KRISHNA RAJU
59.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing (i) 110 mm diametre. | 10.00 | Mtr | 100.00 | 290.00 | 2900.00 | 250.00 | 2500.00 | 2500.00 | K RAMA KRISHNA RAJU
60.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing . Bend 87.5° - 75 mm bend | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 125.00 | 1250.00 | 1250.00 | K RAMA KRISHNA RAJU
61.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing . Bend 87.5° - 110 mm bend | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 180.00 | 1800.00 | 1500.00 | RECHI CONSTRUCTION PVT LTD
62.00 | Supplying and installation (including foam and plast) of Armstrong Ambience plus 8mm Wooden Laminate flooring as per direction of Engineer-In-Charge. | 160.00 | Sqm | 100.00 | 3500.00 | 560000.00 | 3500.00 | 560000.00 | 560000.00 | RECHI CONSTRUCTION PVT LTD, K RAMA KRISHNA RAJU
63.00 | Providing and fixing marble insert floor drain SS 304 grade as per direction of Engineer-In-Charge | 6.00 | Each | 100.00 | 8500.00 | 51000.00 | 8000.00 | 48000.00 | 48000.00 | K RAMA KRISHNA RAJU
64.00 | Electrical Works: Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit etc. complete as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 270.00 | Meter | 100.00 | 250.00 | 67500.00 | 150.00 | 40500.00 | 40500.00 | K RAMA KRISHNA RAJU
65.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. complete as required. GROUP-A | 26.00 | Point | 100.00 | 600.00 | 15600.00 | 800.00 | 20800.00 | 15600.00 | RECHI CONSTRUCTION PVT LTD
66.00 | Supply of Recess mounting LED light 36W 1'x4' made of CRCA sheet steel housing with high efficient LEDs & glare free opal diffuser, IP20 etc. complete as required. (Make: Wipro, Model: CRC0163S036HP57GL1 or Equivalent from Preferred Make list) | 25.00 | Each | 100.00 | 4200.00 | 105000.00 | 3000.00 | 75000.00 | 75000.00 | K RAMA KRISHNA RAJU
67.00 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings/Recess mounted of all sizes and shaped LED luminaires, complete with all accessories including connections etc. complete as required. | 115.00 | Each | 100.00 | 150.00 | 17250.00 | 150.00 | 17250.00 | 17250.00 | RECHI CONSTRUCTION PVT LTD, K RAMA KRISHNA RAJU
68.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. complete as required. Single Pole | 30.00 | Each | 100.00 | 200.00 | 6000.00 | 500.00 | 15000.00 | 6000.00 | RECHI CONSTRUCTION PVT LTD
69.00 | Supply of Recess mounted SLIM LED 15W backlit Square dowlighter made of PDC AL with hgih efficient LEDs & glare free opal diffuser, IP20 etc. as required. | 30.00 | Each | 100.00 | 605.00 | 18150.00 | 950.00 | 28500.00 | 18150.00 | RECHI CONSTRUCTION PVT LTD
70.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. complete as required. 3 Module (100mmX75mm) | 20.00 | Each | 100.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 6000.00 | RECHI CONSTRUCTION PVT LTD, K RAMA KRISHNA RAJU
71.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. complete as required. 12 Module (200mmX150mm) | 4.00 | Each | 100.00 | 500.00 | 2000.00 | 575.00 | 2300.00 | 2000.00 | RECHI CONSTRUCTION PVT LTD
72.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. complete as required. 5/6 A switch | 25.00 | Each | 100.00 | 100.00 | 2500.00 | 75.00 | 1875.00 | 1875.00 | K RAMA KRISHNA RAJU
73.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A socket outlet | 8.00 | Each | 100.00 | 150.00 | 1200.00 | 200.00 | 1600.00 | 1200.00 | RECHI CONSTRUCTION PVT LTD
74.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 20.00 | Each | 100.00 | 150.00 | 3000.00 | 180.00 | 3600.00 | 3000.00 | RECHI CONSTRUCTION PVT LTD
75.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 20.00 | Each | 100.00 | 200.00 | 4000.00 | 220.00 | 4400.00 | 4000.00 | RECHI CONSTRUCTION PVT LTD
76.00 | Supplying and fixing following modular switch/ socket on the existing modular plate& switch box including connections but excluding modular plate etc. complete as required. Bell Push | 4.00 | Each | 100.00 | 150.00 | 600.00 | 150.00 | 600.00 | 600.00 | RECHI CONSTRUCTION PVT LTD, K RAMA KRISHNA RAJU
77.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate etc. complete as required. | 9.00 | Each | 100.00 | 100.00 | 900.00 | 60.00 | 540.00 | 540.00 | K RAMA KRISHNA RAJU
| Total in Figures |  |  |  |  | 5652645.00 |  | 5101915.00
Lowest Amount Quoted BY: K RAMA KRISHNA RAJU(5101915.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repairs to modificaiton of SHA extension by removing airline offices at Visakhapatnam airport Tender ID: 2024_AAI_182306_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K RAMA KRISHNA RAJU | 5101915.00 | L1
| 2 | RECHI CONSTRUCTION PVT LTD | 5652645.00 | L2