## BoQ1
Government eProcurement System Created By: Nirmal Kumar Gayen Created Date/Time: 01-Mar-2024 04:51 PM Tender Title: Provision of Solar Aviation Unserviceability light of red color and annual maintenance of Solar Aviation Unserviceability light and installation of Bay identification board Tender ID: 2024_AAI_182384_1
Tender Inviting Authority: AGM (E-E), AAI, NSCBI Airport, Kolkata.
Name of Work: Provision of Solar Aviation Unserviceability light of red color & annual maintenance of Solar Aviation Unserviceability light & installation of Bay identification board.
Contract No: 2024_AAI_182384_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : Capital Part
1.01 | Supply and testing of elevated, portable, self powered with inbuilt site replaceable battery and inbuilt solar PV system including provision of external 50Hz 150 to 230 V, 1-Phase with minimum autonomy of 72 hours, IP-65, LED type omnidirectional, Low intensity, Type-A, Red, Steady Solar Aviation Obstruction /Unservicibility light with auto and manual operation complying to ICAO for photometry, chromaticity, frangibility and jet blast resistance etc. generally built as per FAA etc and shall be capable in working in the environment temperatur of 0 degree C to 55 degree C etc. complete as required. | 100.00 | Each | 100.00 | 60000.00 | 6000000.00 | 47500.00 | 4750000.00 | 40000.00 | 4000000.00 | 4000000.00 | vardhman Airport solutions pvt. Ltd.
1.02 | Supply and testing of Light Meter for measuring ilumination level of both LED and filament lights with following features including submission of test report , calibration report etc. a) LCD display of 3-3/4 digits having maximum reading 3999 b) upto 99 record storage capacity c) auto power off facility d) Maximum/ Minimum/ Average/ hold facilities e) auto ranging facility | 2.00 | Each | 100.00 | 8000.00 | 16000.00 | 25000.00 | 50000.00 | 7500.00 | 15000.00 | 15000.00 | vardhman Airport solutions pvt. Ltd.
1.03 | Design, Fabrication, Supply, installation, testing and commissioning of pole mounted, internally illuminated, weather proof ( IP-54), heat resistant, UV stabilized, single facing, LED light ( minimum 50 000 burning hours) based ( external IP65 driver enclosure), 230V +/- 10% 50Hz 1-ph AC input, Stand Identification signs of various sizes, made of polycarbonate sheet, vinyl sheets ( 3 layers minimum) and anodized aluminium / composite frame with tethering arrangement, powder coated, antireflective, antiglare, suitable to withstand the wind loading of 174 kt and temperature upto 55 deg C, for CAT-III all weather 4E airport. The photometry, chromaticity, the inscription, shall comply to the DGCA CAR and ICAO. The work includes making necessary scaffolding / ladder for installation, providing suitable SS clamps, nuts and bolts, termination, cutting, fixing etc. whatever required as per the decision of the EIC. | 54.00 | Sqm. | 10.00 | 24500.00 | 1323000.00 | 40000.00 | 2160000.00 | 42500.00 | 2295000.00 | 1323000.00 | Youngmen Traders
1.04 | Supply and testing of 3C x 6 sq. mm. XLPE insulated, PVC sheathed, armoured Copper conductor cable of 1.1KV grade as per IS-7098 part-1 with up to date amendments. | 375.00 | Mtr. | 10.00 | 185.00 | 69375.00 | 250.00 | 93750.00 | 325.00 | 121875.00 | 69375.00 | Youngmen Traders
1.05 | Supply and laying of Fire Retardant 40 mm dia PN-6, PE-63, HDPE pipe as per IS with UV stabilized i/c coupler & bend etc as required, by cutting soft soil upto 30cm i/c refilling and making good the damages etc. as required. | 75.00 | Mtr. | 10.00 | 165.00 | 12375.00 | 250.00 | 18750.00 | 150.00 | 11250.00 | 11250.00 | vardhman Airport solutions pvt. Ltd.
1.06 | Supply and laying of Fire Retardant 40 mm dia PN-6, PE-63, HDPE pipe as per IS with UV stabilized, on surface i/c fixing with clamps of suitable size on regular intervals etc. as required. | 75.00 | Mtr. | 10.00 | 95.00 | 7125.00 | 250.00 | 18750.00 | 100.00 | 7500.00 | 7125.00 | Youngmen Traders
1.07 | Supply and laying of Fire Retardant 40 mm dia PN-6, PE-63, HDPE pipe as per IS with UV stabilized, by cutting of road /pavement/concrete etc. i/c making the damages good up to the original finish etc. as required. | 375.00 | Mtr. | 10.00 | 325.00 | 121875.00 | 500.00 | 187500.00 | 300.00 | 112500.00 | 112500.00 | vardhman Airport solutions pvt. Ltd.
1.08 | Laying of 3C x 6 sq.mm. XLPE/PVC insulated & PVC sheathed, armoured Cu. conductor cable of 1.1KV grade in the existing pipe etc. as required. | 375.00 | Mtr. | 10.00 | 40.00 | 15000.00 | 50.00 | 18750.00 | 18.00 | 6750.00 | 6750.00 | vardhman Airport solutions pvt. Ltd.
1.09 | Laying of 3C x 6 sq. mm. XLPE / PVC insulated PVC sheathed armoured Cu. conductor cable of 1.1 KV grade on surface etc as required. | 75.00 | Mtr. | 10.00 | 55.00 | 4125.00 | 50.00 | 3750.00 | 15.00 | 1125.00 | 1125.00 | vardhman Airport solutions pvt. Ltd.
1.10 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess or along with cable for loop earthing etc. as required. | 450.00 | Mtr. | 10.00 | 22.00 | 9900.00 | 30.00 | 13500.00 | 25.00 | 11250.00 | 9900.00 | Youngmen Traders
1.11 | Supply & fixing of Thermoplastic enclosure fitted with clamp and GI Strip at the back of the enclosure to be fixed with pole including screws, nuts, bolts, washers etc. complete as required as per site condition and instruction of Engineer-In-Charge. a) lid made of hinged transparent Polycarbonate and base made of Polystyrene b) IP 65 protection c) light weight, acid resistant, corrosion proof, insulated and shock proof, fire retardant , self extinguishing nature d) internally embedded polyurethane gasket e) size not less than 200mmx250mmx100mm f) with internally fixed 01 no. 6A C-type SP MCB 10kA Isc, one no. 4 way terminal, earth terminal | 15.00 | Job | 10.00 | 4000.00 | 60000.00 | 10000.00 | 150000.00 | 2000.00 | 30000.00 | 30000.00 | vardhman Airport solutions pvt. Ltd.
1.12 | Designing, Providing & making RCC foundation for 9 m GI pole (80mm dia heavy duty) with the bay sign complying the requirement of IS-875 and getting the desing vetted by Govt. Engineering college etc. complete as required. | 15.00 | Job | 10.00 | 3500.00 | 52500.00 | 5000.00 | 75000.00 | 12000.00 | 180000.00 | 52500.00 | Youngmen Traders
1.13 | Supplying and installation of 9 m pole made of 80 mm dia heavy duty IS marked GI pipe including, pole cap, base plate, earth stud, cable laying holes, foundation tameplate, SS hard wares, arangement for fixing the sign and loop box, painting, cutting, fixing etc. complete as required. | 15.00 | Job | 10.00 | 12000.00 | 180000.00 | 20000.00 | 300000.00 | 60000.00 | 900000.00 | 180000.00 | Youngmen Traders
2.00 | SH -II : Operationa and Maintenance Job contract for Operation and maintenance during Defect Liability Period (DLP) of Solar Aviation Unservicibility lights and signs (as maintioned in item no. 01 and 03) and collecting & placing of obstruction lights at operational area from AAI store and returning to AAI store as and when instructed by AAI officer by deploying manpower in two shifts ( 08 hour in one shift) in a day on all days throughout the year including Sunday and holidays including preventive maintenance, unlimited breakdown repair, ensuring serviceability and satisfactory working condition, maintaining all required records and documentation etc. as per special condition of contract and the instruction of Engineer-in-charge. The logistics i.e. men , tools and vehicles etc. provided by the agency will also be used for attending other sign boards as per operational requirement as per the instruction of the Engineer In Charge as when required basis. The contractor needs to deploy one vehicle with all expense paid for two shift, and one technician and one Driver cum assistant for each shift. That is total in a day : a) Skilled manpower (technician) -02 nos b) semiskilled manpower (driver cum assistant) -02 nos. Reliever = 01 person ( skilled) ( to both technician and driver cum assistant)
2.01 | i) First Year ( During DLP) | 12.00 | Month | 10.00 | 115000.00 | 1380000.00 | 150000.00 | 1800000.00 | 180000.00 | 2160000.00 | 1380000.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 9251275.00 |  | 9639750.00 |  | 9852250.00
Lowest Amount Quoted BY: Youngmen Traders(9251275.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Solar Aviation Unserviceability light of red color and annual maintenance of Solar Aviation Unserviceability light and installation of Bay identification board Tender ID: 2024_AAI_182384_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 9251275.00 | L1
| 2 | Balaji Engineering | 9639750.00 | L2
| 3 | vardhman Airport solutions pvt. Ltd. | 9852250.00 | L3