## BoQ1
Government eProcurement System Created By: JAYAN JAYANTHAN Created Date/Time: 01-Mar-2024 05:02 PM Tender Title: Provision of drinking Water Fountain for Terminal building at Mysuru Airport Tender ID: 2024_AAI_182432_1
Tender Inviting Authority: Asst. General Manager (Engg-E), Airports Authority of India, Mysuru.
Name of Work: Capacity Enhancement of Terminal building by reconfiguration of Mysuru Airport. SH: Provision of drinking Water Fountain for Terminal building.
Contract No: 2024_AAI_182432_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oasis WFS (P) Ltd.(GSTN-07AABCO6540R1ZX) |  | WAE Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I SITC work: Supply, Installation, Testing and Commissioning of Drinking water fountain having two numbers of bubblers, each consisting of one set of faucet and basin arranged at two levels for dispensing normal and chilled water, bottle filler with sensor for dispensing hot water, 60 LPH rated capacity, floor/wall mounted, matt finished SS 304 grade stainless steel construction complete with RO and UV filters, refrigerant unit with ecofriendly refrigerant, heater unit and along with all accessories such as booster pump, pressure vessel, sensors, valves, connecting tubes etc. as required. | 3.00 | Job | 100.00 | 310000.00 | 930000.00 | 280000.00 | 840000.00 | 840000.00 | WAE Limited
2.00 | SH:II CMC: Comprehensive Maintenance Contract of the Drinking Water Fountain after defect liability period of 1 year by providing quarterly inspection, maintenance, repair/ replacement of unserviceable components, Cleaning and all other associated comprehensive maintenance job as per maintenance schedule and recomendation of OEM to keep the system under serviceable condition all the time including attending any numbers of breakdown faults as and when required.
2.01 | First Year | 3.00 | Job | 100.00 | 46500.00 | 139500.00 | 60000.00 | 180000.00 | 139500.00 | Oasis WFS (P) Ltd.
2.02 | Second Year | 3.00 | Job | 100.00 | 48825.00 | 146475.00 | 66220.00 | 198660.00 | 146475.00 | Oasis WFS (P) Ltd.
2.03 | Third Year | 3.00 | Job | 100.00 | 51266.00 | 153798.00 | 72842.00 | 218526.00 | 153798.00 | Oasis WFS (P) Ltd.
2.04 | Fourth Year | 3.00 | Job | 100.00 | 53830.00 | 161490.00 | 80126.00 | 240378.00 | 161490.00 | Oasis WFS (P) Ltd.
2.05 | Fifth Year | 3.00 | Job | 100.00 | 56521.00 | 169563.00 | 88138.00 | 264414.00 | 169563.00 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 1700826.00 |  | 1941978.00
Lowest Amount Quoted BY: Oasis WFS (P) Ltd.(1700826.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of drinking Water Fountain for Terminal building at Mysuru Airport Tender ID: 2024_AAI_182432_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Oasis WFS (P) Ltd. | 1700826.00 | L1
| 2 | WAE Limited | 1941978.00 | L2