## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 18-Mar-2024 02:51 PM Tender Title: Supply, Installation, Testing and commissioning of Security Equipments at Safdarjung Airport. Tender ID: 2024_AAI_182705_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003.
Name of Work: Supply, Installation, Testing and Commissioning of Security Equipments at Safdarjung Airport.
Contract No: AAI/SAP/Engg.(E)/SecurityEquipments/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TAK Technologies Pvt. Ltd.(GSTN-09AAECT2356H1Z8) |  | Eldorado Technologies Limited(GSTN-NA) |  | HOMBIZ SECURITY CONSULATNTS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:-I- SITC OF Security Equipments
2.00 | Supply, installation, testing & Commissioning of Crash Rated Inbuilt/External Hydraulic Bollards as per ASTM F2656-07 M-30/Equivalent PAS-68/ DOS K4 crash rating (Individual bollard shall physically crash rated from accredited lab Like TRL/MIRA/KARCO/CTS for the relevant standard) suitable for operation on 415/230V, 50Hz, AC Supply and protection class IP-66 for control box and inbuilt electrical unit, earthing etc.. Bollard should be compatible to operate automatically upon signal from access control server / controller . Bollards to remain in raised position upon power failure etc. complete as required comprising of following items and features as per enclosed technical specifications and as per direction of Engineer-in-Charge. Note: All related civil work including existing road cutting, civil foundation, drainage system and sump pump etc. complete as required for SITC to be included in the rates. (i) No of Bollards in Combination-03 Bollards (ii) Height - Minimum - 850mm (iii) Bollard Dia - Minimum- 275 mm (iv) Impact Load ( Mimimum) - 640 KJ / 350 KN (individual Bollard) (v) Raising or lowering time - 5 to 8 Sec.( max.) (vi) Frequency of operation - 200 full cycles/hr. (vii) Power off operation - Minimum three full cycle operation. (viii) Manual Operation (ix) Safety Loop detector (x) Sump drain pump - self priming pump (xi) Circular illuminating (LED) unit on top of bollard (xii) Control Panel - UP/Down/Stop,Middle Stop operation & Maintenance push buttons. Remote Panel - 24 V DC Operation. xiii)operating temp range - -5 to + 60 deg C xiv) Provision for Integration with other systems - Access control system, CCTV, etc. other security system. xv) Colour of Bollard shall be white in colour with yellow/black diagonal strips , Road way plate of non-skiding surface | 2.00 | Each | 100.00 | 2700000.00 | 5400000.00 | 2550000.00 | 5100000.00 | 2604000.00 | 5208000.00 | 5100000.00 | Eldorado Technologies Limited
3.00 | Supply, Installation, Testing Commissioning of Crash Rated Electro Hydraulic Tyre Killer system suitable to operation on 415/230V, 50Hz, AC Supply consisting of Tyre killer operating on hydraulic power system, PLC based, control panel, logic circuit, earthing, including existing road cutting, civil foundation,drainage system and sump pump complete as required comprising of following items and features as per enclosed technical specifications. Note: All related civil work including existing road cutting, civil foundation, drainage system and sump pump etc. complete as required for SITC to be included in the rates. (i)Below ground assembly containing solid blocking tempered steel spikes at an angle of 60 deg, gap between spikes -100 mm (ii) Height ( Minimum) - 450 mm (iii) Width - 5.0 Mts (iv) Tyre killer - design capable to destroy tyres/damage axles & suspension of motor vehicles (v) Raising or lowering time - 2 to 3 Sec. (vi) Frequency of operation - 200 full cycles/hr. (vii) Power off operation - Accumulator sized to allow 3 full cycle operations (viii) Manual Operations -Integrated Hand pump (ix) Axle load bearing capacity - 20 tonne of moving vechicle. (x) Safety inter lock detector (xi) Stop/go traffic lights( RED/Green) - 20 cm. size (xii) Sump pump - Self priming drain pump. xiii) Provision for Integration with other systems - Access control system, CCTV, etc. other security system. xiv) operating temp range - -5 to + 60 deg C. | 2.00 | Each | 100.00 | 1400000.00 | 2800000.00 | 1250000.00 | 2500000.00 | 1325000.00 | 2650000.00 | 2500000.00 | Eldorado Technologies Limited
4.00 | Supply, installation, testing & Commissioning of Hydraulic based Road Blocker as per ASTM F2656-07 M-30/Equivalent PAS-68/ DOS K4 crash rating (Road Blocker shallbe Physically crash tested from accredited lab Like TRL/MIRA/KARCO/CTS for the relevant standard) suitable for operation on 415/230V, 50Hz, AC Supply and protection class IP66 for control box and inbuilt electrical unit. Road blocker should be able to operate automatically upon signal from access control server / controller . Road blocker to remain in raised position upon power failure etc. complete as required comprising of following items and features as per enclosed technical specifications and as per direction of Engineer-in-Charge. (Make: Gunnebo/ Swaraj/ Peritech) Note: All related civil work including existing road cutting, civil foundation, drainage system and sump pump etc. complete as required for SITC to be included in the rates. (i) Width of Road Blocker - 4.0 Meters (ii) Height (Minimum ) - 1100mm (iii) Impact Load (Mimimum) - 640 KJ / 350 KN (iv) Raising or lowering time - 2 to 3 Sec. (max.) (v) Power off operation - Minimum three full cycle operation. (vi) Manual Operation - Integrated Hand pump (vii) Safety Loop detector (viii) Sump drain pump - self priming pump (ix) Control Panel - Raise and Lower operation push buttons. Remote Panel - 24V DC Operation. x)operating temp range - -5 to + 60 deg C xi) Provision for Integration with other systems - Access control system, CCTV, etc. other security system. xii) Colour of Road blocker shall be white in colour with yellow/black diagonal strips, Road way plate of non-skiding surface | 3.00 | Each | 10.00 | 5800000.00 | 17400000.00 | 5570000.00 | 16710000.00 | 5540000.00 | 16620000.00 | 16620000.00 | HOMBIZ SECURITY CONSULATNTS
5.00 | Electrically operated Electromechanical Boom Barrier with 3 (three) meter of Boom length as per site requirement with stainless steel housing ,with built-in control panel & stainless steel arm rest for resting the boom barrier. The boom shall be white aluminum painted with reflector strip and LED flashing lights flushing during operation, safety & protection accessories etc as per original maufacturer such as safty photocell, push botton for operation, key selector switch , siren with LED flasher, control cabling etc and provision for remote operation using wireless remote. The boom-barrier shall have following minimum specifications: i) Operating Voltage: 220 - 240 V ii) Opening Time : Not more than 3-5 sec iii) Protection Class: IP-65 iv) Working temperature: - -5oC to 60oC v) Maximum opening : minimum 90o vi) Easy to use external manual unlock device to over ride auto mode. vii) Compatible & integrable with access control system Note: All related civil work including road cutting, civil foundation etc. required for SITC are included in the rates. | 4.00 | Each | 10.00 | 225000.00 | 900000.00 | 215000.00 | 860000.00 | 220000.00 | 880000.00 | 860000.00 | Eldorado Technologies Limited
6.00 | Supply, Installation, Testing & Commissioning of RFID Readers. The RFID Readers shall have following minimum specifications: (Make:Peritech/ Arete Info/ VIRDI/ Purple arrow/ Protel Labs Pvt. Ltd./ Suprema) Protocol - ISO 1800-6B, EPC Class1 , Gen 2 (ISO18000-6C) Protection Grade - IP 65 or better Work Frequency - Standard ISM 865-868 Mhz ( India) Frequency Hopping- FHSS Power Output- 0-30 dbm(adjustable) Antenna Built in- 12 dbi linear/circular polarized antenna Interface- RS 232, RS 485, Wiegnad - 26/34(TCP/IP ) Read Range - 0-10 Mtr. Write Range- 0-6 Mtr. | 2.00 | No. | 10.00 | 52700.00 | 105400.00 | 48500.00 | 97000.00 | 40000.00 | 80000.00 | 80000.00 | HOMBIZ SECURITY CONSULATNTS
7.00 | Supply, Installation, Testing & Commissioning of 24 Port Network Switch. The Network Switch shall have following minimum specifications: LAYER 2 INDUSTRIAL SWITCH (24 Ports) SUITABLE FOR NORMAL NETWORK: 24 Nos. 10/100/1000 Base-T ports and 8 Gigabit SFP ports (Combo) and 4 10G optical ports, The LAN switch shall be available with minimum 128 Gbps Switch Fabric. The LAN switch shall have minimum packet forwarding rate of 94 million packets per second at 64-byte packet length. The LAN switch shall support 11000 Unicast routes, 1000 IGMP and multicast groups | 1.00 | Each | 10.00 | 88500.00 | 88500.00 | 92000.00 | 92000.00 | 80000.00 | 80000.00 | 80000.00 | HOMBIZ SECURITY CONSULATNTS
8.00 | Supply,Installation, Testing & Commissioning of Visitor Management Solution. The VMS shall have following minimum features: (Make:Peritech/ Arete Info/ VIRDI/ Purple arrow/ Protel Labs Pvt. Ltd./ Suprema) a) Operation Modes -Visitor Management Software (VMS) shall support online appointment system and online requests for appointment with email alert b) Pre-registration -VMS shall support pre-registration of groups and individuals for one or multiple day c) Verification Process- VMS shall support Mobile SMS (OTP) and email verification d) Multiple Authentication Methods-VMS shall support appointment approval & rejections, SMS/Email notifications on requests, approvals & rejection e) Multiple Pass Types- VMS shall support different type pass type, pass type should support different data collection format as per requirement f) Multiple Pass Formats-VMS shall support different type of passes and format as per requirement g) Visitor List-VMS shall display Today's appointments and expected visitors list h) Centralize Management-VMS shall support centralize policy to increase visitors validity in one click i) Dynamic QR Code- VMS shall support dynamic QR code while sending on mobile, after every entry it should be changed automatically j) Multi Day Pass - VMS shall support multi day pass, it should validate QR and capable to give access on access control k) Single\Multi Entry -VMS shall support single entry for visitor/ multiple entry, depends on the configuration of the pass l) Random QR Generation- VMS shall support random QR code, QR code should not generate in series to maintain security | 1.00 | Each | 10.00 | 1400000.00 | 1400000.00 | 1800000.00 | 1800000.00 | 1645000.00 | 1645000.00 | 1400000.00 | TAK Technologies Pvt. Ltd.
9.00 | Supply,Installation, Testing & Commissioning of Visitor Registration Operator Workstation. The Workstation shall have following minimum features: a) Display Type- 21.5" TFT LCD (LED back light) b) Viewing Angle - 89 degree (left), 89 degree (right), 89 degree (up), 89 degree(down) c) Resolution - 1920 x 1080 or Higher d) Contrast Ratio - 5000 or High e) Touch screen - 10-point multi-touch projected capacitive with USB interface f) Processor - Intel® Core™ i5 processor, dual core with 2.4 GHz; 3.0 GHz with turbo boost or Higher Memory 16 GB DDR4 RAM g) Storage- Min 1TB SATA HDD h) Operating System- Pre-loaded with Windows 10 Pro 64bit operating system i) Network - 2 X 10/100/1000 Mbps Network interfac j) I/O Ports - 2 x Serial ports: 1 x RS-232, 1 x RS-232/422/485 | 1.00 | Each | 10.00 | 77900.00 | 77900.00 | 85000.00 | 85000.00 | 95450.00 | 95450.00 | 77900.00 | TAK Technologies Pvt. Ltd.
10.00 | Supply & fixing of 15 KVA/ 15 KW On line UPS, Three phase in, Three phase out, with flexible/adjustable DC Voltage (384 to 480 VDC), with minimum 30 minutes backup complete as required. | 1.00 | Each | 10.00 | 680000.00 | 680000.00 | 650000.00 | 650000.00 | 753000.00 | 753000.00 | 650000.00 | Eldorado Technologies Limited
11.00 | Supply, Installation, Testing & Commissioning of RFID Tags. The RFID Tags shall have following minimum specifications: (Make:Peritech/ Arete Info/ VIRDI/ Purple arrow/ Protel Labs Pvt. Ltd./ Suprema) Chip Type EPC Class 1 Gen 2; ISO 18000-6C protocol compliant Alien Higgs 3 having EPC 96 bit extendable up to 480 bit Unique TID 64 bit, User Memory 512 bit, Access Password: 32 bit & Kill Password: 32 bit Data retention of 50 years & write endurance of 100.000 cycles Mechanical a) Dimension- 95x35x0.3mm b) Material-PP label c) Color-White d) Weight - 0.11 g Electrical a) Operating Frequency 865-868 MHz b) Operating mode-Passive (battery-less transponder) Ingress Protection- IP 66 | 200.00 | No. | 10.00 | 102.00 | 20400.00 | 110.00 | 22000.00 | 105.00 | 21000.00 | 20400.00 | TAK Technologies Pvt. Ltd.
12.00 | Fabrication & erection of Fixed round bollard height above ground 1000mm and depth below ground 500mm for security made of 150 mm dia , 6 mm thickness having strip footing for fixing & making of foundation for erection of bollard of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size) foundation of size 500 x 500 mm and 600 mm below ground level including painting of bollard with two coats of aluminium paint etc. as reqd. at site. | 36.00 | Each | 10.00 | 25500.00 | 918000.00 | 24000.00 | 864000.00 | 20000.00 | 720000.00 | 720000.00 | HOMBIZ SECURITY CONSULATNTS
13.00 | Supply of 4C x10 sq. mm size Aluminium Conductor sizes & 1.1 KV grade, XLPE insulated and PVC sheathed armoured cable conforming to IS:7098 (Part 1) 1988 with up to date amendments. | 500.00 | Mtr | 10.00 | 155.00 | 77500.00 | 160.00 | 80000.00 | 145.00 | 72500.00 | 72500.00 | HOMBIZ SECURITY CONSULATNTS
14.00 | Supply of 10 Core x 1.0 sq mm size Copper Conductor industrial cable for voltage grade 1.1 KV, PVC insulated and PVC sheathed, flexible cable conforming to IS:694: 2010 with up to date amendments. | 300.00 | Mtr | 10.00 | 110.00 | 33000.00 | 102.00 | 30600.00 | 90.00 | 27000.00 | 27000.00 | HOMBIZ SECURITY CONSULATNTS
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
15.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtr | 10.00 | 60.00 | 6000.00 | 48.00 | 4800.00 | 52.00 | 5200.00 | 4800.00 | Eldorado Technologies Limited
16.00 | Laying of one number PVC insulated & PVC sheathed / XPLE power cable of 1.1 kv grade of following size in the existing RCC/Hume/HDPE/Metal Pipe as required.
16.01 | Upto 35 sq. mm | 600.00 | Mtr | 10.00 | 65.00 | 39000.00 | 58.00 | 34800.00 | 48.00 | 28800.00 | 28800.00 | HOMBIZ SECURITY CONSULATNTS
17.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
17.01 | 50mm dia nominal bore | 100.00 | Mtr | 10.00 | 355.00 | 35500.00 | 345.00 | 34500.00 | 360.00 | 36000.00 | 34500.00 | Eldorado Technologies Limited
18.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper busbar, neutral busbar, earth bar, din bar, interconnections, powder painted including earthing etc. as required.
18.01 | 2+6way/ 8way, Double door | 2.00 | Each | 10.00 | 2550.00 | 5100.00 | 2480.00 | 4960.00 | 2230.00 | 4460.00 | 4460.00 | HOMBIZ SECURITY CONSULATNTS
19.00 | Supplying and fixing 32 amps rating, DP, 240V, 'C' curve miniature circuit breaker suitable for inductive loads in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 10.00 | 380.00 | 760.00 | 365.00 | 730.00 | 350.00 | 700.00 | 700.00 | HOMBIZ SECURITY CONSULATNTS
20.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415V, 'C' curve miniature circuit breaker suitable for inductive loads of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
20.01 | Single pole | 12.00 | Each | 10.00 | 160.00 | 1920.00 | 142.00 | 1704.00 | 145.00 | 1740.00 | 1704.00 | Eldorado Technologies Limited
21.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
21.01 | 63 mm dia (OD-63 mm & ID-51 mm nominal) size | 600.00 | Mtr | 10.00 | 310.00 | 186000.00 | 305.00 | 183000.00 | 310.00 | 186000.00 | 183000.00 | Eldorado Technologies Limited
22.00 | Design, manufacture supply, installation, testing and commissioning of control panel for Operating of security equipment’s (Hydraulic Bollard - 1Set, Road Blocker - 1Set, Tyre Killer -Set) made of 2 mm thick sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed, IP 42, free standing, floor mounting, dust and vermin proof complete with powder coated, painting, suitable for operation on 3 Phase and neutral, 415v, 50 Hz AC system control wiring with 2.5 sq.mm. PVC insulated copper conductor, cable gland plates and supply & fixing of angle iron stand made out of 50x50x6 mm of suitable size, supply & installation of following items complete in all respect for smooth operations from security office. (i) 1 No. MCB, 63A, Four Pole. (ii)Inbuilt Programming System (iii)Toggle Switch for selection of auto/manual operation, (iv)Buzzer with LED, (v) 'ON' 'OFF' indication with 2Amp. SP MCB protection.- 4Sets. (vi) 'ON' 'OFF' Push button.- 4Set Dead Man Switch shall be installed separately Switch has fixed part (lower section) and a moving part (upper section). Pushing upper part of the handle grip make a contact through sliding rod with control input. It will trigger the control panel of boom barrier, tyre killer, bollard & tyre Killer to raise all security system in irrespective of their previous state- 2 sets | 2.00 | Each | 10.00 | 110000.00 | 220000.00 | 102500.00 | 205000.00 | 97250.00 | 194500.00 | 194500.00 | HOMBIZ SECURITY CONSULATNTS
23.00 | SH:-II- ALL INCLUSIVE COMPREHENSIVE MAINTENANCE CONTRACT (AICMC) FOR ABOVE SECURITY EQUIPMENTS
24.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) of above mentioned (Item No.2 to 10) i.e security equipments, RFID Readers, Vistors Management Solution, UPS (i/c battery) etc. complete as required at Safdarjung Airport including providing and replacement of defective components, breakdown, routine & preventive maintenance etc. as per recommendation of OEM.
24.01 | AICMC for 1st year after defect liability period of 24Months @ 6% of SH-I (Item no. 2 to 10) | 1.00 | Job | 10.00 | 1731108.00 | 1731108.00 | 1673640.00 | 1673640.00 | 1680687.00 | 1680687.00 | 1673640.00 | Eldorado Technologies Limited
24.02 | AICMC for 2nd year after defect liability period of 24Months @ 6.30% of SH-I (Item no. 2 to 10) | 1.00 | Job | 10.00 | 1817663.40 | 1817663.40 | 1757322.00 | 1757322.00 | 1764721.35 | 1764721.35 | 1757322.00 | Eldorado Technologies Limited
24.03 | AICMC for 3rd year after defect liability period of 24Months @ 6.62 % of SH-I (Item no. 2 to 10) | 1.00 | Job | 10.00 | 1909989.16 | 1909989.16 | 1846582.80 | 1846582.80 | 1854357.99 | 1854357.99 | 1846582.80 | Eldorado Technologies Limited
24.04 | AICMC for 4th year after defect liability period of 24Months @ 6.95 % of SH-I (Item no. 2 to 10) | 1.00 | Job | 10.00 | 2005200.10 | 2005200.10 | 1938633.00 | 1938633.00 | 1946795.78 | 1946795.78 | 1938633.00 | Eldorado Technologies Limited
24.05 | AICMC for 5th year after defect liability period of 24Months @ 7.3% of SH-I (Item no. 2 to 10) | 1.00 | Job | 10.00 | 2106181.40 | 2106181.40 | 2036262.00 | 2036262.00 | 2044835.85 | 2044835.85 | 2036262.00 | Eldorado Technologies Limited
| Total in Figures |  |  |  |  | 39965122.06 |  | 38612533.80 |  | 38600747.97
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | TAK Technologies Pvt. Ltd. | 38600747.00 | 38330547.00 | Three Crore Eighty Three Lakh Thirty Thousand Five Hundred and Fourty Seven
2 | Eldorado Technologies Limited | 38600747.00 | Not Quoted | Not Quoted
3 | HOMBIZ SECURITY CONSULATNTS | 38600747.00 | 38291947.00 | Three Crore Eighty Two Lakh Ninty One Thousand Nine Hundred and Fourty Seven
Lowest Amount Quoted BY: HOMBIZ SECURITY CONSULATNTS(38291947.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and commissioning of Security Equipments at Safdarjung Airport. Tender ID: 2024_AAI_182705_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HOMBIZ SECURITY CONSULATNTS | 38600747.97 | L1
| 2 | Eldorado Technologies Limited | 38612533.80 | L2
| 3 | TAK Technologies Pvt. Ltd. | 39965122.06 | L3