## BoQ1
Government eProcurement System Created By: Srinarayan Thakur Created Date/Time: 29-Feb-2024 11:41 AM Tender Title: Modification and Renovation of Mandir at INA Colony, New Delhi Tender ID: 2024_AAI_182872_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Modification and Renovation of Mandir at INA Colony, New Delhi
Contract No: 2024_AAI_182872 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Khairati Lal(GSTN-07ABBPL9082B1ZT) |  | M/s Devendra K Sharma and associates(GSTN-07AAKFD0111D1Z7) |  | CREATORS ENGINEERS AND INTERIORS(GSTN-07AAGFC0762R2Z1) |  | ESS KAY CONSTRUCTIONS(GSTN-07AABFE6199D1ZF)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. - All kinds of soil | 100.00 | cum |  | 200.00 | 20000.00 | 180.00 | 18000.00 | 250.00 | 25000.00 | 200.00 | 20000.00 | 18000.00 | M/s Devendra K Sharma and associates
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. - All kinds of soil. | 552.00 | cum |  | 250.00 | 138000.00 | 180.00 | 99360.00 | 250.00 | 138000.00 | 200.00 | 110400.00 | 99360.00 | M/s Devendra K Sharma and associates
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each eposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 326.00 | cum |  | 100.00 | 32600.00 | 70.00 | 22820.00 | 150.00 | 48900.00 | 80.00 | 26080.00 | 22820.00 | M/s Devendra K Sharma and associates
4.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 73.00 | cum |  | 800.00 | 58400.00 | 1500.00 | 109500.00 | 1200.00 | 87600.00 | 1380.00 | 100740.00 | 58400.00 | Khairati Lal
5.00 | Supplying chemical emulsion in sealed containers including delivery as specified. - Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | 116.00 | litres |  | 338.00 | 39208.00 | 140.00 | 16240.00 | 50.00 | 5800.00 | 350.00 | 40600.00 | 5800.00 | CREATORS ENGINEERS AND INTERIORS
6.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL antitermite treatment (excluding the cost of chemical emulsion) : - Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | 209.00 | sqm |  | 20.00 | 4180.00 | 180.00 | 37620.00 | 100.00 | 20900.00 | 80.00 | 16720.00 | 4180.00 | Khairati Lal
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 19.00 | cum |  | 5800.00 | 110200.00 | 7000.00 | 133000.00 | 6500.00 | 123500.00 | 6600.00 | 125400.00 | 110200.00 | Khairati Lal
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : - 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 107.00 | cum |  | 4000.00 | 428000.00 | 5300.00 | 567100.00 | 6500.00 | 695500.00 | 5600.00 | 599200.00 | 428000.00 | Khairati Lal
9.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 94.00 | sqm |  | 400.00 | 37600.00 | 450.00 | 42300.00 | 100.00 | 9400.00 | 360.00 | 33840.00 | 9400.00 | CREATORS ENGINEERS AND INTERIORS
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : - Foundations, footings, bases of columns, etc. for mass concrete | 200.00 | sqm |  | 300.00 | 60000.00 | 480.00 | 96000.00 | 400.00 | 80000.00 | 150.00 | 30000.00 | 30000.00 | ESS KAY CONSTRUCTIONS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : - Suspended floors, roofs, landings, balconies and access platform | 389.00 | sqm |  | 300.00 | 116700.00 | 480.00 | 186720.00 | 400.00 | 155600.00 | 650.00 | 252850.00 | 116700.00 | Khairati Lal
12.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : - Lintels, beams, plinth beams, girders, bressumers and cantilevers | 398.00 | sqm |  | 300.00 | 119400.00 | 480.00 | 191040.00 | 400.00 | 159200.00 | 500.00 | 199000.00 | 119400.00 | Khairati Lal
13.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : - Columns, Pillars, Piers, Abutments, Posts and Struts | 142.00 | sqm |  | 300.00 | 42600.00 | 480.00 | 68160.00 | 400.00 | 56800.00 | 500.00 | 71000.00 | 42600.00 | Khairati Lal
14.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Arches, domes, vaults up to 6 m span | 137.00 | sqm |  | 450.00 | 61650.00 | 550.00 | 75350.00 | 350.00 | 47950.00 | 1500.00 | 205500.00 | 47950.00 | CREATORS ENGINEERS AND INTERIORS
15.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 352.00 | sqm |  | 100.00 | 35200.00 | 100.00 | 35200.00 | 100.00 | 35200.00 | 600.00 | 211200.00 | 35200.00 | Khairati Lal, M/s Devendra K Sharma and associates, CREATORS ENGINEERS AND INTERIORS
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. - Thermo-Mechanically Treated bars of grade Fe-500D or more. | 13188.00 | kg |  | 70.00 | 923160.00 | 74.00 | 975912.00 | 80.00 | 1055040.00 | 83.00 | 1094604.00 | 923160.00 | Khairati Lal
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 19311.00 | kg |  | 73.00 | 1409703.00 | 74.00 | 1429014.00 | 80.00 | 1544880.00 | 83.00 | 1602813.00 | 1409703.00 | Khairati Lal
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. - All works upto plinth level - Concrete of M25 grade with minimum cement content of 330 kg /cum | 84.00 | cum |  | 6500.00 | 546000.00 | 6500.00 | 546000.00 | 8000.00 | 672000.00 | 7200.00 | 604800.00 | 546000.00 | Khairati Lal, M/s Devendra K Sharma and associates
19.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. - All works above plinth level upto floor V level - Concrete of M25 grade with minimum cement content of 330 kg /cum | 123.00 | cum |  | 6550.00 | 805650.00 | 6500.00 | 799500.00 | 8500.00 | 1045500.00 | 7200.00 | 885600.00 | 799500.00 | M/s Devendra K Sharma and associates
20.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 68.00 | quintal |  | 700.00 | 47600.00 | 700.00 | 47600.00 | 500.00 | 34000.00 | 800.00 | 54400.00 | 34000.00 | CREATORS ENGINEERS AND INTERIORS
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 49.00 | cum |  | 5500.00 | 269500.00 | 4600.00 | 225400.00 | 6000.00 | 294000.00 | 5200.00 | 254800.00 | 225400.00 | M/s Devendra K Sharma and associates
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : - Cement mortar 1:6 (1 cement : 6 coarse sand) | 90.00 | cum |  | 6000.00 | 540000.00 | 4700.00 | 423000.00 | 6500.00 | 585000.00 | 5700.00 | 513000.00 | 423000.00 | M/s Devendra K Sharma and associates
23.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. - Cement mortar 1:4 (1 cement :4 coarse sand | 24.00 | sqm |  | 500.00 | 12000.00 | 650.00 | 15600.00 | 1050.00 | 25200.00 | 900.00 | 21600.00 | 12000.00 | Khairati Lal
24.00 | Marble work gang saw cut (polished and machine cut) of thickness 18 mm for wall lining (veneer work), backing filled with a grout of average 12 mm thick in cement mortar 1:3 (1 cement : 3 coarse sand), including pointing with white cement mortar 1:2 (1 white cement : 2 marble dust) with an admixture of pigment to match the marble shade (To be secured to the backing by means of cramps, which shall be paid for separately). Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble. Area of slab over 0.50 sqm | 91.00 | sqm |  | 1250.00 | 113750.00 | 3000.00 | 273000.00 | 3500.00 | 318500.00 | 1900.00 | 172900.00 | 113750.00 | Khairati Lal
25.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. - Granite stone slab of colour black, Cherry/Ruby red - Area of slab over 0.50 sqm | 115.00 | sqm |  | 2280.00 | 262200.00 | 3200.00 | 368000.00 | 3500.00 | 402500.00 | 2600.00 | 299000.00 | 262200.00 | Khairati Lal
26.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineerin-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 30.00 | sqm |  | 800.00 | 24000.00 | 900.00 | 27000.00 | 950.00 | 28500.00 | 780.00 | 23400.00 | 23400.00 | ESS KAY CONSTRUCTIONS
27.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). - Second class teak wood | .50 | cum |  | 115000.00 | 57500.00 | 90000.00 | 45000.00 | 125000.00 | 62500.00 | 120000.00 | 60000.00 | 45000.00 | M/s Devendra K Sharma and associates
28.00 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. Second class teak wood 35 mm thick | 10.00 | sqm |  | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 4500.00 | 45000.00 | 4700.00 | 47000.00 | 30000.00 | Khairati Lal, M/s Devendra K Sharma and associates
29.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part 1) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 15.00 | sqm |  | 3000.00 | 45000.00 | 2100.00 | 31500.00 | 3000.00 | 45000.00 | 1700.00 | 25500.00 | 25500.00 | ESS KAY CONSTRUCTIONS
30.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 15.00 | sqm |  | 150.00 | 2250.00 | 300.00 | 4500.00 | 150.00 | 2250.00 | 200.00 | 3000.00 | 2250.00 | Khairati Lal, CREATORS ENGINEERS AND INTERIORS
31.00 | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws : 35 mm thick shutters With ISI marked stainless steel butt hinges of required size Second class teak wood | 10.00 | sqm |  | 4500.00 | 45000.00 | 3000.00 | 30000.00 | 4500.00 | 45000.00 | 4700.00 | 47000.00 | 30000.00 | M/s Devendra K Sharma and associates
32.00 | Providing 40x5 mm flat iron hold fast 400 mm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 300x100x150cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 12.00 | each |  | 250.00 | 3000.00 | 120.00 | 1440.00 | 150.00 | 1800.00 | 110.00 | 1320.00 | 1320.00 | ESS KAY CONSTRUCTIONS
33.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete : - 100x60x2.50 mm | 8.00 | each |  | 200.00 | 1600.00 | 55.00 | 440.00 | 150.00 | 1200.00 | 90.00 | 720.00 | 440.00 | M/s Devendra K Sharma and associates
34.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 2.00 | each |  | 800.00 | 1600.00 | 850.00 | 1700.00 | 2000.00 | 4000.00 | 900.00 | 1800.00 | 1600.00 | Khairati Lal
35.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. - 1.0 mm thick | 30.00 | sqm |  | 600.00 | 18000.00 | 850.00 | 25500.00 | 850.00 | 25500.00 | 700.00 | 21000.00 | 18000.00 | Khairati Lal
36.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5000.00 | kg |  | 85.00 | 425000.00 | 96.00 | 480000.00 | 60.00 | 300000.00 | 95.00 | 475000.00 | 300000.00 | CREATORS ENGINEERS AND INTERIORS
37.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. - Hot finished welded type tubes | 3500.00 | kg |  | 95.00 | 332500.00 | 110.00 | 385000.00 | 60.00 | 210000.00 | 105.00 | 367500.00 | 210000.00 | CREATORS ENGINEERS AND INTERIORS
38.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1500.00 | kg |  | 82.00 | 123000.00 | 96.00 | 144000.00 | 60.00 | 90000.00 | 96.00 | 144000.00 | 90000.00 | CREATORS ENGINEERS AND INTERIORS
39.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates efc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 1000.00 | kg |  | 430.00 | 430000.00 | 410.00 | 410000.00 | 550.00 | 550000.00 | 550.00 | 550000.00 | 410000.00 | M/s Devendra K Sharma and associates
40.00 | Marble stone flooring with 18 mm thick marble stone, as per sample of marble approved by Engineer-in-charge, over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry, including rubbing and polishing complete with : Makrana white second quality | 352.00 | sqm |  | 2100.00 | 739200.00 | 3000.00 | 1056000.00 | 3500.00 | 1232000.00 | 4250.00 | 1496000.00 | 739200.00 | Khairati Lal
41.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 602.00 | sqm |  | 950.00 | 571900.00 | 920.00 | 553840.00 | 400.00 | 240800.00 | 1080.00 | 650160.00 | 240800.00 | CREATORS ENGINEERS AND INTERIORS
42.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 10.00 | sqm |  | 1000.00 | 10000.00 | 900.00 | 9000.00 | 1000.00 | 10000.00 | 960.00 | 9600.00 | 9000.00 | M/s Devendra K Sharma and associates
43.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 35.00 | sqm |  | 950.00 | 33250.00 | 950.00 | 33250.00 | 1200.00 | 42000.00 | 1050.00 | 36750.00 | 33250.00 | Khairati Lal, M/s Devendra K Sharma and associates
44.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. - Size of Tile 600 x 600 mm | 8.00 | sqm |  | 1000.00 | 8000.00 | 950.00 | 7600.00 | 1200.00 | 9600.00 | 1100.00 | 8800.00 | 7600.00 | M/s Devendra K Sharma and associates
45.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. - 110 mm diameter | 50.00 | metre |  | 350.00 | 17500.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 10000.00 | M/s Devendra K Sharma and associates
46.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : - 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 180.00 | sqm |  | 705.00 | 126900.00 | 800.00 | 144000.00 | 1000.00 | 180000.00 | 700.00 | 126000.00 | 126000.00 | ESS KAY CONSTRUCTIONS
47.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 802.00 | sqm |  | 600.00 | 481200.00 | 560.00 | 449120.00 | 250.00 | 200500.00 | 550.00 | 441100.00 | 200500.00 | CREATORS ENGINEERS AND INTERIORS
48.00 | 12 mm cement plaster of mix : - 1:6 (1 cement: 6 coarse sand) | 639.00 | sqm |  | 220.00 | 140580.00 | 220.00 | 140580.00 | 220.00 | 140580.00 | 350.00 | 223650.00 | 140580.00 | Khairati Lal, M/s Devendra K Sharma and associates, CREATORS ENGINEERS AND INTERIORS
49.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: - 1:6 (1 cement: 6 coarse sand) | 1091.00 | sqm |  | 250.00 | 272750.00 | 240.00 | 261840.00 | 250.00 | 272750.00 | 380.00 | 414580.00 | 261840.00 | M/s Devendra K Sharma and associates
50.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 1091.00 | sqm |  | 40.00 | 43640.00 | 70.00 | 76370.00 | 110.00 | 120010.00 | 110.00 | 120010.00 | 43640.00 | Khairati Lal
51.00 | Applying priming coat: - With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/ steel works | 1000.00 | sqm |  | 40.00 | 40000.00 | 20.00 | 20000.00 | 50.00 | 50000.00 | 30.00 | 30000.00 | 20000.00 | M/s Devendra K Sharma and associates
52.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : - Two or more coats on new work | 1000.00 | sqm |  | 80.00 | 80000.00 | 70.00 | 70000.00 | 100.00 | 100000.00 | 120.00 | 120000.00 | 70000.00 | M/s Devendra K Sharma and associates
53.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1730.00 | sqm |  | 80.00 | 138400.00 | 60.00 | 103800.00 | 90.00 | 155700.00 | 65.00 | 112450.00 | 103800.00 | M/s Devendra K Sharma and associates
54.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 639.00 | sqm |  | 100.00 | 63900.00 | 80.00 | 51120.00 | 100.00 | 63900.00 | 150.00 | 95850.00 | 51120.00 | M/s Devendra K Sharma and associates
55.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in -charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 602.00 | sqm |  | 70.00 | 42140.00 | 700.00 | 421400.00 | 50.00 | 30100.00 | 900.00 | 541800.00 | 30100.00 | CREATORS ENGINEERS AND INTERIORS
56.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 33.00 | cum |  | 450.00 | 14850.00 | 1000.00 | 33000.00 | 2400.00 | 79200.00 | 900.00 | 29700.00 | 14850.00 | Khairati Lal
57.00 | Extra for scrapping, cleaning and straightening reinforcement from R.C.C. or R.B. work. | 389.00 | kg |  | 100.00 | 38900.00 | 5.00 | 1945.00 | 5.00 | 1945.00 | 10.00 | 3890.00 | 1945.00 | M/s Devendra K Sharma and associates, CREATORS ENGINEERS AND INTERIORS
58.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 35.00 | cum |  | 350.00 | 12250.00 | 700.00 | 24500.00 | 2400.00 | 84000.00 | 650.00 | 22750.00 | 12250.00 | Khairati Lal
59.00 | Removing mortar from bricks and cleaning bricks including stacking within a lead of 50 m (stacks of cleaned bricks shall be measured): - From brick work in cement mortar | 2.59 | 1000 Nos. |  | 1500.00 | 3885.00 | 2000.00 | 5180.00 | 2000.00 | 5180.00 | 4000.00 | 10360.00 | 3885.00 | Khairati Lal
60.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 19.00 | each |  | 200.00 | 3800.00 | 100.00 | 1900.00 | 1000.00 | 19000.00 | 200.00 | 3800.00 | 1900.00 | M/s Devendra K Sharma and associates
61.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 500.00 | kg |  | 3.00 | 1500.00 | 3.00 | 1500.00 | 5.00 | 2500.00 | 5.00 | 2500.00 | 1500.00 | Khairati Lal, M/s Devendra K Sharma and associates
62.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 262.00 | sqm |  | 50.00 | 13100.00 | 30.00 | 7860.00 | 200.00 | 52400.00 | 60.00 | 15720.00 | 7860.00 | M/s Devendra K Sharma and associates
63.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 67.00 | sqm |  | 50.00 | 3350.00 | 80.00 | 5360.00 | 200.00 | 13400.00 | 60.00 | 4020.00 | 3350.00 | Khairati Lal
64.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 500.00 | sqm |  | 50.00 | 25000.00 | 20.00 | 10000.00 | 10.00 | 5000.00 | 30.00 | 15000.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
65.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 1.00 | each |  | 6000.00 | 6000.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 8500.00 | 8500.00 | 6000.00 | Khairati Lal
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall -25 mm nominal dia Pipes | 200.00 | metre |  | 140.00 | 28000.00 | 280.00 | 56000.00 | 250.00 | 50000.00 | 180.00 | 36000.00 | 28000.00 | Khairati Lal
67.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 100.00 | metre |  | 100.00 | 10000.00 | 227.00 | 22700.00 | 200.00 | 20000.00 | 350.00 | 35000.00 | 10000.00 | Khairati Lal
68.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : - 25 mm nominal bore | 2.00 | each |  | 600.00 | 1200.00 | 300.00 | 600.00 | 500.00 | 1000.00 | 700.00 | 1400.00 | 600.00 | M/s Devendra K Sharma and associates
69.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : - 45 cm length - 20 mm nominal bore | 10.00 | each |  | 100.00 | 1000.00 | 60.00 | 600.00 | 200.00 | 2000.00 | 96.00 | 960.00 | 600.00 | M/s Devendra K Sharma and associates
70.00 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : - With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 5.00 | each |  | 5800.00 | 29000.00 | 1200.00 | 6000.00 | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 6000.00 | M/s Devendra K Sharma and associates
71.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.1. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement: 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 5.00 | each |  | 9000.00 | 45000.00 | 20000.00 | 100000.00 | 15000.00 | 75000.00 | 16000.00 | 80000.00 | 45000.00 | Khairati Lal
72.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | litres |  | 6.30 | 12600.00 | 10.00 | 20000.00 | 10.00 | 20000.00 | 7.00 | 14000.00 | 12600.00 | Khairati Lal
73.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 250 mm dia. R.C.C. pipe | 100.00 | RM |  | 400.00 | 40000.00 | 500.00 | 50000.00 | 700.00 | 70000.00 | 500.00 | 50000.00 | 40000.00 | Khairati Lal
74.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 50.00 | kg |  | 400.00 | 20000.00 | 450.00 | 22500.00 | 400.00 | 20000.00 | 450.00 | 22500.00 | 20000.00 | Khairati Lal, CREATORS ENGINEERS AND INTERIORS
75.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 100.00 | kg |  | 430.00 | 43000.00 | 450.00 | 45000.00 | 400.00 | 40000.00 | 480.00 | 48000.00 | 40000.00 | CREATORS ENGINEERS AND INTERIORS
76.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. - Pre-laminated particle board with decorative lamination on both sides | 20.00 | sqm |  | 700.00 | 14000.00 | 750.00 | 15000.00 | 950.00 | 19000.00 | 900.00 | 18000.00 | 14000.00 | Khairati Lal
77.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 20.00 | sqm |  | 550.00 | 11000.00 | 750.00 | 15000.00 | 1000.00 | 20000.00 | 700.00 | 14000.00 | 11000.00 | Khairati Lal
78.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. - With brass cover plate minimum 1.25 mm thickness | 4.00 | each |  | 3500.00 | 14000.00 | 2500.00 | 10000.00 | 3500.00 | 14000.00 | 1600.00 | 6400.00 | 6400.00 | ESS KAY CONSTRUCTIONS
79.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2.00 | each |  | 1800.00 | 3600.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 750.00 | 1500.00 | 1500.00 | ESS KAY CONSTRUCTIONS
80.00 | Brick work with old bricks in substructure/ superstructure in all shapes and sizes in : (a) Cement mortar 1:6 (1 cement : 6 coarse sand) [Note: Bricks shall be supplied by Deptt at free of cost] | 5.00 | cum |  | 1500.00 | 7500.00 | 1800.00 | 9000.00 | 1500.00 | 7500.00 | 3000.00 | 15000.00 | 7500.00 | Khairati Lal, CREATORS ENGINEERS AND INTERIORS
81.00 | Providing & fixing GRC (Glass Fiber reinforced Concrete) ITEMS made out of White cement having 25 mm thickness in required shape and size as per approved Architectural/ Structural design & drawings. The items shall be made by using high power spray machine, using Cem-fill manufactured AR Glass fiber with minimum ZrO2 17%. Individual/ Composite GRC items shall be fixed with proper jointing/sealing with approved adhesives & sealants and drilling holes in RCC/ Steel/ Brick work and fixing on to external façade with Stainless steel 316 grade clamps/ fastner of suitable dia & lengths, grouting with sealants as per manufacturer’s specifications etc. complete as per drawing and as directed by Engineer-in-Charge. Contractor shall arrange sample as per intent design for approval. Mock-up shall be carried out for minimum one panel of approved sample with suggested fixing arrangement. Work shall be carried out as per approved sample, Mock-up, and shop drawing. Note: 1. The rate for the items shall include approval of design, fabrication/ manufacturing, carriage at site, fixing the GRC items as per manufacturer's specification at all heights and levels. | 90.00 | sqm |  | 4500.00 | 405000.00 | 6500.00 | 585000.00 | 4900.00 | 441000.00 | 4850.00 | 436500.00 | 405000.00 | Khairati Lal
82.00 | Deduct for taking away of aluminium scrap i/c butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 50.00 | kg |  | 68.00 | -3400.00 | 50.00 | -2500.00 | 80.00 | -4000.00 | 5.00 | -250.00 | -4000.00 | CREATORS ENGINEERS AND INTERIORS
83.00 | Deduct for taking away of steel scraps i/c frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-Charge or his authorised representative all complete. | 889.00 | kg |  | 30.00 | -26670.00 | 15.00 | -13335.00 | 40.00 | -35560.00 | 2.00 | -1778.00 | -35560.00 | CREATORS ENGINEERS AND INTERIORS
84.00 | Providing Engineering Consultancy Services for structural designing and vetting of single storied RCC Framed Mandir with domes/Shikhars based on architectural/conceptual drawings supplied by AAI including submission of detailed soil investigation report, detailed structural design with calculations, detailed GFC/Construction drawings with all relevant calculation sheets duly vetted by IIT/NIT/Govt. Engineering College and revision of drawing/designs, if required during execution etc. as specified in tender document and any other details related to consultancy work which are essential for successful execution of works etc. complete as per direction and satisfaction of Engineer in Charge. | 1.00 | Job |  | 350000.00 | 350000.00 | 500000.00 | 500000.00 | 50000.00 | 50000.00 | 300000.00 | 300000.00 | 50000.00 | CREATORS ENGINEERS AND INTERIORS
85.00 | Horticulture Works Providing of Ficus Panda Plant, well developed, height 3 feet and above fresh, healthy, bushy leaves in pots/ Earthen /Plastic pot as per direction of officer-in-charge. | 100.00 | each |  | 300.00 | 30000.00 | 295.00 | 29500.00 | 600.00 | 60000.00 | 395.00 | 39500.00 | 29500.00 | M/s Devendra K Sharma and associates
86.00 | Providing of juniperus golden Plant, well developed, height 3 feet and above fresh, healthy leaves in pots/ Earthen /Plastic pot as per direction of officer-in-charge. | 50.00 | each |  | 300.00 | 15000.00 | 650.00 | 32500.00 | 400.00 | 20000.00 | 1000.00 | 50000.00 | 15000.00 | Khairati Lal
87.00 | Providing of ficus benjamina Plant, well developed, height 3 feet and above fresh, healthy leaves in pots/ Earthen /Plastic pot as per direction of officer-in-charge. | 100.00 | each |  | 150.00 | 15000.00 | 330.00 | 33000.00 | 500.00 | 50000.00 | 440.00 | 44000.00 | 15000.00 | Khairati Lal
88.00 | Providing of Areca Palm Plant, well developed, height 3 feet and above fresh, healthy leaves in pots/ Earthen /Plastic pot as per direction of officer-in-charge. | 50.00 | each |  | 250.00 | 12500.00 | 190.00 | 9500.00 | 300.00 | 15000.00 | 270.00 | 13500.00 | 9500.00 | M/s Devendra K Sharma and associates
89.00 | Providing of Morpankhi Thuja Compacta Plant, well developed, height 3 feet and above fresh, healthy leaves in pots/ Earthen /Plastic pot as per direction of officer-in-charge. | 50.00 | each |  | 200.00 | 10000.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 400.00 | 20000.00 | 10000.00 | Khairati Lal
90.00 | Providing of Dieffenbachia plant well developed, height 1.50 to 2.00 feet and above fresh, healthy leaves in pots/ Earthen /Plastic pot as per direction of officer-in-charge. | 50.00 | each |  | 250.00 | 12500.00 | 236.00 | 11800.00 | 200.00 | 10000.00 | 330.00 | 16500.00 | 10000.00 | CREATORS ENGINEERS AND INTERIORS
91.00 | Providing and Stacking of Tulsi of ht. 30cm with multi branches in Poly bag of size 20 cm. as per direction of the officer-in-charge. | 20.00 | each |  | 40.00 | 800.00 | 50.00 | 1000.00 | 150.00 | 3000.00 | 75.00 | 1500.00 | 800.00 | Khairati Lal
92.00 | Supply of round cement pots size 16 X 16 inch having 4 no. wire vertical and 3 no. wire horizontal of good quality as per direction of officer-in-charge. | 150.00 | each |  | 500.00 | 75000.00 | 286.00 | 42900.00 | 100.00 | 15000.00 | 410.00 | 61500.00 | 15000.00 | CREATORS ENGINEERS AND INTERIORS
93.00 | Electrical Works Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.
93.10 | Group A | 20.00 | Point |  | 1500.00 | 30000.00 | 999.00 | 19980.00 | 1500.00 | 30000.00 | 1215.00 | 24300.00 | 19980.00 | M/s Devendra K Sharma and associates
93.20 | Group C | 73.00 | Point |  | 1800.00 | 131400.00 | 1290.00 | 94170.00 | 1200.00 | 87600.00 | 1080.00 | 78840.00 | 78840.00 | ESS KAY CONSTRUCTIONS
94.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 92.00 | Meter |  | 90.00 | 8280.00 | 375.00 | 34500.00 | 300.00 | 27600.00 | 270.00 | 24840.00 | 8280.00 | Khairati Lal
95.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 138.00 | Meter |  | 175.00 | 24150.00 | 650.00 | 89700.00 | 500.00 | 69000.00 | 405.00 | 55890.00 | 24150.00 | Khairati Lal
96.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
96.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 200.00 | Meter |  | 80.00 | 16000.00 | 280.00 | 56000.00 | 150.00 | 30000.00 | 45.00 | 9000.00 | 9000.00 | ESS KAY CONSTRUCTIONS
96.20 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 25.00 | Meter |  | 160.00 | 4000.00 | 550.00 | 13750.00 | 500.00 | 12500.00 | 293.00 | 7325.00 | 4000.00 | Khairati Lal
97.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 13.00 | Each |  | 800.00 | 10400.00 | 410.00 | 5330.00 | 500.00 | 6500.00 | 225.00 | 2925.00 | 2925.00 | ESS KAY CONSTRUCTIONS
98.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 25.00 | Each |  | 38.00 | 950.00 | 30.00 | 750.00 | 50.00 | 1250.00 | 54.00 | 1350.00 | 750.00 | M/s Devendra K Sharma and associates
99.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 17.00 | Each |  | 100.00 | 1700.00 | 550.00 | 9350.00 | 200.00 | 3400.00 | 405.00 | 6885.00 | 1700.00 | Khairati Lal
100.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 26.00 | Each |  | 100.00 | 2600.00 | 700.00 | 18200.00 | 300.00 | 7800.00 | 585.00 | 15210.00 | 2600.00 | Khairati Lal
101.00 | Supplying and fixing 3 pin, 5A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 20.00 | Each |  | 35.00 | 700.00 | 50.00 | 1000.00 | 20.00 | 400.00 | 270.00 | 5400.00 | 400.00 | CREATORS ENGINEERS AND INTERIORS
102.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | 2.00 | Each |  | 500.00 | 1000.00 | 150.00 | 300.00 | 500.00 | 1000.00 | 405.00 | 810.00 | 300.00 | M/s Devendra K Sharma and associates
103.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.
103.10 | Group C | 41.00 | Point |  | 1250.00 | 51250.00 | 900.00 | 36900.00 | 1600.00 | 65600.00 | 1080.00 | 44280.00 | 36900.00 | M/s Devendra K Sharma and associates
104.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. | 3.00 | Each |  | 100.00 | 300.00 | 880.00 | 2640.00 | 250.00 | 750.00 | 585.00 | 1755.00 | 300.00 | Khairati Lal
105.00 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 6.00 | Each |  | 100.00 | 600.00 | 750.00 | 4500.00 | 200.00 | 1200.00 | 810.00 | 4860.00 | 600.00 | Khairati Lal
106.00 | Supplyting and fixing PVC batten/ angle holder including connection etc. as required. | 5.00 | Each |  | 50.00 | 250.00 | 100.00 | 500.00 | 300.00 | 1500.00 | 900.00 | 4500.00 | 250.00 | Khairati Lal
107.00 | MCD & DB: Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
107.10 | 12 way, Double door | 1.00 | Each |  | 7000.00 | 7000.00 | 2299.00 | 2299.00 | 2500.00 | 2500.00 | 3150.00 | 3150.00 | 2299.00 | M/s Devendra K Sharma and associates
108.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
108.10 | 8 way (4 + 24), Double door | 1.00 | Each |  | 6000.00 | 6000.00 | 5900.00 | 5900.00 | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 3500.00 | CREATORS ENGINEERS AND INTERIORS
109.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
109.10 | Single pole | 34.00 | Each |  | 200.00 | 6800.00 | 180.00 | 6120.00 | 200.00 | 6800.00 | 225.00 | 7650.00 | 6120.00 | M/s Devendra K Sharma and associates
110.00 | Supplying and fixing following rating, double pole, 240 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required.
110.10 | 40 A | 1.00 | Each |  | 600.00 | 600.00 | 750.00 | 750.00 | 250.00 | 250.00 | 900.00 | 900.00 | 250.00 | CREATORS ENGINEERS AND INTERIORS
111.00 | Supplying and fixing following rating, four pole, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required.
111.10 | 100 A | 1.00 | Each |  | 6500.00 | 6500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 3600.00 | 3600.00 | 1500.00 | M/s Devendra K Sharma and associates, CREATORS ENGINEERS AND INTERIORS
112.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required.
112.10 | For 12 way, Double door SPN MCBDB | 1.00 | Each |  | 7500.00 | 7500.00 | 799.00 | 799.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 799.00 | M/s Devendra K Sharma and associates
113.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required.
113.10 | For 8 way, Double door TPN MCBDB | 1.00 | Each |  | 6000.00 | 6000.00 | 1199.00 | 1199.00 | 3500.00 | 3500.00 | 4050.00 | 4050.00 | 1199.00 | M/s Devendra K Sharma and associates
114.00 | Earthing Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 3.00 | Each |  | 8000.00 | 24000.00 | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 11250.00 | 33750.00 | 6000.00 | CREATORS ENGINEERS AND INTERIORS
115.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 10.00 | Meter |  | 28.00 | 280.00 | 60.00 | 600.00 | 50.00 | 500.00 | 162.00 | 1620.00 | 280.00 | Khairati Lal
116.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Meter |  | 150.00 | 7500.00 | 430.00 | 21500.00 | 250.00 | 12500.00 | 225.00 | 11250.00 | 7500.00 | Khairati Lal
117.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 10.00 | Meter |  | 28.00 | 280.00 | 30.00 | 300.00 | 50.00 | 500.00 | 90.00 | 900.00 | 280.00 | Khairati Lal
| Total in Figures |  |  |  |  | 12235416.00 |  | 13989983.00 |  | 13615375.00 |  | 15564049.00
Lowest Amount Quoted BY: Khairati Lal(12235416.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification and Renovation of Mandir at INA Colony, New Delhi Tender ID: 2024_AAI_182872_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Khairati Lal | 12235416.00 | L1
| 2 | CREATORS ENGINEERS AND INTERIORS | 13615375.00 | L2
| 3 | M/s Devendra K Sharma and associates | 13989983.00 | L3
| 4 | ESS KAY CONSTRUCTIONS | 15564049.00 | L4