## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 20-Mar-2024 01:16 PM Tender Title: Renovation of existing Toilet blocks of Terminal Building at Aurangabad Airport Tender ID: 2024_AAI_183043_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport
Name of Work: Renovation of existing Toilet blocks of Terminal Building at Aurangabad Airport
Contract No: 2024_AAI_183043_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MALL INFRASTRUCTURE (GSTN-27AFFPM9707C1ZG) BID ID -685186 |  | Parikh Kashyap Indulal (GSTN-24ADFPP9401N1Z9) BID ID -685379
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground upto 1000 m lead within Airport premises. | 960.00 | sqm | 100.00 | 148.00 | 142080.00 | 90.00 | 86400.00 | 86400.00 | Parikh Kashyap Indulal
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material upto 1000 m lead within Airport premises as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 21.00 | cum | 100.00 | 1780.00 | 37380.00 | 700.00 | 14700.00 | 14700.00 | Parikh Kashyap Indulal
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material upto 1000 m lead within Airport premises as per direction of Engineer-in-charge. - In cement mortar | 115.00 | cum | 100.00 | 1380.00 | 158700.00 | 700.00 | 80500.00 | 80500.00 | Parikh Kashyap Indulal
4.00 | Dismantling and taking away doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. including disposal of unserviceable surplus material as directed by Engineer-in-charge - Of area 3 sq. metres and below | 77.00 | each | 100.00 | 490.00 | 37730.00 | 250.00 | 19250.00 | 19250.00 | Parikh Kashyap Indulal
5.00 | Dismantling stone slab flooring /granite/marble laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 1000 metres lead of Airport premises. | 116.00 | sqm | 100.00 | 180.00 | 20880.00 | 150.00 | 17400.00 | 17400.00 | Parikh Kashyap Indulal
6.00 | Dismantling tile work in floors and walls laid in cement mortar including stacking material upto 1000 m lead within Airport premises. (For thickness of tiles 10 mm to 25 mm ) | 1688.00 | sqm | 100.00 | 178.00 | 300464.00 | 80.00 | 135040.00 | 135040.00 | Parikh Kashyap Indulal
7.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond initial lead, for all leads including all lifts involved. | 230.00 | cum | 100.00 | 195.00 | 44850.00 | 400.00 | 92000.00 | 44850.00 | MALL INFRASTRUCTURE
8.00 | Dismantling W.C. Pan, Urinals, Wash basins of all sizes including disposal of dismantled materials within Airport premises i/c malba all complete as per directions of Engineer-in-Charge. | 169.00 | each | 100.00 | 345.00 | 58305.00 | 97.00 | 16393.00 | 16393.00 | Parikh Kashyap Indulal
9.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make Kajaria/Somani/Grancier/Donato or equivalent, in all colours & shade, in walls, skirting, dado, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of tile ranging from 500x500 mm - 1200x1200 mm | 907.00 | sqm | 100.00 | 1490.00 | 1351430.00 | 1600.00 | 1451200.00 | 1351430.00 | MALL INFRASTRUCTURE
10.00 | Cement Plaster in fine sand. 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 500.00 | sqm | 100.00 | 440.00 | 220000.00 | 450.00 | 225000.00 | 220000.00 | MALL INFRASTRUCTURE
11.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/ making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | 488.00 | sqm | 100.00 | 1685.00 | 822280.00 | 1829.00 | 892552.00 | 822280.00 | MALL INFRASTRUCTURE
12.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 375.00 | sqm | 100.00 | 80.00 | 30000.00 | 55.00 | 20625.00 | 20625.00 | Parikh Kashyap Indulal
13.00 | Wall painting with acrylic emulsion paint of approved brand Nerolac/Asian Paints or equivalent, having VOC (Volatile Organic Compound) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. - Two coats | 375.00 | sqm | 100.00 | 228.00 | 85500.00 | 170.00 | 63750.00 | 63750.00 | Parikh Kashyap Indulal
14.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour Italian Biege, black, Cherry/Ruby red - Area of slab over 0.50 sqm | 138.00 | sqm | 100.00 | 3950.00 | 545100.00 | 3300.00 | 455400.00 | 455400.00 | Parikh Kashyap Indulal
15.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 101.00 | metre | 100.00 | 590.00 | 59590.00 | 200.00 | 20200.00 | 20200.00 | Parikh Kashyap Indulal
16.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. - Granite work | 101.00 | metre | 100.00 | 500.00 | 50500.00 | 120.00 | 12120.00 | 12120.00 | Parikh Kashyap Indulal
17.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 47.00 | each | 100.00 | 490.00 | 23030.00 | 2500.00 | 117500.00 | 23030.00 | MALL INFRASTRUCTURE
18.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length - 15 mm nominal bore | 50.00 | each | 100.00 | 195.00 | 9750.00 | 100.00 | 5000.00 | 5000.00 | Parikh Kashyap Indulal
19.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick. | 53.00 | sqm | 100.00 | 840.00 | 44520.00 | 750.00 | 39750.00 | 39750.00 | Parikh Kashyap Indulal
20.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 15.00 | each | 100.00 | 1950.00 | 29250.00 | 4000.00 | 60000.00 | 29250.00 | MALL INFRASTRUCTURE
21.00 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 5. | 15.00 | each | 100.00 | 6900.00 | 103500.00 | 6000.00 | 90000.00 | 90000.00 | Parikh Kashyap Indulal
22.00 | Providing & fixing commercial waterproof plywood of ISI approved brand and make to be fixed at any location with fevicol, nail & screw etc. complete as per the directions of Engineer-in-charge. a) 18 mm thick plywood | 53.00 | sqm | 100.00 | 1850.00 | 98050.00 | 1200.00 | 63600.00 | 63600.00 | Parikh Kashyap Indulal
23.00 | Providing and laying matt finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) conforming to IS: 15622 with water absorption less than 0.08% of approved make Kajaria/Somani/Grancier/Donato or equivalent in all colours and shades, with cement based high polymer modified quick-set tile adhesive conforming to IS: 15477, in average 3mm thickness. etc., complete. Size of Tile ranging from 500x500 mm -1200x1200 mm | 488.00 | sqm | 100.00 | 1490.00 | 727120.00 | 1500.00 | 732000.00 | 727120.00 | MALL INFRASTRUCTURE
24.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe including all UPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 15 mm nominal dia Pipes | 120.00 | metre | 100.00 | 145.00 | 17400.00 | 300.00 | 36000.00 | 17400.00 | MALL INFRASTRUCTURE
25.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe including all UPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 25 mm nominal dia Pipes | 350.00 | metre | 100.00 | 175.00 | 61250.00 | 500.00 | 175000.00 | 61250.00 | MALL INFRASTRUCTURE
26.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe including all UPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 350.00 | metre | 100.00 | 195.00 | 68250.00 | 600.00 | 210000.00 | 68250.00 | MALL INFRASTRUCTURE
27.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe including all UPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 50 mm nominal dia Pipes | 120.00 | metre | 100.00 | 245.00 | 29400.00 | 950.00 | 114000.00 | 29400.00 | MALL INFRASTRUCTURE
28.00 | Providing and fixing toilet cubicles of Merino Besco (Titan series), Greenlam Sturdo (Classique's Evergreen series) or equivalent, made of heat, bacteria, water, chemical, scratch, impact, anti-bacterial resistant 12 mm thick solid compact laminate panel board which includes doors, pilasters and intermediate panels finished with approved texture/shade as per the delailed drawings and as per IS 2046 (Indian Standards) and fire retardant BS-476/97 standards. This also includes providing and fixing in position necessary hardwares made out of SS (grade 304) as per manufacturer's specification and Engineer-in-Charge instructions like - (i) Door Knobs, (ii) Gravity Hinges, (iii) Thumb turn lockset with Occupancy indicators, (iv) Coat hooks with door stopper (v) U/F- channel, (vi) AdjusTaple foot/pedestal, (vii) Top rail with corner connector, (viii) Rubber noise deafening tape, (ix) Screws and wall plugs etc. The top fitting should consist of SS rectangular top rail which will get fixed with pilasters with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the SS top rail. All screws shall be of 304 grade in Stainless steel with satin finish. All pilasters are supported by stainless steel bottom cladding. The base of the stainless steel bottom clading will be anchored to the door with a clearance height upto 150 mm. Size of each Cubical -(a) Plan area of cubicle varies from 1.50 to 2.00 Sqm (b) Height of cubicle is 1980 mm including bottom leg of 150 mm (c) Width of door is 600 mm. (The rates shall include providing and fixing of compact laminate panel board, fittings and fixtures, wastage, scaffolding, tools, plants, all cost of toilet cubicle and labour involved in all the operations described above including cartage lifts and all taxes excluding GST) | 65.00 | each | 100.00 | 42000.00 | 2730000.00 | 32000.00 | 2080000.00 | 2080000.00 | Parikh Kashyap Indulal
29.00 | Providing and fixing Urinal Partition system using 12 mm thick panel of Besco Merino (Urinal Modesty SS Series) or equivalent with each panel size 500 mm X 1200 mm, overall height of 1850 mm incuding botom gap of 650 mm, including fixing the panel at wall with fixtures, fitting and accessories such as SS Right angle brackets, scews , wall plugs, and of approved colour and shade as per site requirement as per specification and directions of Engineer-in-Charge | 49.00 | each | 100.00 | 5900.00 | 289100.00 | 4750.00 | 232750.00 | 232750.00 | Parikh Kashyap Indulal
30.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5 in foundations and plinth in : Cement mortar 1:3 (1 cement : 3 coarse sand) | 55.00 | sqm | 100.00 | 875.00 | 48125.00 | 1012.00 | 55660.00 | 48125.00 | MALL INFRASTRUCTURE
31.00 | Providing and fixing white vitreous china flat back urinal of size 385x325X635 mm of make JAQUAR URS-WHT-13253N or Equivalent with fittings and standard accessories, standard size C.P. brass flush pipe, spreaders, waste coupling with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, waste trap with outlet grating and other couplings in C.P. brass, painting, fitting, cutting and making good the walls and floors wherever required as per satisfation of Engineer-in-Charge. | 44.00 | each | 100.00 | 8400.00 | 369600.00 | 5000.00 | 220000.00 | 220000.00 | Parikh Kashyap Indulal
32.00 | Providing and fixing Under counter wash basin of size 605 x 430 x 200 mm and oval shape of Jaquar CNS-WHT-705 or Equivalent including waste coupling 32 mm size full threaded of Jaquar ALD-CHR-705 make or equivalent fixing,painting of fittings, cutting and making good the walls wherever required as per the directions of Engineer-in-Charge. | 47.00 | each | 100.00 | 2900.00 | 136300.00 | 2200.00 | 103400.00 | 103400.00 | Parikh Kashyap Indulal
33.00 | Providing and fixing white rimless Wall hung type water closet pan of size 570 x 390 x 365 mm of JAQUAR VGS-WHT-81953UF make or Equivalent including UF seat cover with hinges, accessories, etc. all complete as per direction of Engineer-in-charge. | 44.00 | each | 100.00 | 23000.00 | 1012000.00 | 13500.00 | 594000.00 | 594000.00 | Parikh Kashyap Indulal
34.00 | Providing and fixing white Orissa pattern W.C. pan of size 440x575x250 mm of Essco Jaquar make ECS-WHT- 451 or Equivalent including all fixing accessories complete as per direction of Engineer-in-charge | 11.00 | each | 100.00 | 1850.00 | 20350.00 | 1500.00 | 16500.00 | 16500.00 | Parikh Kashyap Indulal
35.00 | Providing and fixing Push Pillar cock with Auto-closing system and 65 mm extension body of Jaquar PRS-CHR-031L65 make or Equivalent including making connection, etc as per direction of Engineer-in-Charge. | 47.00 | each | 100.00 | 3450.00 | 162150.00 | 2200.00 | 103400.00 | 103400.00 | Parikh Kashyap Indulal
36.00 | Providing and fixing Angular Stop Cock with wall flange of Jaquar CON-CHR-059KN make or equivalent as per direction of Engineer-in-charge. | 47.00 | each | 100.00 | 1000.00 | 47000.00 | 750.00 | 35250.00 | 35250.00 | Parikh Kashyap Indulal
37.00 | Providing and fixing bottle trap of 32 mm size of Jaquar ALD-CHR-769L300x190 make or Equivalent including 300 mm and 190 mm long wall connection pipes with wall flanges and making connection, etc. all complete as per direction of Engineer-in-charge | 47.00 | each | 100.00 | 2050.00 | 96350.00 | 1450.00 | 68150.00 | 68150.00 | Parikh Kashyap Indulal
38.00 | Providing and fixing dual flow 32 mm concealed body metropole flush valve with exposed shut off provision & round flange (3 / 6 litres per flushing) for WC of Jaquar FLV-CHR-1085N make or Equivalent including making connection etc complete. as per direction of Engineer-in-charge | 55.00 | each | 100.00 | 4000.00 | 220000.00 | 2700.00 | 148500.00 | 148500.00 | Parikh Kashyap Indulal
39.00 | Providing and fixing auto closing concealed urinal flush valve with built in control cock and wall flange of Jaquar (PRS-CHR-073) make or Equivalent including making connection etc complete as per direction of Engineer-in-Charge. | 44.00 | each | 100.00 | 3000.00 | 132000.00 | 2100.00 | 92400.00 | 92400.00 | Parikh Kashyap Indulal
40.00 | Providing and fixing health faucet 8mm size of minimum length 1 metre of JAQUAR(ALD-CHR-573) make or Equivalent with 1 m long flexible connecting in chrome finish, wall hooks, etc. tube including making connection all complete as per direction of Engineer-in-charge | 55.00 | each | 100.00 | 1750.00 | 96250.00 | 1200.00 | 66000.00 | 66000.00 | Parikh Kashyap Indulal
41.00 | Providing and Fixing tissue paper roll holder for toilets of Jaquar AKP-CHR-35751P make or equivalent and as per direction of Engineer-in-charge. | 55.00 | each | 100.00 | 1250.00 | 68750.00 | 1225.00 | 67375.00 | 67375.00 | Parikh Kashyap Indulal
42.00 | Providing & Fixing soap dispenser with metallic bottle of Jaquar ACN-CHR-1137N or make or equivalent etc. complete as per directions of Engineer in charge. | 47.00 | each | 100.00 | 3950.00 | 185650.00 | 2200.00 | 103400.00 | 103400.00 | Parikh Kashyap Indulal
43.00 | Providing and fixing wall hung wash basin of Jaquar OPS-WHT-15305 or Equivalent of size 575 x 475 x 195 mm including waste coupling of Jaquar make or equivalent fixing accessories, painting of fittings, cutting and making good the walls wherever require as per direction of Engineer-in-charge | 5.00 | each | 100.00 | 1850.00 | 9250.00 | 3800.00 | 19000.00 | 9250.00 | MALL INFRASTRUCTURE
44.00 | Providing and fixing 2 way bib cock with wall flange of Jaquar VGP-CHR-81041 make or Equivalent including making connection, etc as per direction of Engineer-in-Charge. | 55.00 | each | 100.00 | 2650.00 | 145750.00 | 1800.00 | 99000.00 | 99000.00 | Parikh Kashyap Indulal
45.00 | Provding and fixing 6 mm thick mirror of superior glass (of approved quality) and of required size. Mirror to be fixed on wall with the help of CP brass scews and cap, including brackets, etc, complete as per direction of Engineer-in-charge. | 23.00 | sqm | 100.00 | 990.00 | 22770.00 | 1600.00 | 36800.00 | 22770.00 | MALL INFRASTRUCTURE
46.00 | Providing & Fixing PVC ball valve with lever of size 32 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 40.00 | each | 100.00 | 195.00 | 7800.00 | 400.00 | 16000.00 | 7800.00 | MALL INFRASTRUCTURE
47.00 | Providing & Fixing PVC ball valve with lever of size 50 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 40.00 | each | 100.00 | 295.00 | 11800.00 | 1100.00 | 44000.00 | 11800.00 | MALL INFRASTRUCTURE
48.00 | Providing & Fixing PVC ball valve with lever of size 75 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 40.00 | each | 100.00 | 770.00 | 30800.00 | 2100.00 | 84000.00 | 30800.00 | MALL INFRASTRUCTURE
49.00 | Providing and fixing bronze gate valve Zoloto or equivalent make 40 mm nominal bore of approved quality to existing pipeline as per the direction of Engineer-Incharge. | 25.00 | each | 100.00 | 3800.00 | 95000.00 | 3500.00 | 87500.00 | 87500.00 | Parikh Kashyap Indulal
50.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 110 mm Dia. | 291.00 | metre | 100.00 | 340.00 | 98940.00 | 400.00 | 116400.00 | 98940.00 | MALL INFRASTRUCTURE
51.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions,traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 75 mm Dia. | 100.00 | metre | 100.00 | 185.00 | 18500.00 | 315.00 | 31500.00 | 18500.00 | MALL INFRASTRUCTURE
52.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions,traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 50 mm Dia. | 100.00 | metre | 100.00 | 155.00 | 15500.00 | 175.00 | 17500.00 | 15500.00 | MALL INFRASTRUCTURE
53.00 | Providing and fixing in position 30 mm thick machine cut Cuddapah stone for kitchen platform, shelves, venity counters, stand etc. complete at all levels as per the direction of Engineer-in-charge. | 23.00 | sqm | 100.00 | 1280.00 | 29440.00 | 960.00 | 22080.00 | 22080.00 | Parikh Kashyap Indulal
54.00 | Providing and fixing self closing sliding door system for flush doors of LAMP LM80-WOOD or equivalent etc complete as per direction of Engineer - in - Charge. (Flush door items will be paid separately) | 5.00 | each | 100.00 | 7900.00 | 39500.00 | 15000.00 | 75000.00 | 39500.00 | MALL INFRASTRUCTURE
55.00 | Providing and fixing stainless steel jali (grating) with or without hole for waste pipe for floor / Nahani trap 100 mm diameter including sealing with white cement as per the direction of Engineer-in-charge | 135.00 | each | 100.00 | 490.00 | 66150.00 | 150.00 | 20250.00 | 20250.00 | Parikh Kashyap Indulal
56.00 | Providing and fixing Baby Diaper changing Station of Euronics EDC1 or equivalent. Size of changing station shall be minimum 800-900 mm in length & 500-600 mm in width having min weight capacity of 25 kgs. Rate shall be including installation, transportation, taxes etc, complete as per direction of Engineer - in - charge. | 5.00 | each | 100.00 | 10000.00 | 50000.00 | 15000.00 | 75000.00 | 50000.00 | MALL INFRASTRUCTURE
| Total in Figures |  |  |  |  | 11431134.00 |  | 9976195.00
Lowest Amount Quoted BY: Parikh Kashyap Indulal(9976195.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of existing Toilet blocks of Terminal Building at Aurangabad Airport Tender ID: 2024_AAI_183043_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Parikh Kashyap Indulal | 9976195.00 | L1
| 2 | MALL INFRASTRUCTURE | 11431134.00 | L2