## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 28-Feb-2024 05:05 PM Tender Title: Operation and Annual CMC for Centralized HVAC System at Calicut Airport including Special Repair works Tender ID: 2024_AAI_183161_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work:Special Repair Works / Operation and Annual Comprehensive Maintenance Contract for Centralised HVAC System at Calicut International Airport for 2024-26
Contract No: <2024_AAI_183161_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Limited(GSTN-32AAACB4487D1Z1) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | STERLING AND WILSON PRIVATE LIMITED(GSTN-NA) |  | Voltas Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, Air-conditioning Management System ( PC and associated field devices such as DDC panels, controllers, sensors etc.) and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. a. International terminal HVAC Installations. (i) First Year ( 2024-25) | 12.00 | Months |  | 150200.00 | 1802400.00 | 145000.00 | 1740000.00 | 193666.00 | 2323992.00 | 166060.00 | 1992720.00 | 1740000.00 | Supertech Engineers
2.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, Air-conditioning Management System ( PC and associated field devices such as DDC panels, controllers, sensors etc.) and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. a. International terminal HVAC Installations. (ii) Second Year ( 2025-26) | 12.00 | Months |  | 150200.00 | 1802400.00 | 159500.00 | 1914000.00 | 202666.00 | 2431992.00 | 171040.00 | 2052480.00 | 1802400.00 | Blue Star Limited
3.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, Air-conditioning Management System ( PC and associated field devices such as DDC panels, controllers, sensors etc.) and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. b) Domestic terminal HVAC Installations. (i) First Year ( 2024-25) | 12.00 | Months |  | 81150.00 | 973800.00 | 65000.00 | 780000.00 | 51444.00 | 617328.00 | 40900.00 | 490800.00 | 490800.00 | Voltas Limited
4.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, Air-conditioning Management System ( PC and associated field devices such as DDC panels, controllers, sensors etc.) and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. b. Domestic terminal HVAC Installations. (ii) Second Year (2025-26) | 12.00 | Months |  | 84000.00 | 1008000.00 | 71500.00 | 858000.00 | 51444.00 | 617328.00 | 42125.00 | 505500.00 | 505500.00 | Voltas Limited
5.00 | Operation of water cooled complete HVAC system of International and Domestic terminal buildings, with all related equipments and accessories including AMS operations on all days including Sundays, Holidays and National Holidays, as per the requirements of AAI as indicated in elsewhere in the tender document. | 24.00 | Months |  | 565596.00 | 13574304.00 | 422000.00 | 10128000.00 | 337777.00 | 8106648.00 | 531795.00 | 12763080.00 | 8106648.00 | STERLING AND WILSON PRIVATE LIMITED
6.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. a. Thickness 0.80 mm sheet | 50.00 | Sq.Metre |  | 1200.00 | 60000.00 | 1450.00 | 72500.00 | 2150.00 | 107500.00 | 1220.00 | 61000.00 | 60000.00 | Blue Star Limited
7.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. b.Thickness 0.60 mm sheet | 30.00 | Sq.Metre |  | 1125.00 | 33750.00 | 1250.00 | 37500.00 | 1750.00 | 52500.00 | 1055.00 | 31650.00 | 31650.00 | Voltas Limited
8.00 | Spray painting with one or more coat of synthetic enamel paint of approved brand, manufacturer and colour to give an even shade in the linear continuous grills and diffusers of assorted size, distribution boards, Electrical panels/ Junction boxes/feeder pillars, condenser pipe lines etc. pertaining to HVAC system provided in the Terminal Buildings, including cleaning the surface, applying two or more coats of primer wherever necessary including removing, shifting of installations from existing site to a suitable site for painting where ever required. Scope also includes re-lettering/lettering of various distribution boards/panels wherever required. | 2000.00 | Sq.Metre |  | 287.00 | 574000.00 | 240.00 | 480000.00 | 230.00 | 460000.00 | 167.00 | 334000.00 | 334000.00 | Voltas Limited
9.00 | Supply installation, configuration, programming, testing and commissioning of following BMS controller compatible with the existing BMS system and integrating the same to the existing BMS system to achieve control and monitoring of the AHUs. The scope shall include provision and installation of all required peripheral devices or any components/firmware/software required for successful establishment of control and monitoring. AAI shall not be bound to provide any back up of firmware/software for completion of the work. a. PXC 12 or equivalent | 4.00 | Job |  | 37250.00 | 149000.00 | 45780.00 | 183120.00 | 29800.00 | 119200.00 | 55550.00 | 222200.00 | 119200.00 | STERLING AND WILSON PRIVATE LIMITED
10.00 | Supply installation, configuration, programming, testing and commissioning of following BMS controller compatible with the existing BMS system and integrating the same to the existing BMS system to achieve control and monitoring of the AHUs. The scope shall include provision and installation of all required peripheral devices or any components/firmware/software required for successful establishment of control and monitoring. AAI shall not be bound to provide any back up of firmware/software for completion of the work. b. PXC 22 or equivalent | 1.00 | Job |  | 45875.00 | 45875.00 | 63888.00 | 63888.00 | 36700.00 | 36700.00 | 72200.00 | 72200.00 | 36700.00 | STERLING AND WILSON PRIVATE LIMITED
11.00 | Supply installation, configuration, programming, testing and commissioning of following BMS controller compatible with the existing BMS system and integrating the same to the existing BMS system to achieve control and monitoring of the AHUs. The scope shall include provision and installation of all required peripheral devices or any components/firmware/software required for successful establishment of control and monitoring. AAI shall not be bound to provide any back up of firmware/software for completion of the work. c. PXG 80N or equivalent | 1.00 | Job |  | 82375.00 | 82375.00 | 75000.00 | 75000.00 | 65900.00 | 65900.00 | 111100.00 | 111100.00 | 65900.00 | STERLING AND WILSON PRIVATE LIMITED
12.00 | Supply, installation, programming, testing and commissioning of following type CO2 sensor suitable for integration with Siemens Desigo CC BMS. The cost of integrating the sensor to the existing BMS shall also be inclusive in the scope.AAI shall not be bound to provide any back up of firmware/software for completion of the work. Siemens QPA2OOO / QPM1104 | 8.00 | Job |  | 21125.00 | 169000.00 | 19950.00 | 159600.00 | 16900.00 | 135200.00 | 18870.00 | 150960.00 | 135200.00 | STERLING AND WILSON PRIVATE LIMITED
13.00 | Supply, installation, programming, testing and commissioning of following Variable Frequency Drive(VFD) OF various capacity suitable for operation at voltage 415 +/- 10%, 3phase ,50 Hz input supply and providing an output of 0-415+/- 10%,3 phase,0 - 150 Hz including integration with existing BMS System (Siemens Desigo CC ) a.15 kw equivalent to Siemens SED2-15/32B | 1.00 | Job |  | 94701.00 | 94701.00 | 65000.00 | 65000.00 | 190000.00 | 190000.00 | 70510.00 | 70510.00 | 65000.00 | Supertech Engineers
14.00 | Supply, installation, programming, testing and commissioning of following Variable Frequency Drive(VFD) OF various capacity suitable for operation at voltage 415 +/- 10%, 3phase ,50 Hz input supply and providing an output of 0-415+/- 10%,3 phase,0 - 150 Hz including integration with existing BMS System (Siemens Desigo CC ) b. 11 kw equivalent to Siemens SED2-11/32B | 5.00 | Job |  | 88826.00 | 444130.00 | 58500.00 | 292500.00 | 160000.00 | 800000.00 | 61100.00 | 305500.00 | 292500.00 | Supertech Engineers
15.00 | Supply, installation, programming, testing and commissioning of following Variable Frequency Drive(VFD) OF various capacity suitable for operation at voltage 415 +/- 10%, 3phase ,50 Hz input supply and providing an output of 0-415+/- 10%,3 phase,0 - 150 Hz including integration with existing BMS System (Siemens Desigo CC ) c. 7.5 kw equivalent to Siemens SED2-7.5/32B | 5.00 | Job |  | 78951.00 | 394755.00 | 48600.00 | 243000.00 | 130000.00 | 650000.00 | 49350.00 | 246750.00 | 243000.00 | Supertech Engineers
16.00 | Supply, installation, programming, testing and commissioning of following Variable Frequency Drive(VFD) OF various capacity suitable for operation at voltage 415 +/- 10%, 3phase ,50 Hz input supply and providing an output of 0-415+/- 10%,3 phase,0 - 150 Hz including integration with existing BMS System (Siemens Desigo CC ) d. 5.5 kw equivalent to Siemens SED2 5.5/32B | 2.00 | Job |  | 74826.00 | 149652.00 | 38600.00 | 77200.00 | 126000.00 | 252000.00 | 39950.00 | 79900.00 | 77200.00 | Supertech Engineers
17.00 | Supply, installation, programming, testing and commissioning of following type 3 way mixing valve actuating motors suitable for operation at voltage 24 +/-20%,50 Hz,input supply including integration with existing BMS System (Siemens Desigo CC ) a. Equivalant to Siemens SKC60 | 10.00 | Job |  | 76137.00 | 761370.00 | 68614.00 | 686140.00 | 25000.00 | 250000.00 | 47235.00 | 472350.00 | 250000.00 | STERLING AND WILSON PRIVATE LIMITED
18.00 | Supply, installation, programming, testing and commissioning of following type 3 way mixing valve actuating motors suitable for operation at voltage 24 +/-20%,50 Hz,input supply including integration with existing BMS System (Siemens Desigo CC ) b .Equivalent to Siemens SQX62 | 4.00 | Job |  | 38250.00 | 153000.00 | 27550.00 | 110200.00 | 22000.00 | 88000.00 | 18715.00 | 74860.00 | 74860.00 | Voltas Limited
19.00 | Supply, installation, programming, testing and commissioning of following type Damper Actuating Motors suitable for operation at voltage 230 +/- 10 %,50 Hz input supply including integration with existing BMS System (Siemens Desigo CC ) Equivalent to SIEMENS GCA321.1E | 19.00 | Job |  | 21125.00 | 401375.00 | 18125.00 | 344375.00 | 13000.00 | 247000.00 | 12180.00 | 231420.00 | 231420.00 | Voltas Limited
20.00 | Supply, installation, programming, testing and commissioning of following type Damper Actuating Motors suitable for operation at DC voltage 24 input supply including integration with existing BMS System (Siemens Desigo CC) Equivalent to SIEMENS GBB161.1E | 7.00 | Job |  | 18125.00 | 126875.00 | 15515.00 | 108605.00 | 12500.00 | 87500.00 | 10680.00 | 74760.00 | 74760.00 | Voltas Limited
21.00 | Supply, installation, programming, testing and commissioning of following type temperature and RH sensor suitable for operation at voltage 24+/- 20 % 50 Hz input supply including integration with existing BMS System (Siemens Desigo CC ) Equivalent to Siemens QFM 2160 | 9.00 | Job |  | 11625.00 | 104625.00 | 16500.00 | 148500.00 | 9300.00 | 83700.00 | 8595.00 | 77355.00 | 77355.00 | Voltas Limited
22.00 | Replacement of Advance Make 450 TR ( A-73X2 - 2 shell type) Cooling Tower Fan Assembly, including Balancing of air flow and water flow as required. (2 Fans) | 1.00 | Job |  | 93750.00 | 93750.00 | 60000.00 | 60000.00 | 158000.00 | 158000.00 | 72720.00 | 72720.00 | 60000.00 | Supertech Engineers
23.00 | Replacement of Quick fill Piping for the Cooling Towers with 50MM CPVC Pipes as required | 40.00 | Meter |  | 150.00 | 6000.00 | 225.00 | 9000.00 | 450.00 | 18000.00 | 580.00 | 23200.00 | 6000.00 | Blue Star Limited
24.00 | Replacement of Quick fill / Float Piping Header for the Cooling Towers with 90MM CPVC Pipes as required | 200.00 | Meter |  | 160.00 | 32000.00 | 390.00 | 78000.00 | 1400.00 | 280000.00 | 1980.00 | 396000.00 | 32000.00 | Blue Star Limited
25.00 | Replacement of 50 mm Butterfly valves suitable for CPVC Pipes for the cooling Towers as required | 12.00 | Each |  | 2250.00 | 27000.00 | 3500.00 | 42000.00 | 1440.00 | 17280.00 | 2015.00 | 24180.00 | 17280.00 | STERLING AND WILSON PRIVATE LIMITED
26.00 | Replacement of existing Water Treatment plant with new water treatment system of capacity 4000 lph. including filter, softner with chemical dosing system as required with motor - pumpset, including all accessories, interconnecting piping, valves, all fittings etc. complete in all respects as required by the standard specifications.(With 1 No Main and 1 No Standby) | 1.00 | Job |  | 437500.00 | 437500.00 | 800000.00 | 800000.00 | 150000.00 | 150000.00 | 947825.00 | 947825.00 | 150000.00 | STERLING AND WILSON PRIVATE LIMITED
27.00 | Providing unskilled manpower for urgent maintenance works such as shifting materials, any sort of extra works not included in scope. | 100.00 | Days |  | 785.00 | 78500.00 | 900.00 | 90000.00 | 800.00 | 80000.00 | 1200.00 | 120000.00 | 78500.00 | Blue Star Limited
| Total in Figures |  |  |  |  | 23580137.00 |  | 19646128.00 |  | 18425768.00 |  | 22005020.00
Lowest Amount Quoted BY: STERLING AND WILSON PRIVATE LIMITED(18425768.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Annual CMC for Centralized HVAC System at Calicut Airport including Special Repair works Tender ID: 2024_AAI_183161_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | STERLING AND WILSON PRIVATE LIMITED | 18425768.00 | L1
| 2 | Supertech Engineers | 19646128.00 | L2
| 3 | Voltas Limited | 22005020.00 | L3
| 4 | Blue Star Limited | 23580137.00 | L4