## BoQ1
Government eProcurement System Created By: Benu Madhab Nayak Created Date/Time: 06-May-2024 02:06 PM Tender Title: Modification of Fire Fighting and Fire Alarm system at B.P.I Airport, Bhubaneswar. Tender ID: 2024_AAI_183901_1
Tender Inviting Authority: Sr. Manager (E-E)
Name of Work: Modification of Fire Fighting and Fire Alarm system at B.P.I Airport , Bhubaneswar.
Contract No: TENDER ID: 2024_AAI_183901_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | FIRESTOP SALES AND SERVICES (GSTN-21AADFF1504B1ZJ) BID ID -676423 |  | PARAMOUNT BUILDING SOLUTION (GSTN-07AAMFP7734N1ZH) BID ID -679636 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -680540 |  | RASS CONTRACTOR AND ENGINEERS (GSTN-09AFIPR1600N1Z7) BID ID -681642 |  | M/s.Mitra Contractors(GSTN-NA)--675388 |  | ILLUMECH ENGINEERING(GSTN-NA)--676640
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Pressure switches in MS pipe for Hydrant Electric pump/ Sprinkler Electric pump / Diesel Engine Driven Pump / Jockey Pumps, diaphragm type, adjustable range from 0-10 kg/sq.cm and a regulation range of 0.1 - 1.5 kg/sq.cm direct mounted SNAP acting type made from die cast aluminium with epoxy powder coated finish and SS316 diaphragm and other wetted parts, including necessary wiring up to control panel & other materials as required as per specifications (MAKE-DANFOSS) | 3.00 | Nos | 1893.75 | 3170.00 | 9510.00 | 2951.00 | 8853.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 15299.00 | 45897.00 | 4390.00 | 13170.00 | 8853.00 | PARAMOUNT BUILDING SOLUTION
2.00 | Providing, fixing, jointing and commissioning of following sizes of C- class heavy duty Mild Steel pipes conforming to IS-1239/ IS-3589, including cutting, welding, nut-bolts, gasket, fitting viz. bends, tees, reducers, crosses, flanges etc. and fixing the pipes on wall / ceiling / beam / floor with suitable MS clamps / structural supports/PCC block and painting complete as required and as per enclosed specification. Note:- (a) The Pipes of size 150 mm & below shall be M.S. ‘C’ class as per IS: 1239 and pipes of size above 150 mm shall be welded black steel pipe heavy class as per IS: 3589, minimum 6.35 mm thick M.S. Sheet for pipes upto 350 mm dia. and minimum 7mm thick MS sheet for pipes of 400 mm dia and above. (b) The rate shall include cost for dismantling of existiing fire pipes of various sizes i.e. 25mm to 250mm dia, transportation to AAI store.
3.00 | 250mm dia. | 10.00 | Mtr | 5050.00 | 6936.00 | 69360.00 | 5800.00 | 58000.00 | 5000.00 | 50000.00 | 4560.00 | 45600.00 | 6599.00 | 65990.00 | 6590.00 | 65900.00 | 45600.00 | RASS CONTRACTOR AND ENGINEERS
4.00 | 200mm dia. | 6.00 | Mtr | 4545.00 | 5722.00 | 34332.00 | 4800.00 | 28800.00 | 4000.00 | 24000.00 | 3450.00 | 20700.00 | 5599.00 | 33594.00 | 4990.00 | 29940.00 | 20700.00 | RASS CONTRACTOR AND ENGINEERS
5.00 | 150mm dia. | 435.00 | Mtr | 4040.00 | 4536.00 | 1973160.00 | 3386.00 | 1472910.00 | 3150.00 | 1370250.00 | 3150.00 | 1370250.00 | 4529.00 | 1970115.00 | 3298.00 | 1434630.00 | 1370250.00 | CENTRE TAP ENGINEERING, RASS CONTRACTOR AND ENGINEERS
6.00 | 100mm dia. | 80.00 | Mtr | 3030.00 | 2948.00 | 235840.00 | 2600.00 | 208000.00 | 2250.00 | 180000.00 | 2050.00 | 164000.00 | 3029.00 | 242320.00 | 2410.00 | 192800.00 | 164000.00 | RASS CONTRACTOR AND ENGINEERS
7.00 | 80mm dia. | 40.00 | Mtr | 2149.28 | 1632.00 | 65280.00 | 2400.00 | 96000.00 | 1800.00 | 72000.00 | 1650.00 | 66000.00 | 2529.00 | 101160.00 | 1898.00 | 75920.00 | 65280.00 | FIRESTOP SALES AND SERVICES
8.00 | 65mm dia. | 72.00 | Mtr | 1783.66 | 1512.00 | 108864.00 | 1200.00 | 86400.00 | 1350.00 | 97200.00 | 1150.00 | 82800.00 | 2029.00 | 146088.00 | 1439.00 | 103608.00 | 82800.00 | RASS CONTRACTOR AND ENGINEERS
9.00 | 50mm dia. | 60.00 | Mtr | 1376.63 | 1168.00 | 70080.00 | 1100.00 | 66000.00 | 1250.00 | 75000.00 | 975.00 | 58500.00 | 1529.00 | 91740.00 | 1450.00 | 87000.00 | 58500.00 | RASS CONTRACTOR AND ENGINEERS
10.00 | 40mm dia. | 60.00 | Mtr | 1013.03 | 950.00 | 57000.00 | 1050.00 | 63000.00 | 1100.00 | 66000.00 | 745.00 | 44700.00 | 1019.00 | 61140.00 | 890.00 | 53400.00 | 44700.00 | RASS CONTRACTOR AND ENGINEERS
11.00 | 32mm dia. | 50.00 | Mtr | 865.57 | 850.00 | 42500.00 | 1000.00 | 50000.00 | 900.00 | 45000.00 | 715.00 | 35750.00 | 789.00 | 39450.00 | 780.00 | 39000.00 | 35750.00 | RASS CONTRACTOR AND ENGINEERS
12.00 | 25mm dia. | 120.00 | Mtr | 695.89 | 618.00 | 74160.00 | 950.00 | 114000.00 | 750.00 | 90000.00 | 635.00 | 76200.00 | 659.00 | 79080.00 | 650.00 | 78000.00 | 74160.00 | FIRESTOP SALES AND SERVICES
13.00 | Providing, fixing, testing and commissioning of following sizes of butterfly valve of rating PN 16, wafer type, in cast iron body with Ductile Iron disc, EPDM seal, SS single piece shaft, conforming to IS-13095 of the following sizes complete with cast iron hand lever companion flanges, bolts, nuts, washers & inserted rubber gaskets & as per technical specification and complete as required as per site i/c dismantling of faulty valves if any as per instruction by E-I-C.
14.00 | 150mm dia. | 15.00 | Nos | 7827.50 | 7890.00 | 118350.00 | 7800.00 | 117000.00 | 15000.00 | 225000.00 | 9500.00 | 142500.00 | 15459.00 | 231885.00 | 15489.00 | 232335.00 | 117000.00 | PARAMOUNT BUILDING SOLUTION
15.00 | 100mm dia. | 4.00 | Nos | 7272.00 | 5330.00 | 21320.00 | 7600.00 | 30400.00 | 10000.00 | 40000.00 | 7490.00 | 29960.00 | 10459.00 | 41836.00 | 12980.00 | 51920.00 | 21320.00 | FIRESTOP SALES AND SERVICES
16.00 | 80mm dia. | 6.00 | Nos | 5504.50 | 4680.00 | 28080.00 | 6200.00 | 37200.00 | 8000.00 | 48000.00 | 6400.00 | 38400.00 | 6459.00 | 38754.00 | 9890.00 | 59340.00 | 28080.00 | FIRESTOP SALES AND SERVICES
17.00 | Providing and fixing following size Pressure gauge (0-15 Kg/Cm2) complete with shut off valve duly calibrated before installation complete as required as per instruction by E-I-C. | 3.00 | Nos | 2525.00 | 1580.00 | 4740.00 | 1800.00 | 5400.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 2549.00 | 7647.00 | 2980.00 | 8940.00 | 4740.00 | FIRESTOP SALES AND SERVICES
18.00 | Providing and fixing reinforced neoprene rubber vibration eliminators/expansion joints (to provide relief from stresses at pipe flanges) suitable for upto 20 kg/cm2 pressure, complete as per specification.
19.00 | 200mm dia. | 2.00 | Nos | 10857.50 | 1860.00 | 3720.00 | 20300.00 | 40600.00 | 16000.00 | 32000.00 | 12430.00 | 24860.00 | 42589.00 | 85178.00 | 25490.00 | 50980.00 | 3720.00 | FIRESTOP SALES AND SERVICES
20.00 | 150mm dia. | 2.00 | Nos | 9595.00 | 1460.00 | 2920.00 | 17300.00 | 34600.00 | 12000.00 | 24000.00 | 9500.00 | 19000.00 | 21459.00 | 42918.00 | 19890.00 | 39780.00 | 2920.00 | FIRESTOP SALES AND SERVICES
21.00 | 100mm dia. | 1.00 | Nos | 8080.00 | 1260.00 | 1260.00 | 10537.00 | 10537.00 | 10000.00 | 10000.00 | 7900.00 | 7900.00 | 14259.00 | 14259.00 | 15490.00 | 15490.00 | 1260.00 | FIRESTOP SALES AND SERVICES
22.00 | Providing & fixing of 15 mm dia. sprinkler head with standard response Quartzoid Bulb operate at 68 degree C complete with all accessories as required and as per enclosed specification (UL Listed) Upright type in chrome finish (Standard Coverage). | 45.00 | Nos | 535.30 | 442.00 | 19890.00 | 750.00 | 33750.00 | 400.00 | 18000.00 | 320.00 | 14400.00 | 429.00 | 19305.00 | 670.00 | 30150.00 | 14400.00 | RASS CONTRACTOR AND ENGINEERS
23.00 | Providing & fixing of 15 mm dia. sprinkler head with standard response Quartzoid Bulb operate at 68 degree C complete with all accessories as required and as per enclosed specification (UL Listed) Side Wall Type with base plate in powder coat finish of approved shade as specified (Standard Coverage). | 10.00 | Nos | 682.19 | 1260.00 | 12600.00 | 1050.00 | 10500.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 429.00 | 4290.00 | 980.00 | 9800.00 | 4000.00 | CENTRE TAP ENGINEERING
24.00 | Supply of UL/EN listed (latest version) intelligent addressable Multisensor detector {Smoke + heat } with inbuilt fault isolator / isolator base with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed under/ above false ceiling roof and concealed space and as per enclosed specifications. (Cost of plug in common base shall deemed to be included in cost of detectors).
25.00 | Heat detector , Make-johnson controls , Model No: 5951HJ | 20.00 | Nos | 9997.99 | 4680.00 | 93600.00 | 3800.00 | 76000.00 | 10000.00 | 200000.00 | 3550.00 | 71000.00 | 3059.00 | 61180.00 | 7800.00 | 156000.00 | 61180.00 | M/s.Mitra Contractors
26.00 | Smoke detector , Make-johnson controls , Model No: 2951J | 35.00 | Nos | 10857.50 | 4680.00 | 163800.00 | 4400.00 | 154000.00 | 10000.00 | 350000.00 | 3350.00 | 117250.00 | 3019.00 | 105665.00 | 8790.00 | 307650.00 | 105665.00 | M/s.Mitra Contractors
27.00 | Smoke detector , Make-Fire Lite Alarms by Honeywell , Model No: SD355 | 20.00 | Nos | 6060.00 | 4440.00 | 88800.00 | 2800.00 | 56000.00 | 2000.00 | 40000.00 | 3000.00 | 60000.00 | 4509.00 | 90180.00 | 8788.00 | 175760.00 | 40000.00 | CENTRE TAP ENGINEERING
28.00 | Supply of UL/ EN Listed (latest version) intelligent addressable Manual Pull station (not break glass type suitable for semi flush mounting with inbuilt fault isolator with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or poly carbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. (Make-Johnson controls), Model no-JBG-12LX. | 5.00 | Nos | 20200.00 | 4840.00 | 24200.00 | 6900.00 | 34500.00 | 20000.00 | 100000.00 | 4500.00 | 22500.00 | 4529.00 | 22645.00 | 9890.00 | 49450.00 | 22500.00 | RASS CONTRACTOR AND ENGINEERS
29.00 | Dismantling and re-installation of existing HVAC ducts of various sizes at basement of Terminal Building T-1 in good condition complete as required as per instruction of E-I-C. | 150.00 | Mtr | 1969.50 | 4260.00 | 639000.00 | 2611.00 | 391650.00 | 1000.00 | 150000.00 | 200.00 | 30000.00 | 899.00 | 134850.00 | 650.00 | 97500.00 | 30000.00 | RASS CONTRACTOR AND ENGINEERS
| Total in Figures |  |  |  |  | 3962366.00 |  | 3284100.00 |  | 3334450.00 |  | 2566770.00 |  | 3777166.00 |  | 3458463.00
Lowest Amount Quoted BY: RASS CONTRACTOR AND ENGINEERS(2566770.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Fire Fighting and Fire Alarm system at B.P.I Airport, Bhubaneswar. Tender ID: 2024_AAI_183901_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RASS CONTRACTOR AND ENGINEERS | 2566770.00 | L1
| 2 | PARAMOUNT BUILDING SOLUTION | 3284100.00 | L2
| 3 | CENTRE TAP ENGINEERING | 3334450.00 | L3
| 4 | ILLUMECH ENGINEERING | 3458463.00 | L4
| 5 | M/s.Mitra Contractors | 3777166.00 | L5
| 6 | FIRESTOP SALES AND SERVICES | 3962366.00 | L6