## BoQ1
Government eProcurement System Created By: Jithi S Hari Created Date/Time: 27-Mar-2024 04:18 PM Tender Title: Modification of RED office and Conference Hall at operational office building RHQ/SR, Chennai. SH Civil and Electrical Works Tender ID: 2024_AAI_183907_1
Tender Inviting Authority: SM (Engg-Civil),Operational Office Complex, RHQ-SR, Chennai 600 016.
Name of Work: “Modification of RED office and Conference Hall at operational office building RHQ/SR, Chennai. SH: Civil & Electrical Works. ”
Contract No: 2024_AAI_ 183907_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -674121
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling aluminium/ Gypsum partitions/ACP cladding/ work station, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 730.00 | Sqm |  | 150.00 | 109500.00 | 109500.00 | Intex Space Solutions Private Limited
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of nserviceable material within 50 metres lead as per direction of Engineer-in-charge.-In cement mortar | 1.00 | cum |  | 2060.00 | 2060.00 | 2060.00 | Intex Space Solutions Private Limited
3.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 6.00 | Sqm |  | 266.00 | 1596.00 | 1596.00 | Intex Space Solutions Private Limited
4.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 1.00 | Each |  | 500.00 | 500.00 | 500.00 | Intex Space Solutions Private Limited
5.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.00 | Cum |  | 2800.00 | 2800.00 | 2800.00 | Intex Space Solutions Private Limited
6.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 40.00 | sqm |  | 150.00 | 6000.00 | 6000.00 | Intex Space Solutions Private Limited
7.00 | Dismantling of flushing cistern/EWC/ Wash basin of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 3.00 | Each |  | 500.00 | 1500.00 | 1500.00 | Intex Space Solutions Private Limited
8.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 2.00 | cum |  | 2450.00 | 4900.00 | 4900.00 | Intex Space Solutions Private Limited
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 50 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | cum |  | 9200.00 | 184000.00 | 184000.00 | Intex Space Solutions Private Limited
10.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 30.00 | sqm |  | 950.00 | 28500.00 | 28500.00 | Intex Space Solutions Private Limited
11.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 125.00 | Sqm |  | 400.00 | 50000.00 | 50000.00 | Intex Space Solutions Private Limited
12.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix :1:6 (1 cement: 6 fine sand) | 125.00 | Sqm |  | 480.00 | 60000.00 | 60000.00 | Intex Space Solutions Private Limited
13.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.00 | cum |  | 9000.00 | 18000.00 | 18000.00 | Intex Space Solutions Private Limited
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 13.00 | Sqm |  | 584.00 | 7592.00 | 7592.00 | Intex Space Solutions Private Limited
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 2.00 | Sqm |  | 735.00 | 1470.00 | 1470.00 | Intex Space Solutions Private Limited
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 200.00 | kg |  | 85.50 | 17100.00 | 17100.00 | Intex Space Solutions Private Limited
17.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone slab colour black, Cherry/Ruby red -Area of slab over 0.50 sqm | 2.00 | Sqm |  | 4000.00 | 8000.00 | 8000.00 | Intex Space Solutions Private Limited
18.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete | 690.00 | Sqm |  | 120.00 | 82800.00 | 82800.00 | Intex Space Solutions Private Limited
19.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour Two coats | 530.00 | Sqm |  | 110.00 | 58300.00 | 58300.00 | Intex Space Solutions Private Limited
20.00 | Supply and fixing frame work for partitions/ wall lining etc. made of Aluminium Square pipe 50x 50 x1.25mm and other section of approved make conforming to IS : 733 and IS : 1283 and shall be smooth, rust free, straight, mitred and jointed mechanically wherever required placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, cable conduits, switch boards etc., all as per direction of Engineer-in-charge | 870.00 | kg |  | 350.00 | 304500.00 | 304500.00 | Intex Space Solutions Private Limited
21.00 | Providing and fixing framework for double skin partition consisting of G.I. frame, made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and top/ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws as per manufacture's specification and direction of engineer in charge all complete. | 17.00 | Sqm |  | 1220.00 | 20740.00 | 20740.00 | Intex Space Solutions Private Limited
22.00 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden / steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately). -12mm thick commercial ply conforming to IS : 1328 BWR type | 420.00 | sqm |  | 1200.00 | 504000.00 | 504000.00 | Intex Space Solutions Private Limited
23.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. - 1.0mm thick | 350.00 | sqm |  | 900.00 | 315000.00 | 315000.00 | Intex Space Solutions Private Limited
24.00 | Providing and fixing of 6 mm Lacquered glass of approved colour and size, etc to wall/ ACP/wood or engineered wood panel including accessories and surface preparation all complete as per the directions of Engineer In Charge | 3.00 | sqm |  | 4090.00 | 12270.00 | 12270.00 | Intex Space Solutions Private Limited
25.00 | Providing and fixing 12mm thick clear toughened glass frameless fixed partition with necessary Corner Connecter, Side Connecter, Silicon sealent, Masking Tape Other Accessories including Installation etc of approved make, size and design , all complete as per the directions of Engineer In Charge | 6.00 | sqm |  | 5900.00 | 35400.00 | 35400.00 | Intex Space Solutions Private Limited
26.00 | Providing and fixing 12mm thick clear toughened 5' glass partition of approved make, size and design fixed to floor with with SS 304 grade square tube /channel frame work including all accessories,screws, etc., all complete as per the directions of Engineer In Charge | 22.00 | sqm |  | 5900.00 | 129800.00 | 129800.00 | Intex Space Solutions Private Limited
27.00 | Providing and fixing single leaf 12mm toughened glazed door of size 1.0x2 m with Dorma accessories BTS-80 floor spring of size 1540mm x 2800mm including fixing of TGDI H type handle (25mm x 450mm, C/C 350mm) Grade 304, PT 40 Overpanel sidelight patch, PT 20, PT 10 patch fittings , corner lock including materials, installations etc. etc., all complete as per the directions of Engineer In Charge | 1.00 | Each |  | 31800.00 | 31800.00 | 31800.00 | Intex Space Solutions Private Limited
28.00 | Providing and fixing plywood 4 mm thick, one side decorative veneer conforming to IS: 1328 (type-1), for plain lining / cladding with necessary screws, including priming coat on unexposed surface with : Decorative veneer facings of approved manufacture | 30.00 | Sqm |  | 1350.00 | 40500.00 | 40500.00 | Intex Space Solutions Private Limited
29.00 | Polishing in high gloss/matt finish melamine clear polish on wood work in required color/wooden shade texture with following process in the sequence as detailed below: 1. The surface to be polished is rubbed with sand paper 80/120 no. and then with sand paper of 160/180 nos. 2. Applying two coats of sealer with spray gun and allowing sufficient drying time for 1st coat and 2nd coat is allowed to dry for 8 to 12 hrs. 3. On drying of sealer coat, wet rubbing with emery cloth of finer grading with ample water to remove excess sealer layer and make the surface further smooth after this wet rubbing, then surface is applied with special grade melamine fillers to fill all the small and big holes/grooves etc. Filler coat to be allowed to dry for 4 to 6 hrs on which again a light wet rubbing is done this surface is further allowed to dry for 12 hrs. 4. On this, 1st coat of melamine polish is applied with spray gun using melamine clear polish and melamine thinner in required proportion. This 1st coat is allowed to dry for 24 hrs then this dry surface is again fine wet rubbed smooth, which is further allowed to dry for 12 hrs. The final melamine polish is applied with compressor pressure spray gun using melamine clear polish and melamine thinner mixed in required proportion complete as per direction of Engineer-in-Charge. (Final coat to be done in 1 or 2 layers without gap of time.) | 30.00 | Sqm |  | 1955.00 | 58650.00 | 58650.00 | Intex Space Solutions Private Limited
30.00 | Providing and fixing Pre -laminated medium density fibre board exterior grade (Grade-I) IS:14587:1998 marked, to false ceiling, wall panelling etc frame, backing or studding with screws etc. complete ( Frames, backing or studding to be paid separately). Pre-laminated with decorative lamination on both side exterior Grade - I MDF Board 12 mm thick confirming to IS:14587 | 160.00 | Sqm |  | 1090.00 | 174400.00 | 174400.00 | Intex Space Solutions Private Limited
31.00 | Providing and fixing false ceiling at all height including sunk/ raised surface and providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with ecommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 410.00 | sqm |  | 1500.00 | 615000.00 | 615000.00 | Intex Space Solutions Private Limited
32.00 | Extra for providing and fixing ceiling to curved surfaces in narrow widths | 30.00 | Sqm |  | 818.00 | 24540.00 | 24540.00 | Intex Space Solutions Private Limited
33.00 | Providing and installation of 50mmx100mmx0.6mm LUXALON "U" baffle open ceiling system of Hunter doughlas make of approved solid colour and pattern. U baffles is powder coated under roll form enamelled corrosion resistant AA3105 aluminium alloy for higher strength and good forming characteristics, All accessories included, etc., complete as per the directions of Engineer In Charge. | 30.00 | Sqm |  | 4090.00 | 122700.00 | 122700.00 | Intex Space Solutions Private Limited
34.00 | Providing and laying double charged Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. double charged Glazed vitrified floor tiles glossy finish of size Size of Tile 800 x 1200 mm | 500.00 | Sqm |  | 1800.00 | 900000.00 | 900000.00 | Intex Space Solutions Private Limited
35.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 500.00 | Sqm |  | 600.00 | -300000.00 | -300000.00 | Intex Space Solutions Private Limited
36.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness | 490.00 | Sqm |  | 650.00 | 318500.00 | 318500.00 | Intex Space Solutions Private Limited
37.00 | Providing and laying vitrified mat/antiskid floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete Size of Tile 600x600 mm | 10.00 | Sqm |  | 1332.00 | 13320.00 | 13320.00 | Intex Space Solutions Private Limited
38.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete..Size of Tile 600x600 mm | 30.00 | Sqm |  | 1476.00 | 44280.00 | 44280.00 | Intex Space Solutions Private Limited
39.00 | Providing and fixing factory made uPVC white colour casement/casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of pproved quality, all complete as per approved drawing & direction of Engineer-in-Charge Rate inclusive of 6.00 mm float glass panes andapplication of silicon sealant Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerancein dimension i.e. in depth & width of profile shall be acceptable.Casement cum fixed panel window having both end single casement panel, middle fixed panels and at top completely fixed ventilator with S.S friction hinges (350 x 19 x 1.9) made of (big series) frame 67 x 60 mm , sash 67 x 80 mm & mullion 67 x 80 mm all having wall thickness of 2.3 ± 0.2 mm and single glazing bead/double glazing bead of appropriate dimension. (Area of window above 3.00 sqm upto 6.50 sqm). | 25.00 | Sqm |  | 6365.00 | 159125.00 | 159125.00 | Intex Space Solutions Private Limited
40.00 | Providing and fixing factory made uPVC white colour fixed glazed windows/ ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), , uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (The payment includes Single frosted louver glass 5.00 mm thick panes with exhaust provision and silicon sealant Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) | 1.00 | Sqm |  | 5910.00 | 5910.00 | 5910.00 | Intex Space Solutions Private Limited
41.00 | Providing and fixing WPC jally of size 8'x4' including designing and CNC cutting including accessories and surface preparation all complete as per the directions of Engineer In Charge | 6.00 | Sqm |  | 5455.00 | 32730.00 | 32730.00 | Intex Space Solutions Private Limited
42.00 | Providing and fixing wooden moulded beading to door / window/walls frames with iron screws, plugs and priming coat on unexposed surface etc. complete : 2nd class teak wood-50 x 20 mm | 30.00 | Metre |  | 247.00 | 7410.00 | 7410.00 | Intex Space Solutions Private Limited
43.00 | Providing laminated veneer lumber conforming to IS:14616 and TAD -15: 2001 (Part B) in factory made frames of doors, windows, clerestory windows and other frames, rought framed and fixing in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | .35 | cum |  | 109090.00 | 38181.50 | 38181.50 | Intex Space Solutions Private Limited
44.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type laminted , core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 11.00 | Sqm |  | 4000.00 | 44000.00 | 44000.00 | Intex Space Solutions Private Limited
45.00 | Providing and fixing factory made laminated veneer lumber glazed shutter conforming to IS: 14616 and TADS 15:2001 (Part B), using 6 mm thick toughened glass panes for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, all as per directions of Engineer-in-charge (Note:- Butt hinges and necessary screws shall be paid separately) 30 mm thick shutters | 7.00 | Sqm |  | 8636.00 | 60452.00 | 60452.00 | Intex Space Solutions Private Limited
46.00 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | 7.00 | Sqm |  | 455.00 | 3185.00 | 3185.00 | Intex Space Solutions Private Limited
47.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. -20 mm nominal dia Pipes | 15.00 | Metre |  | 385.00 | 5775.00 | 5775.00 | Intex Space Solutions Private Limited
48.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. -25 mm nominal dia Pipes | 15.00 | Metre |  | 402.00 | 6030.00 | 6030.00 | Intex Space Solutions Private Limited
49.00 | Providing and fixing 100mm width roller venetian blinds of D'décor brand of approved colour and design with aluminium top rail etc all complete and as per the directions of Engineer-in-charge | 25.00 | Sqm |  | 2100.00 | 52500.00 | 52500.00 | Intex Space Solutions Private Limited
50.00 | Providing and fixing Jaquar JDSWHT-25907N counter Top Basin, Size: THIN RIM TABLE TOP BASIN SIZE:530X420X 140 MM SHAPE -RECTANGULA R white wash basin with connection tube all accessories etc complete as per the direction of Engineer-in-charge. | 1.00 | Each |  | 22000.00 | 22000.00 | 22000.00 | Intex Space Solutions Private Limited
51.00 | Providing and fixing Jaguar closet wall hungFLSWHT-5353PPZ RIMLESS BOWL WITH CISTERN FOR EXTENDED WALL HUNG WC WITH PP SOFT CLOSE SEAT COVER HINGES DUAL FLUSH CISTERN FITTING ACCESSORIES SET SIZE: 380X650X730 MM with all accessories as per the direction of Engineer-in-charge. | 1.00 | Each |  | 25000.00 | 25000.00 | 25000.00 | Intex Space Solutions Private Limited
52.00 | Providing and fixing Bottle Trap Jaquar ALDCHR-769L300X190 Bottle Trap 32mm Size with 300mm & 190mm Long Wall Connection Pipes & Wall Flange of approved quality & make and as per the direction of Engineer-in-charge | 2.00 | Each |  | 3000.00 | 6000.00 | 6000.00 | Intex Space Solutions Private Limited
53.00 | Providing and fixing JaquarWall Hung wash Basin CNS-WHT-813Size: Size: 420x420x155 white wash basin with all accessories etc complete as per the direction of Engineer-in-charge. | 1.00 | Each |  | 2800.00 | 2800.00 | 2800.00 | Intex Space Solutions Private Limited
54.00 | Providing and fixing pillar cock Jaquar KUPCHR-35001PM P of approved quality & make and as per the direction of Engineer-in-charge | 2.00 | Each |  | 2100.00 | 4200.00 | 4200.00 | Intex Space Solutions Private Limited
55.00 | Providing and fixing Two Way Bib Cock with Wall Flange Jaquar KUPCHR-35041PM of approved quality & make and as per the direction of Engineer-in-charge | 1.00 | Each |  | 2850.00 | 2850.00 | 2850.00 | Intex Space Solutions Private Limited
56.00 | Providing and fixing Hand Shower (Health Faucet) with 8mm Dia, 1.2 Meter Long Flexible Tube & Wall Hook Jaquar ALD-573 of approved quality & make and as per the irection of Engineer-in-charge | 1.00 | Each |  | 2100.00 | 2100.00 | 2100.00 | Intex Space Solutions Private Limited
57.00 | Providing and fixing Single Towel Rail 450mm Long Jaquar 1111BSM or equivalent of approved quality & make and as per the direction of Engineer-in-charge | 1.00 | Each |  | 1800.00 | 1800.00 | 1800.00 | Intex Space Solutions Private Limited
58.00 | Providing and fixing Soap Dish Holder Jaquar ACN-1131 N or approved make of approved quality & make and as per the irection of Engineer-in-charge | 1.00 | Each |  | 1500.00 | 1500.00 | 1500.00 | Intex Space Solutions Private Limited
59.00 | Providing and fixing Double Coat Hook Jaquar ACN- CHR-1161N or approved make of approved quality & make and as per the irection of Engineer-in-charge | 2.00 | Each |  | 1200.00 | 2400.00 | 2400.00 | Intex Space Solutions Private Limited
60.00 | Providing and fixing Soap Dispenser with Glass Bottle Jaquar ACN-1135N of approved quality & make and as per the irection of Engineer-in-charge | 2.00 | Each |  | 1200.00 | 2400.00 | 2400.00 | Intex Space Solutions Private Limited
61.00 | Providing and fixing Towel Ring Square with Round Flange Jaquar ACNCHR-1121N of approved quality & make and as per the irection of Engineer-in-charge | 1.00 | Each |  | 1100.00 | 1100.00 | 1100.00 | Intex Space Solutions Private Limited
62.00 | Providing and fixingToilet Roll Holder Jaquar ACN-1151N of approved quality & make and as per the irection of Engineer-in-charge | 1.00 | Each |  | 950.00 | 950.00 | 950.00 | Intex Space Solutions Private Limited
63.00 | Providing and fixing Angular Cock with Wall Flange Jaquar KUPCHR-35053PM of approved quality & make and as per the irection of Engineer-in-charge | 5.00 | Each |  | 1850.00 | 9250.00 | 9250.00 | Intex Space Solutions Private Limited
64.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with aluminum moulded frame of approved make and shade with 6 mm thick ard board backing : Rectangular shape 1500x450 mm | 1.00 | Each |  | 15000.00 | 15000.00 | 15000.00 | Intex Space Solutions Private Limited
65.00 | Providing and fixing 1' ht lettering by using SS on flush door/partition wall with all accessories etc complete as per the direction of Engineer-in-charge.(payment will be done on each letter | 25.00 | Each |  | 850.00 | 21250.00 | 21250.00 | Intex Space Solutions Private Limited
66.00 | Providing and fixing AAI brass logo within the area of 1.2 m x 0.70m etc. complete as per the direction of Engineer- In- Charge. | 1.00 | Each |  | 25000.00 | 25000.00 | 25000.00 | Intex Space Solutions Private Limited
67.00 | Providing and fixing 3 M frost film in required patterns fixed on glass/polycarbonate/ACP surface, etc., complete as per the directions of Engineer In Charge | 30.00 | Sqm |  | 1200.00 | 36000.00 | 36000.00 | Intex Space Solutions Private Limited
68.00 | Providing and fixing Sticker UV Print with Mat Lamination Pasting on wood panel /ACP/ wall in required patterns etc., complete as per the directions of Engineer In Charge | 25.00 | Sqm |  | 1200.00 | 30000.00 | 30000.00 | Intex Space Solutions Private Limited
69.00 | Supply of 4 TR Inverter type 5 star cassette Airconditioner consisting of non-ductable single type four way / round type flow indoor unit (fan coil) with suitable pump to drain water, cordless remote control and one number outdoor copper condensing unit with hermetically sealed scroll / swing type compressor suitable for operation on 3 - phase/ 1 - Phase, 415 volts/230 volts +10%, 50 HZ, AC power supply including first charge of refrigent R32/R410a etc complete as required. (Year of manufacture shall be with in one year and Star rating shall be the latest at the time of supply) | 6.00 | Each |  | 115000.00 | 690000.00 | 690000.00 | Intex Space Solutions Private Limited
70.00 | Supply and Fixing of following for interconnections between evaporator unit and condensing unit , as required for minimum 4 TR inverter cassette type AC Units. 1) 5/8" dia copper pipe insulated with insulation or as per OEM specification. 2) 3/8" copper pipe insulated with insulation or as per OEM specification. 3) communication and power cable if any or as per OEM specifications. 4) Rigid PVC pipe / PVC Trunking upto possible length and wrapped with white cotton roll of suitable size for covering all above in (1), (2) and (3) above. | 75.00 | Metre |  | 1750.00 | 131250.00 | 131250.00 | Intex Space Solutions Private Limited
71.00 | Installation,Testing and Commissioning of 4 TR capacity casette type AC indoor and outdoor unit including all accessories etc. as per specifications complete as required | 6.00 | Each |  | 9000.00 | 54000.00 | 54000.00 | Intex Space Solutions Private Limited
72.00 | Supplying & laying of condensate water drain pipe made of uPVC having size of 25mm 6kg/cm capacity, for additional requirement for AC units i/c necessary clamps, screws, supports, etc as per specifications complete as required | 60.00 | Metre |  | 300.00 | 18000.00 | 18000.00 | Intex Space Solutions Private Limited
73.00 | Supplying & laying of condensate water drain pipe made of uPVC having size of 40mm 6kg/cm capacity, for additional requirement for AC units i/c necessary clamps, screws, supports, etc as per specifications complete as required | 30.00 | Metre |  | 400.00 | 12000.00 | 12000.00 | Intex Space Solutions Private Limited
74.00 | Supply of (50x25x5 mm)size MS C-channel stand with painting for 4TR outdoor unit etc as required. | 6.00 | Each |  | 4500.00 | 27000.00 | 27000.00 | Intex Space Solutions Private Limited
75.00 | Supplying and fixing 25 A to 32 A, "C" curve, 4 pole, MCB in polycarbonate made 4.5 module DB of size 126mm X 228mm X 111mm enclosure, on surface complete etc. as required (Enclosure make: Hensel or equivalent ; MCB as per list of preferred makes). | 6.00 | Each |  | 6000.00 | 36000.00 | 36000.00 | Intex Space Solutions Private Limited
76.00 | Supply of LED luminaire of 32mm width & 1200mm Length with system power [30W ± 5%] , Cool White color temperature ( 5700 ± 275K) , made of extruded Aluminium housing, uniquely designed PDC Aluminium endcaps powder coated Corrosion Resistant Nano coating technology with flat UV stabilized PS Diffuser, lumen output >3000 Lm & System efficacy of ≥ 110 LPW, CRI ≥ 80, IP20 Protection, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 . IES, LM 79, LM 80, & TTC certificates to be provided from a NABL accredited lab. Necessary Certification: CE Certified, ROHS compliant, BIS certified, High efficiency digital addressable control electronic driver with rated voltage of 140-270V, power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection , over voltage & Short circuit protection with maintenance-friendly driver with easy access to driver from top of the Luminaire etc.,complete as required. (Make & Model:LT Make DUO MAX PENDANT or equivalent). | 6.00 | Each |  | 8500.00 | 51000.00 | 51000.00 | Intex Space Solutions Private Limited
77.00 | Supply of recess mounted LED Deep Recessed Downlight Luminaire with System power (24W ± 5%) , Cool White color temperature (5700K ± 350K), made of a single piece Pressure die cast aluminium (PDC) housing for rapid thermal healing & Powder coated by Corrosion resistant Nano coating technology, curved deep diffused cover to have a uniform light distribution, lumen output ≥ 2400 Lm & system efficacy of ≥ 100 LPW , CRI ≥ 80, Luminaire cut-out Dia of 130mm and outer trim Dia of 150mm, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates will be provided from NABL accredited lab. High efficiency digital addressable control electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (Make & Model:LT Make MINIQUE or equivalent). | 31.00 | Each |  | 3200.00 | 99200.00 | 99200.00 | Intex Space Solutions Private Limited
78.00 | Supply of recess mounted LED Deep Recessed Downlight Luminaire with System power (24W ± 5%) , Cool White color temperature (5700K ± 350K), made of a single piece Pressure die cast aluminium (PDC) housing for rapid thermal healing & Powder coated by Corrosion resistant Nano coating technology, curved deep diffused cover to have a uniform light distribution, lumen output ≥ 2400 Lm & system efficacy of ≥ 100 LPW , CRI ≥ 80, Luminaire cut-out Dia of 130mm and outer trim Dia of 150mm, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates will be provided from NABL accredited lab. High efficiency electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (Make & Model:LT Make MINIQUE or equivalent). | 61.00 | Each |  | 1800.00 | 109800.00 | 109800.00 | Intex Space Solutions Private Limited
79.00 | Supply of Surface mounted LED Downlight Luminaire with System power [18W ± 5%] , Cool White color temperature (5700K ± 355K), made of a single piece Pressure die cast aluminium (PDC) housing for rapid thermal healing & Powder coated by Corrosion resistant Nano coating technology with a Injection molded UV Stabilized PC diffuser profiled to have a uniform distribution, lumen output ≥1500 Lm & system efficacy of ≥ 85 LPW , CRI ≥ 80, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates to be provided from NABL accredited lab, High efficiency electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (Make & Model:LT Make Pupil or equivalent). | 5.00 | Each |  | 2400.00 | 12000.00 | 12000.00 | Intex Space Solutions Private Limited
80.00 | Supply of SUSPENDED MOUNTED LUMINAIRE of 24W LED, 30mm width & 1200mm Length with system power [24W ± 5%] , Neutral White color temperature (5700K ± 355K) , made of extruded Aluminium housing , Powder coated Corrosion Resistant Nano coating technology with extruded PC Diffuser. lumen output ≥ 3300 Lm & system efficacy of ≥ 130 LPW , CRI ≥ 80, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates to be provided from NABL accredited lab, High efficiency electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (Make & Model: LT Make Wand BE or equivalent). | 16.00 | Each |  | 3500.00 | 56000.00 | 56000.00 | Intex Space Solutions Private Limited
81.00 | Supply of pendant LED Downlight Luminaire with System power [24W ± 5%] , Cool White color temperature (5700K ± 355K), made of Pressure die cast Aluminium (PDC) housing for rapid thermal healing & Powder coated by Corrosion resistant Nano coating technology, Prismatic diffuser to have a uniform Glarefree light distribution, lumen output ≥ 2000 Lm & system efficacy of ≥ 90 LPW , CRI ≥ 80, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates will be provided from NABL accredited lab. High efficiency electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (Make & Model: LT Make CRESS PENDANT or equivalent). | 4.00 | Each |  | 2400.00 | 9600.00 | 9600.00 | Intex Space Solutions Private Limited
82.00 | Supply of recess mounted focus LED tiltable & retractable wallwash downlight Luminaire with System power [6W ± 5%] , color temperature of 5000K ±283K/ 4000K ± 275K/ 3000K ± 175K , made of pressure die cast aluminium (PDC) housing for rapid thermal healing & powder coated by corrosion resistant nano coating technology, fixture shall be provided with anodized aluminium precise reflector optics with 15˚ or 24˚ degrees beam angle, swivel from -12˚ to 60˚, 350˚ rotation with respect to ceiling, transparent acralyic diffuser, lumen output ≥ 600 Lm & system efficacy of ≥ 100 LPW , CRI ≥ 80, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates will be provided from NABL accredited lab. High efficiency electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (any one colour temperature and beam angle shall be chosen at the time of supply as per site conditions) (Make: LT, Model: Revolve or equivalent). | 10.00 | Each |  | 2500.00 | 25000.00 | 25000.00 | Intex Space Solutions Private Limited
83.00 | Supply of focus LED adjustable tracklight luminaire with System power [20W ± 5%] , color temperature of 5000K ±283K/ 4000K ± 275K/ 3000K ± 175K , made of pressure die cast aluminium (PDC) housing for rapid thermal healing & powder coated by corrosion resistant nano coating technology, luminaire with upto 90˚ tilt from the verticle and upto 360˚ from horizontal plane , anodized aluminium precise reflector optics with beam angle 24˚ or 40˚, transparant acrylic diffuser, lumen output ≥ 1900 Lm & system efficacy of ≥ 100 LPW , CRI ≥ 80, LED life of 50000 burning hrs & Lumen maintenance as per L70 with standard warranty of 5 Years compliance to IEC 60598, IS 10322-5, IS 161-03/05/06/07, Surge : IEC 61000-4-5, EMC : EN 55015 IES, LM 79, LM 80, & TTC certificates will be provided from NABL accredited lab. High efficiency electronic driver with rated voltage of 140-270V, Power factor > 0.95 and THD < 5%, Inbuilt surge protection of 3 KV & additional SPD with 6KV protection, Over voltage & Short circuit protection, maintenance-friendly with easy access to driver from top of the Luminaire, CE certified, ROHS compliant and BIS etc.,complete as required. (any one colour temperature and beam angle shall be chosen at the time of supply as per site conditions) (Make: LT, Model: Syphon V2 or equivalent). | 10.00 | Each |  | 2400.00 | 24000.00 | 24000.00 | Intex Space Solutions Private Limited
84.00 | Supply of aluminium track for fixing track lights on surface etc., complete as required. | 10.00 | Metre |  | 2500.00 | 25000.00 | 25000.00 | Intex Space Solutions Private Limited
85.00 | Installation, testing and commissioning of pre-wired LED fittings of all types, complete with all accessories and tube etc., directly on ceiling/wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc., as required | 143.00 | Each |  | 500.00 | 71500.00 | 71500.00 | Intex Space Solutions Private Limited
86.00 | Design and SITC of lighting interface control system for controlling digital addressable operated light fixtures with remote control of various modes of operations etc complete as required. | 1.00 | Job |  | 65000.00 | 65000.00 | 65000.00 | Intex Space Solutions Private Limited
87.00 | Supply of 400 mm sweep 5 Blade silent operation pedastal fan of 1350 RPM and Air delivery of 85 CMM. (Make: Crompton, Model : SilentPro Pentaflo or Similar product from AAI list of preferred makes) | 5.00 | Each |  | 4090.00 | 20450.00 | 20450.00 | Intex Space Solutions Private Limited
88.00 | Supply of cool air purifier (dimensions minimum 1 mtr height, 17.7 cm width and 22 cm length) with bladless fan, 350° oscillation, Vacuum Sealed 360° Glass of filtration standard with HEPA H-13 & Tris-coated Activated Carbon Filter captures up to 99.95% of microscopic pollutants as small as 0.1 microns, backward air flow projection, Auto senses and displays - PM2.5, PM10, VOCs, NO2, air purification upto 81 cubic metre, filtration unit at the bottom and delivery at top, smart home enabled, real time reporting with display etc., complete as required. ( Make:Dyson, Model : Purifier cool TP-07) | 2.00 | Each |  | 14090.00 | 28180.00 | 28180.00 | Intex Space Solutions Private Limited
89.00 | Supply of high grade Abs / 304 grade stainless steel hand dryer high speed of touchless hand dryer with infra red sensor, 1800W capacity suitable for single phase 230V, 50 Hz, 28000 RPM, air speed 95 mtr/sec, drying time less than 15 sec, auto cut OFF in less than 30 sec, IPx4, brush motor, 270 cubic metre / hour blowing volume etc complete as required. | 2.00 | Each |  | 13600.00 | 27200.00 | 27200.00 | Intex Space Solutions Private Limited
90.00 | Supply of fully automatic, sensor start shoe shiner (Black and brown) with sole cleaner, 40W suitable for single phase, 230V, 50 Hz, 1200 RPM with 15 sec time protection, made of wood / 304 grade SS etc complete as required. | 2.00 | Each |  | 5270.00 | 10540.00 | 10540.00 | Intex Space Solutions Private Limited
91.00 | Supply of wall mounted fully automatic aerosoal dispenser with 300ml refill bottle, LED indication, battery operated, ON / OFF spray interval option, Abs plastic body, minimum duration of 5 mins etc complete as required. | 2.00 | Each |  | 5909.00 | 11818.00 | 11818.00 | Intex Space Solutions Private Limited
92.00 | Supply of BEE 5 star rated 10L to 15L storage capacity water geyser with temperature digital display 3000W with power and heat indicators, temperature control knob 250 to 750C, with precautionary arrangement for excess pressure buildup, vaccum formation and reverse water flow, double layerd advanced water heat protection, anti scalant and anti corrosive, including inlet and outlet connecting pipes upto 1 mtr etc. complete as required (Make: V-Guard, model: Divino DG 5 star). | 1.00 | Each |  | 7727.00 | 7727.00 | 7727.00 | Intex Space Solutions Private Limited
93.00 | Supply and fixing of pre galvanized GI sheet steel raceway in 1.5 mm thickness for body and cover including junction boxes with 2 to 3 mm top cover plate, 3 compartment of size 300 mm width x 25 mm depth on floor, IP-20, IK-08 including necessary civil work such as chase cutting in screed, fixing the raceway, aligning, levelling and finished with sand, cement plaster tc. complete as required. | 50.00 | Metre |  | 545.00 | 27250.00 | 27250.00 | Intex Space Solutions Private Limited
94.00 | Supplying and installing 150 mm width X 50 mm depth X 1.2 mm thickness size of perforated hot dip galvanised iron cable trays of following varieties (Galvanisation thickness not less than 50 microns) with perrforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. straight cable tray | 100.00 | Metre |  | 865.00 | 86500.00 | 86500.00 | Intex Space Solutions Private Limited
95.00 | Supplying and installing 150 mm width X 50 mm depth X 1.2 mm thickness size of perforated hot dip galvanised iron cable trays of following varieties (Galvanisation thickness not less than 50 microns) with perrforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. Horizontal elbow tray | 8.00 | Each |  | 775.00 | 6200.00 | 6200.00 | Intex Space Solutions Private Limited
96.00 | Supplying and installing 150 mm width X 50 mm depth X 1.2 mm thickness size of perforated hot dip galvanised iron cable trays of following varieties (Galvanisation thickness not less than 50 microns) with perrforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. Inside riser tray | 4.00 | Each |  | 2365.00 | 9460.00 | 9460.00 | Intex Space Solutions Private Limited
97.00 | Supplying and installing 150 mm width X 50 mm depth X 1.2 mm thickness size of perforated hot dip galvanised iron cable trays of following varieties (Galvanisation thickness not less than 50 microns) with perrforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. outside riser tray | 4.00 | Each |  | 2275.00 | 9100.00 | 9100.00 | Intex Space Solutions Private Limited
98.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 50.00 | Point |  | 775.00 | 38750.00 | 38750.00 | Intex Space Solutions Private Limited
99.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 95.00 | Point |  | 680.00 | 64600.00 | 64600.00 | Intex Space Solutions Private Limited
100.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 1.5 sq.mm + 1 X 1.5 sq.mm earth wire | 50.00 | Metre |  | 136.00 | 6800.00 | 6800.00 | Intex Space Solutions Private Limited
101.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 2.5 sq.mm + 1 X 2.5 sq.mm earth wire | 100.00 | Metre |  | 218.00 | 21800.00 | 21800.00 | Intex Space Solutions Private Limited
102.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Metre |  | 380.00 | 38000.00 | 38000.00 | Intex Space Solutions Private Limited
103.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 80.00 | Metre |  | 435.00 | 34800.00 | 34800.00 | Intex Space Solutions Private Limited
104.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, multi core flexible cable as per IS:694-2010 in the existing surface / recessed steel conduit or GI raceway or PVC duct etc complete as required. 3C x 4 Sq.mm flexible cable | 500.00 | Metre |  | 240.00 | 120000.00 | 120000.00 | Intex Space Solutions Private Limited
105.00 | Supplying and fixing following size/modules, Gl box along with modular base & cover plate for modular switches in recess (colour and finishing shall be decided at site) etc., as required. 1 Module | 10.00 | Each |  | 32.00 | 320.00 | 320.00 | Intex Space Solutions Private Limited
106.00 | Supplying and fixing following size/modules, Gl box along with modular base & cover plate for modular switches in recess (colour and finishing shall be decided at site) etc., as required. 2 Module | 6.00 | Each |  | 55.00 | 330.00 | 330.00 | Intex Space Solutions Private Limited
107.00 | Supplying and fixing following size/modules, Gl box along with modular base & cover plate for modular switches in recess (colour and finishing shall be decided at site) etc., as required. 3 Module | 20.00 | Each |  | 82.00 | 1640.00 | 1640.00 | Intex Space Solutions Private Limited
108.00 | Supplying and fixing following size/modules, Gl box along with modular base & cover plate for modular switches in recess (colour and finishing shall be decided at site) etc., as required. 6 Module | 15.00 | Each |  | 100.00 | 1500.00 | 1500.00 | Intex Space Solutions Private Limited
109.00 | Supplying and fixing following coloured (colour and finishing shall be decided at site) modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 40.00 | Each |  | 110.00 | 4400.00 | 4400.00 | Intex Space Solutions Private Limited
110.00 | Supplying and fixing following coloured (colour and finishing shall be decided at site) modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch with indicator | 25.00 | Each |  | 165.00 | 4125.00 | 4125.00 | Intex Space Solutions Private Limited
111.00 | Supplying and fixing following coloured (colour and finishing shall be decided at site) modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A shuttered socket outlet | 40.00 | Each |  | 200.00 | 8000.00 | 8000.00 | Intex Space Solutions Private Limited
112.00 | Supplying and fixing following coloured (colour and finishing shall be decided at site) modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 5/15 A shuttered socket outlet | 25.00 | Each |  | 227.00 | 5675.00 | 5675.00 | Intex Space Solutions Private Limited
113.00 | Supplying and fixing following coloured (colour and finishing shall be decided at site) modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone Socket | 6.00 | Each |  | 135.00 | 810.00 | 810.00 | Intex Space Solutions Private Limited
114.00 | Supplying and fixing following coloured (colour and finishing shall be decided at site) modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. TV Socket | 4.00 | Each |  | 135.00 | 540.00 | 540.00 | Intex Space Solutions Private Limited
115.00 | Supplying and fixing following way, horizontal type three pole and neutral, IP43, sheet steel, MCB distribution board, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc., as required. 4 way (8 + 12), Double door | 1.00 | Each |  | 9000.00 | 9000.00 | 9000.00 | Intex Space Solutions Private Limited
116.00 | Supplying and fixing following way, horizontal type three pole and neutral, IP43, sheet steel, MCB distribution board, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc., as required. 6 way (8 + 18), Double door | 1.00 | Each |  | 11000.00 | 11000.00 | 11000.00 | Intex Space Solutions Private Limited
117.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. For 4 way, Double door TPN MCBDB | 1.00 | Each |  | 15000.00 | 15000.00 | 15000.00 | Intex Space Solutions Private Limited
118.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. For 6 way, Double door TPN MCBDB | 1.00 | Each |  | 18000.00 | 18000.00 | 18000.00 | Intex Space Solutions Private Limited
119.00 | Supplying and fixing of 63 A rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc., as required. | 1.00 | Each |  | 4090.00 | 4090.00 | 4090.00 | Intex Space Solutions Private Limited
120.00 | Supplying and fixing of 63 A rating, four pole, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc., as required. | 2.00 | Each |  | 2500.00 | 5000.00 | 5000.00 | Intex Space Solutions Private Limited
121.00 | Supplying and fixing following rating, 10 kA, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required. 10 A, 10 kA, "C" curve , 3 Pole | 10.00 | Each |  | 2200.00 | 22000.00 | 22000.00 | Intex Space Solutions Private Limited
122.00 | Supplying and fixing following rating, 10 kA, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required. 20 A, 10 kA, "C" curve, 3 Pole | 10.00 | Each |  | 2100.00 | 21000.00 | 21000.00 | Intex Space Solutions Private Limited
123.00 | SITC of 8-way TP&N three phase Vertical DB suitable for MCCB incomer, double door, consists of sheet steel enclosures with detachable gland plates for flush / surface mounting with bus bar, neutral link, earth bar, wiring connections, i/c following switch gears Incomer: 100A, 25kA, 4 Pole MCCB - 1 No Outgoing: 25A to 32A, 3 pole, 10kA MCB - 5 Nos & 63A ,3 Pole, 25 kA MCB - 3 Nos. | 2.00 | Job |  | 20000.00 | 40000.00 | 40000.00 | Intex Space Solutions Private Limited
124.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for 8 way triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | 2.00 | Each |  | 1090.00 | 2180.00 | 2180.00 | Intex Space Solutions Private Limited
125.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE armoured power cable of 1.1 KV grade of size upto 25 Sq.mm on cable tray as required. | 100.00 | Metre |  | 230.00 | 23000.00 | 23000.00 | Intex Space Solutions Private Limited
126.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE armoured power cable of 1.1KV grade of size upto 25 Sq.mm on wall surface as required. | 100.00 | Metre |  | 230.00 | 23000.00 | 23000.00 | Intex Space Solutions Private Limited
127.00 | Providing and fixing 6 SWG dia G.I wire on surface or in recess for loop earthing as reqired | 100.00 | Metre |  | 300.00 | 30000.00 | 30000.00 | Intex Space Solutions Private Limited
| Total in Figures |  |  |  |  | 6973051.50
Lowest Amount Quoted BY: Intex Space Solutions Private Limited(6973051.50)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of RED office and Conference Hall at operational office building RHQ/SR, Chennai. SH Civil and Electrical Works Tender ID: 2024_AAI_183907_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Intex Space Solutions Private Limited | 6973051.50 | L1