## BoQ1
Government eProcurement System Created By: SUDHAKARA NAIK Created Date/Time: 15-Mar-2024 12:30 PM Tender Title: Comprehensive Maintenance Contract of HVAC plant with both High side and low side along with BMS and VRF for Three (03) years at Belagavi Airport Tender ID: 2024_AAI_184371_1
Tender Inviting Authority: AGM (E-E), AAI, Belagavi Airport.
Name of Work: Comprehensive Maintenance Contract of HVAC plant with both High side and low side along with BMS and VRF for Three (03) years at Belagavi Airport.
Tender ID: 2024_AAI_184371_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mahalaxmi Cooling Systems(GSTN-29AAVPH4096A1ZF) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | BLUE STAR LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance contract of 3 X 100 TR Air cooled type air conditioning plant with Screw type compressor including all associated equipments along with BMS, HVAC Panel, VFDs and Starter panels as per the inventory includes attending to Complaint, repair / replacement of action, supply & replacement of all required spares /Accessories / parts, consumables, rewinding work, service & overhauling, descaling if required ,periodical inspection, Schedule / preventive / breakdown maintenance as per detailed specified terms & conditions & Scope of work included in the tender as per the site conditions.
1.10 | 1st Year | 12.00 | Months | 100.00 | 107500.00 | 1290000.00 | 58000.00 | 696000.00 | 87833.00 | 1053996.00 | 696000.00 | M K ENTERPRISES
1.20 | 2nd Year | 12.00 | Months | 100.00 | 107500.00 | 1290000.00 | 58000.00 | 696000.00 | 90468.00 | 1085616.00 | 696000.00 | M K ENTERPRISES
1.30 | 3rd Year | 12.00 | Months | 10.00 | 107500.00 | 1290000.00 | 58000.00 | 696000.00 | 93183.00 | 1118196.00 | 696000.00 | M K ENTERPRISES
2.00 | Comprehensive Maintenance contract of Three Phase, 3 Nos 7.5HP Capacity Primary Chilled water Pumps and 3 Nos 15HP Secondary Chilled water pumps as per inventory including all associated equipments. The job includes attending to complaint, repair / replacement of action, supply & replacement of all required spares / accessories / parts, consumables, Rewinding work, service & overhauling, periodical inspection, schedule /preventive / breakdown maintenance as per detailed specified terms & conditions & scope work included in the tender.
2.10 | 1st Year | 12.00 | Months | 10.00 | 8400.00 | 100800.00 | 12000.00 | 144000.00 | 5413.00 | 64956.00 | 64956.00 | BLUE STAR LIMITED
2.20 | 2nd Year | 12.00 | Months | 10.00 | 8400.00 | 100800.00 | 12000.00 | 144000.00 | 5576.00 | 66912.00 | 66912.00 | BLUE STAR LIMITED
2.30 | 3rd Year | 12.00 | Months | 10.00 | 8400.00 | 100800.00 | 12000.00 | 144000.00 | 5744.00 | 68928.00 | 68928.00 | BLUE STAR LIMITED
3.00 | Comprehensive Maintenance contract for Low side equipment of 3 x 100 TR Central Air Conditioning system such as Electrical panels, VFDs and starter panels, 70TR- 1 No, 60Tr- 2 Nos, 18TR -1 No, 14 TR - 1 No Capacities AHUs, AHU's VFD starter, UVGI systems, FCUs & control panels, Fire Damper including all associated accessories, chiller pipelines, all type of valves, volume control dampers, temperature and pressure gauges, AC ducts , Exhaust Fan , Ventilation Fans , Air Curtains etc as per inventory. The job includes attending to complaint, repair / replacement of action, supply & replacement of all required spares / accessories / parts, consumables, Rewinding work, service & overhauling, periodical inspection, schedule / preventive / breakdown maintenance / periodical grill cleaning as per detailed specified terms & conditions & scope of work included in the tender.
3.10 | 1st Year | 12.00 | Months | 10.00 | 14600.00 | 175200.00 | 12000.00 | 144000.00 | 25542.00 | 306504.00 | 144000.00 | M K ENTERPRISES
3.20 | 2nd Year | 12.00 | Months | 10.00 | 14600.00 | 175200.00 | 12000.00 | 144000.00 | 26309.00 | 315708.00 | 144000.00 | M K ENTERPRISES
3.30 | 3rd Year | 12.00 | Months | 10.00 | 14600.00 | 175200.00 | 12000.00 | 144000.00 | 27099.00 | 325188.00 | 144000.00 | M K ENTERPRISES
4.00 | Comprehensive Maintenance Contract of VRF system at ATC Building including Indoor units, outdoor units, refrigerant pipeing, air distribution networks, insulation, controls, wiring etc. & all other items including associated electrical systems, including all spares and consumables, providing full support during breakdown & trouble shooting, carrying out routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective equipement manufacturers (OEM) and as per the instructions of engineer-in-charge for maintaning the systems, This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts and service engineer/technician.
4.10 | 1st Year | 12.00 | Months | 10.00 | 50000.00 | 600000.00 | 25000.00 | 300000.00 | 14000.00 | 168000.00 | 168000.00 | BLUE STAR LIMITED
4.20 | 2nd Year | 12.00 | Months | 10.00 | 50000.00 | 600000.00 | 25000.00 | 300000.00 | 14420.00 | 173040.00 | 173040.00 | BLUE STAR LIMITED
4.30 | 3rd Year | 12.00 | Months | 10.00 | 50000.00 | 600000.00 | 25000.00 | 300000.00 | 14853.00 | 178236.00 | 178236.00 | BLUE STAR LIMITED
| Total in Figures |  |  |  |  | 6498000.00 |  | 3852000.00 |  | 4925280.00
Lowest Amount Quoted BY: M K ENTERPRISES(3852000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of HVAC plant with both High side and low side along with BMS and VRF for Three (03) years at Belagavi Airport Tender ID: 2024_AAI_184371_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 3852000.00 | L1
| 2 | BLUE STAR LIMITED | 4925280.00 | L2
| 3 | Mahalaxmi Cooling Systems | 6498000.00 | L3