## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 07-Mar-2024 04:22 PM Tender Title: Construction of MET PARK at kandla airport SH Electrical work Tender ID: 2024_AAI_184910_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Construction of MET PARK for installation of CWIS and Meteorological Instruments at Kandla Airport. SH: Electrical works"
Tender ID: 2024_AAI_184910_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Mayur Electric Works(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5 core x 35 Sqmm XLPE insulated , PVC sheathed , armoured FRLSH aluminium conductor power cable of 1.1 KV grade confirming to IS 7098 standards. | 1870.00 | Mtrs |  | 210.00 | 392700.00 | 235.00 | 439450.00 | 220.00 | 411400.00 | 321.00 | 600270.00 | 200.00 | 374000.00 | 374000.00 | Mayur Electric Works
2.00 | Supply and Laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205 (Part 24) : 2018 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 1840.00 | Mtrs |  | 180.00 | 331200.00 | 200.00 | 368000.00 | 175.00 | 322000.00 | 240.00 | 441600.00 | 220.00 | 404800.00 | 322000.00 | surbhi association
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 3.5 core x 35 sq. mm in the existing RCC/ HUME/ PVC /METAL pipe as required. | 1870.00 | Mtrs |  | 35.00 | 65450.00 | 40.00 | 74800.00 | 20.00 | 37400.00 | 30.00 | 56100.00 | 60.00 | 112200.00 | 37400.00 | surbhi association
4.00 | Providing, laying and fixing 100 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required. | 30.00 | Mtrs |  | 1000.00 | 30000.00 | 1500.00 | 45000.00 | 1400.00 | 42000.00 | 1500.00 | 45000.00 | 1500.00 | 45000.00 | 30000.00 | Rudraksha Enterprise
5.00 | SITC of single phase 2.0 KVA UPS (in the existing feeder pillar) with input voltage range 150-280 V AC, and output voltage 230 VAC, having minimum backup time-15 min on full load and Total harmonic Distortion should be less than 3%, suitable for operating atmospheric temperature between 0 Dg to 45° C, along with the protection like short circuit protection overload protection, battery deep discharge & over charge protection. | 1.00 | Each |  | 45000.00 | 45000.00 | 200000.00 | 200000.00 | 45000.00 | 45000.00 | 42000.00 | 42000.00 | 150000.00 | 150000.00 | 42000.00 | Manish Electricals
6.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 6.00 | Each |  | 400.00 | 2400.00 | 1000.00 | 6000.00 | 450.00 | 2700.00 | 210.00 | 1260.00 | 2500.00 | 15000.00 | 1260.00 | Manish Electricals
7.00 | Supply of UTP CAT 6 LAN cable. | 50.00 | Mtrs |  | 500.00 | 25000.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 90.00 | 4500.00 | 150.00 | 7500.00 | 2500.00 | surbhi association
8.00 | SITC of cubical, outdoor type , self standing , dust and vermin proof and having IP 54 protection Feeder Pillar made out of 2 mm thick CRCA sheet steel suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system having 100 Amps. capacity TPN Aluminium Alloy bus bars of high conductivity, DMC/ SMC bus bar supports, interconnections etc. as required with rain canopy and suitable coupling to provide frangibility to the panel , having sufficient space to accomodate 2 KVA UPS & heat dissipation provision i/c providing following switch gears & accessories confirming to technical specifications : Incomer MCCB 40 A 4P - 3 Nos. (2+1 spare) Automatic Changeover switch 40 A - 1 no. DIN mounted Basic MF meter (1P, V, A, kW, kWh) Outgoing MCB 20 A DP C series - 2 Nos., MCB 6 A SP C series-3 Nos.,MCB 10 A DP C series-1 no.,Contactor - Timer assembly (for obstruction light)- 1 set,power Distribution Board 5 A socket outlets - 5 nos. Accessories RYB indication lamps for each incomer - 2 Set. and suitable CTs as required. | 1.00 | Each |  | 165000.00 | 165000.00 | 200000.00 | 200000.00 | 112000.00 | 112000.00 | 135100.00 | 135100.00 | 250000.00 | 250000.00 | 112000.00 | surbhi association
9.00 | SITC of loop in - loop out box of appropriate height made out of 2 mm thick CRCA sheet steel confirming to IP 54 suitable for termination of 5 no.(1 no. I/C and 4 no. O/G) 3.5 x 35 sqmm. Al. cable i/c civil masonary works with following provisions. 100 A TPN Al. Bus Bar - 1 Set. 20 A 4 P MCB - 1 no. Industrial Plug and connector - 1 set. | 3.00 | Each |  | 54000.00 | 162000.00 | 10000.00 | 30000.00 | 20000.00 | 60000.00 | 15000.00 | 45000.00 | 100000.00 | 300000.00 | 30000.00 | DOSHI ELECTRIC ENGG. CO.
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 core x 35 sq. mm (32mm) of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.(01 Set equals 2 nos.) | 11.00 | set |  | 500.00 | 5500.00 | 700.00 | 7700.00 | 300.00 | 3300.00 | 1000.00 | 11000.00 | 350.00 | 3850.00 | 3300.00 | surbhi association
11.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 40 cm X 40 cm at the bottom and 30 cm X 30 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 50.00 | Each |  | 800.00 | 40000.00 | 300.00 | 15000.00 | 800.00 | 40000.00 | 500.00 | 25000.00 | 500.00 | 25000.00 | 15000.00 | DOSHI ELECTRIC ENGG. CO.
12.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Each |  | 5200.00 | 10400.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 10400.00 | Rudraksha Enterprise
13.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 10.00 | Mtrs |  | 300.00 | 3000.00 | 600.00 | 6000.00 | 650.00 | 6500.00 | 580.00 | 5800.00 | 500.00 | 5000.00 | 3000.00 | Rudraksha Enterprise
14.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required (Note: Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4 + 12), Double door | 2.00 | Each |  | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 12000.00 | DOSHI ELECTRIC ENGG. CO., Manish Electricals
15.00 | Supplying and fixing 63A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 10000.00 | 20000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 7000.00 | Manish Electricals
16.00 | Supplying and fixing 63A rating, four pole, 415 V, Miniature circuit Breaker(MCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 2400.00 | Manish Electricals
17.00 | Supplying and fixing 40A rating,415 V,"C" curve, TPN miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 6000.00 | 24000.00 | 1800.00 | 7200.00 | 1800.00 | 7200.00 | 1800.00 | 7200.00 | 1200.00 | 4800.00 | 4800.00 | Mayur Electric Works
18.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 12.00 | Each |  | 300.00 | 3600.00 | 200.00 | 2400.00 | 150.00 | 1800.00 | 180.00 | 2160.00 | 250.00 | 3000.00 | 1800.00 | surbhi association
| Total in Figures |  |  |  |  | 1360250.00 |  | 1448050.00 |  | 1133800.00 |  | 1457390.00 |  | 1763150.00
Lowest Amount Quoted BY: surbhi association(1133800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of MET PARK at kandla airport SH Electrical work Tender ID: 2024_AAI_184910_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association | 1133800.00 | L1
| 2 | Rudraksha Enterprise | 1360250.00 | L2
| 3 | DOSHI ELECTRIC ENGG. CO. | 1448050.00 | L3
| 4 | Manish Electricals | 1457390.00 | L4
| 5 | Mayur Electric Works | 1763150.00 | L5