## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 13-May-2024 04:32 PM Tender Title: SITC of ALCMS and allied works including all inclusive Comprehensive Maintenance Contract, at Madurai Airport. Recall Tender ID: 2024_AAI_185164_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: SITC of ALCMS and allied works including all inclusive Comprehensive Maintenance Contract, at Madurai Airport. (Recall)
Contract No: AAI/MDU/E-E/MDU-392/NIT-14/2023-24 Tender ID - 2023_AAI_185164_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NASU SYSTEMS (GSTN-27ABAPS2566G1ZK) BID ID -684998 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -686818 |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)--688379
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, supply, installation, testing & commissioning of Airfield Lighting Control through HMI, Type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 150/5345 - 56B(Current edition) and additional circuits/mechanisms/interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits such as Landing - H, Wind cone, flood light towers & beacon to make them compatible with ALCMS, data & power cabling, earthing etc., including spare PLC and I/O modules, all hardware and software, licenses & other items as required for successful operation of the system in line with the scope of work, details of equipments, specification, performance criteria etc., Two vault processor should be provided both running in parallel for redundancy in operation at new CCR Hall, one vault Processor at ATC tower complete as required. ( Does not include the cost of communication cable) including cable termination provision of SPD, media converter, etc. complete as required. | 1.00 | Job |  | 2500000.00 | 2500000.00 | 2105000.00 | 2105000.00 | 3000000.00 | 3000000.00 | 2105000.00 | MPC ELECTRICALS AND ENGINEERS
2.00 | Supply, installation, testing & commissioning of Miniature type conventional Remote control Desk at ATC room as stand by connecting in parallel with ALCMS using the control cables and junction box for termination of control cable with suitable change over switch arrangements for selecting RCD/ALCMS. | 1.00 | Job |  | 100000.00 | 100000.00 | 710000.00 | 710000.00 | 500000.00 | 500000.00 | 100000.00 | NASU SYSTEMS
3.00 | Supply of Single mode 6 core, armoured Optic Fibre Cable (OFC) (ISI marked) conforming to ITU-T G.652 and IEC- 60794 with up to date amendments, etc., complete as required. through existing HDPE pipe of 40 mm dia. | 2100.00 | Mtr |  | 100.00 | 210000.00 | 350.00 | 735000.00 | 27.00 | 56700.00 | 56700.00 | vardhman Airport solutions pvt. Ltd.
4.00 | Supply of PVC insulated (Heavy Duty) control cables of following size with copper conductor, working voltage 1.1kv grade armoured cable confirming to IS:1554 (part 1) with up to date amendments etc. as required. 61 core X 2.5 Sq.mm | 600.00 | Mtr |  | 3000.00 | 1800000.00 | 2330.00 | 1398000.00 | 1550.00 | 930000.00 | 930000.00 | vardhman Airport solutions pvt. Ltd.
5.00 | Supply of PVC insulated (Heavy Duty) control cables of following size with copper conductor, working voltage 1.1kv grade armoured cable confirming to IS:1554 (part 1) with up to date amendments etc. as required. 8 core X 2.5 Sq.mm | 150.00 | Mtr |  | 500.00 | 75000.00 | 440.00 | 66000.00 | 248.00 | 37200.00 | 37200.00 | vardhman Airport solutions pvt. Ltd.
6.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. OD-63 mm & ID-51mm nominal | 510.00 | Mtr |  | 160.00 | 81600.00 | 170.00 | 86700.00 | 55.00 | 28050.00 | 28050.00 | vardhman Airport solutions pvt. Ltd.
7.00 | Supply of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. OD-40 mm & ID-32mm nominal | 2000.00 | Mtr |  | 100.00 | 200000.00 | 71.00 | 142000.00 | 42.00 | 84000.00 | 84000.00 | vardhman Airport solutions pvt. Ltd.
8.00 | Laying of 63 mm / 40mm dia (OD-63mm & ID-51 mm / OD - 40mm & ID - 32mm nominal) DWC HDPE pipe/50mm dia GI Pipe direct in ground (75 cm below ground level) in all type of soil/hard rock/gravel/bitumen road including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. | 2510.00 | Mtr |  | 110.00 | 276100.00 | 170.00 | 426700.00 | 120.00 | 301200.00 | 276100.00 | NASU SYSTEMS
9.00 | Laying of one number PVC insulated and PVC sheathed XLPE Control cable of 1.1 KV grade Multi core cable of size not exceeding 35Sqmm in the existing RCC/ HUME/METAL/GI/HDPE/DWC pipe etc. complete as required. | 510.00 | Mtr |  | 99.00 | 50490.00 | 35.00 | 17850.00 | 25.00 | 12750.00 | 12750.00 | vardhman Airport solutions pvt. Ltd.
10.00 | Laying of OFC cable through HDPE pipe in soft soil, HUME pipe, duct & on surface etc. complete as required. | 2000.00 | Mtr |  | 30.00 | 60000.00 | 26.00 | 52000.00 | 25.00 | 50000.00 | 50000.00 | vardhman Airport solutions pvt. Ltd.
11.00 | Supplying and making end termination with brass compression gland copper lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1kV grade as required. 61C X 2.5Sq.mm | 6.00 | Set |  | 990.00 | 5940.00 | 1700.00 | 10200.00 | 800.00 | 4800.00 | 4800.00 | vardhman Airport solutions pvt. Ltd.
12.00 | Supplying and making end termination with brass compression gland copper lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1kV grade as required. 8C X 2.5Sq.mm | 24.00 | Set |  | 630.00 | 15120.00 | 260.00 | 6240.00 | 225.00 | 5400.00 | 5400.00 | vardhman Airport solutions pvt. Ltd.
13.00 | SITC of vault processor to be kept at old CCR Room, for accepting data from old ATC tower (RCD) for controlling the 09nos- CCR by providing communication signal to New CCR Room. This vault processor shall also accept communication signals from new ATC tower / CCR Room to control fixed circuits such as landing H, Wind Sock, 11 Nos- High Mast and its associated connection, terminations etc. as required. | 1.00 | Job |  | 100000.00 | 100000.00 | 800000.00 | 800000.00 | 600000.00 | 600000.00 | 100000.00 | NASU SYSTEMS
14.00 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders/ fixing on wall using MS Clamps including bolts & nuts, painting suspenders etc as required. 150mm width X 50mm depth X 1.6 mm thickness | 60.00 | Mtr |  | 450.00 | 27000.00 | 1700.00 | 102000.00 | 395.00 | 23700.00 | 23700.00 | vardhman Airport solutions pvt. Ltd.
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq.mm (Clamped with 1mm thick saddle) | 120.00 | Mtr |  | 153.00 | 18360.00 | 44.00 | 5280.00 | 25.00 | 3000.00 | 3000.00 | vardhman Airport solutions pvt. Ltd.
16.00 | Providing and fixing 6SWG dia GI wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 750.00 | Mtr |  | 90.00 | 67500.00 | 26.00 | 19500.00 | 21.00 | 15750.00 | 15750.00 | vardhman Airport solutions pvt. Ltd.
17.00 | Providing and fixing 25mm X 5mm G.I. Strip on surface or in recess for connections etc. as required. | 50.00 | Mtr |  | 198.00 | 9900.00 | 325.00 | 16250.00 | 142.00 | 7100.00 | 7100.00 | vardhman Airport solutions pvt. Ltd.
18.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) Airfield Lighting Control through HMI, Type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 150/5345 - 56B(Current edition) and additional circuits/mechanisms/interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits all hardware and software, 4 nos of vault processors, other items as required for successful operation of the system complete as required. First Year (After Completion of 1 year DLP) (3% of item no:1 + item no:2 + item no:13) | 1.00 | Job |  | 81000.00 | 81000.00 | 108450.00 | 108450.00 | 123000.00 | 123000.00 | 81000.00 | NASU SYSTEMS
19.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) Airfield Lighting Control through HMI, Type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 150/5345 - 56B(Current edition) and additional circuits/mechanisms/interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits all hardware and software, 4 nos of vault processors, other items as required for successful operation of the system complete as required. 2nd Year (After Completion of 1 year DLP) (5% escalation on first year cost of item no:18) | 1.00 | Job |  | 85050.00 | 85050.00 | 113872.50 | 113872.50 | 129150.00 | 129150.00 | 85050.00 | NASU SYSTEMS
20.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) Airfield Lighting Control through HMI, Type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 150/5345 - 56B(Current edition) and additional circuits/mechanisms/interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits all hardware and software, 4 nos of vault processors, other items as required for successful operation of the system complete as required. 3rd Year (After Completion of 1 year DLP) (5% escalation on Second year cost of item no:19) | 1.00 | Job |  | 89302.50 | 89302.50 | 119566.13 | 119566.13 | 135607.50 | 135607.50 | 89302.50 | NASU SYSTEMS
21.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) Airfield Lighting Control through HMI, Type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 150/5345 - 56B(Current edition) and additional circuits/mechanisms/interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits all hardware and software, 4 nos of vault processors, other items as required for successful operation of the system complete as required. 4th Year (After Completion of 1 year DLP) (5% escalation on Third year cost of item no:20) | 1.00 | Job |  | 93767.63 | 93767.63 | 125544.44 | 125544.44 | 142387.88 | 142387.88 | 93767.63 | NASU SYSTEMS
22.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) Airfield Lighting Control through HMI, Type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 150/5345 - 56B(Current edition) and additional circuits/mechanisms/interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits all hardware and software, 4 nos of vault processors, other items as required for successful operation of the system complete as required. 5th Year (After Completion of 1 year DLP) (5% escalation on Fourth year cost of item no:21) | 1.00 | Job |  | 98456.01 | 98456.01 | 131821.66 | 131821.66 | 149507.27 | 149507.27 | 98456.01 | NASU SYSTEMS
| Total in Figures |  |  |  |  | 6044586.14 |  | 7297974.73 |  | 6339302.65
Lowest Amount Quoted BY: NASU SYSTEMS(6044586.14)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of ALCMS and allied works including all inclusive Comprehensive Maintenance Contract, at Madurai Airport. Recall Tender ID: 2024_AAI_185164_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NASU SYSTEMS | 6044586.14 | L1
| 2 | vardhman Airport solutions pvt. Ltd. | 6339302.65 | L2
| 3 | MPC ELECTRICALS AND ENGINEERS | 7297974.73 | L3