## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 26-Feb-2024 06:28 PM Tender Title: Renovation of Building Opposite to Integrated Cargo Complex and Building near Gate No 2 for CISF Accommodation SH INTERNAL AND EXTERNAL ELECTRIFICATION WORKS Tender ID: 2024_AAI_185198_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Renovation of Building Opposite to Integrated Cargo Complex & Building near Gate No.2 for CISF Accommodation . SH: INTERNAL AND EXTERNAL ELECTRIFICATION WORKS
Contract No: 2024_AAI_185198_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I Internal Electrification Works
1.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.
1.02 | Group B | 1187.00 | Each | 10.00 | 1150.00 | 1365050.00 | 899.00 | 1067113.00 | 900.00 | 1068300.00 | 1067113.00 | CHENNAI ENGINEERING SERVICES
2.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/recessed steel/PVC conduit including dismantling as required.
2.01 | Group B | 100.00 | Each | 10.00 | 175.00 | 17500.00 | 499.00 | 49900.00 | 700.00 | 70000.00 | 17500.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
3.01 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 2000.00 | Mtr | 10.00 | 325.00 | 650000.00 | 269.00 | 538000.00 | 300.00 | 600000.00 | 538000.00 | CHENNAI ENGINEERING SERVICES
3.02 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Mtr | 10.00 | 356.00 | 35600.00 | 399.00 | 39900.00 | 499.00 | 49900.00 | 35600.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.03 | 4 X 2.5 sq.mm + 2 X 2.5 sq.mm earth wire | 3250.00 | Mtr | 10.00 | 395.00 | 1283750.00 | 649.00 | 2109250.00 | 499.00 | 1621750.00 | 1283750.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.04 | 4 X 4 sq.mm + 2 X 4 sq.mm earth wire | 300.00 | Mtr | 10.00 | 460.00 | 138000.00 | 799.00 | 239700.00 | 799.00 | 239700.00 | 138000.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following sizes conforming to IS 7098 (Part-1) as amended upto date as required.
4.01 | 3.5 C X 120 Sqmm. | 500.00 | Mtr | 10.00 | 515.00 | 257500.00 | 509.00 | 254500.00 | 1100.00 | 550000.00 | 254500.00 | CHENNAI ENGINEERING SERVICES
4.02 | 4 C X 10 Sqmm. | 650.00 | Mtr | 10.00 | 110.00 | 71500.00 | 106.90 | 69485.00 | 400.00 | 260000.00 | 69485.00 | CHENNAI ENGINEERING SERVICES
4.03 | 4 C X 25 Sqmm. | 700.00 | Mtr | 10.00 | 160.00 | 112000.00 | 155.89 | 109123.00 | 599.00 | 419300.00 | 109123.00 | CHENNAI ENGINEERING SERVICES
5.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 40.00 | Each | 10.00 | 440.00 | 17600.00 | 549.00 | 21960.00 | 900.00 | 36000.00 | 17600.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 540.00 | Each | 10.00 | 360.00 | 194400.00 | 399.00 | 215460.00 | 699.00 | 377460.00 | 194400.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supply of 1200mm sweep, BEE 3 star rated ceiling fans suitable for 230 volt 50 HZ Supply, with 30 cm down rod and other accessories, canopies, with out regulator etc. as required. | 345.00 | Each | 10.00 | 1815.00 | 626175.00 | 2049.00 | 706905.00 | 2500.00 | 862500.00 | 626175.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
8.01 | (a) 6 way (4 + 18), Double door | 6.00 | Job | 10.00 | 3250.00 | 19500.00 | 5999.00 | 35994.00 | 4000.00 | 24000.00 | 19500.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.02 | (b) 8 way (4 + 24), Double door | 12.00 | Job | 10.00 | 3500.00 | 42000.00 | 6499.00 | 77988.00 | 5999.00 | 71988.00 | 42000.00 | LAKSHMI ELECTRICAL ENTERPRISES
9.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required.
9.01 | (a) 4 way (4 + 12), Double door | 3.00 | Job | 10.00 | 6800.00 | 20400.00 | 9999.00 | 29997.00 | 12000.00 | 36000.00 | 20400.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
10.01 | (a) Single pole | 356.00 | Job | 10.00 | 140.00 | 49840.00 | 199.00 | 70844.00 | 200.00 | 71200.00 | 49840.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.02 | (b) Triple pole | 6.00 | Job | 10.00 | 675.00 | 4050.00 | 1699.00 | 10194.00 | 999.00 | 5994.00 | 4050.00 | LAKSHMI ELECTRICAL ENTERPRISES
11.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
11.01 | 63 A | 21.00 | Each | 10.00 | 610.00 | 12810.00 | 1699.00 | 35679.00 | 700.00 | 14700.00 | 12810.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of length upto 30 cm with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 345.00 | Job | 10.00 | 125.00 | 43125.00 | 199.00 | 68655.00 | 200.00 | 69000.00 | 43125.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 345.00 | Job | 10.00 | 325.00 | 112125.00 | 279.00 | 96255.00 | 400.00 | 138000.00 | 96255.00 | CHENNAI ENGINEERING SERVICES
14.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 50.00 | Job | 10.00 | 5.00 | 250.00 | 9.00 | 450.00 | 50.00 | 2500.00 | 250.00 | LAKSHMI ELECTRICAL ENTERPRISES
15.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 50.00 | Job | 10.00 | 15.00 | 750.00 | 9.00 | 450.00 | 300.00 | 15000.00 | 450.00 | CHENNAI ENGINEERING SERVICES
16.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
16.01 | 3.5 C X 120 Sqmm. | 8.00 | Set | 10.00 | 900.00 | 7200.00 | 1299.00 | 10392.00 | 900.00 | 7200.00 | 7200.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd.
16.02 | 4 C X 10 Sqmm. | 30.00 | Set | 10.00 | 550.00 | 16500.00 | 549.00 | 16470.00 | 700.00 | 21000.00 | 16470.00 | CHENNAI ENGINEERING SERVICES
16.03 | 4 C X 25 Sqmm. | 21.00 | Set | 10.00 | 650.00 | 13650.00 | 649.00 | 13629.00 | 700.00 | 14700.00 | 13629.00 | CHENNAI ENGINEERING SERVICES
17.00 | Supplying and laying of "B" Class G.I pipe of 150 mm dia including removel of Paver block and Soil depth upto 750 mm and refilling the trench with excavated Soil after laying Pipe, ramming, watering, consolidation and making good the surface to original finish and disposal of left out excavated soil away from Airport premises etc. complete as required.
17.01 | 150 mm | 70.00 | Mtr | 10.00 | 2400.00 | 168000.00 | 2499.00 | 174930.00 | 2500.00 | 175000.00 | 168000.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | Supply of 300mm sweep, metallic exhaust fan, minimum 1300 rpm, suitable for 230 volt 50 HZ Supply including all acessories etc. as required.(Usha Aero clean plus make or equivalent). | 32.00 | Each | 10.00 | 1750.00 | 56000.00 | 1499.00 | 47968.00 | 3000.00 | 96000.00 | 47968.00 | CHENNAI ENGINEERING SERVICES
19.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 32.00 | Job | 10.00 | 350.00 | 11200.00 | 999.00 | 31968.00 | 500.00 | 16000.00 | 11200.00 | LAKSHMI ELECTRICAL ENTERPRISES
20.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 1350.00 | Mtr | 10.00 | 60.00 | 81000.00 | 49.00 | 66150.00 | 30.00 | 40500.00 | 40500.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 95 sq.mm and upto 185 sq.mm (clamped with25x3mm MS flat clamp) | 240.00 | Mtr | 10.00 | 150.00 | 36000.00 | 169.00 | 40560.00 | 70.00 | 16800.00 | 16800.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 sq.mm and upto 185 sq.mm | 120.00 | Mtr | 10.00 | 80.00 | 9600.00 | 99.00 | 11880.00 | 70.00 | 8400.00 | 8400.00 | DElite System Engineering (India) Pvt. Ltd.
23.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. Above 95 sq.mm and upto 185 sq.mm | 140.00 | Mtr | 10.00 | 80.00 | 11200.00 | 129.00 | 18060.00 | 100.00 | 14000.00 | 11200.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.00 | Supply and fixing of PVC casing and caping of size 20X12mmx1.2mm (Make: AKG/ Salzer/ Setia/ Anchor) as required. | 100.00 | Mtr | 10.00 | 60.00 | 6000.00 | 69.00 | 6900.00 | 90.00 | 9000.00 | 6000.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.00 | Supply and fixing of PVC casing and caping of size 25X16mmx1.2mm (Make: AKG/ Salzer/ Setia/ Anchor) as required. | 150.00 | Mtr | 10.00 | 75.00 | 11250.00 | 79.00 | 11850.00 | 90.00 | 13500.00 | 11250.00 | LAKSHMI ELECTRICAL ENTERPRISES
26.00 | SH:-II SITC Of LED Lights
26.01 | Supply of LED flood light, Surface Mounted Device (SMD), Floodlight luminaire with System efficacy of more than 110 lm/W and with System High Lumen Output Minimum 8800 Lumen. Luminaire shall have two separate compartments for LEDs and driver and both compartments should be hermitically sealed to achieve IP 66 ingress protection. The LEDs used shall have High Purity Lens to provide Asymmetrical Wide beam light distribution angle for Uniform lighting and glare free lighting. Operating temperature shall be 0 to 50deg C, CCT of 5665 ± 355 Kelvin, CRI not less than 70 , with 4 KV internal Surge Protection and 10 KV external surge protection, complete with all accessories etc and meeting the technical specifications as required. | 30.00 | Each | 10.00 | 3100.00 | 93000.00 | 4599.00 | 137970.00 | 2000.00 | 60000.00 | 60000.00 | DElite System Engineering (India) Pvt. Ltd.
27.00 | Supply of 4 feet 30W LED batten made of extruded aluminium housing. It has a system with luminaire efficacy of not less than 100 lm/W. constant current output driver, operating range 150 – 270V AC supply, LED Colour Temp. from 5700K- 6500K with Minimum 50000 burning hours life. The luminaire is IP 20 protected etc. complete as required. | 810.00 | Each | 10.00 | 395.00 | 319950.00 | 1199.00 | 971190.00 | 599.00 | 485190.00 | 319950.00 | LAKSHMI ELECTRICAL ENTERPRISES
28.00 | Installation, testing and commissioning of wall bracket / ceiling/ surface/ recess LED Light fittings of all sizes and shapes complete with all accessories including connections etc. as required. | 30.00 | Each | 10.00 | 175.00 | 5250.00 | 499.00 | 14970.00 | 600.00 | 18000.00 | 5250.00 | LAKSHMI ELECTRICAL ENTERPRISES
29.00 | Installation, testing and commissioning of LED batten fitting, complete with all accessories directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 810.00 | Each | 10.00 | 75.00 | 60750.00 | 149.00 | 120690.00 | 100.00 | 81000.00 | 60750.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.00 | Supply and fixing of hinged door SMC junction Box (similar to sintex: JS-JB-2817) on the wall surface including providing & fixing suitable connectors for loop in & loop out 4 core 10 sq. mm. armoured alluminium cable, 6 Amp MCB, Interconnection etc. as required. | 30.00 | Each | 10.00 | 750.00 | 22500.00 | 579.00 | 17370.00 | 900.00 | 27000.00 | 17370.00 | CHENNAI ENGINEERING SERVICES
31.00 | SH:-III SITC of Open well Submersible pumps
31.01 | Supply of Monoblock pump with suction/ Delivery pipe line of 5"/4" dia, discharge ,110 CUM/Hr @ 30 mtr, operated at 3 Phase, 415 V, 50 Hz, , AC power supply with stainless steel shaft, bronze impeller, mechanical seal, Class 'F' insulation including loading, unloading at site etc complete as required. (Similar to Make: Kirloskar, Model: KDS 335 ++ or equivalent) | 3.00 | Each | 10.00 | 28500.00 | 85500.00 | 102999.00 | 308997.00 | 32000.00 | 96000.00 | 85500.00 | LAKSHMI ELECTRICAL ENTERPRISES
32.00 | Supply of 3hp/2.2 kW star-delta starter panel with enclosure suitable to operate in 415 V, 50 Hz, 3 phase motor AC power supply complete etc as required. (Make: L&T MK1-STAR DELTA STARTERS) | 3.00 | Each | 10.00 | 7000.00 | 21000.00 | 11999.00 | 35997.00 | 6000.00 | 18000.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
33.00 | Installation, testing and commissioning of 3 hp/2.2 kW star-delta starter panel on wall including termination at panel side as per the specification complete as required. | 3.00 | Job | 100.00 | 2000.00 | 6000.00 | 499.00 | 1497.00 | 1500.00 | 4500.00 | 1497.00 | CHENNAI ENGINEERING SERVICES
34.00 | Supply and Installation of various Mild Steel structure fabricated using single section MS Channel/angle/flat/bar etc including cutting, welding, drilling, fixing in position using appropriate fasteners, grinding, painting with approved steel primer and two coats enamel paint etc. complete as required. | 50.00 | Kg | 10.00 | 140.00 | 7000.00 | 129.00 | 6450.00 | 150.00 | 7500.00 | 6450.00 | CHENNAI ENGINEERING SERVICES
35.00 | SH:-IV Earthing
35.01 | Earthing with G.I. earth pipe 4.5 m long x 40 mm dia. including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal /coke and salt complete as required. | 10.00 | Job | 10.00 | 8250.00 | 82500.00 | 6999.00 | 69990.00 | 9000.00 | 90000.00 | 69990.00 | CHENNAI ENGINEERING SERVICES
36.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 100.00 | Mtr | 10.00 | 175.00 | 17500.00 | 149.00 | 14900.00 | 300.00 | 30000.00 | 14900.00 | CHENNAI ENGINEERING SERVICES
37.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 2700.00 | Mtr | 10.00 | 27.00 | 72900.00 | 39.00 | 105300.00 | 50.00 | 135000.00 | 72900.00 | LAKSHMI ELECTRICAL ENTERPRISES
38.00 | SH:-V SITC of RO purifier i/c Water Dispensers
38.01 | Supply of floor mounted type water cooler having following capacities with RO+ESS or RO + UV purification, Outer body Stainless steel 204 food Grade body and storage tank should be food grade SS 304, Non-CFC refrigerant, operating on 220 V ± 10% 50 Hz Single phase AC supply with COLD/ NORMAL water taps, suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections complete etc. as required (Make: Zero B Eco Chill 150-150-150 cold or equivalent) RO Purification capacity : Not less than 150 ltr/hour Cool water tank : Not less than 150 ltr Normal water tank : Not less than 8 ltr online Cooling capacity : Not less than 150 ltr/hour | 8.00 | Each | 10.00 | 270000.00 | 2160000.00 | 242319.00 | 1938552.00 | 200000.00 | 1600000.00 | 1600000.00 | DElite System Engineering (India) Pvt. Ltd.
39.00 | ITC of 150 ltr purification capacity (Per hour) floor mounted type water cooler as per above item as per standard OEM specifications including connection etc.complete as required. | 8.00 | Each | 10.00 | 3000.00 | 24000.00 | 1999.00 | 15992.00 | 1000.00 | 8000.00 | 8000.00 | DElite System Engineering (India) Pvt. Ltd.
40.00 | SH: VI LT PANELS
40.01 | Fabrication, SITC of PTTA MV Switch Board Essential Panel/Non-Essential made of 14 SWG CRCA Sheet Steel, dust tight, vermin proof, Totally enclosed, cubicle type, floor/wall mounting, free standing, extensible on both sides, suitable for indoor operation at 433 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, etc., as required and comprising of the following: A) Two Nos. of 200 A, 50 KA, 4P MCCBs with Microprocessor Based Releases (L&T MTX 2.0/ Equivalent) for OC/SC/EF Protection and ROM as INCOMER with Resin Cast CT operated Digital Meter [EM 6400 of Conzerve/Equivalent], ON/OFF/TRIP Indication Lamps, Phase Indication Lamps and Mechnacial Castle Interlock (2 Lock + 1 Key) as required. B) Three Nos. of 100 A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Outgoing, with ON/OFF/TRIP Indication Lamps as required. C) Seven Nos. of 63 A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Outgoing, with ON/OFF/TRIP Indication Lamps as required. D) One Set of 400 Amps Al. Bus Bars with at Par Neutral BUS BARS as required. E) All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. ALL AS ABOVE 1 (A) To 1 ( E) | 3.00 | Job | 10.00 | 315000.00 | 945000.00 | 314999.00 | 944997.00 | 479999.00 | 1439997.00 | 944997.00 | CHENNAI ENGINEERING SERVICES
41.00 | Fabrication, SITC of PTTA MV Switch Board Essential Panel/Non-Essential made of 14 SWG CRCA Sheet Steel, dust tight, vermin proof, Totally enclosed, cubicle type, floor/wall mounting, free standing, extensible on both sides, suitable for indoor operation at 433 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, etc., as required and comprising of the following: A) One Nos. of 200 A, 36 KA, 4P MCCBs with Microprocessor Based Releases for OC/SC/EF Protection as INCOMERS with Resin Cast CT operated Digital Meter [EM 6400 of Conzerve/Equivalent], ON/OFF/TRIP Indication Lamps and Phase Indication Lamps etc as required. B) Four Nos. of 63 A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Outgoing, with ON/OFF/TRIP Indication Lamps as required. C) Two Nos. of 63A, 10 KA, 4P MCB as Outgoings as required. D) One Set of 200 Amps Al. Bus Bars with at Par Neutral BUS BARS as required. E) All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. ALL AS ABOVE 1 (A) To 1 ( E) | 1.00 | Job | 10.00 | 175500.00 | 175500.00 | 160999.00 | 160999.00 | 300000.00 | 300000.00 | 160999.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 9599875.00 |  | 11164420.00 |  | 11435579.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(9599875.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Building Opposite to Integrated Cargo Complex and Building near Gate No 2 for CISF Accommodation SH INTERNAL AND EXTERNAL ELECTRIFICATION WORKS Tender ID: 2024_AAI_185198_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 9599875.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 11164420.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 11435579.00 | L3