## BoQ1
Government eProcurement System Created By: SUDHAKARA NAIK Created Date/Time: 05-Mar-2024 05:05 PM Tender Title: SITC of Split, Tower AC units in Terminal Building, Offices, CCRs, KSPO, Dog Kennel, etc. and SITC of Water Coolers in Terminal Building at Belagavi Airport Tender ID: 2024_AAI_185262_1
Tender Inviting Authority: AGM (E-E), AAI, Belagavi Airport
Name of Work: SITC of Split, Tower AC units in Terminal Building, Offices, CCRs, KSPO, Dog Kennel, etc. and SITC of Water Coolers in Terminal Building at Belagavi Airport.
Tender ID:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1 ton split ac,230v,50Hz single phase,5 star inverter, minimum ISEER 5, with refrigerant R32 including soft Copper refrigerant piping of required sizes for gas (suction) & liquid, with Armaflex insulation (upto 3m free supplied by the OEM)with 5 years on PCB and 10 years warranty on compressor including remote and batteries to the suitable location as decided by the engineer in charge.(Bluestar,model:IA512TNU or Daikin, Model:FTKM35 or equivalent) | 8.00 | Job | 100.00 | 33203.00 | 265624.00 | 30000.00 | 240000.00 | 34400.00 | 275200.00 | 33000.00 | 264000.00 | 240000.00 | jaydeep agency corporation
2.00 | Supply of 1.5 ton split ac,230v,50Hzsingle phase,5 star inverter minimum ISEER 5,with refrigerant R32 including soft Copper refrigerant piping of required sizes for gas (suction) & liquid, with Armaflex insulation (upto 3m free supplied by the OEM)with 5 years on PCB and 10 years warranty on compressor including remote and batteries to the suitable location as decided by the engineer in charge.(Bluestar,model:IA518TNU or Daikin,model:FTKM50 or equivalent) | 5.00 | Job | 100.00 | 38573.00 | 192865.00 | 35000.00 | 175000.00 | 40400.00 | 202000.00 | 36000.00 | 180000.00 | 175000.00 | jaydeep agency corporation
3.00 | Supply of 1.8/2 ton split ac,230v,50Hzsingle phase,5 star inverter,minimum ISEER 5, with refrigerant R32 including soft Copper refrigerant piping of required sizes for gas (suction) & liquid, with Armaflex insulation(upto 3m free supplied by the OEM) with 5 years on PCB and 10 years warranty on compressor including remote and batteries to the suitable location as decided by the engineer in charge.(Bluestar,model:IC524DNU or Daikin,Model:FTKM60 or equivalent) | 6.00 | Job | 10.00 | 52240.00 | 313440.00 | 45000.00 | 270000.00 | 51200.00 | 307200.00 | 45000.00 | 270000.00 | 270000.00 | jaydeep agency corporation, AQUATICS ENIGINEERS
4.00 | Supply of 3.8/4 ton,3phase ,415v,50Hz,minimum ISEER 2.5,Non inverter with minimum 1 year warranty on compressor, floor standing with refrigerant R410 with remote,etc all accessories to the suitable location as decided by the engineer in charge.(Blustar,model:VC148GBTUR3 or equivalent) | 8.00 | Job | 10.00 | 112500.00 | 900000.00 | 100000.00 | 800000.00 | 111000.00 | 888000.00 | 100000.00 | 800000.00 | 800000.00 | jaydeep agency corporation, AQUATICS ENIGINEERS
5.00 | Supply of water cooler stainless steel tank 304grade ,cold 30lts(minimum),normal 30lts(minimum),hot 2lts minimum with 7 stage purification of stages Prefilteration,precarbon filter,Post filtration,RO,UV,post carbon filter,etc complete as required .(Make :Conway,Model:125HC or acquetta ,model:NHC 250 or equivalent) | 7.00 | Job | 10.00 | 54000.00 | 378000.00 | 67000.00 | 469000.00 | 59000.00 | 413000.00 | 60000.00 | 420000.00 | 378000.00 | Manish Electricals
6.00 | Supply of 3.5 X 35 sq mm cable,Al cable XLPE insulated 650 V/1100 V Grade as per IS 7098 (Part 1) 1988 with upto Date Amendments. | 145.00 | Metre | 10.00 | 235.00 | 34075.00 | 285.00 | 41325.00 | 300.00 | 43500.00 | 700.00 | 101500.00 | 34075.00 | Manish Electricals
7.00 | Installation, Testing and Commissioning of Split AC of various capacities of 1/1.5/1.8/2.02 TR. | 19.00 | Job | 10.00 | 3000.00 | 57000.00 | 1500.00 | 28500.00 | 3200.00 | 60800.00 | 2500.00 | 47500.00 | 28500.00 | jaydeep agency corporation
8.00 | Installation, Testing and Commissioning of Tower AC of various capacities of 2.4/3.3/3.8/4.6 TR. | 8.00 | Job | 10.00 | 4000.00 | 32000.00 | 2500.00 | 20000.00 | 4900.00 | 39200.00 | 3800.00 | 30400.00 | 20000.00 | jaydeep agency corporation
9.00 | Installation, Testing and Commissioning of old Tower AC 3.3/3.8/4.6 TR units dismantled from other sites | 4.00 | Job | 10.00 | 4000.00 | 16000.00 | 1500.00 | 6000.00 | 5200.00 | 20800.00 | 5000.00 | 20000.00 | 6000.00 | jaydeep agency corporation
10.00 | Uninstallation of old split ac including outdoor,retracting of copper pipe line and drain pipe and shifting the same to the store as decided by the Engineer in charge. | 6.00 | Job | 10.00 | 1000.00 | 6000.00 | 350.00 | 2100.00 | 1400.00 | 8400.00 | 800.00 | 4800.00 | 2100.00 | jaydeep agency corporation
11.00 | Uninstallation of old tower ac including outdoor,retracting of copper pipe line and drain pipe and shifting the same to the store as decided by the Engineer in charge. | 4.00 | Job | 10.00 | 1000.00 | 4000.00 | 750.00 | 3000.00 | 2400.00 | 9600.00 | 1000.00 | 4000.00 | 3000.00 | jaydeep agency corporation
12.00 | Supply and laying of of Control cabling and remote cable with copper conductor min. 4 core x 2.5 sq.mm. cable with end termination for Indoor units. | 85.00 | Metre | 10.00 | 210.00 | 17850.00 | 150.00 | 12750.00 | 260.00 | 22100.00 | 400.00 | 34000.00 | 12750.00 | jaydeep agency corporation
13.00 | SITC of timer units for the ac units in UPS room and battery room of GLF, tower CCR units complete as required. | 4.00 | Job | 10.00 | 3500.00 | 14000.00 | 3850.00 | 15400.00 | 2400.00 | 9600.00 | 3000.00 | 12000.00 | 9600.00 | COOL STAR
14.00 | Supply and fixing of stand for ODU /Table L Type including drilling of wall, fasteners,nut,bolts complete as required. | 22.00 | Job | 10.00 | 600.00 | 13200.00 | 450.00 | 9900.00 | 1200.00 | 26400.00 | 1000.00 | 22000.00 | 9900.00 | jaydeep agency corporation
15.00 | Core cutting of the wall for ac units for the movement of Copper refrigerant piping of required sizes for gas (suction) & liquid, with Armaflex insulation and connecting the 25/32 mm dia for branch connection drain pipe from indoor to outdoor as per the location as decided by Engineer in charge. | 20.00 | Job | 10.00 | 300.00 | 6000.00 | 500.00 | 10000.00 | 1800.00 | 36000.00 | 1000.00 | 20000.00 | 6000.00 | Manish Electricals
16.00 | Supplying and fixing of MS fabrication stands for tower ac with powder coating complete as required. | 7.00 | Job | 10.00 | 900.00 | 6300.00 | 1250.00 | 8750.00 | 2500.00 | 17500.00 | 3000.00 | 21000.00 | 6300.00 | Manish Electricals
17.00 | Soft Copper refrigerant piping of 1/4 sizes for gas (suction) & liquid, with Nitrile Rubber insulation. | 26.00 | Metre | 10.00 | 325.00 | 8450.00 | 400.00 | 10400.00 | 340.00 | 8840.00 | 250.00 | 6500.00 | 6500.00 | AQUATICS ENIGINEERS
18.00 | Soft Copper refrigerant piping of 1/2 sizes for gas (suction) & liquid, with Nitrile Rubber insulation. | 26.00 | Metre | 10.00 | 650.00 | 16900.00 | 500.00 | 13000.00 | 440.00 | 11440.00 | 400.00 | 10400.00 | 10400.00 | AQUATICS ENIGINEERS
19.00 | Soft Copper refrigerant piping of 3/8 sizes for gas (suction) & liquid, with Nitrile Rubber insulation. | 60.00 | Metre | 10.00 | 750.00 | 45000.00 | 600.00 | 36000.00 | 440.00 | 26400.00 | 450.00 | 27000.00 | 26400.00 | COOL STAR
20.00 | Soft Copper refrigerant piping of 5/8 sizes for gas (suction) & liquid, with Nitrile Rubber insulation. | 60.00 | Metre | 10.00 | 780.00 | 46800.00 | 600.00 | 36000.00 | 540.00 | 32400.00 | 750.00 | 45000.00 | 32400.00 | COOL STAR
21.00 | 19mm dia Drain pipe with required size insulation | 20.00 | Metre | 10.00 | 120.00 | 2400.00 | 25.00 | 500.00 | 250.00 | 5000.00 | 150.00 | 3000.00 | 500.00 | jaydeep agency corporation
22.00 | 25mm dia Drain pipe with required size insulation | 6.00 | Metre | 10.00 | 125.00 | 750.00 | 35.00 | 210.00 | 300.00 | 1800.00 | 175.00 | 1050.00 | 210.00 | jaydeep agency corporation
23.00 | 32 mm dia for branch connection with required size insulation | 60.00 | Metre | 10.00 | 135.00 | 8100.00 | 45.00 | 2700.00 | 350.00 | 21000.00 | 200.00 | 12000.00 | 2700.00 | jaydeep agency corporation
24.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes directe in ground including excavation and refilling the trench etc as requried, but exculding sand cushioning and protective covering. Upto 35 sq. meters | 30.00 | Metre | 10.00 | 40.00 | 1200.00 | 70.00 | 2100.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 1200.00 | Manish Electricals
25.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 sq. meters | 95.00 | Metre | 10.00 | 40.00 | 3800.00 | 35.00 | 3325.00 | 250.00 | 23750.00 | 75.00 | 7125.00 | 3325.00 | jaydeep agency corporation
26.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. meters | 20.00 | Metre | 10.00 | 25.00 | 500.00 | 45.00 | 900.00 | 300.00 | 6000.00 | 150.00 | 3000.00 | 500.00 | Manish Electricals
27.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required(size 3 X 35 sq. mm (28)) | 6.00 | Job | 10.00 | 200.00 | 1200.00 | 225.00 | 1350.00 | 300.00 | 1800.00 | 500.00 | 3000.00 | 1200.00 | Manish Electricals
28.00 | Supplying and fixing following 6 way, Double door , single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Job | 10.00 | 900.00 | 900.00 | 2450.00 | 2450.00 | 1600.00 | 1600.00 | 3000.00 | 3000.00 | 900.00 | Manish Electricals
29.00 | Supplying and fixing following 12 way, Double door , single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Job | 10.00 | 2000.00 | 2000.00 | 3545.00 | 3545.00 | 3200.00 | 3200.00 | 5000.00 | 5000.00 | 2000.00 | Manish Electricals
30.00 | Supplying and fixing following 6 way (8 + 18), Double door , vertical type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Job | 10.00 | 5400.00 | 5400.00 | 4250.00 | 4250.00 | 5400.00 | 5400.00 | 4500.00 | 4500.00 | 4250.00 | jaydeep agency corporation
31.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 14.00 | Job | 10.00 | 160.00 | 2240.00 | 2450.00 | 34300.00 | 550.00 | 7700.00 | 400.00 | 5600.00 | 2240.00 | Manish Electricals
32.00 | Supplying and fixing following rating, 40A double pole, 240 volts, mcb in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Job | 10.00 | 600.00 | 600.00 | 850.00 | 850.00 | 880.00 | 880.00 | 1200.00 | 1200.00 | 600.00 | Manish Electricals
33.00 | Supplying and fixing following rating, 32A TP mcb in the existing DB complete with connections, testing and commissioning etc. as required. | 4.00 | Job | 10.00 | 1200.00 | 4800.00 | 2850.00 | 11400.00 | 600.00 | 2400.00 | 1500.00 | 6000.00 | 2400.00 | COOL STAR
34.00 | Supplying and fixing following rating, four pole, 415 volts, 63A,10KA MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Job | 10.00 | 1800.00 | 1800.00 | 4350.00 | 4350.00 | 750.00 | 750.00 | 4000.00 | 4000.00 | 750.00 | COOL STAR
35.00 | Supply and fixing of Four pole, (three phases and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required | 1.00 | Job | 10.00 | 3200.00 | 3200.00 | 7500.00 | 7500.00 | 1200.00 | 1200.00 | 5000.00 | 5000.00 | 1200.00 | COOL STAR
36.00 | Supplying and fixing 20 A, 240 volts,SPN Industrial type, socket outlet, with 2 pole and earth, metel enclosed plug top alongwith 20 A '' C'' curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metel cover for the socket out let and complete with conection, testing and commissioning etc. as required | 12.00 | Job | 10.00 | 1000.00 | 12000.00 | 2450.00 | 29400.00 | 2200.00 | 26400.00 | 2200.00 | 26400.00 | 12000.00 | Manish Electricals
37.00 | Supplying and fixing 32 A,TP&N enclosure with 3 pole and Earth Metal Plug & Socket for Incorporating TP MCB Industrial type, alongwith 32 A '' C'' curve, , in sheet steel enclosure, on surface or in recess, with chained metel cover for the socket out let and complete with conection, testing and commissioning etc. as required | 5.00 | Job | 10.00 | 1200.00 | 6000.00 | 7850.00 | 39250.00 | 2400.00 | 12000.00 | 4600.00 | 23000.00 | 6000.00 | Manish Electricals
38.00 | wiring for circuit /submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper cunductor,single core cable in surface/recessed midium class PVC conduit as required (2X4 sq.mm +1 X 4 sq.mm earth wire) | 271.00 | Metre | 10.00 | 270.00 | 73170.00 | 265.00 | 71815.00 | 240.00 | 65040.00 | 70.00 | 18970.00 | 18970.00 | AQUATICS ENIGINEERS
39.00 | Suplling and drawing following sizes of FRLS PVC insulated copper conductor single core cable in the exiting surface/recessed steel /PVC conduit as required (4 X 6 sq.Mm ) | 155.00 | Metre | 10.00 | 325.00 | 50375.00 | 385.00 | 59675.00 | 240.00 | 37200.00 | 460.00 | 71300.00 | 37200.00 | COOL STAR
| Total in Figures |  |  |  |  | 2553939.00 |  | 2486995.00 |  | 2696500.00 |  | 2546245.00
Lowest Amount Quoted BY: jaydeep agency corporation(2486995.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Split, Tower AC units in Terminal Building, Offices, CCRs, KSPO, Dog Kennel, etc. and SITC of Water Coolers in Terminal Building at Belagavi Airport Tender ID: 2024_AAI_185262_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | jaydeep agency corporation | 2486995.00 | L1
| 2 | AQUATICS ENIGINEERS | 2546245.00 | L2
| 3 | Manish Electricals | 2553939.00 | L3
| 4 | COOL STAR | 2696500.00 | L4