## BoQ1
Government eProcurement System Created By: Biju J Created Date/Time: 07-Mar-2024 11:48 AM Tender Title: Re-configuration of Terminal Building at Calicut International Airport. SH- Civil Works Tender ID: 2024_AAI_185351_1
Tender Inviting Authority: <Assistant General Manager (Engg-C), Engineering Civil, AAI, Calicut Intl. Airport-673647>
Name of Work: <Reconfiguration of Terminal Building at Calicut International Airport.SH: Civil Works>
Contract No: <2024_AAI_185351>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BLESSO CONSTRUCTIONS(GSTN-33ABIPC9066F1ZS) |  | TATI CONSTRUCTION PVT LTD(GSTN-32AACCT8307Q1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of materials By Mechanical Transport including loading,unloading and stacking Lime, moorum, building to a lead of 1 km | 400.00 | cum |  | 300.00 | 120000.00 | 350.00 | 140000.00 | 120000.00 | BLESSO CONSTRUCTIONS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds od soil | 30.00 | cum |  | 350.00 | 10500.00 | 350.00 | 10500.00 | 10500.00 | BLESSO CONSTRUCTIONS, TATI CONSTRUCTION PVT LTD
3.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 50.00 | m |  | 400.00 | 20000.00 | 200.00 | 10000.00 | 10000.00 | TATI CONSTRUCTION PVT LTD
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 10.00 | cum |  | 350.00 | 3500.00 | 150.00 | 1500.00 | 1500.00 | TATI CONSTRUCTION PVT LTD
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns, etc. for mass concrete | 15.00 | sqm |  | 550.00 | 8250.00 | 400.00 | 6000.00 | 6000.00 | TATI CONSTRUCTION PVT LTD
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform | 40.00 | sqm |  | 750.00 | 30000.00 | 600.00 | 24000.00 | 24000.00 | TATI CONSTRUCTION PVT LTD
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 58.00 | sqm |  | 750.00 | 43500.00 | 650.00 | 37700.00 | 37700.00 | TATI CONSTRUCTION PVT LTD
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Columns, Pillars, Piers, Abutments, Posts and Struts | 30.00 | sqm |  | 800.00 | 24000.00 | 650.00 | 19500.00 | 19500.00 | TATI CONSTRUCTION PVT LTD
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth levelThermo-Mechanically Treated bars of grade Fe-500D or more | 3300.00 | kg |  | 110.00 | 363000.00 | 90.00 | 297000.00 | 297000.00 | TATI CONSTRUCTION PVT LTD
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 1350.00 | kg |  | 110.00 | 148500.00 | 90.00 | 121500.00 | 121500.00 | TATI CONSTRUCTION PVT LTD
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | cum |  | 7000.00 | 210000.00 | 6500.00 | 195000.00 | 195000.00 | TATI CONSTRUCTION PVT LTD
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 40.00 | cum |  | 8000.00 | 320000.00 | 7000.00 | 280000.00 | 280000.00 | TATI CONSTRUCTION PVT LTD
13.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 4.00 | Cum |  | 10000.00 | 40000.00 | 9500.00 | 38000.00 | 38000.00 | TATI CONSTRUCTION PVT LTD
14.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 micronsepoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required | 35.00 | sqm |  | 1000.00 | 35000.00 | 900.00 | 31500.00 | 31500.00 | TATI CONSTRUCTION PVT LTD
15.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 22.00 | cum |  | 9800.00 | 215600.00 | 8500.00 | 187000.00 | 187000.00 | TATI CONSTRUCTION PVT LTD
16.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | cum |  | 11000.00 | 55000.00 | 10000.00 | 50000.00 | 50000.00 | TATI CONSTRUCTION PVT LTD
17.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 2.00 | cum |  | 9000.00 | 18000.00 | 14000.00 | 28000.00 | 18000.00 | BLESSO CONSTRUCTIONS
18.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : in Cement mortar 1:6 (1 cement : 6 coarse sand) | 40.00 | cum |  | 9500.00 | 380000.00 | 14000.00 | 560000.00 | 380000.00 | BLESSO CONSTRUCTIONS
19.00 | Laterite masonry with laterite stone blocks of size 0.35 x 0.21 x 0.20 m (compressive strength not less than 3.50 N/mm2) with cement mortar 1 : 6 (1 cement : 6 coarse) sand including dressing of sides etc. complete as per the direction of Engineer in charge. Up to plinth level. | 12.00 | cum |  | 9500.00 | 114000.00 | 7000.00 | 84000.00 | 84000.00 | TATI CONSTRUCTION PVT LTD
20.00 | Laterite masonry with laterite stone blocks of size 0.35 x 0.21 x 0.20 m (compressive strength not less than 3.50 N/mm2) with cement mortar 1 : 6 (1 cement : 6 coarse) sand including dressing of sides etc. complete as per the direction of Engineer in charge: Above plinth level up to floor V level. | 77.00 | cum |  | 10000.00 | 770000.00 | 7500.00 | 577500.00 | 577500.00 | TATI CONSTRUCTION PVT LTD
21.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry 100 mm/ 125 mm thick with Grade-I AAC blocks of density 551 to 650 kg/ cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | 30.00 | cum |  | 10000.00 | 300000.00 | 9750.00 | 292500.00 | 292500.00 | TATI CONSTRUCTION PVT LTD
22.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : | 7.00 | each |  | 15000.00 | 105000.00 | 18000.00 | 126000.00 | 105000.00 | BLESSO CONSTRUCTIONS
23.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 570.00 | sqm |  | 500.00 | 285000.00 | 350.00 | 199500.00 | 199500.00 | TATI CONSTRUCTION PVT LTD
24.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 4 fine sand) | 290.00 | sqm |  | 550.00 | 159500.00 | 400.00 | 116000.00 | 116000.00 | TATI CONSTRUCTION PVT LTD
25.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile organic compound) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams per litre. | 600.00 | sqm |  | 100.00 | 60000.00 | 100.00 | 60000.00 | 60000.00 | BLESSO CONSTRUCTIONS, TATI CONSTRUCTION PVT LTD
26.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 3620.00 | sqm |  | 200.00 | 724000.00 | 170.00 | 615400.00 | 615400.00 | TATI CONSTRUCTION PVT LTD
27.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 230.00 | sqm |  | 300.00 | 69000.00 | 170.00 | 39100.00 | 39100.00 | TATI CONSTRUCTION PVT LTD
28.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. on steel work | 570.00 | sqm |  | 500.00 | 285000.00 | 200.00 | 114000.00 | 114000.00 | TATI CONSTRUCTION PVT LTD
29.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1770.00 | sqm |  | 150.00 | 265500.00 | 130.00 | 230100.00 | 230100.00 | TATI CONSTRUCTION PVT LTD
30.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. (The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry.) | 250.00 | Sqm |  | 800.00 | 200000.00 | 365.00 | 91250.00 | 91250.00 | TATI CONSTRUCTION PVT LTD
31.00 | Providing and laying vitrified floor tiles in different sizes (thickness to bespecified by the manufacturer) with water absorption less than 0.08%and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand),jointing with grey cement slurry @ 3.3 kg/ sqm including grouting thejoints with white cement and matching pigments etc., complete. Size of tile 1000 x 1000 mm | 1280.00 | sqm |  | 2450.00 | 3136000.00 | 1500.00 | 1920000.00 | 1920000.00 | TATI CONSTRUCTION PVT LTD
32.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 1000 x 1000 mm | 110.00 | sqm |  | 2500.00 | 275000.00 | 1300.00 | 143000.00 | 143000.00 | TATI CONSTRUCTION PVT LTD
33.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 120 x 60 cm | 240.00 | sqm |  | 2500.00 | 600000.00 | 1350.00 | 324000.00 | 324000.00 | TATI CONSTRUCTION PVT LTD
34.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08% and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 120 x 60 cm | 534.00 | sqm |  | 2500.00 | 1335000.00 | 1300.00 | 694200.00 | 694200.00 | TATI CONSTRUCTION PVT LTD
35.00 | Providing and laying 18 to 20mm thick superior Granite stone Flooring, machine cut in required size, approved shade, color and texture laid over 15 mm (average) thick base of cement mortar 1:4 (1 cement: 4 coarse sand) followed by laying and fixing with highly polymer single component adhesive of approved make with minimum 6-8mm thickness and jointed with white cement slurry mixed with matching pigment, including rubbing and curing etc. complete at all levels. The bottom surface and four sides of the granite flooring shall be pre treated before laying with two or more coats of water proof penetrating shield of approved make . The top surface of the granite flooring shall be treated with two or more coats of stain proof penetrating shield treatment on the top surface of granite floor surface which shall be of approved make. The work shall be carried out as per manufacturer's recommendation including final buffing, cleaning etc at final stage of building work complete as per satisfaction and direction of the Engineer-in-charge (Sample of granite stone shall be got approved by Engineer-in-Charge) Note: - The Process includes cost of granite stone (cutting/ wastage/ Pre-polishing/ laying with mortar/ drying/ fixing treatment with Water Proof Penetrating Shield Treatment, treating top surface with Stain Proof Penetrating Shield, complete) Machine cut, mirror polished steel grey/Kashmiri Gold/white Glaxy/Imperial white granite stone slabs or any other colour approved by EIC of required size (general area) | 18.00 | sqm |  | 4500.00 | 81000.00 | 3260.00 | 58680.00 | 58680.00 | TATI CONSTRUCTION PVT LTD
36.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 23.00 | sqm |  | 4500.00 | 103500.00 | 2800.00 | 64400.00 | 64400.00 | TATI CONSTRUCTION PVT LTD
37.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 20.00 | each |  | 300.00 | 6000.00 | 650.00 | 13000.00 | 6000.00 | BLESSO CONSTRUCTIONS
38.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 30.00 | m |  | 500.00 | 15000.00 | 150.00 | 4500.00 | 4500.00 | TATI CONSTRUCTION PVT LTD
39.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I.wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, theperimeter of ceiling fixed to wall/partition with the help of rawl plugsat 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointingcompound , jointing tapes , finishing with jointing compound in 3layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge :12.5 mm thick tapered edge gypsum mnoisture resistant board. | 1735.00 | sqm |  | 1400.00 | 2429000.00 | 1350.00 | 2342250.00 | 2342250.00 | TATI CONSTRUCTION PVT LTD
40.00 | Providing and fixing at all heights false ceiling to the existing frame work jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound, jointing tapes, finishing with jointing compound upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers cutouts made with frame of perimeter channels suitably fixed, after removing and cutting the damaged false ceiling board to a required size and shape at requined height, etc all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting, : 12.5 mm thick tapered edge gypsum moisture resistant board. | 260.00 | sqm |  | 1000.00 | 260000.00 | 900.00 | 234000.00 | 234000.00 | TATI CONSTRUCTION PVT LTD
41.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 720.00 | kg |  | 160.00 | 115200.00 | 150.00 | 108000.00 | 108000.00 | TATI CONSTRUCTION PVT LTD
42.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 24000.00 | kg |  | 150.00 | 3600000.00 | 150.00 | 3600000.00 | 3600000.00 | BLESSO CONSTRUCTIONS, TATI CONSTRUCTION PVT LTD
43.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) | 2140.00 | kg |  | 700.00 | 1498000.00 | 550.00 | 1177000.00 | 1177000.00 | TATI CONSTRUCTION PVT LTD
44.00 | Modifying the available dismantled SS hollow tube hand rails to the required size and pattern by cutting, bending, making correction, welding grinding, buffing, polishing and fixing to floor or the side of was\ist slab at all levels with necessary nuts, screws, bolts, fastners, base cap, end cap including making holes in the floor/granite/tile etc and grouting all complete as per the direction of EIC. (Dismantled S.S Railing will be suppled by AAI) | 1680.00 | kg |  | 200.00 | 336000.00 | 175.00 | 294000.00 | 294000.00 | TATI CONSTRUCTION PVT LTD
45.00 | Providing and fixing plain GI coloured sheets of 0.35 mm thick. The sheet shall be fixed using self drilling /self tapping screws, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of supporting frame work including cutting to size and shape wherever required. | 180.00 | sqm |  | 1200.00 | 216000.00 | 700.00 | 126000.00 | 126000.00 | TATI CONSTRUCTION PVT LTD
46.00 | Design supply & installation of suspended Spider Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steelof approved manufacturer with glass panel having 12 mm thick clear toughened glass held together with SS- 316 Grade Stainless steel Spider & bolt assembly with laminated glass fins 21 mm thick. TheGlass fins and glass panel assembly shall be connected to Slab/ beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channelof the assembly to be filled with non staining weather sealant, s as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured. | 770.00 | sqm |  | 9500.00 | 7315000.00 | 7200.00 | 5544000.00 | 5544000.00 | TATI CONSTRUCTION PVT LTD
47.00 | Providing and fixing frameless glass partition with 12mm thick toughened glass with appropriate bottom and top aluminium powder coated channels of approved shade including necessary EDPM gasket etc. The frameless glass partition shall fixed to the existing flooring/ceiling/framework with necessary screws and the joints/gaps shall be filled with silicon sealant of approved make etc complete. The aluminum channel will be paid seperately under respective item. | 380.00 | sqm |  | 6000.00 | 2280000.00 | 3800.00 | 1444000.00 | 1444000.00 | TATI CONSTRUCTION PVT LTD
48.00 | Providing and fixing of forsted filim /etchin of approved make & thickness of 2 mil (0.05mm) without adhesive & 3-4mil (0.8-0.10mm) with adhesive including cutting the film to the required size, pasting the film on glass without any air bubbles at all heights complete as per the direction of the engineer in charge. The rate shall be inclusive of material, labour, wastage, transportation etc. | 600.00 | sqm |  | 1200.00 | 720000.00 | 1000.00 | 600000.00 | 600000.00 | TATI CONSTRUCTION PVT LTD
49.00 | Providing and fixing in position 4mm thick Aluminium composite panels(ACP) in external face, column, and any other location in required profiles as per direction of Engineering in charge. Approved make confirming to ASTM standard/ specification core sandwitched between two skins of 0.5mm thick to have overall thickness of 4mm with exterior coating of PVDF paint. The item includes straight/ slope curvilinear profiles and shapes including all accessories and incidental works. This item also includes application of approved silicon sealant in the joints to make it watertight. The ACP sheets to be fixed using mechanical fastens and cleats on structures. The cost includes ACP material, cleats, labours, fastners, screws etc. to fix aluminium composite panels to walls, aluminium frame work in required profiles including cutting in truss joining area as per the direction of Engineer In Charge. Only the cost of Aluminium required for fixing ACP sheet as per site requirement, framework wherever required will be paid extra. | 170.00 | sqm |  | 2800.00 | 476000.00 | 2600.00 | 442000.00 | 442000.00 | TATI CONSTRUCTION PVT LTD
50.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium(anodised transparent or dyed to required shadeacoording to IS:1868, minimum anodic coating of grade AC 15) | 340.00 | kg |  | 675.00 | 229500.00 | 600.00 | 204000.00 | 204000.00 | TATI CONSTRUCTION PVT LTD
51.00 | Providing and fixing in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Multi wood -12 mm | 10.00 | sqm |  | 2000.00 | 20000.00 | 500.00 | 5000.00 | 5000.00 | TATI CONSTRUCTION PVT LTD
52.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 825.00 | kg |  | 675.00 | 556875.00 | 600.00 | 495000.00 | 495000.00 | TATI CONSTRUCTION PVT LTD
53.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 205.00 | kg |  | 675.00 | 138375.00 | 600.00 | 123000.00 | 123000.00 | TATI CONSTRUCTION PVT LTD
54.00 | Extra for providing wood finish coating on Aluminium extruded sections | 100.00 | kg |  | 100.00 | 10000.00 | 28.00 | 2800.00 | 2800.00 | TATI CONSTRUCTION PVT LTD
55.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on both sides | 105.00 | sqm |  | 2000.00 | 210000.00 | 930.00 | 97650.00 | 97650.00 | TATI CONSTRUCTION PVT LTD
56.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 6.00 | sqm |  | 1500.00 | 9000.00 | 1300.00 | 7800.00 | 7800.00 | TATI CONSTRUCTION PVT LTD
57.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .30 | cum |  | 400000.00 | 120000.00 | 215000.00 | 64500.00 | 64500.00 | TATI CONSTRUCTION PVT LTD
58.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 28.00 | Sqm |  | 3800.00 | 106400.00 | 3500.00 | 98000.00 | 98000.00 | TATI CONSTRUCTION PVT LTD
59.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 6.00 | Sqm |  | 8000.00 | 48000.00 | 13600.00 | 81600.00 | 48000.00 | BLESSO CONSTRUCTIONS
60.00 | Providing and fixing laminated 3mm thick Hylam sheets of approved shade, colour and texture in shelves, partitions, aluminium frameworks with screws, fittings and EDPM gaskets etc., wherever required (Aluminum framework shall be paid seperately under respective item. | 30.00 | sqm |  | 1300.00 | 39000.00 | 1580.00 | 47400.00 | 39000.00 | BLESSO CONSTRUCTIONS
61.00 | Providing and fixing of vertical venitian blind 100 mm wide made of polyester viscose fabric of approved manufacturer with powder coated aluminium guide channel with fittings chains connecting chain at bottom and sufficient bottom weights in good condition of required colour and pattern etc, as per the direction of engineer in charge. (The venetian blind should be of 100mm width polyester viscose fabric 0.3mm to 0.4mm thick, weight between 250 to 350gms per sq.m, Opacity 60 to 80). The rate shall include cost of all the materials, fabrication, fixing charges, carriage and taxes. | 63.00 | sqm |  | 2500.00 | 157500.00 | 1300.00 | 81900.00 | 81900.00 | TATI CONSTRUCTION PVT LTD
62.00 | Providing and fixing plain multipurpose cement board(Hight pressure steam cured) with suitable screws for cement particle board in ceiling etc. complete (frame work to be paid seperatately). 6 mm thick Cement fiber board as per IS: 14862 | 240.00 | sqm |  | 2000.00 | 480000.00 | 1380.00 | 331200.00 | 331200.00 | TATI CONSTRUCTION PVT LTD
63.00 | Providing and fixing marine plywood of approved brand and quality as per IS code 710 on approved frame work with necessary screws etc., of approved make and colour as per the direction of EIC. 12 mm thick | 260.00 | sqm |  | 2500.00 | 650000.00 | 1000.00 | 260000.00 | 260000.00 | TATI CONSTRUCTION PVT LTD
64.00 | Providing and fixing wallpapers of approved brand and design. | 110.00 | sqm |  | 1000.00 | 110000.00 | 1090.00 | 119900.00 | 110000.00 | BLESSO CONSTRUCTIONS
65.00 | Providing and fixing 20 mm thick P.V.C wall/ceiling fluted panels of approved make,shade, colour, texture on existing walls/Ceiling. | 60.00 | sqm |  | 2000.00 | 120000.00 | 2850.00 | 171000.00 | 120000.00 | BLESSO CONSTRUCTIONS
66.00 | Providing and fixing plywood 4 mm thick, one side decorative veneer conforming to IS: 1328 (type-1), for plain lining / cladding with necessary screws, including priming coat on unexposed surface with : Decorative veneer facings of approved manufacture | 220.00 | sqm |  | 2000.00 | 440000.00 | 2500.00 | 550000.00 | 440000.00 | BLESSO CONSTRUCTIONS
67.00 | Providing and fixing Glass door Patch lock of approved make including all the necessary cutting and making good etc. complete as per the direction of EIC. | 2.00 | each |  | 5000.00 | 10000.00 | 5400.00 | 10800.00 | 10000.00 | BLESSO CONSTRUCTIONS
68.00 | Providing and fixing Stainless Steel Door Handle (18 inch) of approved make including all the fittings etc., as per the direction of EIC. | 2.00 | each |  | 5000.00 | 10000.00 | 3100.00 | 6200.00 | 6200.00 | TATI CONSTRUCTION PVT LTD
69.00 | Providing and fixing Wall mounted grab bar of approved make for Handicapped toilet as per the direction of EIC. | 9.00 | each |  | 2000.00 | 18000.00 | 4980.00 | 44820.00 | 18000.00 | BLESSO CONSTRUCTIONS
70.00 | Providing and fixing wall mounted hinged Hand Rail 750 x 100 mm (Fibre type, White epoxy finish) of approved make for Handicapped Toilet as per the direction of EIC. | 3.00 | each |  | 3000.00 | 9000.00 | 11060.00 | 33180.00 | 9000.00 | BLESSO CONSTRUCTIONS
71.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. | 5.00 | each |  | 3000.00 | 15000.00 | 2150.00 | 10750.00 | 10750.00 | TATI CONSTRUCTION PVT LTD
72.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 5.00 | each |  | 400.00 | 2000.00 | 120.00 | 600.00 | 600.00 | TATI CONSTRUCTION PVT LTD
73.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 10.00 | each |  | 300.00 | 3000.00 | 100.00 | 1000.00 | 1000.00 | TATI CONSTRUCTION PVT LTD
74.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 5.00 | each |  | 3000.00 | 15000.00 | 4000.00 | 20000.00 | 15000.00 | BLESSO CONSTRUCTIONS
75.00 | Providing & fixing of white vitreous China wall mounting cascade type water closet for WC with seat cover and concealed cistern with half frame set, Q KNOBE with CP bolts, nuts, CI chair hanging arrangements with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed cistern with flow restriction 1.5LPM as per GRIHA standard including brass / SS screws and washer complete of approved make or equivalent including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 18.00 | each |  | 20000.00 | 360000.00 | 12500.00 | 225000.00 | 225000.00 | TATI CONSTRUCTION PVT LTD
76.00 | Providing & fixing of white vitreous China Floor mounting cascade type water closet for WC with seat cover and concealed cistern with half frame set, Q KNOBE with CP bolts, nuts, with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed cistern with flow restriction 1.5LPM as per GRIHA standard including brass / SS screws and washer complete of approved make or equivalent including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 3.00 | each |  | 20000.00 | 60000.00 | 16000.00 | 48000.00 | 48000.00 | TATI CONSTRUCTION PVT LTD
77.00 | Providing & fixing white vitrous china flat back urinal of size 360 x 330 x 740 of approved make with automatic flushing systems comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipmentand bottle trap Hindware make and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 15.00 | each |  | 8000.00 | 120000.00 | 25100.00 | 376500.00 | 120000.00 | BLESSO CONSTRUCTIONS
78.00 | Providing & fixing of white vitreous china under counter oval wash basin/circular basin 560 x 470 x 190 mm of approved make with CP brass waste assembly, CP cast brass bottle trap with extension piece, 450mm long CP copper connections pipes, wall flanges and rubber adapters for waste connection complete including , nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 21.00 | each |  | 3000.00 | 63000.00 | 4980.00 | 104580.00 | 63000.00 | BLESSO CONSTRUCTIONS
79.00 | Providing & fixing modular toilet cubicles of approved make, consisting of high pressure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider, doors and pilasters (The cubicle shall have dimensions of length vrrying from 1.20 m to 1.60 m and wdith varrying from 0.85 m to 1.20 m and height of 1.995 m (including bottom gap 150 mm, but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of 650mm width, the assembly shall be supported by black satin finish aluminium head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 150mm using aluminium alloy satin finish adjustable legs screwed to the floor included accessories with standard - Besco make aluminium, nylon polyamide accessories, gravity hinges,Aluminium top rail,Privacy thumb turn c/w occupancy indicator,coat hook, door knob,Adjustable pedestal,Aluminium "U" channel, aluminum door stopper channel,rubber door stopper lining,screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle) | 22.00 | each |  | 35000.00 | 770000.00 | 30000.00 | 660000.00 | 660000.00 | TATI CONSTRUCTION PVT LTD
80.00 | Providing and fixing Pillar taps sensor type as per GRIHA standard for wash basin of Chrome finished of approved make complete as per direction of EIC. | 20.00 | each |  | 8000.00 | 160000.00 | 15670.00 | 313400.00 | 160000.00 | BLESSO CONSTRUCTIONS
81.00 | Providing and fixing Single lever clinical faucet-piller cock as per GRIHA standard for wash basin of Chrome finished of approved make complete as per direction of EIC. | 1.00 | each |  | 8000.00 | 8000.00 | 1930.00 | 1930.00 | 1930.00 | TATI CONSTRUCTION PVT LTD
82.00 | Providing and fixing CP brass hand spray with lever control (health faucet) of approved make, 1meter long flexible tube and wall hook including cost of regulators and flow restrictors and all fittings and fixtures complete inlcuding cutting and making good the walls and floors wherever required.The rate is inclusive of all necessary fittings for instalation. | 31.00 | each |  | 2000.00 | 62000.00 | 2500.00 | 77500.00 | 62000.00 | BLESSO CONSTRUCTIONS
83.00 | Providing & fixing of Compact Laminate Urinal partition projection 900 x 450 mm of approved make as directed by Engineer in charge The rate is Inclusive of cost, carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 11.00 | each |  | 1000.00 | 11000.00 | 4855.00 | 53405.00 | 11000.00 | BLESSO CONSTRUCTIONS
84.00 | Providing and fixing of SS Body liquid soap dispenser of approved make fixed to wall with screws as per the direction of EIC. | 19.00 | each |  | 1000.00 | 19000.00 | 600.00 | 11400.00 | 11400.00 | TATI CONSTRUCTION PVT LTD
85.00 | Providing and fixing PVC Multi Floor trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : Multi Floor Trap 110x75x50 mm | 31.00 | each |  | 500.00 | 15500.00 | 350.00 | 10850.00 | 10850.00 | TATI CONSTRUCTION PVT LTD
86.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 26.00 | each |  | 1500.00 | 39000.00 | 1200.00 | 31200.00 | 31200.00 | TATI CONSTRUCTION PVT LTD
87.00 | Providing and fixing of CP brass sink cock of approved make as per the directions of Engineer in Charge 15mm nominal bore | 2.00 | each |  | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 3000.00 | TATI CONSTRUCTION PVT LTD
88.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 41.00 | each |  | 1200.00 | 49200.00 | 1000.00 | 41000.00 | 41000.00 | TATI CONSTRUCTION PVT LTD
89.00 | Providing and fixing of SS Twin Toilet paper holder of approved make recessed to wall as per the direction of EIC. | 25.00 | each |  | 1000.00 | 25000.00 | 2580.00 | 64500.00 | 25000.00 | BLESSO CONSTRUCTIONS
90.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 25.00 | each |  | 1500.00 | 37500.00 | 1800.00 | 45000.00 | 37500.00 | BLESSO CONSTRUCTIONS
91.00 | Providing and fixing 6mm thick mirror with studs as per the direction of Engineer in charge in approved sizes and shapes in toilets. The rates includes material, labour, machineries and fixing charges in nothing extra shall be payable. | 13.00 | sqm |  | 2500.00 | 32500.00 | 1900.00 | 24700.00 | 24700.00 | TATI CONSTRUCTION PVT LTD
92.00 | Providing and fixing CP brass two way bib cock of approved make conforming to IS 8931 including all fittings and fixtures complete including cutting and making good the walls and floor wherever required as directed by engineer in charge | 46.00 | each |  | 2500.00 | 115000.00 | 1700.00 | 78200.00 | 78200.00 | TATI CONSTRUCTION PVT LTD
93.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 50 mm nominal outer dia Pipes | 210.00 | m |  | 800.00 | 168000.00 | 730.00 | 153300.00 | 153300.00 | TATI CONSTRUCTION PVT LTD
94.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 32 mm nominal outer dia Pipes | 210.00 | m |  | 700.00 | 147000.00 | 445.00 | 93450.00 | 93450.00 | TATI CONSTRUCTION PVT LTD
95.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 180.00 | m |  | 700.00 | 126000.00 | 450.00 | 81000.00 | 81000.00 | TATI CONSTRUCTION PVT LTD
96.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes | 180.00 | m |  | 650.00 | 117000.00 | 350.00 | 63000.00 | 63000.00 | TATI CONSTRUCTION PVT LTD
97.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x460 mm bowl depth 200 mm | 2.00 | each |  | 10000.00 | 20000.00 | 8400.00 | 16800.00 | 16800.00 | TATI CONSTRUCTION PVT LTD
98.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line, vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 150 mm | 100.00 | m |  | 1000.00 | 100000.00 | 1400.00 | 140000.00 | 100000.00 | BLESSO CONSTRUCTIONS
99.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line, vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 110 mm | 180.00 | m |  | 600.00 | 108000.00 | 930.00 | 167400.00 | 108000.00 | BLESSO CONSTRUCTIONS
100.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 75 mm | 150.00 | m |  | 550.00 | 82500.00 | 640.00 | 96000.00 | 82500.00 | BLESSO CONSTRUCTIONS
101.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 50 mm | 60.00 | m |  | 400.00 | 24000.00 | 600.00 | 36000.00 | 24000.00 | BLESSO CONSTRUCTIONS
102.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 15.00 | each |  | 3000.00 | 45000.00 | 4400.00 | 66000.00 | 45000.00 | BLESSO CONSTRUCTIONS
103.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 22.00 | each |  | 800.00 | 17600.00 | 400.00 | 8800.00 | 8800.00 | TATI CONSTRUCTION PVT LTD
104.00 | Dismantling of existing EWC,IWC,URINALS,Wash basins including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 50.00 | each |  | 300.00 | 15000.00 | 350.00 | 17500.00 | 15000.00 | BLESSO CONSTRUCTIONS
105.00 | Dismantling of CP fittings like Bib cock (Long body and short body), Bottle trap, Angle cock, health faucet, Pillar cock, Shower, Hand shower including stacking of usefull materials near the site and disposal of unserviceable materials within 50 meters lead complete as per the direction of the engineer in charge. | 140.00 | each |  | 100.00 | 14000.00 | 100.00 | 14000.00 | 14000.00 | BLESSO CONSTRUCTIONS, TATI CONSTRUCTION PVT LTD
106.00 | Dismantling of Towel rail, Tissue paper holder, Soap dispender, including stacking of usefull materials near the site and disposal of unserviceable materials within 50 meters lead complete as per the direction of the engineer in charge. | 55.00 | each |  | 150.00 | 8250.00 | 100.00 | 5500.00 | 5500.00 | TATI CONSTRUCTION PVT LTD
107.00 | Dismantling of SS rail including stacking of materials within lead up to 150 m and complete as per the direction of the engineer in charge. | 2400.00 | kg |  | 100.00 | 240000.00 | 20.00 | 48000.00 | 48000.00 | TATI CONSTRUCTION PVT LTD
108.00 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead Thickness above 10 mm up to 25 mm | 330.00 | sqm |  | 100.00 | 33000.00 | 60.00 | 19800.00 | 19800.00 | TATI CONSTRUCTION PVT LTD
109.00 | Dismantling PVC pipes of all diameters including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | 200.00 | m |  | 50.00 | 10000.00 | 20.00 | 4000.00 | 4000.00 | TATI CONSTRUCTION PVT LTD
110.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.00 | cum |  | 2500.00 | 2500.00 | 2200.00 | 2200.00 | 2200.00 | TATI CONSTRUCTION PVT LTD
111.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 2690.00 | sqm |  | 200.00 | 538000.00 | 75.00 | 201750.00 | 201750.00 | TATI CONSTRUCTION PVT LTD
112.00 | Dismantling ACP cladding without damaging existing column/wall etc and stacking the serviceable material within 150 m lead, complete as directed by the enginee in charge | 170.00 | sqm |  | 200.00 | 34000.00 | 40.00 | 6800.00 | 6800.00 | TATI CONSTRUCTION PVT LTD
113.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1990.00 | sqm |  | 100.00 | 199000.00 | 60.00 | 119400.00 | 119400.00 | TATI CONSTRUCTION PVT LTD
114.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 270.00 | sqm |  | 200.00 | 54000.00 | 120.00 | 32400.00 | 32400.00 | TATI CONSTRUCTION PVT LTD
115.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 290.00 | cum |  | 1500.00 | 435000.00 | 1000.00 | 290000.00 | 290000.00 | TATI CONSTRUCTION PVT LTD
116.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 100.00 | m |  | 100.00 | 10000.00 | 105.00 | 10500.00 | 10000.00 | BLESSO CONSTRUCTIONS
117.00 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars. | 21.00 | cum |  | 3500.00 | 73500.00 | 2800.00 | 58800.00 | 58800.00 | TATI CONSTRUCTION PVT LTD
118.00 | Deduct for not using zink chromate primer in item no. 41 as the primer item is already available in item no. 28 | 720.00 | kg |  | 20.00 | 14400.00 | 1.30 | 936.00 | 936.00 | TATI CONSTRUCTION PVT LTD
119.00 | Deduct for not using zink chromate primer in item no. 42 as the primer item is already available in item no. 28 | 24000.00 | kg |  | 20.00 | 480000.00 | 1.30 | 31200.00 | 31200.00 | TATI CONSTRUCTION PVT LTD
120.00 | Supply and Installation of dormakaba Automatic Sliding door operator dormakaba ES 200 Easy 4150mm, with the clear passage width of 2000mm and fixing 12 mm toughened glass doors of size 2000*2400(WxH) on the operator and other all-inclusive as per the direction of EIC. | 6.00 | each |  | 275000.00 | 1650000.00 | 316990.00 | 1901940.00 | 1650000.00 | BLESSO CONSTRUCTIONS
121.00 | Providing and fixing of 6 mm thick framelesss toughened lacqered glass of approved make, colour and manufacture which to be fixed on 12 mm thick marine plywood with necessary studs, double side tape, adhessive etc.,The marine plywood shall be of approved brand and quality as per IS code 710 and shall be fixed to existing framework with necessary screws etc, as per the direction of EIC. | 139.00 | sqm |  | 6000.00 | 834000.00 | 5700.00 | 792300.00 | 792300.00 | TATI CONSTRUCTION PVT LTD
| Total in Figures |  |  |  |  | 41256650.00 |  | 33232621.00
Lowest Amount Quoted BY: TATI CONSTRUCTION PVT LTD(33232621.00)

## BOQ Summary
BOQ Summary Details Tender Title: Re-configuration of Terminal Building at Calicut International Airport. SH- Civil Works Tender ID: 2024_AAI_185351_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TATI CONSTRUCTION PVT LTD | 33232621.00 | L1
| 2 | BLESSO CONSTRUCTIONS | 41256650.00 | L2