## BoQ1
Government eProcurement System Created By: Rahul Sharma Created Date/Time: 14-Mar-2024 01:18 PM Tender Title: Construction of ILS at bhavnagar Airport Tender ID: 2024_AAI_185647_1
Tender Inviting Authority: SM (Engg - Civil), Vadodara Airport, Vadodara
Name of Work: Construction of ILS at Bhavnagar Airport.(Civil Works)
Contract No: AAI/BHAV/SM(E-C)/ILS/2023-24/ (Tender ID: 2024_AAI_185647_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Parikh Kashyap Indulal(GSTN-24ADFPP9401N1Z9) |  | RAJENDRASINH J JHALA(GSTN-24AADPZ4833D1AQ) |  | Orient Builders(GSTN-24AAAFO4669H1Z7) |  | Bhavani Construction Co(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing of prefabricated frangible hut and adjoining toilet (designed as per criteria mentioned in ICAO's Aerodrome Design manual (DOC- 9157) Part - 6) with all accessories of Size 8.0m X 5.0m X 3.0m (L X B X H) with center height 3.5 m for main hut and frangible hut of size 2.0m X 2.0m X 3.0m (L X B X H) with elevated height 3.5m on one side for toilet along the wall made of sandwich panel of 2mm FRP sheet and PUF insulation as a core material (40 mm thick) to meet the frangibility criteria including PVC cam lock jointing with outing nut and bolts and bottom and top and single piece corner panel the insulation material shall be CFC free with closed cell content of 90% to 95% minimum. This foam is injected using high - pressure equipment in a precise ratio and proportion and authohessively laminated. The density of foam shall be 40 + 2 kg/m3 with thermal conductivity [K of 0.023 W/m deg K (AGED)] and dimensional stability over the temperature range of -60°C to + 100°C.PUF panel system is having self-extinguishing as per IS 11239, confirm to class - I surface is spread of flame as per BS : 476 part 7 and confirm to classified as "NOT easily ignitable" as per BS 476 part - 5 has to be installed in to the operational area. | 2.00 | Each | 842.75 | 2700000.00 | 5400000.00 | 2420000.00 | 4840000.00 | 800000.00 | 1600000.00 | 2025000.00 | 4050000.00 | 1600000.00 | Orient Builders
2.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all | 40.00 | Sqm | 842.75 | 2000.00 | 80000.00 | 3000.00 | 120000.00 | 1700.00 | 68000.00 | 2700.00 | 108000.00 | 68000.00 | Orient Builders
3.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 29.00 | Cum | 842.75 | 750.00 | 21750.00 | 500.00 | 14500.00 | 1700.00 | 49300.00 | 1800.00 | 52200.00 | 14500.00 | RAJENDRASINH J JHALA
4.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 31.00 | Cum | 842.75 | 750.00 | 23250.00 | 700.00 | 21700.00 | 1700.00 | 52700.00 | 2700.00 | 83700.00 | 21700.00 | RAJENDRASINH J JHALA
5.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 36.00 | Cum | 842.75 | 550.00 | 19800.00 | 200.00 | 7200.00 | 1700.00 | 61200.00 | 1260.00 | 45360.00 | 7200.00 | RAJENDRASINH J JHALA
6.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 176.00 | Sqm | 842.75 | 40.00 | 7040.00 | 80.00 | 14080.00 | 80.00 | 14080.00 | 153.00 | 26928.00 | 7040.00 | Parikh Kashyap Indulal
7.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 12.00 | Each | 842.75 | 500.00 | 6000.00 | 300.00 | 3600.00 | 350.00 | 4200.00 | 450.00 | 5400.00 | 3600.00 | RAJENDRASINH J JHALA
8.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 6000.00 | Kg | 842.75 | 5.00 | 30000.00 | 101.00 | 606000.00 | 8.00 | 48000.00 | 9.00 | 54000.00 | 30000.00 | Parikh Kashyap Indulal
9.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 641.00 | Cum | 842.75 | 160.00 | 102560.00 | 1001.00 | 641641.00 | 260.00 | 166660.00 | 225.00 | 144225.00 | 102560.00 | Parikh Kashyap Indulal
10.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 506.00 | Cum | 842.75 | 170.00 | 86020.00 | 150.00 | 75900.00 | 260.00 | 131560.00 | 306.00 | 154836.00 | 75900.00 | RAJENDRASINH J JHALA
11.00 | Construction of embankment with approved available earth from outside the airport premises including all lead ,lift & Royalty charges all complete in layer not exceeding 20cm (loose) in depth including breaking clods, watering , consolidating each layer with power road roller 8-10 tonnes weight or vibrator roller of adequate capacity under optimum moisture content condition to give at least 95% of Max Laboratory dry density (standard proctor density) as per IS code 2720 (Part VIII) complete including leveling fine dressing to the required grade , camber and slope complete as per morth specification and direction of the Enginner-in -charge .(Payment to be made for compacted quantity only) | 2957.00 | Cum | 842.75 | 350.00 | 1034950.00 | 350.00 | 1034950.00 | 530.00 | 1567210.00 | 630.00 | 1862910.00 | 1034950.00 | Parikh Kashyap Indulal, RAJENDRASINH J JHALA
12.00 | Rubble soling below plinth level using dry stone of nominal size 22.5 cm, laid in layers of maximum 22.5 cm in level including filing of voids using stone aggregate of size 90mm to 45mm size, including supply of material and preparing surface complete. | 56.00 | Cum | 842.75 | 4500.00 | 252000.00 | 1400.00 | 78400.00 | 1700.00 | 95200.00 | 1800.00 | 100800.00 | 78400.00 | RAJENDRASINH J JHALA
13.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 11.00 | Cum | 842.75 | 1300.00 | 14300.00 | 1500.00 | 16500.00 | 1700.00 | 18700.00 | 2700.00 | 29700.00 | 14300.00 | Parikh Kashyap Indulal
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 Sand : 8 graded stone aggregate 40 mm nominal size) | 144.00 | Cum | 842.75 | 4500.00 | 648000.00 | 4000.00 | 576000.00 | 5300.00 | 763200.00 | 6003.00 | 864432.00 | 576000.00 | RAJENDRASINH J JHALA
15.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 Sand and: 3 graded stone aggregate 20 mm nominal size). | 165.00 | Cum | 842.75 | 6700.00 | 1105500.00 | 6000.00 | 990000.00 | 7001.00 | 1155165.00 | 8100.00 | 1336500.00 | 990000.00 | RAJENDRASINH J JHALA
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete. | 362.00 | Sqm | 842.75 | 400.00 | 144800.00 | 250.00 | 90500.00 | 350.00 | 126700.00 | 504.00 | 182448.00 | 90500.00 | RAJENDRASINH J JHALA
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 19.00 | Sqm | 842.75 | 500.00 | 9500.00 | 400.00 | 7600.00 | 260.00 | 4940.00 | 810.00 | 15390.00 | 4940.00 | Orient Builders
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 11.00 | Sqm | 842.75 | 550.00 | 6050.00 | 500.00 | 5500.00 | 350.00 | 3850.00 | 990.00 | 10890.00 | 3850.00 | Orient Builders
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars. | 16500.00 | Kg | 842.75 | 99.00 | 1633500.00 | 90.00 | 1485000.00 | 89.00 | 1468500.00 | 95.40 | 1574100.00 | 1468500.00 | Orient Builders
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 7.00 | Cum | 842.75 | 6500.00 | 45500.00 | 5500.00 | 38500.00 | 6200.00 | 43400.00 | 8100.00 | 56700.00 | 38500.00 | RAJENDRASINH J JHALA
21.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 sand) | 99.00 | Sqm | 842.75 | 325.00 | 32175.00 | 450.00 | 44550.00 | 305.00 | 30195.00 | 360.00 | 35640.00 | 30195.00 | Orient Builders
22.00 | Smooth finishing of the exposed surface of R.C.C. work with 6 mm thick cement mortar 1:3 (1 Cement : 3 sand). | 349.00 | Sqm | 842.75 | 360.00 | 125640.00 | 350.00 | 122150.00 | 305.00 | 106445.00 | 306.00 | 106794.00 | 106445.00 | Orient Builders
23.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3064.00 | Kg | 842.75 | 100.00 | 306400.00 | 112.00 | 343168.00 | 125.00 | 383000.00 | 144.00 | 441216.00 | 306400.00 | Parikh Kashyap Indulal
24.00 | Providing and placing in position 100 mm thick factory made machine batched & machine mixed Precast RCC Rectangular Covers on drains of footpath of various sizes, of M-25 grade cement concrete for RCC work, including cost of centering, shuttering, reinforcement of 8 mm dia TMT bars of Fe 500 grade @ maximum 100mm c/c on both ways , neat cement punning on finished surface, properly encased on all edges with 1.6 mm thick , 100 mm wide MS sheet duly painted over priming coat , reinforcement to be welded at edges with MS sheet and providing 2 Nos. 12 mm dia bar for hooks etc i/c cost of cartage, all leads & lift, handling at site etc. all complete as per direction of Engineer-in-Charge. | 11.00 | SQm | 842.75 | 950.00 | 10450.00 | 1400.00 | 15400.00 | 1250.00 | 13750.00 | 5400.00 | 59400.00 | 10450.00 | Parikh Kashyap Indulal
25.00 | Providing and laying vitrified floor tiles of antiskid type mat finish in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 78.00 | Sqm | 842.75 | 1500.00 | 117000.00 | 1000.00 | 78000.00 | 1250.00 | 97500.00 | 1260.00 | 98280.00 | 78000.00 | RAJENDRASINH J JHALA
26.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 7.00 | Sqm | 842.75 | 1000.00 | 7000.00 | 800.00 | 5600.00 | 800.00 | 5600.00 | 1170.00 | 8190.00 | 5600.00 | RAJENDRASINH J JHALA, Orient Builders
27.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of fine sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | 7612.00 | Sqm | 842.75 | 550.00 | 4186600.00 | 800.00 | 6089600.00 | 728.00 | 5541536.00 | 810.00 | 6165720.00 | 4186600.00 | Parikh Kashyap Indulal
28.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 464.00 | Sqm | 842.75 | 650.00 | 301600.00 | 1100.00 | 510400.00 | 809.00 | 375376.00 | 855.00 | 396720.00 | 301600.00 | Parikh Kashyap Indulal
29.00 | Providing and fixing rectangular high density polyethylene water storatge lost tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for intel, outlet & over flow pipes. The base support including fittings & fixutures for tank shall be paid separately. | 2000.00 | Litre | 842.75 | 10.00 | 20000.00 | 15.00 | 30000.00 | 17.00 | 34000.00 | 9.00 | 18000.00 | 18000.00 | Bhavani Construction Co
30.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall 15 mm nominal outer dia Pipes | 30.00 | Mtr | 842.75 | 280.00 | 8400.00 | 350.00 | 10500.00 | 260.00 | 7800.00 | 360.00 | 10800.00 | 7800.00 | Orient Builders
31.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall 20 mm nominal outer dia Pipes | 30.00 | Mtr | 842.75 | 350.00 | 10500.00 | 425.00 | 12750.00 | 305.00 | 9150.00 | 396.00 | 11880.00 | 9150.00 | Orient Builders
32.00 | Providing and fixing soil, waste and vent pipes : Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 30.00 | Mtr | 842.75 | 1400.00 | 42000.00 | 160.00 | 4800.00 | 1700.00 | 51000.00 | 180.00 | 5400.00 | 4800.00 | RAJENDRASINH J JHALA
33.00 | Providing and fixing GI pipe of 150mm dia (3mm wall thick)including jointing of pipes & fittings etc, complete in the already excavated trench. | 733.00 | Mtr | 842.75 | 2300.00 | 1685900.00 | 550.00 | 403150.00 | 2240.00 | 1641920.00 | 2070.00 | 1517310.00 | 403150.00 | RAJENDRASINH J JHALA
34.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 6.00 | Nos | 842.75 | 600.00 | 3600.00 | 800.00 | 4800.00 | 1700.00 | 10200.00 | 540.00 | 3240.00 | 3240.00 | Bhavani Construction Co
35.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each | 842.75 | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 5300.00 | 10600.00 | 7200.00 | 14400.00 | 10000.00 | Parikh Kashyap Indulal
36.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern,15mm Connection hose, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps | 2.00 | Each | 842.75 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 4040.00 | 8080.00 | 2700.00 | 5400.00 | 5400.00 | Bhavani Construction Co
37.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each | 842.75 | 1500.00 | 3000.00 | 400.00 | 800.00 | 2240.00 | 4480.00 | 1800.00 | 3600.00 | 800.00 | RAJENDRASINH J JHALA
38.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 2.00 | Each | 842.75 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 6300.00 | 12600.00 | 12000.00 | RAJENDRASINH J JHALA
39.00 | Providing and fixing PTMT grating of approved quality and colour. Circular type 125 mm nominal dia with 25 mm waste hole | 2.00 | Each | 842.75 | 200.00 | 400.00 | 300.00 | 600.00 | 170.00 | 340.00 | 90.00 | 180.00 | 180.00 | Bhavani Construction Co
40.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS : 8931 : 15 mm nominal bore | 2.00 | Each | 842.75 | 600.00 | 1200.00 | 1500.00 | 3000.00 | 710.00 | 1420.00 | 540.00 | 1080.00 | 1080.00 | Bhavani Construction Co
41.00 | Wall painting with premium acrylic emulsion paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 361.00 | Sqm | 842.75 | 60.00 | 21660.00 | 80.00 | 28880.00 | 80.00 | 28880.00 | 225.00 | 81225.00 | 21660.00 | Parikh Kashyap Indulal
42.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 60.00 | metre | 842.75 | 350.00 | 21000.00 | 1200.00 | 72000.00 | 305.00 | 18300.00 | 720.00 | 43200.00 | 18300.00 | Orient Builders
43.00 | Construction of granular sub-base by providing close graded Material, mixing in a mechanical mix plant at OMC, carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per clause 401. Plant Mix Method. For Grading-III Material | 1216.00 | Cum | 842.75 | 1050.00 | 1276800.00 | 1300.00 | 1580800.00 | 1700.00 | 2067200.00 | 1152.00 | 1400832.00 | 1276800.00 | Parikh Kashyap Indulal
44.00 | Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density. By Plant Mix method. Laying using mechanical paver. | 107.00 | Cum | 842.75 | 2200.00 | 235400.00 | 1400.00 | 149800.00 | 2060.00 | 220420.00 | 1530.00 | 163710.00 | 149800.00 | RAJENDRASINH J JHALA
45.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 41.00 | Cum | 842.75 | 8500.00 | 348500.00 | 7000.00 | 287000.00 | 12500.00 | 512500.00 | 15300.00 | 627300.00 | 287000.00 | RAJENDRASINH J JHALA
| Total in Figures |  |  |  |  | 19467745.00 |  | 20500319.00 |  | 18638257.00 |  | 21990636.00
Lowest Amount Quoted BY: Orient Builders(18638257.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ILS at bhavnagar Airport Tender ID: 2024_AAI_185647_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Orient Builders | 18638257.00 | L1
| 2 | Parikh Kashyap Indulal | 19467745.00 | L2
| 3 | RAJENDRASINH J JHALA | 20500319.00 | L3
| 4 | Bhavani Construction Co | 21990636.00 | L4