## BoQ1
Government eProcurement System Created By: VIKAS SHRIVASTAVA Created Date/Time: 18-Mar-2024 05:52 PM Tender Title: Construction of D.C.office for CISF at state hanger,Airport Bhopal M.P. Tender ID: 2024_AAI_185728_1
Tender Inviting Authority: AGM (E-C) Raja Bhoj Airport,Bhopal.
Name of Work: Construction of D.C.office for CISF at state hanger,Airport Bhopal (M.P.)
Contract No: AAI/BPL/ENGGC/DCOFFICE/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Harbhajan singh khanuja(GSTN-23AGTPS4859A1Z3) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | J S KANAKAM AND COMPANY(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Engineering consultancy for Conducting required structural drawing,planing, site visit (atleast three visits) and submitting detailed structural design and drawing in three set for CISF admin office at site apprvoded by E-I-C and actual ground conditions at site including vetting of the design from approved govt engineering college etc. all complete as per direction and satisfaction of Engineer - In - Charge. | 1.00 | Job |  | 74960.00 | 74960.00 | 200000.00 | 200000.00 | 100000.00 | 100000.00 | 74960.00 | Harbhajan singh khanuja
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 2.50 | Cum |  | 1000.00 | 2500.00 | 2000.00 | 5000.00 | 2700.00 | 6750.00 | 2500.00 | Harbhajan singh khanuja
3.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 16500.00 | Kg |  | 85.00 | 1402500.00 | 155.00 | 2557500.00 | 117.00 | 1930500.00 | 1402500.00 | Harbhajan singh khanuja
4.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 605.00 | Kg |  | 90.00 | 54450.00 | 90.00 | 54450.00 | 100.00 | 60500.00 | 54450.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Harbhajan singh khanuja
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 22.00 | Sqm |  | 200.00 | 4400.00 | 615.00 | 13530.00 | 250.00 | 5500.00 | 4400.00 | Harbhajan singh khanuja
6.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 7.00 | Cum |  | 7000.00 | 49000.00 | 10000.00 | 70000.00 | 5000.00 | 35000.00 | 35000.00 | J S KANAKAM AND COMPANY
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 850.00 | Kg |  | 75.00 | 63750.00 | 96.00 | 81600.00 | 87.00 | 73950.00 | 63750.00 | Harbhajan singh khanuja
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 17.50 | Cum |  | 6000.00 | 105000.00 | 7000.00 | 122500.00 | 4500.00 | 78750.00 | 78750.00 | J S KANAKAM AND COMPANY
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 36.50 | Cum |  | 6200.00 | 226300.00 | 8300.00 | 302950.00 | 4500.00 | 164250.00 | 164250.00 | J S KANAKAM AND COMPANY
10.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 Fine sand) | 255.00 | Sqm |  | 180.00 | 45900.00 | 325.00 | 82875.00 | 200.00 | 51000.00 | 45900.00 | Harbhajan singh khanuja
11.00 | 15 mm cement plaster of mix : 1:6 (1 cement: 6 Fine sand) | 255.00 | Sqm |  | 200.00 | 51000.00 | 600.00 | 153000.00 | 200.00 | 51000.00 | 51000.00 | J S KANAKAM AND COMPANY, Harbhajan singh khanuja
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 66.00 | Cum |  | 6000.00 | 396000.00 | 7800.00 | 514800.00 | 4500.00 | 297000.00 | 297000.00 | J S KANAKAM AND COMPANY
13.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 330.00 | Sqm |  | 950.00 | 313500.00 | 1600.00 | 528000.00 | 1200.00 | 396000.00 | 313500.00 | Harbhajan singh khanuja
14.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 90.00 | Sqm |  | 200.00 | 18000.00 | 725.00 | 65250.00 | 250.00 | 22500.00 | 18000.00 | Harbhajan singh khanuja
15.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 600 mm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 395.00 | Kg |  | 94.00 | 37130.00 | 150.00 | 59250.00 | 120.00 | 47400.00 | 37130.00 | Harbhajan singh khanuja
16.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 697.00 | Sqm |  | 700.00 | 487900.00 | 725.00 | 505325.00 | 739.90 | 515710.30 | 487900.00 | Harbhajan singh khanuja
17.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 510.00 | Sqm |  | 100.00 | 51000.00 | 230.00 | 117300.00 | 96.00 | 48960.00 | 48960.00 | J S KANAKAM AND COMPANY
18.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 255.00 | Sqm |  | 90.00 | 22950.00 | 180.00 | 45900.00 | 100.00 | 25500.00 | 22950.00 | Harbhajan singh khanuja
19.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 19.00 | Sqm |  | 90.00 | 1710.00 | 180.00 | 3420.00 | 85.00 | 1615.00 | 1615.00 | J S KANAKAM AND COMPANY
20.00 | Wall painting with acrylic emulsion paint , having VOC (Volatile Organic Compound ) content less than 50 grams/litre of approved brand and manufacture , including applying additional coats wherever required to achieve even shade and colour. Two Coats | 255.00 | Sqm |  | 60.00 | 15300.00 | 165.00 | 42075.00 | 125.00 | 31875.00 | 15300.00 | Harbhajan singh khanuja
21.00 | Providing and fixing brass curtain rods of wall thickness 1.25 mm with two brass brackets fixed with brass screws and wooden plugs etc. wherever necessary complete. 20 mm diameter. | 24.00 | Mtr |  | 350.00 | 8400.00 | 310.00 | 7440.00 | 200.00 | 4800.00 | 4800.00 | J S KANAKAM AND COMPANY
22.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | Each |  | 4000.00 | 8000.00 | 5800.00 | 11600.00 | 3000.00 | 6000.00 | 6000.00 | J S KANAKAM AND COMPANY
23.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each |  | 4000.00 | 8000.00 | 5600.00 | 11200.00 | 4500.00 | 9000.00 | 8000.00 | Harbhajan singh khanuja
24.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 3.00 | Each |  | 5000.00 | 15000.00 | 10200.00 | 30600.00 | 6500.00 | 19500.00 | 15000.00 | Harbhajan singh khanuja
25.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 3.00 | Each |  | 3500.00 | 10500.00 | 2300.00 | 6900.00 | 3600.00 | 10800.00 | 6900.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 225 mm | 1.00 | Each |  | 8000.00 | 8000.00 | 6700.00 | 6700.00 | 9000.00 | 9000.00 | 6700.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
27.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 25.00 | Each |  | 700.00 | 17500.00 | 900.00 | 22500.00 | 300.00 | 7500.00 | 7500.00 | J S KANAKAM AND COMPANY
28.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 40 mm dia | 5.00 | Each |  | 75.00 | 375.00 | 110.00 | 550.00 | 105.00 | 525.00 | 375.00 | Harbhajan singh khanuja
29.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 4.00 | Each |  | 800.00 | 3200.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 3200.00 | Harbhajan singh khanuja
30.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 4.00 | Each |  | 200.00 | 800.00 | 175.00 | 700.00 | 350.00 | 1400.00 | 700.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
31.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 100.00 | Mtr |  | 150.00 | 15000.00 | 450.00 | 45000.00 | 200.00 | 20000.00 | 15000.00 | Harbhajan singh khanuja
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 100.00 | RM |  | 200.00 | 20000.00 | 525.00 | 52500.00 | 350.00 | 35000.00 | 20000.00 | Harbhajan singh khanuja
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm nominal dia Pipes | 50.00 | RM |  | 500.00 | 25000.00 | 925.00 | 46250.00 | 720.00 | 36000.00 | 25000.00 | Harbhajan singh khanuja
34.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 80 mm dia nominal bore | 50.00 | Mtr |  | 1300.00 | 65000.00 | 310.00 | 15500.00 | 750.00 | 37500.00 | 15500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.00 | Providing and fixing brass stop cock of approved quality : 15 mm nominal bore | 6.00 | Each |  | 700.00 | 4200.00 | 310.00 | 1860.00 | 300.00 | 1800.00 | 1800.00 | J S KANAKAM AND COMPANY
36.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 6.00 | Each |  | 1500.00 | 9000.00 | 90.00 | 540.00 | 720.00 | 4320.00 | 540.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
37.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 12.00 | Each |  | 100.00 | 1200.00 | 70.00 | 840.00 | 125.00 | 1500.00 | 840.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
38.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | 2000.00 | Ltr |  | 10.00 | 20000.00 | 12.00 | 24000.00 | 7.00 | 14000.00 | 14000.00 | J S KANAKAM AND COMPANY
39.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 3.00 | Each |  | 750.00 | 2250.00 | 450.00 | 1350.00 | 900.00 | 2700.00 | 1350.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
40.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 12.00 | Each |  | 950.00 | 11400.00 | 725.00 | 8700.00 | 1000.00 | 12000.00 | 8700.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
41.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 12.00 | Each |  | 650.00 | 7800.00 | 70.00 | 840.00 | 460.00 | 5520.00 | 840.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
42.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 12.00 | Each |  | 100.00 | 1200.00 | 85.00 | 1020.00 | 100.00 | 1200.00 | 1020.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
43.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common Stone Dust (non modular) bricks of class designation3.5 | 5.00 | Each |  | 8900.00 | 44500.00 | 11687.00 | 58435.00 | 5000.00 | 25000.00 | 25000.00 | J S KANAKAM AND COMPANY
44.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 120.00 | Kg |  | 350.00 | 42000.00 | 430.00 | 51600.00 | 500.00 | 60000.00 | 42000.00 | Harbhajan singh khanuja
45.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 110.00 | Kg |  | 375.00 | 41250.00 | 565.00 | 62150.00 | 500.00 | 55000.00 | 41250.00 | Harbhajan singh khanuja
46.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 14.00 | Sqm |  | 800.00 | 11200.00 | 1325.00 | 18550.00 | 990.00 | 13860.00 | 11200.00 | Harbhajan singh khanuja
47.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in- Charge. With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 330.00 | Sqm |  | 1750.00 | 577500.00 | 2200.00 | 726000.00 | 1800.00 | 594000.00 | 577500.00 | Harbhajan singh khanuja
48.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 8.50 | Sqm |  | 3500.00 | 29750.00 | 4540.00 | 38590.00 | 2750.00 | 23375.00 | 23375.00 | J S KANAKAM AND COMPANY
49.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 1000.00 | Sqm |  | 550.00 | 550000.00 | 671.00 | 671000.00 | 575.00 | 575000.00 | 550000.00 | Harbhajan singh khanuja
50.00 | Providing fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Fibre glass wool conforming to IS : 8183, density 24kg / m3, 50mm thick, wrapped in 200 G Virgin Polythene bags, fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5 mm x 24 gauge wire mesh, for top most ceiling of building. | 500.00 | Sqm |  | 250.00 | 125000.00 | 598.00 | 299000.00 | 300.00 | 150000.00 | 125000.00 | Harbhajan singh khanuja
51.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 100.00 | Kg |  | 500.00 | 50000.00 | 700.00 | 70000.00 | 425.00 | 42500.00 | 42500.00 | J S KANAKAM AND COMPANY
52.00 | Providing and fixing bright finished brass 100 mm mortice latch with one dead bolt and a pair of lever handles of approved quality with necessary screws etc. complete. | 20.00 | Each |  | 600.00 | 12000.00 | 605.00 | 12100.00 | 1000.00 | 20000.00 | 12000.00 | Harbhajan singh khanuja
53.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 30.00 | Each |  | 350.00 | 10500.00 | 260.00 | 7800.00 | 300.00 | 9000.00 | 7800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
54.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 30.00 | Each |  | 150.00 | 4500.00 | 105.00 | 3150.00 | 200.00 | 6000.00 | 3150.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
55.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 10.00 | Each |  | 100.00 | 1000.00 | 65.00 | 650.00 | 150.00 | 1500.00 | 650.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
56.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing. 30 mm thick plain PVC door shutters | 9.00 | Sqm |  | 2000.00 | 18000.00 | 2500.00 | 22500.00 | 2200.00 | 19800.00 | 18000.00 | Harbhajan singh khanuja
57.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | 800.00 | Sqm |  | 200.00 | 160000.00 | 210.00 | 168000.00 | 180.00 | 144000.00 | 144000.00 | J S KANAKAM AND COMPANY
58.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 50.00 | Mtr |  | 150.00 | 7500.00 | 210.00 | 10500.00 | 175.00 | 8750.00 | 7500.00 | Harbhajan singh khanuja
59.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 50.00 | Mtr |  | 200.00 | 10000.00 | 320.00 | 16000.00 | 275.00 | 13750.00 | 10000.00 | Harbhajan singh khanuja
60.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 75 mm | 5.00 | Each |  | 100.00 | 500.00 | 80.00 | 400.00 | 100.00 | 500.00 | 400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
61.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm diameter | 5.00 | Each |  | 120.00 | 600.00 | 120.00 | 600.00 | 140.00 | 700.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Harbhajan singh khanuja
62.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single pushfit Coupler 75 mm | 5.00 | Each |  | 100.00 | 500.00 | 80.00 | 400.00 | 125.00 | 625.00 | 400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
63.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single pushfit Coupler 110 mm | 5.00 | Each |  | 125.00 | 625.00 | 110.00 | 550.00 | 200.00 | 1000.00 | 550.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
64.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 75x75x75 mm | 5.00 | Each |  | 200.00 | 1000.00 | 140.00 | 700.00 | 200.00 | 1000.00 | 700.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
65.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.Single tee with door 110x110x110 mm | 5.00 | Each |  | 250.00 | 1250.00 | 210.00 | 1050.00 | 300.00 | 1500.00 | 1050.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
66.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 75x75x75 mm | 5.00 | Each |  | 200.00 | 1000.00 | 125.00 | 625.00 | 150.00 | 750.00 | 625.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
67.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 110x110x110 mm | 5.00 | Each |  | 250.00 | 1250.00 | 210.00 | 1050.00 | 250.00 | 1250.00 | 1050.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
68.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 75 mm bend | 5.00 | Each |  | 150.00 | 750.00 | 90.00 | 450.00 | 90.00 | 450.00 | 450.00 | J S KANAKAM AND COMPANY, CIS GLOBAL INFRATECH PRIVATE LIMITED
69.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 5.00 | Each |  | 200.00 | 1000.00 | 135.00 | 675.00 | 200.00 | 1000.00 | 675.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
70.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 75 mm Shoe | 5.00 | Each |  | 150.00 | 750.00 | 80.00 | 400.00 | 100.00 | 500.00 | 400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
71.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 5.00 | Each |  | 200.00 | 1000.00 | 115.00 | 575.00 | 170.00 | 850.00 | 575.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
72.00 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474,including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. ( The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 330.00 | Kg |  | 300.00 | 99000.00 | 370.00 | 122100.00 | 425.00 | 140250.00 | 99000.00 | Harbhajan singh khanuja
73.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including:(a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design.(b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc.(c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 70.00 | Sqm |  | 1000.00 | 70000.00 | 4500.00 | 315000.00 | 3000.00 | 210000.00 | 70000.00 | Harbhajan singh khanuja
74.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | Cum |  | 6000.00 | 90000.00 | 7400.00 | 111000.00 | 3500.00 | 52500.00 | 52500.00 | J S KANAKAM AND COMPANY
| Total in Figures |  |  |  |  | 5649000.00 |  | 8618915.00 |  | 6362235.30
Lowest Amount Quoted BY: Harbhajan singh khanuja(5649000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of D.C.office for CISF at state hanger,Airport Bhopal M.P. Tender ID: 2024_AAI_185728_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Harbhajan singh khanuja | 5649000.00 | L1
| 2 | J S KANAKAM AND COMPANY | 6362235.30 | L2
| 3 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 8618915.00 | L3