## BoQ1
Government eProcurement System Created By: Srinarayan Thakur Created Date/Time: 14-Mar-2024 12:55 PM Tender Title: Repairs to Floors and associated works of Quarters at INA Colony, New Delhi for the year 2023-24. Tender ID: 2024_AAI_186075_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Repairs to floors and associated works of quarters at INA Colony, New Delhi for the year 2023-24.
Contract No: 2024_AAI_186075_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Khairati Lal(GSTN-07ABBPL9082B1ZT) |  | AP INTERIOR(GSTN-07BRFPS1740C1Z1) |  | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | SIROHI CONSTRUCTION CO(GSTN-07AXOPS3749P1ZD) |  | CREATORS ENGINEERS AND INTERIORS(GSTN-07AAGFC0762R2Z1) |  | ESS KAY CONSTRUCTIONS(GSTN-07AABFE6199D1ZF) |  | kailash chawla(GSTN-07ADYPC8838P1ZG) |  | Bharat Construction(GSTN-NA) |  | JAI RAJ CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 58.00 | Sqm |  | 50.00 | 2900.00 | 78.00 | 4524.00 | 50.00 | 2900.00 | 25.00 | 1450.00 | 100.00 | 5800.00 | 50.00 | 2900.00 | 80.00 | 4640.00 | 11.00 | 638.00 | 50.00 | 2900.00 | 638.00 | Bharat Construction
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1036.00 | Sqm |  | 50.00 | 51800.00 | 64.00 | 66304.00 | 30.00 | 31080.00 | 15.00 | 15540.00 | 200.00 | 207200.00 | 30.00 | 31080.00 | 20.00 | 20720.00 | 12.00 | 12432.00 | 25.00 | 25900.00 | 12432.00 | Bharat Construction
3.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 800.00 | Sqm |  | 50.00 | 40000.00 | 64.00 | 51200.00 | 35.00 | 28000.00 | 10.00 | 8000.00 | 10.00 | 8000.00 | 25.00 | 20000.00 | 20.00 | 16000.00 | 10.00 | 8000.00 | 50.00 | 40000.00 | 8000.00 | SIROHI CONSTRUCTION CO, Bharat Construction, CREATORS ENGINEERS AND INTERIORS
4.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin-Charge. Internal Work- Exposed on wall | 1000.00 | Mtr |  | 10.00 | 10000.00 | 39.00 | 39000.00 | 6.00 | 6000.00 | 2.00 | 2000.00 | 10.00 | 10000.00 | 20.00 | 20000.00 | 2.00 | 2000.00 | 70.00 | 70000.00 | 20.00 | 20000.00 | 2000.00 | SIROHI CONSTRUCTION CO, kailash chawla
5.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 800.00 | Sqm |  | 215.00 | 172000.00 | 290.00 | 232000.00 | 200.00 | 160000.00 | 100.00 | 80000.00 | 200.00 | 160000.00 | 300.00 | 240000.00 | 200.00 | 160000.00 | 230.00 | 184000.00 | 200.00 | 160000.00 | 80000.00 | SIROHI CONSTRUCTION CO
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 12.00 | Cum |  | 3000.00 | 36000.00 | 5349.00 | 64188.00 | 3150.00 | 37800.00 | 3000.00 | 36000.00 | 4500.00 | 54000.00 | 4000.00 | 48000.00 | 4000.00 | 48000.00 | 4300.00 | 51600.00 | 5000.00 | 60000.00 | 36000.00 | Khairati Lal, SIROHI CONSTRUCTION CO
7.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 243.00 | Sqm |  | 785.00 | 190755.00 | 1149.00 | 279207.00 | 760.00 | 184680.00 | 800.00 | 194400.00 | 1200.00 | 291600.00 | 620.00 | 150660.00 | 800.00 | 194400.00 | 980.00 | 238140.00 | 1000.00 | 243000.00 | 150660.00 | ESS KAY CONSTRUCTIONS
8.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to 1S:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 1944.00 | Sqm |  | 810.00 | 1574640.00 | 1033.00 | 2008152.00 | 750.00 | 1458000.00 | 900.00 | 1749600.00 | 1000.00 | 1944000.00 | 720.00 | 1399680.00 | 800.00 | 1555200.00 | 940.00 | 1827360.00 | 1100.00 | 2138400.00 | 1399680.00 | ESS KAY CONSTRUCTIONS
9.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sq.m including pointing the joints with white cement and matching pigments etc., complete. | 178.00 | Sqm |  | 600.00 | 106800.00 | 999.00 | 177822.00 | 700.00 | 124600.00 | 700.00 | 124600.00 | 900.00 | 160200.00 | 680.00 | 121040.00 | 750.00 | 133500.00 | 780.00 | 138840.00 | 800.00 | 142400.00 | 106800.00 | Khairati Lal
10.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 34.00 | Sqm |  | 850.00 | 28900.00 | 1149.00 | 39066.00 | 780.00 | 26520.00 | 800.00 | 27200.00 | 1000.00 | 34000.00 | 750.00 | 25500.00 | 800.00 | 27200.00 | 950.00 | 32300.00 | 1000.00 | 34000.00 | 25500.00 | ESS KAY CONSTRUCTIONS
11.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 269.00 | Sqm |  | 810.00 | 217890.00 | 999.00 | 268731.00 | 780.00 | 209820.00 | 900.00 | 242100.00 | 800.00 | 215200.00 | 720.00 | 193680.00 | 800.00 | 215200.00 | 950.00 | 255550.00 | 1200.00 | 322800.00 | 193680.00 | ESS KAY CONSTRUCTIONS
12.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 777.00 | Sqm |  | 800.00 | 621600.00 | 1024.00 | 795648.00 | 675.00 | 524475.00 | 700.00 | 543900.00 | 900.00 | 699300.00 | 620.00 | 481740.00 | 700.00 | 543900.00 | 820.00 | 637140.00 | 800.00 | 621600.00 | 481740.00 | ESS KAY CONSTRUCTIONS
13.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble Area of slab over 0.50 sqm | 58.00 | Sqm |  | 2200.00 | 127600.00 | 3440.00 | 199520.00 | 2000.00 | 116000.00 | 1800.00 | 104400.00 | 2500.00 | 145000.00 | 2100.00 | 121800.00 | 1800.00 | 104400.00 | 780.00 | 45240.00 | 1000.00 | 58000.00 | 45240.00 | Bharat Construction
14.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/ window/ clerestory windows & desertory other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 50 x 100 mm | 120.00 | Mtr |  | 550.00 | 66000.00 | 1949.00 | 233880.00 | 475.00 | 57000.00 | 499.00 | 59880.00 | 1200.00 | 144000.00 | 500.00 | 60000.00 | 600.00 | 72000.00 | 580.00 | 69600.00 | 500.00 | 60000.00 | 57000.00 | SAMTA INTERIORS
15.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 35 mm thick | 40.00 | Sqm |  | 3480.00 | 139200.00 | 3449.00 | 137960.00 | 2850.00 | 114000.00 | 2900.00 | 116000.00 | 3500.00 | 140000.00 | 2600.00 | 104000.00 | 3500.00 | 140000.00 | 580.00 | 23200.00 | 5000.00 | 200000.00 | 23200.00 | Bharat Construction
16.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 2806.00 | Sqm |  | 10.00 | 28060.00 | 4.49 | 12598.94 | 5.00 | 14030.00 | 10.00 | 28060.00 | 50.00 | 140300.00 | 5.00 | 14030.00 | 5.00 | 14030.00 | 8.00 | 22448.00 | 5.00 | 14030.00 | 12598.94 | AP INTERIOR
17.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 2806.00 | Sqm |  | 40.00 | 112240.00 | 64.00 | 179584.00 | 50.00 | 140300.00 | 47.00 | 131882.00 | 30.00 | 84180.00 | 45.00 | 126270.00 | 45.00 | 126270.00 | 58.00 | 162748.00 | 55.00 | 154330.00 | 84180.00 | CREATORS ENGINEERS AND INTERIORS
18.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 2806.00 | Sqm |  | 68.00 | 190808.00 | 64.00 | 179584.00 | 55.00 | 154330.00 | 90.00 | 252540.00 | 100.00 | 280600.00 | 48.00 | 134688.00 | 60.00 | 168360.00 | 53.00 | 148718.00 | 50.00 | 140300.00 | 134688.00 | ESS KAY CONSTRUCTIONS
19.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC (Volatile Organic Compound ) content less than 50 gram/ litre, of approved brand and manufacturer including applying additional coats wherever required to achieve even shade and colour Old work (one or more coats) | 5612.00 | Sqm |  | 42.00 | 235704.00 | 64.00 | 359168.00 | 30.00 | 168360.00 | 35.00 | 196420.00 | 130.00 | 729560.00 | 30.00 | 168360.00 | 25.00 | 140300.00 | 55.00 | 308660.00 | 35.00 | 196420.00 | 140300.00 | kailash chawla
20.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 1395.00 | Sqm |  | 60.00 | 83700.00 | 64.00 | 89280.00 | 85.00 | 118575.00 | 60.00 | 83700.00 | 50.00 | 69750.00 | 80.00 | 111600.00 | 80.00 | 111600.00 | 55.00 | 76725.00 | 60.00 | 83700.00 | 69750.00 | CREATORS ENGINEERS AND INTERIORS
21.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 2789.00 | Sqm |  | 50.00 | 139450.00 | 62.00 | 172918.00 | 45.00 | 125505.00 | 35.00 | 97615.00 | 50.00 | 139450.00 | 60.00 | 167340.00 | 40.00 | 111560.00 | 55.00 | 153395.00 | 50.00 | 139450.00 | 97615.00 | SIROHI CONSTRUCTION CO
22.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 300.00 | Mtr |  | 100.00 | 30000.00 | 399.00 | 119700.00 | 155.00 | 46500.00 | 240.00 | 72000.00 | 250.00 | 75000.00 | 190.00 | 57000.00 | 225.00 | 67500.00 | 600.00 | 180000.00 | 300.00 | 90000.00 | 30000.00 | Khairati Lal
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 150.00 | Mtr |  | 140.00 | 21000.00 | 449.00 | 67350.00 | 205.00 | 30750.00 | 250.00 | 37500.00 | 300.00 | 45000.00 | 160.00 | 24000.00 | 160.00 | 24000.00 | 670.00 | 100500.00 | 400.00 | 60000.00 | 21000.00 | Khairati Lal
24.00 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 270.00 | Each |  | 250.00 | 67500.00 | 499.00 | 134730.00 | 100.00 | 27000.00 | 150.00 | 40500.00 | 250.00 | 67500.00 | 60.00 | 16200.00 | 100.00 | 27000.00 | 150.00 | 40500.00 | 200.00 | 54000.00 | 16200.00 | ESS KAY CONSTRUCTIONS
25.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 5.00 | Each |  | 2500.00 | 12500.00 | 5800.00 | 29000.00 | 3400.00 | 17000.00 | 4500.00 | 22500.00 | 5000.00 | 25000.00 | 3500.00 | 17500.00 | 4000.00 | 20000.00 | 3000.00 | 15000.00 | 4500.00 | 22500.00 | 12500.00 | Khairati Lal
26.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 10.00 | Each |  | 4200.00 | 42000.00 | 6800.00 | 68000.00 | 3800.00 | 38000.00 | 4500.00 | 45000.00 | 9000.00 | 90000.00 | 3600.00 | 36000.00 | 4500.00 | 45000.00 | 3800.00 | 38000.00 | 5000.00 | 50000.00 | 36000.00 | ESS KAY CONSTRUCTIONS
27.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per 18:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x460 mm bowl depth 200 mm | 15.00 | Each |  | 5000.00 | 75000.00 | 3349.00 | 50235.00 | 2000.00 | 30000.00 | 2500.00 | 37500.00 | 4500.00 | 67500.00 | 2200.00 | 33000.00 | 2300.00 | 34500.00 | 2500.00 | 37500.00 | 2500.00 | 37500.00 | 30000.00 | SAMTA INTERIORS
28.00 | Providing and fixing Angle cock with wall flange (Make - Cera, Model No.- QT F2006201), complete all as specified and directed by Engineer-In-Charge. | 120.00 | Each |  | 500.00 | 60000.00 | 990.00 | 118800.00 | 640.00 | 76800.00 | 900.00 | 108000.00 | 1500.00 | 180000.00 | 730.00 | 87600.00 | 700.00 | 84000.00 | 600.00 | 72000.00 | 1100.00 | 132000.00 | 60000.00 | Khairati Lal
29.00 | Providing and fixing Pillar cock with aerator (Make - Cera, Model No.- QT F2006101), complete all as specified and directed by Engineer-In-Charge. | 15.00 | Each |  | 600.00 | 9000.00 | 1249.00 | 18735.00 | 800.00 | 12000.00 | 1125.00 | 16875.00 | 1500.00 | 22500.00 | 890.00 | 13350.00 | 800.00 | 12000.00 | 500.00 | 7500.00 | 1300.00 | 19500.00 | 7500.00 | Bharat Construction
30.00 | Providing and fixing Bib cock long nose with wall flange and aerator (Make - Cera, Model No.- QT F2006152), complete all as specified and directed by Engineer-In-Charge. | 30.00 | Each |  | 650.00 | 19500.00 | 1399.00 | 41970.00 | 950.00 | 28500.00 | 1300.00 | 39000.00 | 1500.00 | 45000.00 | 1050.00 | 31500.00 | 1200.00 | 36000.00 | 800.00 | 24000.00 | 1500.00 | 45000.00 | 19500.00 | Khairati Lal
31.00 | Providing and fixing 2 - Way bib cock with single knob and wall flange (Make - Cera, Model No.- QT F2006163), complete all as specified and directed by Engineer-In-Charge. | 15.00 | Each |  | 750.00 | 11250.00 | 1449.00 | 21735.00 | 890.00 | 13350.00 | 1200.00 | 18000.00 | 2000.00 | 30000.00 | 1080.00 | 16200.00 | 1000.00 | 15000.00 | 950.00 | 14250.00 | 1400.00 | 21000.00 | 11250.00 | Khairati Lal
32.00 | Providing and fixing Sink mixer (wall mounted) with 170 mm long swivel spout, connecting legs and wall flanges (Make - Cera, Model No.- QT F2006501), complete all as specified and directed by Engineer-In-Charge. | 15.00 | Each |  | 2800.00 | 42000.00 | 3749.00 | 56235.00 | 2400.00 | 36000.00 | 3300.00 | 49500.00 | 2500.00 | 37500.00 | 2680.00 | 40200.00 | 3000.00 | 45000.00 | 2500.00 | 37500.00 | 4000.00 | 60000.00 | 36000.00 | SAMTA INTERIORS
33.00 | Providing and fixing Wall mixer with bend pipe for overhead shower (Make - Cera, Model No.- QT F2006401), complete all as specified and directed by Engineer-In-Charge. | 15.00 | Each |  | 3500.00 | 52500.00 | 5349.00 | 80235.00 | 3080.00 | 46200.00 | 4200.00 | 63000.00 | 2500.00 | 37500.00 | 3500.00 | 52500.00 | 3000.00 | 45000.00 | 1200.00 | 18000.00 | 5000.00 | 75000.00 | 18000.00 | Bharat Construction
34.00 | Providing and fixing Overhead shower 125 mm dia with 200 mm long shower arm and wall flange (Make - Cera, Model No.- F7010212AB), complete all as specified and directed by Engineer-In-Charge. | 15.00 | Each |  | 1880.00 | 28200.00 | 1499.00 | 22485.00 | 990.00 | 14850.00 | 1300.00 | 19500.00 | 1500.00 | 22500.00 | 1105.00 | 16575.00 | 1000.00 | 15000.00 | 780.00 | 11700.00 | 1500.00 | 22500.00 | 11700.00 | Bharat Construction
35.00 | Providing and fixing Health Faucet ABS body with 1 meter SS braided connection pipe (Make - Cera, Model No.- F8030105AB), complete all as specified and directed by Engineer-In-Charge. | 10.00 | Each |  | 1000.00 | 10000.00 | 1399.00 | 13990.00 | 615.00 | 6150.00 | 930.00 | 9300.00 | 1500.00 | 15000.00 | 618.00 | 6180.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 1500.00 | 15000.00 | 4500.00 | Bharat Construction
36.00 | Cartage of malba from AAI premises to suitable dumping grounds out side AAI premises by mechanical means including loading and unloading complete as directed by the Engineer-in-charge Measuring 5 cum to 10 cum | 40.00 | Each Trip |  | 2500.00 | 100000.00 | 2250.00 | 90000.00 | 2500.00 | 100000.00 | 2500.00 | 100000.00 | 2000.00 | 80000.00 | 400.00 | 16000.00 | 1800.00 | 72000.00 | 2000.00 | 80000.00 | 2500.00 | 100000.00 | 16000.00 | ESS KAY CONSTRUCTIONS
37.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 1000.00 | Kg |  | 20.00 | -20000.00 | 25.51 | -25510.00 | 25.00 | -25000.00 | 20.00 | -20000.00 | 40.00 | -40000.00 | 1.00 | -1000.00 | 20.00 | -20000.00 | 60.00 | -60000.00 | 1.00 | -1000.00 | -60000.00 | Bharat Construction
| Total in Figures |  |  |  |  | 4736497.00 |  | 6498024.94 |  | 4300075.00 |  | 4753462.00 |  | 6462140.00 |  | 4205173.00 |  | 4436280.00 |  | 5087684.00 |  | 5660230.00
Lowest Amount Quoted BY: ESS KAY CONSTRUCTIONS(4205173.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to Floors and associated works of Quarters at INA Colony, New Delhi for the year 2023-24. Tender ID: 2024_AAI_186075_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ESS KAY CONSTRUCTIONS | 4205173.00 | L1
| 2 | SAMTA INTERIORS | 4300075.00 | L2
| 3 | kailash chawla | 4436280.00 | L3
| 4 | Khairati Lal | 4736497.00 | L4
| 5 | SIROHI CONSTRUCTION CO | 4753462.00 | L5
| 6 | Bharat Construction | 5087684.00 | L6
| 7 | JAI RAJ CONSTRUCTION | 5660230.00 | L7
| 8 | CREATORS ENGINEERS AND INTERIORS | 6462140.00 | L8
| 9 | AP INTERIOR | 6498024.94 | L9