## BoQ1
Government eProcurement System Created By: Simerdeep Singh Created Date/Time: 22-Mar-2024 06:07 PM Tender Title: Shifting of Various Offices of CISF and Airlines located at First Floor to Ground Floor of Terminal Building to decongest the SHA at First Floor at Srinagar Airport Tender ID: 2024_AAI_186089_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Civil), Srinagar International Airport,Srinagar.
Name of Work: Shifting of Various Offices of CISF and Airlines located at First Floor to Ground Floor of Terminal Building to decongest the SHA at First Floor at Srinagar Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S KUCHAY CONSTRUCTION CORPORATION(GSTN-NA)--680951 |  | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED(GSTN-NA)--681062 |  | M/S GREEN CHANNEL BUILDERS(GSTN-NA)--680955
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | cum |  | 6500.00 | 97500.00 | 5507.00 | 82605.00 | 7000.00 | 105000.00 | 82605.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
2.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 8.00 | Sqm |  | 600.00 | 4800.00 | 700.00 | 5600.00 | 900.00 | 7200.00 | 4800.00 | M/S KUCHAY CONSTRUCTION CORPORATION
3.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement -All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-Ill) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum |  | 7000.00 | 7000.00 | 6480.00 | 6480.00 | 8000.00 | 8000.00 | 6480.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
4.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-5000 or more. | 60.00 | Kg |  | 95.00 | 5700.00 | 81.00 | 4860.00 | 100.00 | 6000.00 | 4860.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
5.00 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in Cement mortar 1 :4 (1 cement : 4 coarse sand) | 3.00 | Cum |  | 7700.00 | 23100.00 | 4911.00 | 14733.00 | 6000.00 | 18000.00 | 14733.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in: Cement mortar 1 :4 (1 cement : 4 coarse sand) | 20.00 | Cum |  | 7300.00 | 146000.00 | 7050.00 | 141000.00 | 8000.00 | 160000.00 | 141000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
7.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in: Cement mortar 1 :3 (1 cement : 3 coarse sand) | 13.00 | Sqm |  | 950.00 | 12350.00 | 700.00 | 9100.00 | 500.00 | 6500.00 | 6500.00 | M/S GREEN CHANNEL BUILDERS
8.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | 38.00 | Sqm |  | 1200.00 | 45600.00 | 860.00 | 32680.00 | 1000.00 | 38000.00 | 32680.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
9.00 | Extra for providing and placing in position 2 Nos 6 mm dia. M.S. bars at every third course of half brick masonry. | 51.00 | Sqm |  | 150.00 | 7650.00 | 80.00 | 4080.00 | 80.00 | 4080.00 | 4080.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
10.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and repolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red. Area of slab over 0.50 sqm | 13.00 | Sqm |  | 3500.00 | 45500.00 | 3870.00 | 50310.00 | 4500.00 | 58500.00 | 45500.00 | M/S KUCHAY CONSTRUCTION CORPORATION
11.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 13.00 | mtr |  | 600.00 | 7800.00 | 385.00 | 5005.00 | 400.00 | 5200.00 | 5005.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
12.00 | Providing and fixing in wall lining flat pressed three layer (medium density) particle board or graded wood Pre-laminated one side decorative lamination and other side balancing lamination Grade I, Type II, IS :12823 marked, including priming coat on unexposed arrangement and screws etc. complete : 12 mm thick | 70.00 | Sqm |  | 1500.00 | 105000.00 | 1079.00 | 75530.00 | 1000.00 | 70000.00 | 70000.00 | M/S GREEN CHANNEL BUILDERS
13.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Kiln seasoned and chemically treated hallock wood | 1.00 | Cum |  | 85000.00 | 85000.00 | 62950.00 | 62950.00 | 70000.00 | 70000.00 | 62950.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
14.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 25 mm thick (for cupboard) including lSI marked nickel plated bright finished M.S. Piano hinges IS : 3818 marked with necessary screws | 6.00 | Sqm |  | 2900.00 | 17400.00 | 2125.00 | 12750.00 | 2000.00 | 12000.00 | 12000.00 | M/S GREEN CHANNEL BUILDERS
15.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 25 mm thick (for cupboard) including lSI marked nickel plated bright finished M.S. piano hinges with necessary screws | 41.00 | Sqm |  | 2700.00 | 110700.00 | 1580.00 | 64780.00 | 1500.00 | 61500.00 | 61500.00 | M/S GREEN CHANNEL BUILDERS
16.00 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : 2nd class teak wood 50x20 mm | 57.00 | Mtr |  | 330.00 | 18810.00 | 205.00 | 11685.00 | 200.00 | 11400.00 | 11400.00 | M/S GREEN CHANNEL BUILDERS
17.00 | Providing and fixing nickel plated M.S. pipe curtain rods with nickel plated brackets: 20 mm dia (heavy type) | 26.00 | Mtr. |  | 250.00 | 6500.00 | 130.00 | 3380.00 | 120.00 | 3120.00 | 3120.00 | M/S GREEN CHANNEL BUILDERS
18.00 | Providing and fixing special quality bright finished brass cupboard or ward robe locks with four levers of approved quality including necessary screws etc. complete. 40mm | 28.00 | each |  | 300.00 | 8400.00 | 230.00 | 6440.00 | 250.00 | 7000.00 | 6440.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
19.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete | 20.00 | Each |  | 1500.00 | 30000.00 | 742.00 | 14840.00 | 750.00 | 15000.00 | 14840.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
20.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 4.00 | Each |  | 2100.00 | 8400.00 | 750.00 | 3000.00 | 500.00 | 2000.00 | 2000.00 | M/S GREEN CHANNEL BUILDERS
21.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x4 mm | 72.00 | Each |  | 125.00 | 9000.00 | 80.00 | 5760.00 | 50.00 | 3600.00 | 3600.00 | M/S GREEN CHANNEL BUILDERS
22.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 38.00 | Each |  | 350.00 | 13300.00 | 196.00 | 7448.00 | 100.00 | 3800.00 | 3800.00 | M/S GREEN CHANNEL BUILDERS
23.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 38.00 | Each |  | 115.00 | 4370.00 | 75.00 | 2850.00 | 70.00 | 2660.00 | 2660.00 | M/S GREEN CHANNEL BUILDERS
24.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. 125 mm complete : | 68.00 | Each |  | 90.00 | 6120.00 | 50.00 | 3400.00 | 50.00 | 3400.00 | 3400.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
25.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 20.00 | Each |  | 100.00 | 2000.00 | 50.00 | 1000.00 | 30.00 | 600.00 | 600.00 | M/S GREEN CHANNEL BUILDERS
26.00 | Providing and fixing wooden moulded comer beading of triangular shape to the junction of panelling etc. with iron screws, plugs and priming coat on unexposed surface etc. complete 2nd class teak wood. 50x50 mm (base and height) | 60.00 | Mtr. |  | 415.00 | 24900.00 | 260.00 | 15600.00 | 120.00 | 7200.00 | 7200.00 | M/S GREEN CHANNEL BUILDERS
27.00 | Providing and fixing magnetic catcher of approved quality in cupboard I ward robe shutters, including fixing with necessary screws etc. complete.Triple strip vertical type | 56.00 | each |  | 70.00 | 3920.00 | 40.00 | 2240.00 | 50.00 | 2800.00 | 2240.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
28.00 | Providing and fixing stainless steel fancy handle of approved make fixed with SS screws etc. complete as per direction of Engineer-in-charge. 200mm | 60.00 | Each |  | 210.00 | 12600.00 | 140.00 | 8400.00 | 120.00 | 7200.00 | 7200.00 | M/S GREEN CHANNEL BUILDERS
29.00 | Providing and fixing stainless steel soft closing spring hinges at 0 degree hinges (hydraulic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-in-charge. | 56.00 | each |  | 310.00 | 17360.00 | 205.00 | 11480.00 | 180.00 | 10080.00 | 10080.00 | M/S GREEN CHANNEL BUILDERS
30.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 15690.00 | Kg |  | 110.00 | 1725900.00 | 155.00 | 2431950.00 | 160.00 | 2510400.00 | 1725900.00 | M/S KUCHAY CONSTRUCTION CORPORATION
31.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge 10 x 160 mm | 820.00 | Each |  | 250.00 | 205000.00 | 165.00 | 135300.00 | 180.00 | 147600.00 | 135300.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
32.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 420.00 | Kg |  | 650.00 | 273000.00 | 580.00 | 243600.00 | 650.00 | 273000.00 | 243600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
33.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Size of Tile 600 x 1200 mm | 150.00 | Sqm |  | 1650.00 | 247500.00 | 1355.00 | 203250.00 | 1000.00 | 150000.00 | 150000.00 | M/S GREEN CHANNEL BUILDERS
34.00 | Deduct for not using 20 mm thick cement mortar 1 :4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 150.00 | sqm |  | 450.00 | -67500.00 | 630.00 | -94500.00 | 3500.00 | -525000.00 | -525000.00 | M/S GREEN CHANNEL BUILDERS
35.00 | Fixing glazed/ Ceramic/Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive {Water based) conforming to IS: 15477, in average 3 mm thickness. | 110.00 | Sqm |  | 810.00 | 89100.00 | 560.00 | 61600.00 | 500.00 | 55000.00 | 55000.00 | M/S GREEN CHANNEL BUILDERS
36.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab of colour Black, Cherry/Ruby Red or equivalent | 100.00 | Sqm |  | 4200.00 | 420000.00 | 3700.00 | 370000.00 | 4100.00 | 410000.00 | 370000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
37.00 | Providing and fixing flat pressed 31ayer medium density particle board or graded particle board (Grade I) IS: 3087 marked, in ceiling with necessary nails etc. complete (frame work to be paid separately): 12 mm thick | 30.00 | Sqm |  | 1250.00 | 37500.00 | 808.00 | 24240.00 | 1000.00 | 30000.00 | 24240.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
38.00 | Providing fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Fibre glass wool conforming to IS : 8183, density 24kg Im3, 50 mm thick, wrapped in 200 G Virgin Polythene bags, fixed to ceiling with metallic cleats (50x50x3 mm)@ 60 em and wire mesh of 12.5 mm x 24 gauge wire mesh, for top most ceiling of building. | 200.00 | Sqm |  | 730.00 | 146000.00 | 530.00 | 106000.00 | 600.00 | 120000.00 | 106000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
39.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 40.00 | meter |  | 300.00 | 12000.00 | 185.00 | 7400.00 | 200.00 | 8000.00 | 7400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
40.00 | Providing and fixing precoated galvanised iron profile sheets {size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontaV vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 210.00 | Sqm |  | 850.00 | 178500.00 | 557.00 | 116970.00 | 600.00 | 126000.00 | 116970.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
41.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 20.00 | meter |  | 650.00 | 13000.00 | 400.00 | 8000.00 | 450.00 | 9000.00 | 8000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
42.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Flashings/ Aprons.( Upto 600 mm) | 20.00 | meter |  | 650.00 | 13000.00 | 360.00 | 7200.00 | 400.00 | 8000.00 | 7200.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
43.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : : Gutter (600 mm over all girth) | 40.00 | meter |  | 1500.00 | 60000.00 | 990.00 | 39600.00 | 1000.00 | 40000.00 | 39600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
44.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G. I steel 0. 7 mm thick from the soffit with the help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with the help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized@ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : Gl Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 360.00 | Sqm |  | 1800.00 | 648000.00 | 2077.00 | 747720.00 | 2100.00 | 756000.00 | 648000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
45.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 90.00 | sqm |  | 350.00 | 31500.00 | 260.00 | 23400.00 | 300.00 | 27000.00 | 23400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
46.00 | Painting with aluminium paint of approved brand and manufacture to give an even shade . Two or more coats on new work | 120.00 | Sqm |  | 230.00 | 27600.00 | 110.00 | 13200.00 | 80.00 | 9600.00 | 9600.00 | M/S GREEN CHANNEL BUILDERS
47.00 | Polishing on wood work with ready mixed wax polish of approved brand and manufacture : New work | 220.00 | Sqm |  | 200.00 | 44000.00 | 149.00 | 32780.00 | 100.00 | 22000.00 | 22000.00 | M/S GREEN CHANNEL BUILDERS
48.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 1400.00 | Sqm |  | 100.00 | 140000.00 | 103.00 | 144200.00 | 100.00 | 140000.00 | 140000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
49.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 15.00 | Cum |  | 2500.00 | 37500.00 | 1800.00 | 27000.00 | 500.00 | 7500.00 | 7500.00 | M/S GREEN CHANNEL BUILDERS
50.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material with in 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 30.00 | Cum |  | 1500.00 | 45000.00 | 1550.00 | 46500.00 | 50.00 | 1500.00 | 1500.00 | M/S GREEN CHANNEL BUILDERS
51.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 31.00 | Each |  | 90.00 | 2790.00 | 107.00 | 3317.00 | 50.00 | 1550.00 | 1550.00 | M/S GREEN CHANNEL BUILDERS
52.00 | Dismantling wood work in frames, trusses, purlins and rafters up to 10 metres span and 5 metres height including stacking the material within 50 metres lead : Of sectional area 40 square centimetres and above | 10.00 | Cum |  | 3000.00 | 30000.00 | 3200.00 | 32000.00 | 100.00 | 1000.00 | 1000.00 | M/S GREEN CHANNEL BUILDERS
53.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1520.00 | Kg |  | 5.00 | 7600.00 | 3.00 | 4560.00 | 5.65 | 8588.00 | 4560.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
54.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 180.00 | Sqm |  | 60.00 | 10800.00 | 50.00 | 9000.00 | 50.00 | 9000.00 | 9000.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
55.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 215.00 | Sqm |  | 150.00 | 32250.00 | 124.00 | 26660.00 | 80.00 | 17200.00 | 17200.00 | M/S GREEN CHANNEL BUILDERS
56.00 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 570.00 | Sqm |  | 55.00 | 31350.00 | 42.00 | 23940.00 | 40.00 | 22800.00 | 22800.00 | M/S GREEN CHANNEL BUILDERS
57.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin- charge. | 1060.00 | Sqm |  | 55.00 | 58300.00 | 40.00 | 42400.00 | 40.00 | 42400.00 | 42400.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
58.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved | 40.00 | Cum |  | 250.00 | 10000.00 | 197.00 | 7880.00 | 175.00 | 7000.00 | 7000.00 | M/S GREEN CHANNEL BUILDERS
59.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 1.00 | Each |  | 2500.00 | 2500.00 | 1270.00 | 1270.00 | 1000.00 | 1000.00 | 1000.00 | M/S GREEN CHANNEL BUILDERS
60.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 ith C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board. 510x1040 mm bowl depth 250 mm | 2.00 | Each |  | 7500.00 | 15000.00 | 5240.00 | 10480.00 | 2500.00 | 5000.00 | 5000.00 | M/S GREEN CHANNEL BUILDERS
61.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 40 mm dia | 4.00 | Each |  | 150.00 | 600.00 | 89.00 | 356.00 | 100.00 | 400.00 | 356.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
62.00 | Providing and fixing toilet paper holder : C.P. brass | 2.00 | Each |  | 950.00 | 1900.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1000.00 | M/S GREEN CHANNEL BUILDERS
63.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 1.00 | Each |  | 850.00 | 850.00 | 530.00 | 530.00 | 500.00 | 500.00 | 500.00 | M/S GREEN CHANNEL BUILDERS
64.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 3.00 | Each |  | 1800.00 | 5400.00 | 11308.00 | 33924.00 | 7000.00 | 21000.00 | 5400.00 | M/S KUCHAY CONSTRUCTION CORPORATION
65.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings and fixing the pipe with clamps at 1.00 m spacing. This includes the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work,including cutting chases and making good the wall etc. PN - 16 Pipe, 20 mm OD (SDR-7.4) | 100.00 | meter |  | 350.00 | 35000.00 | 360.00 | 36000.00 | 350.00 | 35000.00 | 35000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
66.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS 15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes testing of joints complete as per direction of Engineer-in-Charge. External work PN - 16 Pipe, 20mm OD (SDR-7.4) | 160.00 | meter |  | 250.00 | 40000.00 | 168.00 | 26880.00 | 190.00 | 30400.00 | 26880.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
67.00 | Providing and fixing PPR Unions 18.6A.1 PPR Union 20mm | 8.00 | Each |  | 350.00 | 2800.00 | 237.00 | 1896.00 | 250.00 | 2000.00 | 1896.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
68.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore | 2.00 | Each |  | 1100.00 | 2200.00 | 680.00 | 1360.00 | 500.00 | 1000.00 | 1000.00 | M/S GREEN CHANNEL BUILDERS
69.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 4.00 | Each |  | 650.00 | 2600.00 | 349.00 | 1396.00 | 450.00 | 1800.00 | 1396.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
70.00 | Providing and fixing gun metal non- return valve of approved quality (screwed end) : 25 mm nominal bore Horizontal | 2.00 | Each |  | 700.00 | 1400.00 | 440.00 | 880.00 | 300.00 | 600.00 | 600.00 | M/S GREEN CHANNEL BUILDERS
71.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 20.00 | Each |  | 150.00 | 3000.00 | 73.00 | 1460.00 | 80.00 | 1600.00 | 1460.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
72.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 15 mm nominal bore | 4.00 | Each |  | 350.00 | 1400.00 | 238.00 | 952.00 | 250.00 | 1000.00 | 952.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
73.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Per Ltr. |  | 10.00 | 20000.00 | 8.00 | 16000.00 | 4.00 | 8000.00 | 8000.00 | M/S GREEN CHANNEL BUILDERS
74.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 4.00 | Each |  | 650.00 | 2600.00 | 380.00 | 1520.00 | 300.00 | 1200.00 | 1200.00 | M/S GREEN CHANNEL BUILDERS
75.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15mm nominal bore | 16.00 | Each |  | 600.00 | 9600.00 | 430.00 | 6880.00 | 300.00 | 4800.00 | 4800.00 | M/S GREEN CHANNEL BUILDERS
76.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. 15 mm nominal bore, 105 mm long, weighing not less than 138 gms | 2.00 | Each |  | 250.00 | 500.00 | 135.00 | 270.00 | 150.00 | 300.00 | 270.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
77.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter | 60.00 | meter |  | 950.00 | 57000.00 | 525.00 | 31500.00 | 500.00 | 30000.00 | 30000.00 | M/S GREEN CHANNEL BUILDERS
78.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe | 60.00 | Metre |  | 1300.00 | 78000.00 | 890.00 | 53400.00 | 800.00 | 48000.00 | 48000.00 | M/S GREEN CHANNEL BUILDERS
79.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 150 x 100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 7.00 | each |  | 3100.00 | 21700.00 | 2053.00 | 14371.00 | 2000.00 | 14000.00 | 14000.00 | M/S GREEN CHANNEL BUILDERS
80.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | each |  | 14000.00 | 28000.00 | 9640.00 | 19280.00 | 5000.00 | 10000.00 | 10000.00 | M/S GREEN CHANNEL BUILDERS
81.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1010.00 | Kg |  | 500.00 | 505000.00 | 400.00 | 404000.00 | 500.00 | 505000.00 | 404000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
82.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 240.00 | Kg |  | 550.00 | 132000.00 | 479.00 | 114960.00 | 600.00 | 144000.00 | 114960.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
83.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 8 mm thickness (weight not less than 20 kg/sqm) | 50.00 | Sqm |  | 2100.00 | 105000.00 | 1270.00 | 63500.00 | 1500.00 | 75000.00 | 63500.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
84.00 | Providing and fixing factory made solid Foam uPVC profile for kitchen cabinet frame (45 x 20 mm) of approved shade, quality and make. The profile shall be laminated on both sides, made from rigid foam sheets (Single extruded) having density 600 Kg/cum and the exposed edges sealed with PVC edge beading of same shade and colour. The frame shall be fire retardent with necessary screw holding capacity. Frame shall be fixed to wall using Expendable Fastner with necesary stainless steel screws, all complete as per direction of Engineer-in-charge. | 80.00 | meter |  | 510.00 | 40800.00 | 339.00 | 27120.00 | 350.00 | 28000.00 | 27120.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
85.00 | Providing and fixing factory made Kitchen Cabinet Shutter/Partition 20 mm nominal thickness of approved shade, quality and make, made from rigid foam sheets (Single extruded) having density 600 Kg/cum and laminated on both side by laminate Sheet/PVC foil lamination. The exposed edges shall be sealed with PVC edge beading of same shade and colour. The shutter shall be fire retardent having necessary screw holding capacity. Shutter shall be fixed to frame using approved hinges with necessary stainless steel screws, all complete as per direction of Engineer-in-charge. | 50.00 | Sqm |  | 6200.00 | 310000.00 | 4035.00 | 201750.00 | 4000.00 | 200000.00 | 200000.00 | M/S GREEN CHANNEL BUILDERS
86.00 | Providing and fixing of external wall system on Light gauge steel frame work with outer face cement boards as per standard sizes fixed with selfdrilling / taping screws / fasteners @ 60 cm c/c of approved make. groove of 2 mm to 3 mm shall be maintained and grooves shall be sealed with silicon based sealant. The board shall be fixed in a staggered pattern. Screws shall be of counter sunk rib head of 1.60 mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm and. Internal face 12.5 mm thick gypsum plaster board fixed on cement board as per standard sizes fixed with self- drilling / taping screws / fasteners @ 60cm c/c of approved make, proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish.(cost of frame work to be paid for separately) Outer face- Outer face having 6 mm thick fiber cement board Type A, Category-III as per IS:14862:2000 fixed on 9 mm thick fiber cement board Type A, Category-III, as per IS:14862:2000 (high pressure steam cured) Inner Face- 12.5 mm thick gypsum plaster board conforming to IS 2095:2011 fixed on 8 mm thick fibre cement board of Type B, Category-III, as per IS:14862:2000 (High pressure steam cured) | 670.00 | Sqm |  | 2500.00 | 1675000.00 | 2730.00 | 1829100.00 | 2200.00 | 1474000.00 | 1474000.00 | M/S GREEN CHANNEL BUILDERS
87.00 | Structural steel sections work bolted or welded in built up sections and framed work, cluding , hoisting, fixing in position all complete(structural steel section supplied by department) . | 1520.00 | Kg |  | 22.00 | 33440.00 | 14.00 | 21280.00 | 15.00 | 22800.00 | 21280.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
88.00 | Removing and refixing glazed partitions including door and its fittings etc. from spider glazing system, SS partition i/c removing & refixing of accessories fiitings , nuts , bolts , EPDM rubber / neoprene gasket , silicon ,etc whichever is required including shifting of material to location of refixing all complete as per the directions of engineer-in-charge (a) With float/Toughened glass panes of 8-12 mm thickness. (Note: For payment purpose, glass area is to be measured.) all material except weatther Silicon that is Neoprene gasket, nuts and bolts, U ftrame to be removed & reused ) The cost for removing & refixing of frame work shall be paid seperately. | 160.00 | Sqm |  | 2500.00 | 400000.00 | 1933.00 | 309280.00 | 1000.00 | 160000.00 | 160000.00 | M/S GREEN CHANNEL BUILDERS
89.00 | Providing and fixing 12 mm thick frameless toughened glass of approved brand and manufacture for Partition work , including SS bolts/SS patch fittings at top, Bottom, sides as per drawing with welding,bolting etc and fixing with SS/MS pipes/tube/frame, filling the gaps between Vertical support member,glass and flooring with silicon sealant etc. all complete as per direction of Engineer-in-charge.(for making payment, glass area will be measured) | 300.00 | Sqm |  | 7000.00 | 2100000.00 | 6000.00 | 1800000.00 | 7500.00 | 2250000.00 | 1800000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
90.00 | Providing, supplying and fixing of Frameless Single Leaf Swing Glass Door in glazing of 12mm thick toughened glass of Saint Gobain or approved equivalent on Hardwyn make patch fitting with stainless steel cover including fixing of patch fittings(Hardwyn make or equivalent), floor springs, handles etc. using the hardware items which includes one no each of Patch for overhead / Side Panel Big ell He-40 ,patch Connector for Overhead / Side Panel ,overhead & side panel small ell patch He 509,floor spring with cover plate Bottom side patch & bottom lock patch He-6600 set , pair of Hardwyn make SS Pull Handle 30 mm dia x 450mm length Hph 141 and other accessories complete in all respects as per direction of Engineer in charge. (note :door to be hunged to make provision to fix door with all above fittings at opening area).(for payment, area of glass including fittings to be measured) | 20.00 | Sqm |  | 18000.00 | 360000.00 | 13246.00 | 264920.00 | 12000.00 | 240000.00 | 240000.00 | M/S GREEN CHANNEL BUILDERS
91.00 | Providing and fixing 12 mm thick (Boiled waterproof) plywood of approved with necessary fevicol, screws,nails etc.complete for construction of counter, cupboard, partitions or similar works as per the direction of Engg - in - charge. | 110.00 | Sqm |  | 850.00 | 93500.00 | 685.00 | 75350.00 | 800.00 | 88000.00 | 75350.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
92.00 | Providing and fixing false ceiling of Wooden Khatambandh made up of Kashmiri Ferwood of thickness 10 mm (Poonch Gull pattern or any other pattern as approved by Engineer-in-charge)including fixing with adhesive, screws, nails(which should not be visible) with base of plywood complete all as specified and directed by Engr-in-Charge Note- 1. Base framework incl plywood and polishing work shall be paid for separately. 2. This item includes for material, labour and carriage upto the site of work. | 70.00 | Sqm |  | 3900.00 | 273000.00 | 3150.00 | 220500.00 | 2800.00 | 196000.00 | 196000.00 | M/S GREEN CHANNEL BUILDERS
93.00 | Providing & Fixing of THERMORY PINE C92 wood Panels of size 140 mm (Breadth) X 20 mm (thickness) X 2400 mm to 4000 mm (length) of make BRENSTOL OU/Kebony/Perennial wood installed on a frame made of Hollow Aluminum Channels (Size 25mm X 50 mm) at a distance of 450-600 mm. The aluminum frame will be leveled and undulation of wall/partition will be adjusted by filling with wood in the aluminum channels. THERMORY PINE C92 wood Panels are then to be fixed over the aluminum channel with the help of SS B1 THERMORY FASTNERS & SS Screws. The screws should not be visible after finishing. The fixed THERMORY PINE c92 Wooden panel surface will be finished with Exterior oil based coatings from CUTEK, Australia in the desired stain. This item includes all cost i.e. duty, taxes, installation, transportation, wastage, labour and T&P required for the job etc. (MTC to be submitted) | 130.00 | Sqm |  | 7000.00 | 910000.00 | 6600.00 | 858000.00 | 6300.00 | 819000.00 | 819000.00 | M/S GREEN CHANNEL BUILDERS
94.00 | Providing and fixing health faucet (Make- Jaguar- ALD-577 or equivalent) for E.W.C. complete in all respect as per direction and satisfaction of Engineer-in-charge. | 4.00 | Each |  | 1900.00 | 7600.00 | 1300.00 | 5200.00 | 1300.00 | 5200.00 | 5200.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
95.00 | Providing and fixing CP brass wash basin Mixer, 15 mm nominal bore (Model No. Jaguar FUS-CHR-29023B or equivalent) complete all as specified and directed by Engineer-in-Charge. | 11.00 | Each |  | 5700.00 | 62700.00 | 4100.00 | 45100.00 | 5000.00 | 55000.00 | 45100.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
96.00 | Providing and fixing Flat glass Circular mirror of size 35x716x716 mm(make Kohler Essential K-26050-BGL or equivalent) and fitted with wall with SS fittings of approved make, mirror screws and SS including holes in the glass and frame as per manufacture specification. All complete as per satisfaction of E-I-C | 10.00 | Each |  | 18000.00 | 180000.00 | 11870.00 | 118700.00 | 12000.00 | 120000.00 | 118700.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
97.00 | Providing & Fixing liquid soap container (METALLIC SOAP CONTAINER Make: Jaguar ACN 1137N or equivalent) of approved quality and make as per directions and satisfaction of Engineer-in-charge | 2.00 | Each |  | 4000.00 | 8000.00 | 2800.00 | 5600.00 | 3000.00 | 6000.00 | 5600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
98.00 | Providing and fixing bottle trap (Make- Jaguar- ALD-769L Size 300 X 190mm or equivalent) for wash basin and urinals etc, of approved quality complete in all respect as per direction and satisfaction of Engineer-in-charge. | 9.00 | Each |  | 2100.00 | 18900.00 | 1500.00 | 13500.00 | 1500.00 | 13500.00 | 13500.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
99.00 | Providing & fixing of approved make translucent 3M or equivalent film, cast PVC, , thickness of 2 mil(0.05 mm) without adhesive and 3 mil (0.8) with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F (0.6 Kg/cm at 23 C0. Adhesion after 24 hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: (Manufacture test certificate to be provided for above specifications). a) Designer special crystal-effect film to reproduce sand-blasting effect on glass with customised designs & colours | 360.00 | Sqm |  | 2700.00 | 972000.00 | 3050.00 | 1098000.00 | 2600.00 | 936000.00 | 936000.00 | M/S GREEN CHANNEL BUILDERS
100.00 | Providing and fixing including installation 18 mm thick acrylic solid surface( LG Hi- Macs/Corian/Durlax or approved equivalent ) on horzontal/vertical surface as per design including moulding at edges of required colours(colour category-C) and compatible with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin (poly methyl acrylate )and 2/3 natural minerals,heat resistance withstand up to 2120 F, hardness rating 85 on the rockwell M scale, tensile strength 6000 psi,flexible strength 10000 psi in required shape and size by providing if required cut out by using a router with least a 0.4 inch bit complete as per Engineer-in-charge.The plan area (horizontal and vertical faces) including cut outs provided will be measured for payment.(MTC to be submitted) | 20.00 | Sqm |  | 21000.00 | 420000.00 | 14737.00 | 294740.00 | 17000.00 | 340000.00 | 294740.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
101.00 | P/F aluminium composite panel of approved colour/shade in cladding consisting aluminium sheet on both faces of PE core with PVDF coating on front skin panel of approved make(AAI approved make) on aluminium/SS/MS frame upto 6.00 m height Aluminium composite panel shall be fixed on aluminium/SS/MS frame with necessary screws etc. and gap filled with structural sealant along all edges/joints of aluminium composite panel, all complete as per direction & satisfaction of Engineer-in-charge. (aluminium/SS/MS frame work shall be measured & paid separetaly). a)4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick) | 50.00 | Sqm |  | 1950.00 | 97500.00 | 1337.00 | 66850.00 | 1500.00 | 75000.00 | 66850.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
102.00 | Providing and fixing Superior quality polyester Blackout printed Curtains with tie back of made up of poylester material opacit , triple layered,heavy silk blackout layer sandwiched with 2 light layers of fabric, minimum 380 gm per sqm weight including eyelads in required size and shape of approved colour/shade etc complete as per direction and satisfaction of Engineer-in-charge. | 90.00 | Sqm |  | 1350.00 | 121500.00 | 852.00 | 76680.00 | 1000.00 | 90000.00 | 76680.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
103.00 | Providing and fixing wash basin Mixer(Make Jaquar SIG CHR-41233 or equivalaent) of approved make as per direction and satisfaction of EIC. | 1.00 | Each |  | 21000.00 | 21000.00 | 14200.00 | 14200.00 | 15000.00 | 15000.00 | 14200.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
104.00 | Providing and fixing table top wash basin of size 710x460x180 mm of approved make (Make Jaquar KAS-WHT-49901 or equivalent) as per the direction and satisfaction of EIC. | 1.00 | Each |  | 31000.00 | 31000.00 | 21902.00 | 21902.00 | 15000.00 | 15000.00 | 15000.00 | M/S GREEN CHANNEL BUILDERS
105.00 | Providing and fixing toilet paper holder Make: Jaguar model code AKP-35753SPS OR equivalent complete all as per direction of Engineer-in-charge. | 4.00 | Each |  | 2600.00 | 10400.00 | 1720.00 | 6880.00 | 2000.00 | 8000.00 | 6880.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
106.00 | Providing and fixing white vitreous china flat back half stall urinal of approved make(Jaquar URS-WHT-13263 or equivalent) of size 340x325x650 mm with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556,other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required as per the direction of EIC. | 1.00 | Each |  | 17500.00 | 17500.00 | 11000.00 | 11000.00 | 8000.00 | 8000.00 | 8000.00 | M/S GREEN CHANNEL BUILDERS
107.00 | Providing and fixing Corner Glass Shelf Make: Jaguar model code CAN-1173 OR equivalent complete all as per direction of Engineer-in-charge. | 4.00 | Each |  | 2100.00 | 8400.00 | 1387.00 | 5548.00 | 1500.00 | 6000.00 | 5548.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
108.00 | Providing and fixing Glass Shelf 600 mm long Make: Jaguar model code AKP-35771P OR equivalent complete all as per direction of Engineer-in-charge. | 4.00 | Each |  | 2700.00 | 10800.00 | 1719.00 | 6876.00 | 1800.00 | 7200.00 | 6876.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
109.00 | Providing and fixing Towel Rack 600 mm long with lower hangers of stainless steel Make: Jaguar model code AKP-35781PS OR equivalent complete all as per direction of Engineer-in-charge. | 2.00 | Each |  | 5100.00 | 10200.00 | 3735.00 | 7470.00 | 4500.00 | 9000.00 | 7470.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
110.00 | Providing and fixing white Shower Panel of size 1500x200 mm of approved make(Jaquar JPL-WHT-GHT-G0843JAX or equivalent) with white tempered glass body, 2ABS bosy massage Jet, hand shower with flexible hose, brass spout and shelf including fitting and cutting and making good the walls wherever required as per satisfaction and the direction of EIC. | 1.00 | Each |  | 45000.00 | 45000.00 | 28000.00 | 28000.00 | 28000.00 | 28000.00 | 28000.00 | M/S GREEN CHANNEL BUILDERS, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
111.00 | Providing and fixing white Rimless Wall Hung WC with Electronic PP Seat Cover Hinges accessories set size 390x570x365 mm of approved make(Jaquar ITS-WHT-89953PP or equivalent) and shape including providing & fixing white Pneumatic Single piece slim concealed cistern with floor mounting frame installation kitand s-type drain pipe connection set for wall hung WC with fittings of flushing capacity 3 litre/ 6 litre,including pneumatic white Glass Control Face plate, seat cover,and cistern fittings, nuts, bolts and gasket etc complete. | 1.00 | Each |  | 60000.00 | 60000.00 | 42000.00 | 42000.00 | 45000.00 | 45000.00 | 42000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
112.00 | Providing and fixing urinal sensor of approved make(Jaquar SNR-ABR-51087 or equivalent) wherever required complete. | 1.00 | Each |  | 14500.00 | 14500.00 | 10300.00 | 10300.00 | 12000.00 | 12000.00 | 10300.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
113.00 | Providing and fixing SS stop cock (concealed) of standard design and of approved make(Jaquar FLR-5083NK or equialent) for Urinal sensor system as per the direction of Engineer in charge. | 1.00 | Each |  | 650.00 | 650.00 | 400.00 | 400.00 | 500.00 | 500.00 | 400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
114.00 | Providing and fixing SS anglular stop cock with wall flangeof approved make(Jaquar FLR-5053N or equivalent) valve for basin mixer and geyser points of approved quality conforming to IS:8931 | 8.00 | Each |  | 1650.00 | 13200.00 | 1080.00 | 8640.00 | 1200.00 | 9600.00 | 8640.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
115.00 | Providing and fixing (10+2) mm thick SCHEIT / EPITOME / PERGO / UNITEX click Laminate Flooring/Skirting having an inbuilt 2 mm Sound block SC backing - class of use 23/33, wear Resistance AC-5, Impact Residence-IC 3, (as per EN13329), Top surface having a MLC (Multi Layer Composite) High Pressure Laminate, top surface treated with (Aluminium Oxide) surface guard & on the top of high density fiber board substrate specially development core having smart lock Tounge and Groove joints to secure long lasting joint. The edge of Tounge and groove planks duly impregnated with paraffin. The approved decor planks to be placed on Upnderlay-0.2mm thick Alkali resistant Polyethelene sheet 2mm EPU foam to resist any moisture movement from the sub floor and secure floating floor installation as per the direction, satisfaction and shades approved by the Engineer-in-charge .(MTC to be submitted) | 130.00 | Sqm |  | 3500.00 | 455000.00 | 2716.00 | 353080.00 | 3000.00 | 390000.00 | 353080.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
116.00 | Providing and Fixing 5mm thick designer toughened lacquered glass of saint Gobin or equivalent on existing surfaces on wall/slab with provision of required Opening in the Laquered glass as per site requirement including SS fittings(the glass edges should be smooth rounded properly) as per direction of Engineer-in-charge. | 10.00 | Sqm |  | 5300.00 | 53000.00 | 3857.00 | 38570.00 | 4000.00 | 40000.00 | 38570.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
117.00 | Providing and fixing white Wall Hung WC with of size 370x540x410 mm with in built jet & PP soft close seat cover, Hinges accessories set of approved make(Jaquar CNS-WHT-959JSPP or equivalent) and shape including providing & fixing white Pneumatic Single piece slim concealed cistern with floor mounting frame installation kit and s-type drain pipe connection set for wall hung WC with fittings of flushing capacity 3 litre/ 6 litre,including pneumatic white Control face plate opal(Jaquar JCP-CHR-152415 or equivalent), seat cover,and cistern fittings, nuts, bolts and gasket etc complete. | 3.00 | each |  | 21000.00 | 63000.00 | 19900.00 | 59700.00 | 20000.00 | 60000.00 | 59700.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
118.00 | Providing and fixing Greenlam Sturdo Classique Evergreen Series / Merino ZMS SS Series toilet cubicle (of following standard dimension which includes (Toilet cubicle with standard dimension of L Shape Thickness 12mm, Door 600x1785, Divider Height 1820, Overall Height 1995, Depth 1577, Width 1087)) made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate should be suede/*Raw Silk, which includes doors, pilasters & intermediate panels finished with approved texture/shade of AAI approved make and as per fire retardant BS-476/97 standard. This also includes providing and fixing in position necessary hardware Nylon Adjustable Foot, Nylon Gravity Hinge, Door Stopper Channel, Nyl Door Knob, Nylon Coat Hook With Door Stopper, Nylon Lockset With Indicator, Rubber For Door Stopper Channel,Sst 316 Screw,Toprail,U Channel,Wall Plug. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by Stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm.(Manufacture test certificate to be provided for above specifications) | 4.00 | each |  | 22000.00 | 88000.00 | 26860.00 | 107440.00 | 25000.00 | 100000.00 | 88000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
119.00 | Providing and fixing wash basin (Make - Kohler Mod. No. 2764T-1-0 or equivalent) i/c removing old / damaged wash basin and refixing waste coupling, mixer and other existing accessories complete all as directed by Engineer-In-Charge. | 10.00 | Each |  | 18000.00 | 180000.00 | 7154.00 | 71540.00 | 7500.00 | 75000.00 | 71540.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
120.00 | Dismantling and refixing existing 10 to 15 mm thick wooden Flooring/Skirting having smart lock Tounge and Groove joints to secure long lasting joint including beneath base foam of any thickness. The edge of Tounge and groove planks duly impregnated with paraffin. The approved decor planks to be placed on available Upnderlay-Polyethelene sheet EPU foam to resist any moisture movement from the sub floor and secure floating floor installation. This item includes anyadditional base material foam, adhesives, paraffins required and also removal and cleaning of adhesives foams etc. from the removal area all complete as per the direction, satisfaction of the Engineer-in-charge . | 50.00 | Sqm |  | 110.00 | 5500.00 | 130.00 | 6500.00 | 100.00 | 5000.00 | 5000.00 | M/S GREEN CHANNEL BUILDERS
121.00 | Removing and taking away of woolen carpet along with 10 mm thick underlaid of poly propylene sheet etc. and the like received from dismantling including cleaning the floor surface complete. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 130.00 | Sqm |  | 75.00 | -9750.00 | 50.00 | -6500.00 | 80.00 | -10400.00 | -10400.00 | M/S GREEN CHANNEL BUILDERS
122.00 | Credit for removing and taking away of aluminium sections, plates etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 3740.00 | Kg |  | 72.00 | -269280.00 | 50.00 | -187000.00 | 83.37 | -311803.80 | -311803.80 | M/S GREEN CHANNEL BUILDERS
123.00 | Credit for removing and taking away of aluminium sliding door bolts, tower bolts, handle,hinges,pull bolt lock etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 232.00 | each |  | 10.00 | -2320.00 | 3.00 | -696.00 | 25.34 | -5878.88 | -5878.88 | M/S GREEN CHANNEL BUILDERS
124.00 | Credit for taking away of 12 mm thick particle board/plywood or shutters for Doors/windows/ clerestory windows, trusses, battens, partitions, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 710.00 | sqm |  | 155.00 | -110050.00 | 95.00 | -67450.00 | 150.00 | -106500.00 | -110050.00 | M/S KUCHAY CONSTRUCTION CORPORATION
125.00 | Credit for taking away of 12 mm thick insulating board for Doors/windows/roof/ clerestory windows, trusses, battens, partitions, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 570.00 | sqm |  | 55.00 | -31350.00 | 22.00 | -12540.00 | 43.35 | -24709.50 | -31350.00 | M/S KUCHAY CONSTRUCTION CORPORATION
126.00 | Credit for taking away float/toughened glass panes of 3 to 8 mm thickness received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 360.00 | Sqm |  | 170.00 | -61200.00 | 105.00 | -37800.00 | 150.00 | -54000.00 | -61200.00 | M/S KUCHAY CONSTRUCTION CORPORATION
127.00 | Credit for taking away of Wooden members in trusses and frames etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 40.00 | Cum |  | 9000.00 | -360000.00 | 7000.00 | -280000.00 | 8000.00 | -320000.00 | -360000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
128.00 | Deduct for removing and taking away of C.P. brass health faucet and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 3.00 | each |  | 55.00 | -165.00 | 32.00 | -96.00 | 43.35 | -130.05 | -165.00 | M/S KUCHAY CONSTRUCTION CORPORATION
129.00 | Deduct for removing and taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 24.00 | each |  | 55.00 | -1320.00 | 32.00 | -768.00 | 50.00 | -1200.00 | -1320.00 | M/S KUCHAY CONSTRUCTION CORPORATION
130.00 | Credit for removing and taking away EWC vitreous China pedestal type water closet with seat and lid, 10 ltr low leve; PVC flushing Cistern with manually controlled handle received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 3.00 | Each |  | 100.00 | -300.00 | 65.00 | -195.00 | 100.00 | -300.00 | -300.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
131.00 | Credit for removing and taking away Vitreous China wash basin with CI/MS brackets,CP brass waste pipe, pillar tap including fitting and brackets received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 3.00 | Each |  | 200.00 | -600.00 | 129.00 | -387.00 | 180.00 | -540.00 | -600.00 | M/S KUCHAY CONSTRUCTION CORPORATION
132.00 | Credit for taking away of G.S./galvanised iron profile sheets roofing Sheet including ridges, hips, valleys and gutters etc., and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 210.00 | Sqm |  | 11.00 | -2310.00 | 6.00 | -1260.00 | 25.00 | -5250.00 | -5250.00 | M/S GREEN CHANNEL BUILDERS
133.00 | Credit for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers, etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 200.00 | Kg |  | 25.00 | -5000.00 | 14.00 | -2800.00 | 25.00 | -5000.00 | -5000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
| Total in Figures |  |  |  |  | 14787965.00 |  | 13893642.00 |  | 13193665.77
Lowest Amount Quoted BY: M/S GREEN CHANNEL BUILDERS(13193665.77)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of Various Offices of CISF and Airlines located at First Floor to Ground Floor of Terminal Building to decongest the SHA at First Floor at Srinagar Airport Tender ID: 2024_AAI_186089_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S GREEN CHANNEL BUILDERS | 13193665.77 | L1
| 2 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED | 13893642.00 | L2
| 3 | M/S KUCHAY CONSTRUCTION CORPORATION | 14787965.00 | L3