## BoQ1
Government eProcurement System Created By: Pradeep Muralidharan Created Date/Time: 15-May-2024 11:39 AM Tender Title: Grading of operation area on the southern side of runway including construction of drain at Madurai Airport. Tender ID: 2024_AAI_186451_1
Tender Inviting Authority: Assistant General Manager (Engg-Civil), Airports Authority of India, Madurai Airport, Madurai – 625 022
Name of Work: Grading of operation area on the southern side of runway i/c construction of drain at Madurai Airport. SH: Construction of embankment to extend runway basic strip from 75m to 140m at runway 09 side, construction of emergency access road, grading of runway basic strip including construction of precast drain on southern side of runway at Madurai Airport.
Contract No: AAI/MDU/CIVIL/598/2024/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUN CONSTRUCTIONS (GSTN-33ABOFS6033L1ZT) BID ID -692744 |  | SRINIVASA EDIFICE PRIVATE LIMITED (GSTN-37AACCS8310C1ZO) BID ID -693310 |  | G. R. Engineers and Contractor (GSTN-23DXKPS8522P1ZN) BID ID -693334 |  | Sasi Constructions(GSTN-NA)--691593 |  | ATR INFRAPROJECTS PVT LTD(GSTN-NA)--693233 |  | pr and co(GSTN-NA)--685819
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 129.00 | cum |  | 250.00 | 32250.00 | 847.08 | 109273.32 | 2000.00 | 258000.00 | 300.00 | 38700.00 | 2625.00 | 338625.00 | 100.00 | 12900.00 | 12900.00 | pr and co
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 530.00 | cum |  | 150.00 | 79500.00 | 501.56 | 265826.80 | 200.00 | 106000.00 | 200.00 | 106000.00 | 1575.00 | 834750.00 | 100.00 | 53000.00 | 53000.00 | pr and co
3.00 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 192.00 | cum |  | 150.00 | 28800.00 | 947.39 | 181898.88 | 180.00 | 34560.00 | 200.00 | 38400.00 | 2100.00 | 403200.00 | 120.00 | 23040.00 | 23040.00 | pr and co
4.00 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | 1335.00 | kg |  | 8.00 | 10680.00 | 5.58 | 7449.30 | 8.80 | 11748.00 | 3.00 | 4005.00 | 26.00 | 34710.00 | 10.00 | 13350.00 | 4005.00 | Sasi Constructions
5.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 776.00 | kg |  | 10.00 | 7760.00 | 10.04 | 7791.04 | 5.50 | 4268.00 | 5.00 | 3880.00 | 53.00 | 41128.00 | 5.00 | 3880.00 | 3880.00 | pr and co, Sasi Constructions
6.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 4512.00 | sqm |  | 90.00 | 406080.00 | 71.98 | 324773.76 | 26.50 | 119568.00 | 50.00 | 225600.00 | 131.00 | 591072.00 | 25.00 | 112800.00 | 112800.00 | pr and co
7.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 52.00 | cum |  | 800.00 | 41600.00 | 501.56 | 26081.12 | 380.00 | 19760.00 | 300.00 | 15600.00 | 2205.00 | 114660.00 | 150.00 | 7800.00 | 7800.00 | pr and co
8.00 | Construction of embankment with approved material obtained from inside operational area runway strips including excavation in soil with hydraulic excavator including cutting, loading in tippers with all lifts and lead upto 2km, transporting to the site, spreading, grading to required slope and compacting to meet the requirement of table 300-2 as per Morth Specification | 78100.00 | cum |  | 140.00 | 10934000.00 | 111.85 | 8735485.00 | 129.00 | 10074900.00 | 380.00 | 29678000.00 | 74.00 | 5779400.00 | 100.00 | 7810000.00 | 5779400.00 | ATR INFRAPROJECTS PVT LTD
9.00 | Construction of embankment with approved material obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2 as per Morth specifications. (The contractor shall arrange for the provision of the earth, covering all expenses including royalties, transportation and inclusive of all applicable taxes such as GST). | 102900.00 | cum |  | 570.00 | 58653000.00 | 613.55 | 63134295.00 | 469.00 | 48260100.00 | 850.00 | 87465000.00 | 660.00 | 67914000.00 | 599.00 | 61637100.00 | 48260100.00 | G. R. Engineers and Contractor
10.00 | Excavation in ordinary rock with hydraulic excavator including cutting & loading in tippers, trimming bottom and side slopes in accordance with requirement of line, grades and cross section and transporting and unloading to the disposal location(s) including levelling and neatly dressing of disposed material completely as directed by Engineer-In-Charge with all lifts and 2km lead within Airport Premises. | 500.00 | cum |  | 600.00 | 300000.00 | 445.83 | 222915.00 | 40.00 | 20000.00 | 150.00 | 75000.00 | 368.00 | 184000.00 | 300.00 | 150000.00 | 20000.00 | G. R. Engineers and Contractor
11.00 | Engaging dozer / Grader (including required manpower and POL) for grading, trimming and levelling of Runway Strip to the required slope complete as per direction of Engineer-In-Charge. | 456600.00 | sqm |  | 15.00 | 6849000.00 | 5.58 | 2547828.00 | 7.90 | 3607140.00 | 5.00 | 2283000.00 | 21.00 | 9588600.00 | 1.65 | 753390.00 | 753390.00 | pr and co
12.00 | Earth work in excavation of foundation of structures as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom, backfilling the excavation earth to the extent required and utilising the remaining earth locally for road work/embankment. | 23092.00 | cum |  | 130.00 | 3001960.00 | 111.55 | 2575912.60 | 42.00 | 969864.00 | 150.00 | 3463800.00 | 100.00 | 2309200.00 | 80.00 | 1847360.00 | 969864.00 | G. R. Engineers and Contractor
13.00 | Providing and applying primer coat with bitumen emulsion SS1 grade conforming to IS:8887 on prepared surface of granular base including clearing of surface and spraying primer at the rate of 0.70 kg/sqm using mechanical means complete in all respects as per direction of Engineer - In - Charge. The contractor shall quote his rates assuming quantity of bitumen emulsion as 0.70 kg/sqm. If the actual quantity of bitumen emulsion varies from the quantity assumed above, necessary cost adjustment for deviation in the quantity of bitumen emulsion shall be done as per rate in actual supply voucher from nearest refinery at the time of execution. The rate of bitumen emulsion exclusive of GST shall only be considered for payment. | 9120.00 | sqm |  | 40.00 | 364800.00 | 31.78 | 289833.60 | 29.00 | 264480.00 | 60.00 | 547200.00 | 52.00 | 474240.00 | 40.00 | 364800.00 | 264480.00 | G. R. Engineers and Contractor
14.00 | Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG-10 (80/100) conforming IS:73 including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing Runway/Road surface as per specifications complete in all respects as per directions of Engineer-In-Charge. 0.2 Kg/Sqm on existing bituminous surface. | 9120.00 | sqm |  | 10.00 | 91200.00 | 12.27 | 111902.40 | 13.50 | 123120.00 | 26.00 | 237120.00 | 16.00 | 145920.00 | 12.00 | 109440.00 | 91200.00 | SUN CONSTRUCTIONS
15.00 | Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with Grader in sub- base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density. | 1900.00 | cum |  | 1800.00 | 3420000.00 | 2117.69 | 4023611.00 | 2000.00 | 3800000.00 | 2200.00 | 4180000.00 | 1680.00 | 3192000.00 | 1650.00 | 3135000.00 | 3135000.00 | pr and co
16.00 | Construction of granular sub-base by providing close graded material, mixing in a mechanical mix plant at OMC, carriage of mixed material to work site, spreading in uniform layers with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per clause 401 of Morth specification. | 1786.00 | cum |  | 1800.00 | 3214800.00 | 2006.24 | 3583144.64 | 1800.00 | 3214800.00 | 1900.00 | 3393400.00 | 1575.00 | 2812950.00 | 1650.00 | 2946900.00 | 2812950.00 | ATR INFRAPROJECTS PVT LTD
17.00 | Providing & Laying of hot mix Dense Bituminous Macadam (DBM) using crushed stone aggregate of quality, size and grading as specified and cement filler of quality as specified and Viscosity grade bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified level, grade and camber as per specification, drawings & as directed by the Engineer In Charge including compacting with 8-10 tonne, preferebly vibratory road roller of adequate capacity to achieve the specified value of compaction, strength, surface accuracy complete (for tendering purpose VG Bitumen of grade VG-30 content shall be taken as 110 kg/m3 of mix supplied in bulk produced in Govt. Refineries and 2% cement by weight of aggregates as filler material). | 456.00 | cum |  | 8000.00 | 3648000.00 | 9975.45 | 4548805.20 | 9000.00 | 4104000.00 | 13300.00 | 6064800.00 | 9975.00 | 4548600.00 | 8500.00 | 3876000.00 | 3648000.00 | SUN CONSTRUCTIONS
18.00 | Providing & Laying of hot mix Semi Dense Asphaultic Concrete (SDAC) using crushed stone aggregate of quality, size and grading as specified and cement as filler of quality as specified and Viscosity grade bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified level, grade and camber as per specification, drawings & as directed by the Engineer In Charge including compacting with 8-10 tonne, preferebly vibratory road roller of adequate capacity to achieve the specified value of compaction, strength, surface accuracy complete (for tendering purpose VG Bitumen of grade VG-30 content shall be taken as 120 kg/m3 of mix supplied in bulk produced in Govt. Refineries and 2% cement by weight of aggregates as filler material). | 456.00 | cum |  | 10000.00 | 4560000.00 | 11090.02 | 5057049.12 | 12000.00 | 5472000.00 | 15300.00 | 6976800.00 | 10290.00 | 4692240.00 | 9200.00 | 4195200.00 | 4195200.00 | pr and co
19.00 | Providing and applying 2.5 mm thick road marking strips (retroreflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 570.00 | sqm |  | 650.00 | 370500.00 | 579.58 | 330360.60 | 425.00 | 242250.00 | 600.00 | 342000.00 | 147.00 | 83790.00 | 350.00 | 199500.00 | 83790.00 | ATR INFRAPROJECTS PVT LTD
20.00 | Loosening of the Ground upto a level of 500mm below the subgrade level, watered, graded and compacted in layers to meet requirment of Table 300-2 of Morth specification for subgrade connstruction. | 6460.00 | cum |  | 90.00 | 581400.00 | 150.47 | 972036.20 | 360.00 | 2325600.00 | 400.00 | 2584000.00 | 89.00 | 574940.00 | 40.00 | 258400.00 | 258400.00 | pr and co
21.00 | Dismantling of flexibile pavement (bitumenious courses) by mechanical means and disposal of unserviceable material upto a lead of 1 kilometer, as per direction of Engineer-in-charge | 4.00 | cum |  | 421.00 | 1684.00 | 133.75 | 535.00 | 100.00 | 400.00 | 150.00 | 600.00 | 210.00 | 840.00 | 300.00 | 1200.00 | 400.00 | G. R. Engineers and Contractor
22.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size) | 13.00 | cum |  | 7300.00 | 94900.00 | 8916.60 | 115915.80 | 6200.00 | 80600.00 | 6500.00 | 84500.00 | 6300.00 | 81900.00 | 7000.00 | 91000.00 | 80600.00 | G. R. Engineers and Contractor
23.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 694.00 | cum |  | 4950.00 | 3435300.00 | 4458.30 | 3094060.20 | 4300.00 | 2984200.00 | 7000.00 | 4858000.00 | 4110.00 | 2852340.00 | 4200.00 | 2914800.00 | 2852340.00 | ATR INFRAPROJECTS PVT LTD
24.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 5.00 | cum |  | 9045.00 | 45225.00 | 8024.94 | 40124.70 | 6800.00 | 34000.00 | 6500.00 | 32500.00 | 6300.00 | 31500.00 | 7000.00 | 35000.00 | 31500.00 | ATR INFRAPROJECTS PVT LTD
25.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 17.00 | sqm |  | 600.00 | 10200.00 | 445.83 | 7579.11 | 280.00 | 4760.00 | 350.00 | 5950.00 | 262.00 | 4454.00 | 400.00 | 6800.00 | 4454.00 | ATR INFRAPROJECTS PVT LTD
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 160650.00 | kg |  | 85.00 | 13655250.00 | 72.45 | 11639092.50 | 87.00 | 13976550.00 | 130.00 | 20884500.00 | 68.00 | 10924200.00 | 75.00 | 12048750.00 | 10924200.00 | ATR INFRAPROJECTS PVT LTD
27.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 500.00 | kg |  | 140.00 | 70000.00 | 117.04 | 58520.00 | 90.00 | 45000.00 | 150.00 | 75000.00 | 131.00 | 65500.00 | 140.00 | 70000.00 | 45000.00 | G. R. Engineers and Contractor
28.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | 13.00 | cum |  | 7000.00 | 91000.00 | 7356.20 | 95630.60 | 3800.00 | 49400.00 | 1800.00 | 23400.00 | 2650.00 | 34450.00 | 5800.00 | 75400.00 | 23400.00 | Sasi Constructions
29.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm dia RCC pipes. | 24.00 | metre |  | 3054.00 | 73296.00 | 2229.15 | 53499.60 | 2400.00 | 57600.00 | 3500.00 | 84000.00 | 2625.00 | 63000.00 | 2500.00 | 60000.00 | 53499.60 | SRINIVASA EDIFICE PRIVATE LIMITED
30.00 | Fabrication and manufacturing of solid precast concrete element with provisions of shear keys, connecting loops, dowel tubes and proper lifting accessories for walls, beams, slabs, stairs, column etc, of various thickness, shape and size of different concrete grades manufactured in controlled factory environment with approved methodology including moulds (Pallet system, Tilts form, table moulds, battery moulds, vertical moulds, beam moulds, column moulds, staircase moulds,Facade mould, etc.), mixing, transporting and placing of concrete, vibrating, curing, finishing, making necessary cutout/holes of required sizes for services, yard handling & stacking all complete as per IS 11447:1985 and as per approved shop drawings and design mix as per the direction of Engineer-in-Charge (Cost of reinforcement, Mechanical, Electrical and Plumbing inserts will be paid separately). Concrete grade M-35 (Cement content 370 kgs) | 2134.00 | cum |  | 17500.00 | 37345000.00 | 15046.76 | 32109785.84 | 14980.00 | 31967320.00 | 13000.00 | 27742000.00 | 12600.00 | 26888400.00 | 10569.00 | 22554246.00 | 22554246.00 | pr and co
31.00 | Fabrication and manufacturing of solid precast concrete element with provisions of shear keys, connecting loops, dowel tubes and proper lifting accessories for walls, beams, slabs, stairs, column etc, of various thickness, shape and size of different concrete grades manufactured in controlled factory environment with approved methodology including moulds (Pallet system, Tilts form, table moulds, battery moulds, vertical moulds, beam moulds, column moulds, staircase moulds,Facade mould, etc.), mixing, transporting and placing of concrete, vibrating, curing, finishing, making necessary cutout/holes of required sizes for services, yard handling & stacking all complete as per IS 11447:1985 and as per approved shop drawings and design mix as per the direction of Engineer-in-Charge (Cost of reinforcement, Mechanical, Electrical and Plumbing inserts will be paid separately). Extra for using M-40 (Cement content 400 kg) instead of M-35 | 2134.00 | cum |  | 245.00 | 522830.00 | 334.37 | 713545.58 | 489.00 | 1043526.00 | 14000.00 | 29876000.00 | 315.00 | 672210.00 | 180.00 | 384120.00 | 384120.00 | pr and co
32.00 | Erection & Installation of Precast/Prestressed Concrete elements in correct & final position with proper line level and plumb at site making all arrangements (i.e cranes, push-pull jacks & all another T & P for lifting Placing & Alignment of elements, within erection tolerance as per IS 15916 as per approved shop drawings and all complete as per the direction of Engineer-in-Charge but excluding the cost of sim pads, non shrink grout and steel works i.e hangers. All work up to fifth floor. Solid concrete wall elements | 2134.00 | cum |  | 1800.00 | 3841200.00 | 2730.71 | 5827335.14 | 990.00 | 2112660.00 | 3000.00 | 6402000.00 | 3000.00 | 6402000.00 | 1800.00 | 3841200.00 | 2112660.00 | G. R. Engineers and Contractor
33.00 | Providing and Grouting of dowel tubes/shear keys/Joints of precast memebers with M-60 grade cementitious grout (Non Shrink) of approved make by suitable means (free flowing/pump), curing etc, complete as per directions of Engineering-incharge.(The payment shall be made on the basis of actual weight of approved grout injected).stirrer mixed cementitious grout (non shirnk) of approved make in dowel tubes/ joints of precast members | 7472.00 | Kg |  | 85.00 | 635120.00 | 61.31 | 458108.32 | 80.00 | 597760.00 | 300.00 | 2241600.00 | 45.00 | 336240.00 | 30.00 | 224160.00 | 224160.00 | pr and co
| Total in Figures |  |  |  |  | 156416335.00 |  | 151270004.97 |  | 135985934.00 |  | 240032355.00 |  | 153015059.00 |  | 129816536.00
Lowest Amount Quoted BY: pr and co(129816536.00)

## BOQ Summary
BOQ Summary Details Tender Title: Grading of operation area on the southern side of runway including construction of drain at Madurai Airport. Tender ID: 2024_AAI_186451_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | pr and co | 129816536.00 | L1
| 2 | G. R. Engineers and Contractor | 135985934.00 | L2
| 3 | SRINIVASA EDIFICE PRIVATE LIMITED | 151270004.97 | L3
| 4 | ATR INFRAPROJECTS PVT LTD | 153015059.00 | L4
| 5 | SUN CONSTRUCTIONS | 156416335.00 | L5
| 6 | Sasi Constructions | 240032355.00 | L6