## BoQ1
Government eProcurement System Created By: Subhra Santa Ghosh Created Date/Time: 21-Mar-2024 04:10 PM Tender Title: Replacement of Different type of Unit ACs of terminal and Admin building at Cooch Behar Airport. Tender ID: 2024_AAI_186662_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Replacement of Different type of Unit ACs of terminal/ Admin building at Cooch Behar Airport.
Contract No: 2024_AAI_186662_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AQUATICS ENIGINEERS (GSTN-07AEMPM9860Q1ZE) BID ID -676846 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -679013 |  | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -682707 |  | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -683335 |  | SARKARTRADING CORPORATION (GSTN-18AUSPS3784P1Z9) BID ID -683671
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of minimum 4 TR capacity Floor Standing AC units comprising of fixed speed technology based twin rotary compressor compatible with R-410A/R 32 gas (pre Charged) suitable for operation on 415V(±,10%), 3phase, 50Hz AC supply ,with air cooled condenser, LCD display unit with control panel mounted on Indoor Unit , wireless remote control ready to be installed as per site conditions. | 10.00 | Job | 94881.00 | 90000.00 | 900000.00 | 105000.00 | 1050000.00 | 96382.14 | 963821.40 | 95000.00 | 950000.00 | 103450.00 | 1034500.00 | 900000.00 | AQUATICS ENIGINEERS
2.00 | SITC of 2 TR capacity Inverter Type wall mounted Split A.C of 5 star BEE rating suitable for operation on 230V(±,10%), 1 phase, 50Hz AC supply complete as required as per site condition. | 25.00 | Job | 43998.00 | 43800.00 | 1095000.00 | 50000.00 | 1250000.00 | 46666.52 | 1166663.00 | 45000.00 | 1125000.00 | 46200.00 | 1155000.00 | 1095000.00 | AQUATICS ENIGINEERS
3.00 | Supply & fixing of following sizes of Copper refrigerant piping for connecting IDU & ODU including thermal insulation and insulation taping suitable for 2 Tr. Hi-Wall Split ACs. Refrigerant piping work shall be including of all types of bends, elbows etc. and connection/termination as required at site.
3.10 | (1/4") dia with min 13mm thick nitrile rubber insulation | 200.00 | Metre | 308.00 | 180.00 | 36000.00 | 250.00 | 50000.00 | 200.00 | 40000.00 | 750.00 | 150000.00 | 237.00 | 47400.00 | 36000.00 | AQUATICS ENIGINEERS
3.20 | (5/8") dia with min 13mm thick nitrile rubber insulation | 200.00 | Metre | 527.00 | 600.00 | 120000.00 | 400.00 | 80000.00 | 400.00 | 80000.00 | 350.00 | 70000.00 | 580.00 | 116000.00 | 70000.00 | Youngmen Traders
4.00 | Supply of 3c x 2.5 Sqmm XLPE insulated and PVC sheathed copper conductor unarmoured Power Cable of 1.1KV grade, confirming to IS 7098, Part-I 1988 with up to date amendments and confirming to technical specifications. | 200.00 | Metre | 128.00 | 150.00 | 30000.00 | 175.00 | 35000.00 | 120.00 | 24000.00 | 70.00 | 14000.00 | 147.00 | 29400.00 | 14000.00 | Youngmen Traders
5.00 | Supply & fixing of following sizes of Copper refrigerant piping for connecting IDU & ODU including thermal insulation and insulation taping suitable for 4 Tr. Tower ACs. Refrigerant piping work shall be including of all types of bends, elbows etc. and connection/termination as required at site.
5.10 | (3/4") dia with min 19mm thick nitrile rubber insulation | 50.00 | Metre | 556.00 | 750.00 | 37500.00 | 400.00 | 20000.00 | 450.00 | 22500.00 | 850.00 | 42500.00 | 790.00 | 39500.00 | 20000.00 | jaydeep agency corporation
5.20 | (3/8") dia with min 13mm thick nitrile rubber insulation | 50.00 | Metre | 389.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 250.00 | 12500.00 | 450.00 | 22500.00 | 278.00 | 13900.00 | 12500.00 | VOLKS ENERGIE PVT LTD
6.00 | Supply of 6c x 2.5 Sqmm XLPE insulated and PVC sheathed copper conductor unarmoured Power Cable of 1.1KV grade, confirming to IS 7098, Part-I 1988 with up to date amendments and confirming to technical specifications. | 50.00 | Metre | 256.00 | 400.00 | 20000.00 | 200.00 | 10000.00 | 170.00 | 8500.00 | 215.00 | 10750.00 | 167.00 | 8350.00 | 8350.00 | SARKARTRADING CORPORATION
7.00 | Supply of 100 watt capacity (minimum) wall fan of 400mm sweep suitable to operate on 220V - 240V, 1Ø, 50 Hz power supply complete as required with all kinds of accessories ready to install at site. | 30.00 | each | 3354.00 | 1900.00 | 57000.00 | 4250.00 | 127500.00 | 1998.00 | 59940.00 | 1500.00 | 45000.00 | 2180.00 | 65400.00 | 45000.00 | Youngmen Traders
8.00 | Supply and Fixing of CPVC hard pipe of 25 mm dia (ISI marked) class on surface/recessed for draining out the water including interconnection of drain pipe etc. complete as required. | 200.00 | Metre | 141.00 | 100.00 | 20000.00 | 40.00 | 8000.00 | 120.00 | 24000.00 | 250.00 | 50000.00 | 189.00 | 37800.00 | 8000.00 | jaydeep agency corporation
9.00 | Laying of unarmoured copper cables upto 6c x 2.5 Sqmm for interconnection of Indoor and Outdoor unit on wall surface / along refrigerant Piping with appropiate saddling / pvc fastener etc. as applicable as per site condition. | 250.00 | Metre | 17.00 | 20.00 | 5000.00 | 25.00 | 6250.00 | 20.00 | 5000.00 | 55.00 | 13750.00 | 5.00 | 1250.00 | 1250.00 | SARKARTRADING CORPORATION
10.00 | Dismantling of the existing Hi-wall, Casatte & Tower type split AC units (upto 4Tr capacity - both IDU & ODU) with all types of accessories and keeping the same in AAI store (within 100 mtr.) as per the direction of EIC. | 31.00 | Job | 453.00 | 600.00 | 18600.00 | 350.00 | 10850.00 | 600.00 | 18600.00 | 1500.00 | 46500.00 | 950.00 | 29450.00 | 10850.00 | jaydeep agency corporation
11.00 | Installation of Outdoor unit with provision of Iron angle support/Iron frame/Massonary base as per the site requirement including all kind of materials along-with civil works. | 35.00 | Job | 1284.00 | 2490.00 | 87150.00 | 340.00 | 11900.00 | 1785.71 | 62499.99 | 3000.00 | 105000.00 | 950.00 | 33250.00 | 11900.00 | jaydeep agency corporation
12.00 | SITC of full stainless steal body water cooler cum purifier (RO + UV) of storage capacity 150 Ltr. (minimum) & cooling capacity 60 Ltr. (minimum) including making foundation and required plumbing work as per site condition ready to use at site. | 1.00 | Job | 195840.00 | 74000.00 | 74000.00 | 65000.00 | 65000.00 | 67080.00 | 67080.00 | 135000.00 | 135000.00 | 244777.50 | 244777.50 | 65000.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 2525250.00 |  | 2744500.00 |  | 2555104.39 |  | 2780000.00 |  | 2855977.50
Lowest Amount Quoted BY: AQUATICS ENIGINEERS(2525250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Different type of Unit ACs of terminal and Admin building at Cooch Behar Airport. Tender ID: 2024_AAI_186662_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUATICS ENIGINEERS | 2525250.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 2555104.39 | L2
| 3 | jaydeep agency corporation | 2744500.00 | L3
| 4 | Youngmen Traders | 2780000.00 | L4
| 5 | SARKARTRADING CORPORATION | 2855977.50 | L5