## BoQ1
Government eProcurement System Created By: Samar Kumar Biswas Created Date/Time: 01-Apr-2024 04:16 PM Tender Title: Operation and Maintenance contract of E and M installations for Three years at Bokaro Airport Jharkhand Tender ID: 2024_AAI_187445_1
Tender Inviting Authority: Airport Authority of India
Name of Work: Operation and Maintenance contract of E&M installations for Three years at Bokaro Airport, Jharkhand.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S MJ ENGINEERING (GSTN-20AAEFM9562D1ZJ) BID ID -684500 |  | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -686200 |  | ANIL ELECTRICALS & CONTRACTORS(GSTN-NA)--676047
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for Operation and daily preventive, breakdown maintenance of LT substation and Terminal Building, Fire Station,Street light ,DG sets and other Internal and External Electrical Installations of Bokar Airport, along with PAPI, CCRs, RC Desk, Landing -H, signages, Becon Lights and Windcones etc. , Split ACs, fire detection & alarm system with all accessories on all days including Sundays and holidays (Skilled- 4nos, Unskilled-2nos., Reliver Skilled-1no.) complete as required. | 36.00 | Months |  | 190000.00 | 6840000.00 | 125000.00 | 4500000.00 | 136590.00 | 4917240.00 | 4500000.00 | Youngmen Traders
2.00 | Job contract for quarterly preventive and unlimited breakdown maintenance of 2 nos. of 7.5 KW Micro processor based CCR including reparing cards, callibrating, minor spares etc. but excluding major spares viz cards, thyristors, fuses, contactors, transformers, relays, meters, display etc. etc. Make : Nasu Systems etc. complete as required.
2.10 | 1st Year (2024-2025) | 4.00 | Job |  | 30000.00 | 120000.00 | 55000.00 | 220000.00 | 10000.00 | 40000.00 | 40000.00 | ANIL ELECTRICALS & CONTRACTORS
2.20 | 2nd Year (2025-2026) | 4.00 | Job |  | 35000.00 | 140000.00 | 60000.00 | 240000.00 | 15000.00 | 60000.00 | 60000.00 | ANIL ELECTRICALS & CONTRACTORS
2.30 | 3rd Year (2026-2027) | 4.00 | Job |  | 40000.00 | 160000.00 | 65000.00 | 260000.00 | 20000.00 | 80000.00 | 80000.00 | ANIL ELECTRICALS & CONTRACTORS
3.00 | DSR item ( Rate will be considered % above / below of or equal to 100% of DSR 2018 E&M rate). NOTE:-The execution of Delhi Schedule of Rates (E&M) 2018 Items as when required basis. Example for quoting the rate:- (i)Agency Quoting Rs.2,70,000‬.00 in the Rate stands for 10% below the Estimate amounting of Rs.3,00,000.00 net amount will be 2,70,000‬.00 and payment will be made 10% below on DSR 2018 rate against items. (ii)Agency Quoting Rs. ‭3,30,000‬‬.00 in the Rate stands for 10% above the Estimate amounting of Rs.3,00,000.00 net amount will be 3,30,000‬‬.00 and payment will be made 10% above on DSR 2018 rate against items.‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬ (For Payment calculation please refer relevant Technical specification of Tender Document) | 1.00 | Job |  | 100000.00 | 100000.00 | 300000.00 | 300000.00 | 248400.00 | 248400.00 | 100000.00 | M/S MJ ENGINEERING
4.00 | Annual servicing of each existing ACB make L&T through L&T service center. | 21.00 | Job |  | 4000.00 | 84000.00 | 5000.00 | 105000.00 | 10000.00 | 210000.00 | 84000.00 | M/S MJ ENGINEERING
5.00 | Quarterly Servicing of each 250KVA Mahindra make DG sets through OEM and submitting of the servicing report. | 24.00 | Job |  | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 20000.00 | 480000.00 | 36000.00 | Youngmen Traders
6.00 | Halt Yearly Servicing of each 20KVA online UPS through OEM and submitting of the servicing report. | 12.00 | Job |  | 2200.00 | 26400.00 | 15000.00 | 180000.00 | 10000.00 | 120000.00 | 26400.00 | M/S MJ ENGINEERING
7.00 | Rewinding, repairing and complete overhauling of mono-block motor pump/Submersible pump set up to 10.0 H.P including transportation of same from site to work shop and taking back the same, testing / commissioning (i/c lifting/lowering) etc. complete as required. | 5.00 | Job |  | 18000.00 | 90000.00 | 6000.00 | 30000.00 | 12000.00 | 60000.00 | 30000.00 | Youngmen Traders
8.00 | Rewinding, repairing of complete overhauling of exhaust/ ceiling fan including transportation of same from site to work shop and taking back the same, testing / commissioning etc. complete as required. | 20.00 | Job |  | 400.00 | 8000.00 | 450.00 | 9000.00 | 850.00 | 17000.00 | 8000.00 | M/S MJ ENGINEERING
| Total in Figures |  |  |  |  | 7616400.00 |  | 5880000.00 |  | 6232640.00
Lowest Amount Quoted BY: Youngmen Traders(5880000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance contract of E and M installations for Three years at Bokaro Airport Jharkhand Tender ID: 2024_AAI_187445_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 5880000.00 | L1
| 2 | ANIL ELECTRICALS & CONTRACTORS | 6232640.00 | L2
| 3 | M/S MJ ENGINEERING | 7616400.00 | L3