## BoQ1
Government eProcurement System Created By: Sateesh Kr Kanaujiya Created Date/Time: 26-Mar-2024 04:11 PM Tender Title: Supply and Laying of UG cable for GP and LLZ at Aurangabad Airport. Tender ID: 2024_AAI_187511_1
Tender Inviting Authority: Senior Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad- 431007.
Name of Work: Supply and Laying of UG cable for GP and LLZ at Aurangabad Airport
Contract No: 2024_AAI_187511_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -684507 |  | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -685638 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -685846 |  | Ideas Electricals and Engineers Pvt Ltd (GSTN-27AAFCI1160D1Z0) BID ID -686060 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -686164 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -686170 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -686210 |  | Surendra Infrastructure Pvt. Ltd. (GSTN-27AAJCS7963C1Z1) BID ID -686235 |  | Messers Rajesh Gawde (GSTN-23AFHPG7133A1Z4) BID ID -688952 |  | Mayur Electric Works(GSTN-NA)--685840 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--686184 |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED(GSTN-NA)--686196 |  | Shiva Enterprises(GSTN-NA)--680615 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA)--685217
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5CX 240 sq.mm size of XLPE insulated & PVC sheathed, armoured, aluminium conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. | 6600.00 | Meter |  | 900.00 | 5940000.00 | 890.00 | 5874000.00 | 842.00 | 5557200.00 | 1060.00 | 6996000.00 | 850.00 | 5610000.00 | 910.00 | 6006000.00 | 1000.00 | 6600000.00 | 928.00 | 6124800.00 | 875.00 | 5775000.00 | 850.00 | 5610000.00 | 826.00 | 5451600.00 | 800.00 | 5280000.00 | 1045.00 | 6897000.00 | 945.00 | 6237000.00 | 5280000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.01 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 7400.00 | Meter |  | 250.00 | 1850000.00 | 215.00 | 1591000.00 | 333.00 | 2464200.00 | 696.00 | 5150400.00 | 225.00 | 1665000.00 | 310.00 | 2294000.00 | 250.00 | 1850000.00 | 178.00 | 1317200.00 | 245.00 | 1813000.00 | 189.00 | 1398600.00 | 210.00 | 1554000.00 | 170.00 | 1258000.00 | 160.00 | 1184000.00 | 145.00 | 1073000.00 | 1073000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
2.02 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1600.00 | Meter |  | 175.00 | 280000.00 | 140.00 | 224000.00 | 273.00 | 436800.00 | 604.00 | 966400.00 | 160.00 | 256000.00 | 190.00 | 304000.00 | 175.00 | 280000.00 | 90.00 | 144000.00 | 171.00 | 273600.00 | 100.00 | 160000.00 | 150.00 | 240000.00 | 110.00 | 176000.00 | 97.00 | 155200.00 | 100.00 | 160000.00 | 144000.00 | Surendra Infrastructure Pvt. Ltd.
3.01 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC-HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | 7490.00 | Meter |  | 50.00 | 374500.00 | 120.00 | 898800.00 | 132.00 | 988680.00 | 165.00 | 1235850.00 | 55.00 | 411950.00 | 50.00 | 374500.00 | 45.00 | 337050.00 | 127.00 | 951230.00 | 46.00 | 344540.00 | 150.00 | 1123500.00 | 20.00 | 149800.00 | 20.00 | 149800.00 | 80.00 | 599200.00 | 30.00 | 224700.00 | 149800.00 | ABHISHEK INTEGRATIONS LIMITED, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
3.02 | Upto 35 sq. mm | 1060.00 | Meter |  | 30.00 | 31800.00 | 40.00 | 42400.00 | 96.00 | 101760.00 | 43.00 | 45580.00 | 37.00 | 39220.00 | 30.00 | 31800.00 | 25.00 | 26500.00 | 72.00 | 76320.00 | 23.00 | 24380.00 | 80.00 | 84800.00 | 10.00 | 10600.00 | 20.00 | 21200.00 | 25.00 | 26500.00 | 17.00 | 18020.00 | 10600.00 | ABHISHEK INTEGRATIONS LIMITED
3.03 | Above 35 sq. mm and upto 95 sq. mm | 600.00 | Meter |  | 40.00 | 24000.00 | 60.00 | 36000.00 | 120.00 | 72000.00 | 116.00 | 69600.00 | 50.00 | 30000.00 | 40.00 | 24000.00 | 30.00 | 18000.00 | 88.00 | 52800.00 | 29.00 | 17400.00 | 150.00 | 90000.00 | 14.00 | 8400.00 | 20.00 | 12000.00 | 40.00 | 24000.00 | 18.00 | 10800.00 | 8400.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Supply & Laying of 100 mm dia size B class G.I pipe confirming to IS : 1239 part-1 (2004) for road crossing at a depth of 300mm i/c cutting bituminous surface, re-filling with cement concrete of 1:2:4 and making good the same as required. | 40.00 | Meter |  | 2500.00 | 100000.00 | 1650.00 | 66000.00 | 2996.00 | 119840.00 | 2501.00 | 100040.00 | 1450.00 | 58000.00 | 1450.00 | 58000.00 | 1325.00 | 53000.00 | 1580.00 | 63200.00 | 1744.00 | 69760.00 | 1500.00 | 60000.00 | 1500.00 | 60000.00 | 1462.00 | 58480.00 | 600.00 | 24000.00 | 1100.00 | 44000.00 | 24000.00 | Shiva Enterprises
5.00 | Supply & Laying of 50 mm dia size B class G.I pipe confirming to IS : 1239 part-1 (2004) for road crossing at a depth of 300mm i/c cutting bituminous surface, re-filling with cement concrete of 1:2:4 and making good the same as required. | 52.00 | Meter |  | 1500.00 | 78000.00 | 900.00 | 46800.00 | 2320.00 | 120640.00 | 1647.00 | 85644.00 | 870.00 | 45240.00 | 720.00 | 37440.00 | 780.00 | 40560.00 | 670.00 | 34840.00 | 1220.00 | 63440.00 | 1000.00 | 52000.00 | 1300.00 | 67600.00 | 833.00 | 43316.00 | 470.00 | 24440.00 | 450.00 | 23400.00 | 23400.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
6.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3.5X240 sq.mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 12.00 | Each |  | 6000.00 | 72000.00 | 4500.00 | 54000.00 | 6670.00 | 80040.00 | 11242.00 | 134904.00 | 6700.00 | 80400.00 | 4500.00 | 54000.00 | 1250.00 | 15000.00 | 6000.00 | 72000.00 | 4788.00 | 57456.00 | 3500.00 | 42000.00 | 1880.00 | 22560.00 | 5000.00 | 60000.00 | 4715.00 | 56580.00 | 2000.00 | 24000.00 | 15000.00 | jaydeep agency corporation
7.01 | Supplying and making end termination with brass compression gland and aluminium/copper lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 240 sq. mm (62 mm) | 10.00 | Each |  | 1100.00 | 11000.00 | 800.00 | 8000.00 | 3567.00 | 35670.00 | 2738.00 | 27380.00 | 1100.00 | 11000.00 | 1200.00 | 12000.00 | 1450.00 | 14500.00 | 1200.00 | 12000.00 | 1425.00 | 14250.00 | 750.00 | 7500.00 | 1130.00 | 11300.00 | 767.00 | 7670.00 | 970.00 | 9700.00 | 790.00 | 7900.00 | 7500.00 | Mayur Electric Works
7.02 | 3½ X 70 sq. mm (38mm) | 2.00 | Each |  | 700.00 | 1400.00 | 550.00 | 1100.00 | 1394.00 | 2788.00 | 1198.00 | 2396.00 | 650.00 | 1300.00 | 600.00 | 1200.00 | 550.00 | 1100.00 | 600.00 | 1200.00 | 969.00 | 1938.00 | 550.00 | 1100.00 | 534.00 | 1068.00 | 295.00 | 590.00 | 590.00 | 1180.00 | 380.00 | 760.00 | 590.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
7.03 | 3½ X 50 sq. mm (35mm) | 2.00 | Each |  | 600.00 | 1200.00 | 425.00 | 850.00 | 1309.00 | 2618.00 | 725.00 | 1450.00 | 550.00 | 1100.00 | 500.00 | 1000.00 | 395.00 | 790.00 | 400.00 | 800.00 | 570.00 | 1140.00 | 450.00 | 900.00 | 379.00 | 758.00 | 236.00 | 472.00 | 530.00 | 1060.00 | 330.00 | 660.00 | 472.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
7.04 | 4 X 16 sq. mm (28mm) | 8.00 | Each |  | 400.00 | 3200.00 | 350.00 | 2800.00 | 744.00 | 5952.00 | 548.00 | 4384.00 | 290.00 | 2320.00 | 400.00 | 3200.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 353.00 | 2824.00 | 350.00 | 2800.00 | 226.00 | 1808.00 | 142.00 | 1136.00 | 360.00 | 2880.00 | 250.00 | 2000.00 | 1136.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
8.00 | Supply of 4C X 16 sq.mm size of XLPE insulated & PVC sheathed, armoured, aluminium conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. (Make: As per AAI list of approved makes) | 750.00 | Meter |  | 130.00 | 97500.00 | 100.00 | 75000.00 | 126.00 | 94500.00 | 141.00 | 105750.00 | 125.00 | 93750.00 | 160.00 | 120000.00 | 145.00 | 108750.00 | 137.00 | 102750.00 | 125.00 | 93750.00 | 150.00 | 112500.00 | 107.00 | 80250.00 | 219.00 | 164250.00 | 144.00 | 108000.00 | 110.00 | 82500.00 | 75000.00 | Genesis
9.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 8.00 | Meter |  | 140.00 | 1120.00 | 130.00 | 1040.00 | 85.00 | 680.00 | 116.00 | 928.00 | 110.00 | 880.00 | 90.00 | 720.00 | 30.00 | 240.00 | 175.00 | 1400.00 | 570.00 | 4560.00 | 150.00 | 1200.00 | 35.00 | 280.00 | 35.00 | 280.00 | 100.00 | 800.00 | 20.00 | 160.00 | 160.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 24.00 | Meter |  | 120.00 | 2880.00 | 92.00 | 2208.00 | 85.00 | 2040.00 | 116.00 | 2784.00 | 110.00 | 2640.00 | 125.00 | 3000.00 | 30.00 | 720.00 | 180.00 | 4320.00 | 456.00 | 10944.00 | 250.00 | 6000.00 | 35.00 | 840.00 | 60.00 | 1440.00 | 100.00 | 2400.00 | 20.00 | 480.00 | 480.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
11.00 | Design, Supply , Installation , Testing and commissioning of natural air cooled three phase voltage stabilizer of 30 KVA Capacity having input voltage range 340-480 volts and output voltage range : 415 +- 1%, Frequenct range : 47-53 Hz , Continuous duty cycle having all the metering to see input output voltage range with rate of correcton : 40V/seccomply with overload proction system and compatible to connect with existing LT Panel. Design should be approved from EIC before the supply. | 1.00 | Each |  | 120000.00 | 120000.00 | 65000.00 | 65000.00 | 149000.00 | 149000.00 | 97600.00 | 97600.00 | 145000.00 | 145000.00 | 240000.00 | 240000.00 | 68500.00 | 68500.00 | 150000.00 | 150000.00 | 71820.00 | 71820.00 | 85000.00 | 85000.00 | 96124.00 | 96124.00 | 101875.00 | 101875.00 | 153750.00 | 153750.00 | 63270.00 | 63270.00 | 63270.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
12.00 | Design, Supply, Installation, Testing & Commissioning of Outdoor Type, Floor Mounted compartmentalized cubical type Feeder Pillar of 415 Volt (Nominal), fabricated out of 2 mm thick CRCA Sheet, free standing and totally enclosed, IP65, Double Door Feeder pillar to cover incomers and outgoings confirming to IS: 61439, Weather proof / dust proof / vermin proof with bottom cable entries and cable alleys. The feeder pillar shall be suitable for operation on 3 Phase, 4 wire, 50 Hz AC supply and with suitable size busbar, earth bar and following switchgear instrumentation and protection devices etc. complete with connections, interconnection, earthing, painting and marking as per site conditions etc complete as required as per the specifications. Suuplier must take Feeder Pillar Design Approval from EIC before the supply. I: - Incomer : a) 160 A, MCCB, 4P, 35-37 KA (Icu= 100% Ics) with extended rotary handle and spreaders - 03 Nos. b) Multi function meter (Shows Voltage, Current & Frequency) with 3 line LCD/LED Display of size 96 x 96 mm. - 03 Nos. c) Indication Lamp R, Y & B (LED Type) -03 Set. II - Outgoing : a) 100 A, MCCB, 4P, 30 KA (Icu= 100% Ics) with extended rotary handle - 03 Nos. b) 64A, MCCB, 4P, 30 KA (Icu= 100% Ics) with extended rotary handle - 02 Nos. c) Indication Lamp R & G (LED type) - 05 Set. Other : a) 300A Copper busbar, 3 Phase and Neutral. b) Necessary CT & Control wiring arrangement. Design should be approved from EIC before the supply. | 2.00 | Each |  | 401000.00 | 802000.00 | 440776.00 | 881552.00 | 591500.00 | 1183000.00 | 379164.00 | 758328.00 | 450000.00 | 900000.00 | 165000.00 | 330000.00 | 731380.00 | 1462760.00 | 375000.00 | 750000.00 | 309000.00 | 618000.00 | 300000.00 | 600000.00 | 344619.00 | 689238.00 | 200000.00 | 400000.00 | 185000.00 | 370000.00 | 200000.00 | 400000.00 | 330000.00 | Manish Electricals
13.00 | Supply, Installation, Testing and commissioning of Four Pole, 250 A, Automatic Transfer switch confirming to IS/IEC : 60947 -3 having Automatic and Manual mode with inbuilt time delay, compete electrical protection suitable for operation of 415 V, 3 phase, 50 Hz, AC Supply, totally enclosed in dust and vermin prooft indoor cubicle of MS (1.6mm thick) enclosure, complete with separate MS (2 mm thick) cable gland box having size suitable for glanding of three nos. armoured aluminium conductor cable of various sizes, connection & interconnections etc. as per requirement. | 1.00 | Each |  | 100000.00 | 100000.00 | 75000.00 | 75000.00 | 79625.00 | 79625.00 | 286700.00 | 286700.00 | 75000.00 | 75000.00 | 70000.00 | 70000.00 | 85885.00 | 85885.00 | 137500.00 | 137500.00 | 25000.00 | 25000.00 | 80000.00 | 80000.00 | 72335.00 | 72335.00 | 99196.00 | 99196.00 | 42800.00 | 42800.00 | 40000.00 | 40000.00 | 25000.00 | Messers Rajesh Gawde
| Total in Figures |  |  |  |  | 9890600.00 |  | 9945550.00 |  | 11497033.00 |  | 16072118.00 |  | 9428800.00 |  | 9964860.00 |  | 10964955.00 |  | 9997560.00 |  | 9282802.00 |  | 9517900.00 |  | 8518561.00 |  | 7835705.00 |  | 9683490.00 |  | 8412650.00
Lowest Amount Quoted BY: YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED(7835705.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply and Laying of UG cable for GP and LLZ at Aurangabad Airport. Tender ID: 2024_AAI_187511_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED | 7835705.00 | L1
| 2 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 8412650.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 8518561.00 | L3
| 4 | Messers Rajesh Gawde | 9282802.00 | L4
| 5 | Awasthi Electric Works | 9428800.00 | L5
| 6 | Mayur Electric Works | 9517900.00 | L6
| 7 | Shiva Enterprises | 9683490.00 | L7
| 8 | DOSHI ELECTRIC ENGG. CO. | 9890600.00 | L8
| 9 | Genesis | 9945550.00 | L9
| 10 | Manish Electricals | 9964860.00 | L10
| 11 | Surendra Infrastructure Pvt. Ltd. | 9997560.00 | L11
| 12 | jaydeep agency corporation | 10964955.00 | L12
| 13 | Yash Energy Pvt. Ltd | 11497033.00 | L13
| 14 | Ideas Electricals and Engineers Pvt Ltd | 16072118.00 | L14