## BoQ1
Government eProcurement System Created By: Jose K Paul Created Date/Time: 16-Apr-2024 01:10 PM Tender Title: Extension of Dog Kennel at CISF Barrack, Madurai Airport and Providing weather proof shelter structure at Gate no.1 at Madurai Airport. SH Electrical Works Tender ID: 2024_AAI_188202_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Extension of Dog Kennel at CISF Barrack, Madurai Airport & Providing weather proof shelter structure at Gate no.1 at Madurai Airport.SH: Electrical Works
Contract No: 2024_AAI_188202_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K.S.ELECTRICALS (GSTN-33AHFPR7136L1Z0) BID ID -692188 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -692904
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1X18W LED CRCA housing batten suitable for T8 LED retrofit tube light fitting with all accessories including T8 LED tube lamp as per tender specification for the proposed dog kennel etc. as required. | 9.00 | Each |  | 900.00 | 8100.00 | 700.00 | 6300.00 | 6300.00 | surbhi association
2.00 | Fixing of 1X18W LED CRCA housing batten suitable for T8 LED retrofit tube light fitting with all fixing accessories including T8 LED tube lamp on the proposed dog kennel etc. as required as per site requirement. | 6.00 | Job |  | 900.00 | 5400.00 | 100.00 | 600.00 | 600.00 | surbhi association
3.00 | Supply of 45W LED roadway luminaire with high power LED as Light source, inbuilt driver with aluminium/suitable alloy housing etc. as per tender specification for the proposed dog kennel outer wall etc. as required. | 7.00 | Each |  | 4800.00 | 33600.00 | 4500.00 | 31500.00 | 31500.00 | surbhi association
4.00 | Supplying and fixing of 40 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of LED street light fitting on proposed dog kennel wall including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 5.00 | Job |  | 900.00 | 4500.00 | 1500.00 | 7500.00 | 4500.00 | K.S.ELECTRICALS
5.00 | Supply of following size of ceiling fan without regulator complete with double ball bearing, motor, blades, down rod up to a maximum length of 600mm, of 15mm dia 'B' class GI pipe canopy capacitor etc. complete as required. Size 1050mm | 6.00 | Each |  | 3400.00 | 20400.00 | 2500.00 | 15000.00 | 15000.00 | surbhi association
6.00 | SITC of 1.5 TR, 5 star rated (As per latest BEE guidelines) inverter type Hi-Wall split AC units fitted with copper wound motor, hermetically sealed rotary type compressor operating on 230V ± 10% ,50Hz supply with evaporator & condensing unit having copper coil including remote control, copper piping for both suction & discharge up to 5 meters, Interconnecting cabling, drain piping, first charge of refrigerant, providing raised platform/MS stand for outdoor units, suitable insulation should be provided for drain line & copper pipe etc. complete as required. | 2.00 | Each |  | 48000.00 | 96000.00 | 45000.00 | 90000.00 | 90000.00 | surbhi association
7.00 | Supply and fixing of wall mounting type automatic electronic voltage stabilizer suitable for 1.5 TR split air conditioners having capacity 4KVA single phase, an input voltage range of 180-270V, with high/low voltage cut off, ON delay etc. complete as required. | 2.00 | Each |  | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 6000.00 | K.S.ELECTRICALS
8.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastomeric nitrile rubber insulation etc complete as required. 1/2 " dia | 6.00 | Mtr |  | 400.00 | 2400.00 | 500.00 | 3000.00 | 2400.00 | K.S.ELECTRICALS
9.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastomeric nitrile rubber insulation etc complete as required. 1/4 " dia | 6.00 | Mtr |  | 300.00 | 1800.00 | 500.00 | 3000.00 | 1800.00 | K.S.ELECTRICALS
10.00 | Supply and fixing way 6 way, Double door (4+18), Triple Pole and Neutral, sheet steel, MCB distribution board (vertical type), 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each |  | 6000.00 | 6000.00 | 7500.00 | 7500.00 | 6000.00 | K.S.ELECTRICALS
11.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C (the work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 7.00 | Point |  | 1200.00 | 8400.00 | 1600.00 | 11200.00 | 8400.00 | K.S.ELECTRICALS
12.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in existing recessed conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 3.00 | Point |  | 1000.00 | 3000.00 | 1200.00 | 3600.00 | 3000.00 | K.S.ELECTRICALS
13.00 | Wiring for group controlled (looped) light point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C (the work includes supply and fixing of suitable size of MS conduits with suitable fixing arrangement in recessed or surface of heavy steel structure of the existing weatherproof shelter) | 3.00 | Point |  | 1800.00 | 5400.00 | 1200.00 | 3600.00 | 3600.00 | surbhi association
14.00 | ITC of LED roadway luminaire fittings in the mounting bracket including accessories, providing suitable wiring etc. complete as required as per site requirement. | 5.00 | Each |  | 4500.00 | 22500.00 | 300.00 | 1500.00 | 1500.00 | surbhi association
15.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in recess steel conduit as required. a) 2x1.5sq.mm+ 1x1.5 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 70.00 | Mtr |  | 250.00 | 17500.00 | 300.00 | 21000.00 | 17500.00 | K.S.ELECTRICALS
16.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in existing recess steel conduit as required. a) 2x1.5sq.mm+ 1x1.5 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 30.00 | Mtr |  | 250.00 | 7500.00 | 300.00 | 9000.00 | 7500.00 | K.S.ELECTRICALS
17.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in recess steel conduit as required. a) 2x4sq.mm+ 1x4 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 50.00 | Mtr |  | 320.00 | 16000.00 | 400.00 | 20000.00 | 16000.00 | K.S.ELECTRICALS
18.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in existing recess steel conduit as required. a) 2x4sq.mm+ 1x4 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 30.00 | Mtr |  | 320.00 | 9600.00 | 400.00 | 12000.00 | 9600.00 | K.S.ELECTRICALS
19.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in recess steel conduit as required. a) 2x2.5sq.mm+ 1x2.5 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 50.00 | Mtr |  | 240.00 | 12000.00 | 350.00 | 17500.00 | 12000.00 | K.S.ELECTRICALS
20.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in existing recess steel conduit as required. a) 2x2.5sq.mm+ 1x2.5 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 30.00 | Mtr |  | 240.00 | 7200.00 | 350.00 | 10500.00 | 7200.00 | K.S.ELECTRICALS
21.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on in recess, including providing and fixing 2 nos. 3 pin 15/16 amps modular socket outlets and 2 nos. 15/16 amps modular switches, connection etc. as required. | 5.00 | Each |  | 850.00 | 4250.00 | 500.00 | 2500.00 | 2500.00 | surbhi association
22.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 4.00 | Each |  | 700.00 | 2800.00 | 300.00 | 1200.00 | 1200.00 | surbhi association
23.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (up to 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 4.00 | Each |  | 100.00 | 400.00 | 150.00 | 600.00 | 400.00 | K.S.ELECTRICALS
24.00 | Installation, testing and commissioning of prewired LED indoor fittings and outdoor fitting of all types complete with all accessories for LED tubes and LED medium bay fittings etc. directly on ceiling /wall/heavy steel structure including connection with 1.5 sq.mm PVC insulated copper conductor single core cable and earthing etc. as required. | 12.00 | Each |  | 100.00 | 1200.00 | 100.00 | 1200.00 | 1200.00 | K.S.ELECTRICALS, surbhi association
25.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single pole | 15.00 | Each |  | 240.00 | 3600.00 | 150.00 | 2250.00 | 2250.00 | surbhi association
26.00 | Supplying and fixing following rating four pole, (three phase and neutral), 415 volts, earth leakage circuit breaker (ELCB) for the MCB DB complete with connections, testing and commissioning etc. as required. a) Four Pole 63A,'A' type ELCB, 240/415V having 35kA breaking capacity, 30mA sensitivity to meet the IEC 61008-1 | 1.00 | Each |  | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 4000.00 | K.S.ELECTRICALS
27.00 | Supplying and fixing following rating, 415 volts, miniature circuit breaker (MCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Four Pole 63 Amps, 10 KA, C curve | 1.00 | Each |  | 1400.00 | 1400.00 | 2000.00 | 2000.00 | 1400.00 | K.S.ELECTRICALS
28.00 | Supplying and fixing following rating, 415 volts, miniature circuit breaker (MCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. b) Three Pole 40 Amps, 10 KA, C curve | 3.00 | Each |  | 1300.00 | 3900.00 | 1200.00 | 3600.00 | 3600.00 | surbhi association
29.00 | Supply and fixing 16Amps, 240 volts, SPN, industrial type socket outlet, with 2pole and earth metal enclosed plug top along with 16amps, C-series, DP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 1100.00 | 2200.00 | 1500.00 | 3000.00 | 2200.00 | K.S.ELECTRICALS
30.00 | Supply of eco-friendly refrigerant, twin door standard deep freezer, capacity not less than 400ltr suitable for operation on 230V, 50Hz single phase AC supply etc. complete as required. | 1.00 | Each |  | 20000.00 | 20000.00 | 45000.00 | 45000.00 | 20000.00 | K.S.ELECTRICALS
31.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 35 sq.mm | 4.00 | Set |  | 400.00 | 1600.00 | 350.00 | 1400.00 | 1400.00 | surbhi association
32.00 | Providing, laying and fixing 50mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (50 cm deep) and re-filling etc as required. | 12.00 | Mtr |  | 400.00 | 4800.00 | 1000.00 | 12000.00 | 4800.00 | K.S.ELECTRICALS
33.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. Thimble excavation and re-filling as required. | 18.00 | Mtr |  | 170.00 | 3060.00 | 250.00 | 4500.00 | 3060.00 | K.S.ELECTRICALS
34.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe with charcoal/ coke and salt etc. as required. | 2.00 | Set |  | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 12000.00 | K.S.ELECTRICALS
35.00 | SITC of 4Pole 125Amps, thermal magnetic release type MCCB with spreaders for input and output side having 36kA breaking capacity etc. complete as required. | 1.00 | Each |  | 40000.00 | 40000.00 | 8000.00 | 8000.00 | 8000.00 | surbhi association
36.00 | SITC of 8 way double door TPN Distribution Board (vertical type) having IP 43, suitable to mount 125A Four Pole MCCB as incomer and suitable to mount remaining MCB outgoings etc. complete as required. (Supply of MCCB/MCB is not included) | 1.00 | Each |  | 18000.00 | 18000.00 | 9500.00 | 9500.00 | 9500.00 | surbhi association
37.00 | Supply of 100W high bay fitting with all accessories as per tender specification for the proposed weather proof shelter etc. complete as required. | 8.00 | Each |  | 6000.00 | 48000.00 | 5000.00 | 40000.00 | 40000.00 | surbhi association
38.00 | SITC of Astronomical time switch capable of following output in feeder pillars / Lighting DBs for automatic switching ON & OFF of street lights at sun set & sun rise or twilight (Auto ON, Auto OFF) with manual override facility with 12/24 hour display format with suitable battery and indication for relay status complete as required. 2 output per phase and suitable for single phase supply | 2.00 | Each |  | 18000.00 | 36000.00 | 3500.00 | 7000.00 | 7000.00 | surbhi association
39.00 | SITC of 3Pole 32A contactor with one set of NC and NO contacts capable of feeding Lighting DBs for automatic switching ON & OFF of street lights from timer output complete as required. | 2.00 | Each |  | 6000.00 | 12000.00 | 2500.00 | 5000.00 | 5000.00 | surbhi association
40.00 | Supply and fixing of poly carbonate enclosures with protection IP65 or better & in accordance with IEC 62208 to fix on the surface/recess having size minimum of 60 cm X 40 cm suitable to mount 8 nos. of SP MCB's, 1 no. of timers and 02 nos. of contactors, suitable fixing arrangement shall be provided etc. complete as required. | 2.00 | Each |  | 12000.00 | 24000.00 | 14000.00 | 28000.00 | 24000.00 | K.S.ELECTRICALS
41.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 50 sq.mm | 1.00 | Set |  | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | surbhi association
42.00 | SITC of single phase 950 RPM (nominal), heavy duty metallic high speed exhaust fan of size 450mm with louver and shutter / wire mesh Guard etc. complete as required. | 8.00 | Each |  | 3200.00 | 25600.00 | 4500.00 | 36000.00 | 25600.00 | K.S.ELECTRICALS
43.00 | SITC of 3Phase energy meter with suitable enclosure/fixing arrangement, accuracy class 0.5, IP51 protection, LCD display as per relevant IS standard etc. complete as required as per site requirement. | 1.00 | Each |  | 14000.00 | 14000.00 | 5000.00 | 5000.00 | 5000.00 | surbhi association
44.00 | Supply of single phase 1350 RPM (nominal) or higher, heavy duty metallic high speed pedestal fan of sweep 450mm, air delivery 110M³/min etc. complete as required as per technical specifications. | 6.00 | Each |  | 4500.00 | 27000.00 | 3500.00 | 21000.00 | 21000.00 | surbhi association
45.00 | Excavation work by mechanical means (Hydraulic excavator) / manual means in foundation trencheds or drains (not exceeding 1.5mtr in width or 10Sq.mtr on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 mtr, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 mtr. Hard rock | 5.00 | Cum |  | 400.00 | 2000.00 | 500.00 | 2500.00 | 2000.00 | K.S.ELECTRICALS
| Total in Figures |  |  |  |  | 605710.00 |  | 545550.00
Lowest Amount Quoted BY: surbhi association(545550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of Dog Kennel at CISF Barrack, Madurai Airport and Providing weather proof shelter structure at Gate no.1 at Madurai Airport. SH Electrical Works Tender ID: 2024_AAI_188202_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association | 545550.00 | L1
| 2 | K.S.ELECTRICALS | 605710.00 | L2