## BoQ1
Government eProcurement System Created By: Srinarayan Thakur Created Date/Time: 28-Mar-2024 11:30 AM Tender Title: Repair to water supply system, rain water and sewerage drainage system at Safdarjung Airport, Jor Bagh Colony and its associated areas for the year 2023-24 - Civil Works Tender ID: 2024_AAI_188415_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Repair to water supply system, rain water and sewarage drainage system at Safdarjung Airport, Jor Bagh Colony and its associated areas for the year 2023-24 - Civil works
Contract No: 2024_AAI_188415_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Heera Constructions (GSTN-07ACJPH9127L1Z8) BID ID -679444 |  | Khairati Lal (GSTN-07ABBPL9082B1ZT) BID ID -687534 |  | ESS KAY CONSTRUCTIONS (GSTN-07AABFE6199D1ZF) BID ID -688690 |  | SIROHI CONSTRUCTION CO (GSTN-07AXOPS3749P1ZD) BID ID -688831 |  | kailash chawla (GSTN-07ADYPC8838P1ZG) BID ID -688915 |  | Bharat Construction(GSTN-NA)--687655
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 18.00 | Cum |  | 150.00 | 2700.00 | 95.00 | 1710.00 | 180.00 | 3240.00 | 70.00 | 1260.00 | 150.00 | 2700.00 | 250.00 | 4500.00 | 1260.00 | SIROHI CONSTRUCTION CO
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 9.00 | Cum |  | 80.00 | 720.00 | 95.00 | 855.00 | 60.00 | 540.00 | 100.00 | 900.00 | 200.00 | 1800.00 | 50.00 | 450.00 | 450.00 | Bharat Construction
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | Cum |  | 4100.00 | 82000.00 | 3500.00 | 70000.00 | 5400.00 | 108000.00 | 3500.00 | 70000.00 | 4200.00 | 84000.00 | 4500.00 | 90000.00 | 70000.00 | Khairati Lal, SIROHI CONSTRUCTION CO
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 36.00 | Cum |  | 2900.00 | 104400.00 | 2600.00 | 93600.00 | 4000.00 | 144000.00 | 2800.00 | 100800.00 | 3900.00 | 140400.00 | 3500.00 | 126000.00 | 93600.00 | Khairati Lal
5.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 26.10 | Cum |  | 4500.00 | 117450.00 | 3550.00 | 92655.00 | 5200.00 | 135720.00 | 3500.00 | 91350.00 | 4000.00 | 104400.00 | 5500.00 | 143550.00 | 91350.00 | SIROHI CONSTRUCTION CO
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 14.32 | Cum |  | 4600.00 | 65872.00 | 3950.00 | 56564.00 | 5700.00 | 81624.00 | 4200.00 | 60144.00 | 4500.00 | 64440.00 | 5500.00 | 78760.00 | 56564.00 | Khairati Lal
7.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 13855.00 | Kg |  | 84.00 | 1163820.00 | 60.00 | 831300.00 | 80.00 | 1108400.00 | 80.00 | 1108400.00 | 89.00 | 1233095.00 | 90.00 | 1246950.00 | 831300.00 | Khairati Lal
8.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 160.00 | Sqm |  | 800.00 | 128000.00 | 650.00 | 104000.00 | 1080.00 | 172800.00 | 800.00 | 128000.00 | 850.00 | 136000.00 | 890.00 | 142400.00 | 104000.00 | Khairati Lal
9.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 300.00 | Mtr |  | 200.00 | 60000.00 | 200.00 | 60000.00 | 180.00 | 54000.00 | 200.00 | 60000.00 | 200.00 | 60000.00 | 758.00 | 227400.00 | 54000.00 | ESS KAY CONSTRUCTIONS
10.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 1000.00 | Sqm |  | 180.00 | 180000.00 | 175.00 | 175000.00 | 300.00 | 300000.00 | 180.00 | 180000.00 | 210.00 | 210000.00 | 230.00 | 230000.00 | 175000.00 | Khairati Lal
11.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 1000.00 | Sqm |  | 60.00 | 60000.00 | 60.00 | 60000.00 | 45.00 | 45000.00 | 45.00 | 45000.00 | 70.00 | 70000.00 | 70.00 | 70000.00 | 45000.00 | ESS KAY CONSTRUCTIONS, SIROHI CONSTRUCTION CO
12.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work | 1500.00 | Sqm |  | 50.00 | 75000.00 | 60.00 | 90000.00 | 85.00 | 127500.00 | 60.00 | 90000.00 | 50.00 | 75000.00 | 60.00 | 90000.00 | 75000.00 | Heera Constructions, kailash chawla
13.00 | Disconnecting damaged overhead/terrace PVC water storage tank of any size from water supply line and removing from the terrace including shifting at ground level as per direction of Engineer-in-charge. | 98.00 | Each |  | 70.00 | 6860.00 | 40.00 | 3920.00 | 60.00 | 5880.00 | 200.00 | 19600.00 | 150.00 | 14700.00 | 100.00 | 9800.00 | 3920.00 | Khairati Lal
14.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. Internal Work- Exposed on wall | 2585.00 | Mtr |  | 5.00 | 12925.00 | 5.00 | 12925.00 | 10.00 | 25850.00 | 1.00 | 2585.00 | 2.00 | 5170.00 | 20.00 | 51700.00 | 2585.00 | SIROHI CONSTRUCTION CO
15.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 10.00 | Cum |  | 350.00 | 3500.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 2000.00 | Khairati Lal, Bharat Construction
16.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 5.00 | Cum |  | 550.00 | 2750.00 | 125.00 | 625.00 | 400.00 | 2000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 80.00 | 400.00 | 400.00 | Bharat Construction
17.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 200.00 | Kg |  | 2.00 | 400.00 | 3.00 | 600.00 | 5.00 | 1000.00 | 2.00 | 400.00 | 5.00 | 1000.00 | 90.00 | 18000.00 | 400.00 | Heera Constructions, SIROHI CONSTRUCTION CO
18.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 160.00 | Sqm |  | 30.00 | 4800.00 | 15.00 | 2400.00 | 40.00 | 6400.00 | 30.00 | 4800.00 | 50.00 | 8000.00 | 120.00 | 19200.00 | 2400.00 | Khairati Lal
19.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 200.00 | Mtr |  | 5.00 | 1000.00 | 10.00 | 2000.00 | 60.00 | 12000.00 | 20.00 | 4000.00 | 40.00 | 8000.00 | 30.00 | 6000.00 | 1000.00 | Heera Constructions
20.00 | Supplying at site : Welded steel wire fabric of required width having rectangular mesh painted with two or more coats of enamel paint of approved shade over a coat of primer (Priming & Painting to be paid for separately). | 3256.00 | Kg |  | 75.00 | 244200.00 | 115.00 | 374440.00 | 95.00 | 309320.00 | 62.00 | 201872.00 | 85.00 | 276760.00 | 95.00 | 309320.00 | 201872.00 | SIROHI CONSTRUCTION CO
21.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 2585.00 | Mtr |  | 80.00 | 206800.00 | 100.00 | 258500.00 | 135.00 | 348975.00 | 160.00 | 413600.00 | 150.00 | 387750.00 | 200.00 | 517000.00 | 206800.00 | Heera Constructions
22.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 1000.00 | Mtr |  | 110.00 | 110000.00 | 145.00 | 145000.00 | 160.00 | 160000.00 | 150.00 | 150000.00 | 190.00 | 190000.00 | 350.00 | 350000.00 | 110000.00 | Heera Constructions
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 300.00 | Mtr |  | 200.00 | 60000.00 | 110.00 | 33000.00 | 190.00 | 57000.00 | 100.00 | 30000.00 | 160.00 | 48000.00 | 200.00 | 60000.00 | 30000.00 | SIROHI CONSTRUCTION CO
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 500.00 | Mtr |  | 200.00 | 100000.00 | 250.00 | 125000.00 | 220.00 | 110000.00 | 80.00 | 40000.00 | 190.00 | 95000.00 | 350.00 | 175000.00 | 40000.00 | SIROHI CONSTRUCTION CO
25.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal dia Pipes | 200.00 | Mtr |  | 350.00 | 70000.00 | 725.00 | 145000.00 | 280.00 | 56000.00 | 300.00 | 60000.00 | 600.00 | 120000.00 | 750.00 | 150000.00 | 56000.00 | ESS KAY CONSTRUCTIONS
26.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 98000.00 | Per Ltr |  | 5.20 | 509600.00 | 5.25 | 514500.00 | 6.50 | 637000.00 | 4.50 | 441000.00 | 5.00 | 490000.00 | 10.00 | 980000.00 | 441000.00 | SIROHI CONSTRUCTION CO
27.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. 20 mm nominal bore, 120 mm long, weighing not less than 198 gms | 100.00 | Each |  | 350.00 | 35000.00 | 250.00 | 25000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 600.00 | 60000.00 | 10000.00 | kailash chawla
28.00 | Providing and fixing CPVC Gate valve 25mm complete as per the direction of Engineer-in-charge. | 200.00 | Each |  | 160.00 | 32000.00 | 160.00 | 32000.00 | 90.00 | 18000.00 | 250.00 | 50000.00 | 170.00 | 34000.00 | 500.00 | 100000.00 | 18000.00 | ESS KAY CONSTRUCTIONS
29.00 | Providing and fixing CPVC Gate valve 20mm as per the direction of Engineer-in-charge. | 150.00 | Each |  | 120.00 | 18000.00 | 160.00 | 24000.00 | 55.00 | 8250.00 | 200.00 | 30000.00 | 120.00 | 18000.00 | 600.00 | 90000.00 | 8250.00 | ESS KAY CONSTRUCTIONS
30.00 | Providing and fixing CPVC Gate valve 50mm complete as per the direction of Engineer-in-charge. | 100.00 | Each |  | 250.00 | 25000.00 | 550.00 | 55000.00 | 420.00 | 42000.00 | 350.00 | 35000.00 | 600.00 | 60000.00 | 800.00 | 80000.00 | 25000.00 | Heera Constructions
31.00 | Providing and laying unplasticized PVC pipes heavy duty confirming 1.0 Mpa with collars jointed with adhesive etc. for sewerage lines including testing of joints etc. complete : single socketed 110 mm dia pipe (Rating-6 Kgf) | 100.00 | Mtr |  | 300.00 | 30000.00 | 225.00 | 22500.00 | 300.00 | 30000.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 870.00 | 87000.00 | 22500.00 | Khairati Lal
32.00 | Cleaning of chocked/blocked Manhole i/c connected sewerage pipe upto the next manhole i/c of any diameter and size i/c removal of malba to designated place as directed by EIC. | 552.00 | Each |  | 100.00 | 55200.00 | 125.00 | 69000.00 | 150.00 | 82800.00 | 125.00 | 69000.00 | 90.00 | 49680.00 | 380.00 | 209760.00 | 49680.00 | kailash chawla
33.00 | Cleaning of chocked/blocked Gully trap I/c connected soil waste / sewerage pipe upto the nearest manhole i/c of any diameter and size i/c removal of malba to designated place as directed by EIC. | 300.00 | Each |  | 30.00 | 9000.00 | 90.00 | 27000.00 | 50.00 | 15000.00 | 25.00 | 7500.00 | 20.00 | 6000.00 | 300.00 | 90000.00 | 6000.00 | kailash chawla
34.00 | Cleaning of chocked/blocked road side Storm water drain i/c of any diameter and size i/c removal of malba to designated place as directed by EIC. | 600.00 | Mtr |  | 30.00 | 18000.00 | 50.00 | 30000.00 | 35.00 | 21000.00 | 20.00 | 12000.00 | 5.00 | 3000.00 | 250.00 | 150000.00 | 3000.00 | kailash chawla
35.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 400.00 | Kg |  | 30.00 | -12000.00 | 30.00 | -12000.00 | 1.00 | -400.00 | 20.00 | -8000.00 | 20.00 | -8000.00 | 30.00 | -12000.00 | -12000.00 | Heera Constructions, Khairati Lal, Bharat Construction
36.00 | Deduct for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 500.00 | Kg |  | 10.00 | -5000.00 | 10.00 | -5000.00 | .10 | -50.00 | 10.00 | -5000.00 | 20.00 | -10000.00 | 30.00 | -15000.00 | -15000.00 | Bharat Construction
37.00 | Cartage of malba from AAI premises to suitable dumping grounds out side AAI premises by mechanical means including loading and unloading complete as directed by the Engineer-in-charge Measuring 5 cum to 10 cum | 50.00 | Each Trip |  | 2000.00 | 100000.00 | 1200.00 | 60000.00 | 1900.00 | 95000.00 | 1500.00 | 75000.00 | 1500.00 | 75000.00 | 2300.00 | 115000.00 | 60000.00 | Khairati Lal
| Total in Figures |  |  |  |  | 3677997.00 |  | 3583094.00 |  | 4346849.00 |  | 3625711.00 |  | 4106395.00 |  | 6053190.00
Lowest Amount Quoted BY: Khairati Lal(3583094.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair to water supply system, rain water and sewerage drainage system at Safdarjung Airport, Jor Bagh Colony and its associated areas for the year 2023-24 - Civil Works Tender ID: 2024_AAI_188415_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Khairati Lal | 3583094.00 | L1
| 2 | SIROHI CONSTRUCTION CO | 3625711.00 | L2
| 3 | Heera Constructions | 3677997.00 | L3
| 4 | kailash chawla | 4106395.00 | L4
| 5 | ESS KAY CONSTRUCTIONS | 4346849.00 | L5
| 6 | Bharat Construction | 6053190.00 | L6