## BoQ1
Government eProcurement System Created By: Santosh Kr. Sahu Created Date/Time: 22-Apr-2024 01:17 PM Tender Title: Construction of NDB Building and allied works at Kullu-Manali Airport, SH Electrical Works Tender ID: 2024_AAI_188506_1
Tender Inviting Authority: Manager (Engg-E), Airports Authority of India, Kullu Manali Airport, Bhuntar, Distt. Kullu, Himachal Pradesh-175125
Name of work : - Construction of NDB Building and allied works at Kullu-Manali Airport, SH: Electrical Works”
Contract No Tender ID : 2024_AAI_188506_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Proficio Engineering And Construction Pvt. Ltd. (GSTN-07AAHCP4985D2Z5) BID ID -689532 |  | ESS KAY CONSTRUCTIONS (GSTN-07AABFE6199D1ZF) BID ID -689771 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -689773 |  | Edge Telecom Pvt Ltd(GSTN-NA)--689743
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (c) Group C | 43.00 | Points |  | 900.00 | 38700.00 | 600.00 | 25800.00 | 1700.00 | 73100.00 | 452.00 | 19436.00 | 19436.00 | Edge Telecom Pvt Ltd
2.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2 x 2.5 sqmm + 1 x 2.5 sqmm earth wire | 70.00 | Mtr. |  | 162.00 | 11340.00 | 150.00 | 10500.00 | 325.00 | 22750.00 | 350.00 | 24500.00 | 10500.00 | ESS KAY CONSTRUCTIONS
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2 x 6 sqmm + 1 x 6 sqmm earth wire | 70.00 | Mtr. |  | 245.00 | 17150.00 | 300.00 | 21000.00 | 530.00 | 37100.00 | 600.00 | 42000.00 | 17150.00 | Proficio Engineering And Construction Pvt. Ltd.
4.00 | Wiring for light /power plug with 2x4 sqmm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 Nos 4 sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 70.00 | Mtr. |  | 184.00 | 12880.00 | 250.00 | 17500.00 | 315.00 | 22050.00 | 400.00 | 28000.00 | 12880.00 | Proficio Engineering And Construction Pvt. Ltd.
5.00 | Wiring for light /power plug with 4x4 sqmm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 2 Nos 4 sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 30.00 | Mtr. |  | 304.00 | 9120.00 | 450.00 | 13500.00 | 515.00 | 15450.00 | 600.00 | 18000.00 | 9120.00 | Proficio Engineering And Construction Pvt. Ltd.
6.00 | Supplying and fixing suitable size GI Box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings) | 20.00 | Each |  | 235.00 | 4700.00 | 150.00 | 3000.00 | 445.00 | 8900.00 | 650.00 | 13000.00 | 3000.00 | ESS KAY CONSTRUCTIONS
7.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 25.00 | Each |  | 381.00 | 9525.00 | 200.00 | 5000.00 | 560.00 | 14000.00 | 750.00 | 18750.00 | 5000.00 | ESS KAY CONSTRUCTIONS
8.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 26.00 | Each |  | 17.00 | 442.00 | 25.00 | 650.00 | 35.00 | 910.00 | 120.00 | 3120.00 | 442.00 | Proficio Engineering And Construction Pvt. Ltd.
9.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/isolator) a) 8 way , Double door | 6.00 | Each |  | 1750.00 | 10500.00 | 1800.00 | 10800.00 | 9100.00 | 54600.00 | 3000.00 | 18000.00 | 10500.00 | Proficio Engineering And Construction Pvt. Ltd.
10.00 | Supplying and fixing following way prewired TP&N MCB distribution board of steel sheet for 415 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FRLS PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required.(But without MCB/ RCCB/ Isolator) a) 8 way ( 4 +24), Double door | 3.00 | Each |  | 9900.00 | 29700.00 | 7500.00 | 22500.00 | 5200.00 | 15600.00 | 6000.00 | 18000.00 | 15600.00 | Awasthi Electric Works
11.00 | Supplying and fixing of 40 Amp rating, Double Pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 8.00 | Each |  | 2200.00 | 17600.00 | 1500.00 | 12000.00 | 1900.00 | 15200.00 | 2500.00 | 20000.00 | 12000.00 | ESS KAY CONSTRUCTIONS
12.00 | Supplying and fixing 63 Amp.rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. As required. | 5.00 | Each |  | 2800.00 | 14000.00 | 2200.00 | 11000.00 | 2600.00 | 13000.00 | 3000.00 | 15000.00 | 11000.00 | ESS KAY CONSTRUCTIONS
13.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
13.10 | 5/6 Amp switch | 28.00 | Each |  | 49.00 | 1372.00 | 50.00 | 1400.00 | 72.00 | 2016.00 | 120.00 | 3360.00 | 1372.00 | Proficio Engineering And Construction Pvt. Ltd.
13.20 | 15/16 Amp switch | 15.00 | Each |  | 101.00 | 1515.00 | 100.00 | 1500.00 | 105.00 | 1575.00 | 180.00 | 2700.00 | 1500.00 | ESS KAY CONSTRUCTIONS
13.30 | 3 pin 5/6 Amp socket outlet | 16.00 | Each |  | 88.00 | 1408.00 | 85.00 | 1360.00 | 125.00 | 2000.00 | 150.00 | 2400.00 | 1360.00 | ESS KAY CONSTRUCTIONS
13.40 | 6 pin 15/16 amp socket outlet | 25.00 | Each |  | 130.00 | 3250.00 | 120.00 | 3000.00 | 175.00 | 4375.00 | 200.00 | 5000.00 | 3000.00 | ESS KAY CONSTRUCTIONS
14.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) Single pole
14.10 | Single pole 6 A to 32 A | 55.00 | Each |  | 202.00 | 11110.00 | 150.00 | 8250.00 | 158.00 | 8690.00 | 200.00 | 11000.00 | 8250.00 | ESS KAY CONSTRUCTIONS
14.20 | Double pole 10 A | 12.00 | Each |  | 439.00 | 5268.00 | 400.00 | 4800.00 | 495.00 | 5940.00 | 900.00 | 10800.00 | 4800.00 | ESS KAY CONSTRUCTIONS
15.00 | Providing and fixing 160 A , 16 KA rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | 4.00 | Each |  | 4900.00 | 19600.00 | 4500.00 | 18000.00 | 7900.00 | 31600.00 | 10000.00 | 40000.00 | 18000.00 | ESS KAY CONSTRUCTIONS
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC HDPE pipe as required.
16.10 | 3.5x 150 sqmm | 1196.00 | Mtrs |  | 35.00 | 41860.00 | 50.00 | 59800.00 | 80.00 | 95680.00 | 130.00 | 155480.00 | 41860.00 | Proficio Engineering And Construction Pvt. Ltd.
16.20 | 3.5 x 25 sqmm | 250.00 | Mtrs |  | 15.00 | 3750.00 | 30.00 | 7500.00 | 40.00 | 10000.00 | 80.00 | 20000.00 | 3750.00 | Proficio Engineering And Construction Pvt. Ltd.
17.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.Upto 35 sq. mm (clamped with 1mm thick saddle) | 425.00 | Mtrs |  | 33.00 | 14025.00 | 35.00 | 14875.00 | 150.00 | 63750.00 | 50.00 | 21250.00 | 14025.00 | Proficio Engineering And Construction Pvt. Ltd.
18.00 | Supplying, installation, testing & commissioning of main control and indicating panel made out of 16 SWG MS sheet to accommodate the following items duly powder coated in approved colour with louvers for ventilation, locking arrangement, audio and visual indication for fire alarm and public address system, monitoring system including connections, interconnections etc complete as required. | 1.00 | Point |  | 34500.00 | 34500.00 | 40000.00 | 40000.00 | 63000.00 | 63000.00 | 125016.00 | 125016.00 | 34500.00 | Proficio Engineering And Construction Pvt. Ltd.
19.00 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | 5.00 | Point |  | 300.00 | 1500.00 | 350.00 | 1750.00 | 3100.00 | 15500.00 | 500.00 | 2500.00 | 1500.00 | Proficio Engineering And Construction Pvt. Ltd.
20.00 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | 20.00 | Point |  | 990.00 | 19800.00 | 850.00 | 17000.00 | 2200.00 | 44000.00 | 2200.00 | 44000.00 | 17000.00 | ESS KAY CONSTRUCTIONS
21.00 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | 3.00 | Point |  | 540.00 | 1620.00 | 350.00 | 1050.00 | 4700.00 | 14100.00 | 3000.00 | 9000.00 | 1050.00 | ESS KAY CONSTRUCTIONS
22.00 | Supplying, installation, testing & commissioning response indicator on surface/ recess MS box having two LEDs metallic cover complete with all connections etc. as required | 7.00 | Point |  | 180.00 | 1260.00 | 120.00 | 840.00 | 325.00 | 2275.00 | 450.00 | 3150.00 | 840.00 | ESS KAY CONSTRUCTIONS
23.00 | Supply and fixing of following size of steel conduit alongwith the accessories in surface/recess including painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as required. (a) 20mm dia. | 50.00 | Mtr |  | 125.00 | 6250.00 | 120.00 | 6000.00 | 215.00 | 10750.00 | 220.00 | 11000.00 | 6000.00 | ESS KAY CONSTRUCTIONS
24.00 | Supplying & laying of 02x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 120.00 | Mtr. |  | 300.00 | 36000.00 | 230.00 | 27600.00 | 350.00 | 42000.00 | 110.00 | 13200.00 | 13200.00 | Edge Telecom Pvt Ltd
25.00 | Installation, testing and commissioning of pre-wired, LED Light fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required | 59.00 | Each |  | 125.00 | 7375.00 | 100.00 | 5900.00 | 225.00 | 13275.00 | 250.00 | 14750.00 | 5900.00 | ESS KAY CONSTRUCTIONS
26.00 | Installation of Exhaust Fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Up to 450 mm sweep | 4.00 | Each |  | 150.00 | 600.00 | 150.00 | 600.00 | 350.00 | 1400.00 | 250.00 | 1000.00 | 600.00 | Proficio Engineering And Construction Pvt. Ltd., ESS KAY CONSTRUCTIONS
27.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. For 3.5 x 150 sq. Mm (50mm) | 4.00 | Set |  | 350.00 | 1400.00 | 120.00 | 480.00 | 750.00 | 3000.00 | 700.00 | 2800.00 | 480.00 | ESS KAY CONSTRUCTIONS
28.00 | Supplying amd making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 3.5 x 25 sqmm (28 mm) | 4.00 | Set |  | 250.00 | 1000.00 | 100.00 | 400.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 400.00 | ESS KAY CONSTRUCTIONS
29.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required. a) 100 mm dia | 60.00 | Mtr. |  | 1050.00 | 63000.00 | 1200.00 | 72000.00 | 1250.00 | 75000.00 | 2700.00 | 162000.00 | 63000.00 | Proficio Engineering And Construction Pvt. Ltd.
30.00 | Supplying and fixing cable route marker with 10cmx10cmx5mm thick G.I. plate with inscription there on bolted/welded to 35 mm x35mmx6mm angle iron 60cm long and fixing the same in ground as required. | 10.00 | Each |  | 290.00 | 2900.00 | 250.00 | 2500.00 | 550.00 | 5500.00 | 1500.00 | 15000.00 | 2500.00 | ESS KAY CONSTRUCTIONS
31.00 | Earthing with G.I. earth plate 600 mm x 600 mm x 6 mm thick including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/coke and salt as required. | 4.00 | Set |  | 4400.00 | 17600.00 | 6000.00 | 24000.00 | 9500.00 | 38000.00 | 8000.00 | 32000.00 | 17600.00 | Proficio Engineering And Construction Pvt. Ltd.
32.00 | Providing and fixing 25mm x 5mm G.I. strip in 40mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, stpring washer excavation and re-filling etc. as required. | 40.00 | Mtr. |  | 4400.00 | 176000.00 | 5000.00 | 200000.00 | 570.00 | 22800.00 | 350.00 | 14000.00 | 14000.00 | Edge Telecom Pvt Ltd
33.00 | Providing & fixing 25 mm x 5 mm G.I. strip on surface or in recess for connections etc. as required. | 40.00 | Mtr. |  | 170.00 | 6800.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 300.00 | 12000.00 | 6000.00 | ESS KAY CONSTRUCTIONS, Awasthi Electric Works
34.00 | Supplying and laying 25 mm x 5 mm G.I. strip at 0.50 meter below ground as strip electrode, including connection / terminating with G.I. nut, bolt, spring washer etc. as required. (joining shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | 20.00 | Mtr. |  | 65.00 | 1300.00 | 100.00 | 2000.00 | 180.00 | 3600.00 | 1200.00 | 24000.00 | 1300.00 | Proficio Engineering And Construction Pvt. Ltd.
35.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 1001.00 | Mtr. |  | 24.00 | 24024.00 | 30.00 | 30030.00 | 25.00 | 25025.00 | 50.00 | 50050.00 | 24024.00 | Proficio Engineering And Construction Pvt. Ltd.
36.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 11.00 | Each |  | 1050.00 | 11550.00 | 1200.00 | 13200.00 | 1300.00 | 14300.00 | 3200.00 | 35200.00 | 11550.00 | Proficio Engineering And Construction Pvt. Ltd.
37.00 | Supplying, installation, testing & commissioning of addressable horn cum strobe complete as required. | 2.00 | Each |  | 2855.00 | 5710.00 | 2500.00 | 5000.00 | 1300.00 | 2600.00 | 3500.00 | 7000.00 | 2600.00 | Awasthi Electric Works
38.00 | Supply, Installation, Testing & Commissioning of Split Type, wall mounted 05 star rated AC units consisting outdoor units, Indoor& outdoor units complete with standard factory supplied power & control panels with cord less remote control, along with pre-filled inter-connecting copper refrigerant (eco friendly Gas) piping upto 03 meters complete with insulation tubing as required, inter-connecting power and control cabling/wire, drain pipe and floor/wall type stand for outdoor unit complete as per specifications, as per approved/preferred make list for following size's:-
38.10 | 1.5 TR Split AC units (05 star rated). | 2.00 | Job |  | 43405.00 | 86810.00 | 43000.00 | 86000.00 | 38000.00 | 76000.00 | 42000.00 | 84000.00 | 76000.00 | Awasthi Electric Works
38.20 | 1.5 TR Split AC units (05 star rated). (Hot and Cold) | 4.00 | Job |  | 48500.00 | 194000.00 | 50000.00 | 200000.00 | 41000.00 | 164000.00 | 60000.00 | 240000.00 | 164000.00 | Awasthi Electric Works
39.00 | S.I.T.C. of following floor mounted, Electro-mechanical key interlocking LT Panel fabricated out of 14 SWG CRCA sheet with powder coated paint having double doors with locking arrangement at front and openable back for easy access to cable alley, dust and vermin proof, totally enclosed, compartmentalised, rubber gasket on all doors, M.S. angle base frame. Entire panel shall have a common GI earth bar of size 50mmx5mm at the rear with two number earth stud. Cable entry will be from bottom. Control Wiring should be done by FRLS PVC insulated 2.5 Sq.mm solid copper conductor cable etc. suitable for operation on 415V, 3 phase, 4 wire, 50 Hz AC power supply complete as required. | 1.00 | Job |  | 205600.00 | 205600.00 | 240000.00 | 240000.00 | 295000.00 | 295000.00 | 200000.00 | 200000.00 | 200000.00 | Edge Telecom Pvt Ltd
39.01 | INCOMERS: a) Qty:- 02 Nos.- 100 Amps, 36 KA, 4P MCCB , Thermal Magnetic Release (O/C,S/C) Protection ROM+SPRD+1 C/O AUX.CONTACT. Variable range Moulded Case Circuit Breaker (Icu value 35 KA = Ics). Indicating lamps:R,Y, B LED -03 NOS., B PHASE-1 NOS., ON/OFF LED-2 NOS., 2 A SP MCB-3 NOS, Bus Copler: MCCB of 100 Amps, 4P, 415 V, breaking capacity 36 kA(Ics=100%Icu),4 Pole, rotary handle,Adjustable Thermal release, LED ON-OFF indication lamp, Qty:01 No. BUSBARS:- 1 Set of 100 Amp TPN busbars of high conductivity electrolytic grade Copper with 100% neutral size & Heat shrinkable colour coded insulation sleeves. MULTIFUNTION METERS:- i) Digital type Ammeter with inbuilt selector switch & CT- 2 Sets ii) Digital type Voltmeter with inbuilt selector switch with control MCBs - 2Sets OUTGOINGS: a) 63 Amps, 4 Pole, 3Ph, 415 V, 50 Hz, MCCB - 04 Nos. b) 32 Amps, 4 Pole, 3Ph, 415 V, 50 Hz, MCCB - 04 Nos.
40.00 | Supply, Installation, Testing & Commissioning of concealed type Online RO storage cooler cum purifier suitable for working on 230V, 50H2, single phase supply. It should satisfy the following specifications:- i) Storage Tank Capacity:- 80 liter (cold) +08 Liter Tank dispensing. ii) Water Cooling Capacity:- 60 LPH degree centigrade (controllable). iii) No. of faucet: Minimum 02 (Two). iv) Outer Body material: Stainless steel. vi) RO membrane flushing type: Auto flush vii) Purification Capacity: 50 Liter/Hr (Equivalent to ZERO-B Model no. CHILL 60-80-50 as per approved/preferred make list.) | 1.00 | Job |  | 89005.00 | 89005.00 | 100000.00 | 100000.00 | 145000.00 | 145000.00 | 42000.00 | 42000.00 | 42000.00 | Edge Telecom Pvt Ltd
41.00 | Supply of following size of XLPE insulated, PVC sheathed, FRLS outer sheath, armoured, aluminium conductor cable of 1.1 KV grade as per IS 7098 (Part-I) 1988 complete as required.
41.10 | 3.5x 150 sqmm | 1196.00 | Mtrs |  | 810.00 | 968760.00 | 650.00 | 777400.00 | 560.00 | 669760.00 | 700.00 | 837200.00 | 669760.00 | Awasthi Electric Works
41.20 | 3.5 x 25 sqmm | 250.00 | Mtrs |  | 160.00 | 40000.00 | 200.00 | 50000.00 | 140.00 | 35000.00 | 250.00 | 62500.00 | 35000.00 | Awasthi Electric Works
42.00 | Supply of 03 core x 1.5 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable | 275.00 | Mtrs |  | 50.00 | 13750.00 | 35.00 | 9625.00 | 60.00 | 16500.00 | 120.00 | 33000.00 | 9625.00 | ESS KAY CONSTRUCTIONS
43.00 | Supply of 03 core x 2.5 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable | 350.00 | Mtrs |  | 80.00 | 28000.00 | 70.00 | 24500.00 | 95.00 | 33250.00 | 150.00 | 52500.00 | 24500.00 | ESS KAY CONSTRUCTIONS
44.00 | Supply of Flame Retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694 of AAI preferred make list of following size & coil length:-
44.10 | 1 Core x 1.5 sq.mm. (90 meter coil) | 5.00 | Each |  | 1300.00 | 6500.00 | 1400.00 | 7000.00 | 1550.00 | 7750.00 | 2500.00 | 12500.00 | 6500.00 | Proficio Engineering And Construction Pvt. Ltd.
44.20 | 1 Core x 2.5 sq.mm. (90 meter coil) | 5.00 | Each |  | 2150.00 | 10750.00 | 2000.00 | 10000.00 | 2490.00 | 12450.00 | 4500.00 | 22500.00 | 10000.00 | ESS KAY CONSTRUCTIONS
45.00 | Supply of LED type 12 -15 watt surface mounted tiltable spot light aluminium body powder coating finish including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. | 10.00 | Nos. |  | 450.00 | 4500.00 | 300.00 | 3000.00 | 1650.00 | 16500.00 | 4500.00 | 45000.00 | 3000.00 | ESS KAY CONSTRUCTIONS
46.00 | Supply of aesthically designed recharable LED lantern with dimming & SS feature with 03 to 05 watt recharable Li-ion battery of 3.7 v, 4400 AH and suitable for charging from 160-270 V AC supply, 50 hz. etc. complete as required. | 2.00 | Nos. |  | 1200.00 | 2400.00 | 800.00 | 1600.00 | 2500.00 | 5000.00 | 8500.00 | 17000.00 | 1600.00 | ESS KAY CONSTRUCTIONS
47.00 | Supply of LED type 100 Watt (Flood Light) rectangular street/flood LED light with pressure die-cast aluminium cover on both side for holding extruded aluminium heat sink, with heat resistant toughened glass with control gear suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved/preferred make list. | 10.00 | Nos. |  | 1800.00 | 18000.00 | 1800.00 | 18000.00 | 2300.00 | 23000.00 | 4500.00 | 45000.00 | 18000.00 | Proficio Engineering And Construction Pvt. Ltd., ESS KAY CONSTRUCTIONS
48.00 | Supply of LED type 36 watt recess/suspended slim LED 1'x4' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. | 17.00 | Nos. |  | 2200.00 | 37400.00 | 2200.00 | 37400.00 | 2000.00 | 34000.00 | 7500.00 | 127500.00 | 34000.00 | Awasthi Electric Works
49.00 | Supply of 20 Watt LED Tube Light fitting suitable for wall mounting & operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 20.00 | Nos. |  | 230.00 | 4600.00 | 180.00 | 3600.00 | 270.00 | 5400.00 | 300.00 | 6000.00 | 3600.00 | ESS KAY CONSTRUCTIONS
50.00 | Supply of decorative LED Gate Light in aluminum die cast with modern artistic design and white PC diffuser suitable for retrofit LED lamps upto 60 watt suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 2.00 | No. |  | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 3900.00 | 7800.00 | 10000.00 | 20000.00 | 6000.00 | Proficio Engineering And Construction Pvt. Ltd., ESS KAY CONSTRUCTIONS
51.00 | Supply of 23 Watt LED Bulb of B-22 type required for General Lighting Service requirement suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved/preferred make list. | 11.00 | No. |  | 198.00 | 2178.00 | 220.00 | 2420.00 | 190.00 | 2090.00 | 900.00 | 9900.00 | 2090.00 | Awasthi Electric Works
52.00 | Supply of 25 ltrs. Capacity , 2000watt , 6-8 bar rated water pressure, SS tank , heating element with termostate,vertical mounting arrangement, Class1, fully automatice, ISI electric storage water heater Geyser suitable for operation on 230v, 50 hz, main lead wire, single phase AC supply complete with all accessories etc. as required | 2.00 | No. |  | 7000.00 | 14000.00 | 6800.00 | 13600.00 | 8000.00 | 16000.00 | 8500.00 | 17000.00 | 13600.00 | ESS KAY CONSTRUCTIONS
53.00 | Supply of automatic Hand Dryer suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 2.00 | No. |  | 9000.00 | 18000.00 | 2000.00 | 4000.00 | 13500.00 | 27000.00 | 20000.00 | 40000.00 | 4000.00 | ESS KAY CONSTRUCTIONS
54.00 | Supply of 2KW, Pillar Carbon Radiant Room Heater suitable for operation on voltage single phase 220 Voltage. | 4.00 | No. |  | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 5500.00 | 22000.00 | 5500.00 | 22000.00 | 12000.00 | ESS KAY CONSTRUCTIONS
55.00 | Supply of Pedestal type fan with regulator & adujustable height, minimum 900 mm, Maximum 1050 mm having 400 mm fan size and Maximum Input (in watts) 61 W suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 2.00 | No. |  | 3400.00 | 6800.00 | 3500.00 | 7000.00 | 2100.00 | 4200.00 | 5500.00 | 11000.00 | 4200.00 | Awasthi Electric Works
56.00 | Supply of power coated Electric Fly Catcher Insect Machine with the following feature specification:- a. Body material: Mild/stainless steel b. Number of tubes: 02 nos. c.Fitting:wall mounted d.Element : 2X15watt tube (Ultra Voilet Light) e. Minimum size: 52 x 11 x 32 cm or higher f. transformer and suitable working of 230volt,50hz Single phase AC supply etc. complete as required. | 2.00 | No. |  | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 7000.00 | Proficio Engineering And Construction Pvt. Ltd., ESS KAY CONSTRUCTIONS
57.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required.
57.10 | 160 mm dia DWC HDPE pipe for electrical Power cable laying | 1196.00 | Mtrs |  | 309.00 | 369564.00 | 300.00 | 358800.00 | 325.00 | 388700.00 | 180.00 | 215280.00 | 215280.00 | Edge Telecom Pvt Ltd
57.20 | 40 mm dia DWC HDPE pipe for electrical Power cable laying | 250.00 | Mtrs |  | 123.00 | 30750.00 | 150.00 | 37500.00 | 150.00 | 37500.00 | 90.00 | 22500.00 | 22500.00 | Edge Telecom Pvt Ltd
57.30 | 20 mm dia DWC HDPE pipe for electrical Power cable laying | 625.00 | Mtrs |  | 120.00 | 75000.00 | 120.00 | 75000.00 | 150.00 | 93750.00 | 70.00 | 43750.00 | 43750.00 | Edge Telecom Pvt Ltd
58.00 | Supply of Electrical Ceramic Insulator having length of minimum 15cm. | 8.00 | Nos. |  | 800.00 | 6400.00 | 3500.00 | 28000.00 | 25.00 | 200.00 | 10000.00 | 80000.00 | 200.00 | Awasthi Electric Works
59.00 | Supply and fixing of fire retardant electrically insulated synthetic mat of class A, 2.0 mm thick suitable for all voltages not exceeding 3.3 KV AC and 240V DC system meeting requirements of IS 15652:2006 mm along with all allied materials to complete the job as per site conditions and as per instructions from Engineer-in-Charge. | 15.00 | Mtrs |  | 1400.00 | 21000.00 | 5000.00 | 75000.00 | 750.00 | 11250.00 | 800.00 | 12000.00 | 11250.00 | Awasthi Electric Works
60.00 | Supply, Installation, testing & commissioning of 25 KVA Automatic ( motor operated) Servo Voltage Stabilizer / Regulator, Air cooled naturally, floor mounted type, 3 phase unbalanced/balanced load, 4 wire, 50 Hz AC supply i/c cable and termination with Brass compression glands etc. as requirement. | 2.00 | Job |  | 59000.00 | 118000.00 | 55000.00 | 110000.00 | 115000.00 | 230000.00 | 35000.00 | 70000.00 | 70000.00 | Edge Telecom Pvt Ltd
61.00 | Supply and installation of pre-wired Primary protection (Class B / Type 2) 3 phase type Surge protection device (SPD) having 100KA, 10/350 micro seconds neutral to earth, 50 KA, 10/350 micro seconds line to neutral with limiting voltage less than 1.5 KV on the mains power entry point at the incomers. The enclosure shall have IP:65 weather proof polycarbonate PVC box with cable gland. | 6.00 | Job |  | 46800.00 | 280800.00 | 45000.00 | 270000.00 | 92000.00 | 552000.00 | 15000.00 | 90000.00 | 90000.00 | Edge Telecom Pvt Ltd
62.00 | Supplying, installation, testing & commissioning GSM Auto Dialer Micro-controller base Type Fire Detection & Alarm Control Panel including GSM based speech and SMS dialler,2 speech / voice messages Separate intrusion message Separate fire message 10 telephone numbers ,16x4 LCD display, Separate fire message, 20 second recording time for each message, Alarm SMS with alarm type, time and date information,System status SMS for arm and disarm,Separate SMS for tamper and wrong code,Power On SMS when system is powered, Status SMS are optional sent to first number only,User editable name and address for alarm SMS,Dialing to a particular number or all numbers can be aborted by call receiver during call,Dialing to all numbers can be aborted with master code during call,Call status and network messages displayed, Silent dialing for intrusion and fire messages, Message playback, Telephone number check,telephone number editing facility, 12V - 24V DC variable input voltage, 4 digit user code 7 status LEDs- armed, power, dialing and sync.,In-built GSM signal strength display, Previous state ( armed or disarmed ) retain when auto dialer is re-powered etc. complete as required. | 1.00 | Job |  | 31400.00 | 31400.00 | 34009.00 | 34009.00 | 14500.00 | 14500.00 | 20000.00 | 20000.00 | 14500.00 | Awasthi Electric Works
63.00 | Supply of electrical extension board with 02 nos.x5/15 Amp. Individual switch with 05 meter using 3x1.5 sq. Mm copper conductor armoured PVC sheathed etc. Suitable working on 220V, 50 hz single phase AC supply complete as required. | 3.00 | Set |  | 555.00 | 1665.00 | 550.00 | 1650.00 | 3250.00 | 9750.00 | 1500.00 | 4500.00 | 1650.00 | ESS KAY CONSTRUCTIONS
64.00 | Supply of 450 mm, 1400 rpm heavy duty MS body Exhaust Fan suitable for operation on 230 V, 50 hz, AC supply conforming to relevant IS with up to date amendments etc. complete as required. | 4.00 | No. |  | 4100.00 | 16400.00 | 4500.00 | 18000.00 | 3700.00 | 14800.00 | 3500.00 | 14000.00 | 14000.00 | Edge Telecom Pvt Ltd
65.00 | Supply of heavy duty, sweep size 400 mm dia., 200W motor capacity Industrial type Wall Fan complete with built in String type speed regulator & mounting arrangement suitable for operating at single phase, 230V AC, 50 Hz etc. | 4.00 | No. |  | 3100.00 | 12400.00 | 3000.00 | 12000.00 | 5200.00 | 20800.00 | 3500.00 | 14000.00 | 12000.00 | ESS KAY CONSTRUCTIONS
66.00 | Supply, Installations, Testing & Commissioning of Electronic Timer with sheet steel enclosure having 25 Amp-100 Amp rating, 02 nos. DP RCCBs etc. required for maintaining 4-6 hours operation for the on of Air conditioners and remain other as stand by for capacity of 1.5 to 2.0 TR Air-Conditioners of all make complete as required at site. | 3.00 | Jobs |  | 4000.00 | 12000.00 | 3800.00 | 11400.00 | 7500.00 | 22500.00 | 10000.00 | 30000.00 | 11400.00 | ESS KAY CONSTRUCTIONS
67.00 | Supply, installation, testing and commissioning ISI marked (IS:15683) Fire Extinguisher, Carbon-di-oxide type capacity 5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including initial fill with CO2 gas conforming to IS:307-1966 and walll suspension braket as required as per specifications. | 4.00 | Job |  | 4200.00 | 16800.00 | 4900.00 | 19600.00 | 8200.00 | 32800.00 | 6500.00 | 26000.00 | 16800.00 | Proficio Engineering And Construction Pvt. Ltd.
68.00 | Supply, installation, testing and commissioning of 6kg ABC (Powder Type) Fire Extinguisher. Mild Steel Cylinders ISI marked fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC 90 powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspension bracket and conforming to IS:15683 as required as per specifications. | 2.00 | Job |  | 5400.00 | 10800.00 | 6500.00 | 13000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 6000.00 | Awasthi Electric Works
69.00 | Supply, Installation, testing & commissioning of 05 KVA/4.25 KW On-Line 3 phase Inverter with inbuilt Isolation, SMF battery back up of 30 minutes for load upto 3KW,with 03 No.of 12Volt, 180AH Lead Acid Battery and MS rack for housing the batteries, Interlinks and DC cable for installation. | 4.00 | Job |  | 73580.00 | 294320.00 | 85000.00 | 340000.00 | 135000.00 | 540000.00 | 110000.00 | 440000.00 | 294320.00 | Proficio Engineering And Construction Pvt. Ltd.
70.00 | Supply, Installation, testing and Commissioning of 5 KVA, Automatic Voltage stabilizer Voltage stabilizer for Split AC's having operating voltage of 130 Volts to 270 Volts, 50Hz. | 6.00 | Job |  | 4500.00 | 27000.00 | 5500.00 | 33000.00 | 5800.00 | 34800.00 | 6500.00 | 39000.00 | 27000.00 | Proficio Engineering And Construction Pvt. Ltd.
71.00 | Supply and fixing of Outdoor type 100 Amp. Bus-bar chamber i/c two meter GI angle stand and G.I. covering of Bus-bar chamber. | 4.00 | Job |  | 11500.00 | 46000.00 | 11593.25 | 46373.00 | 1800.00 | 7200.00 | 30000.00 | 120000.00 | 7200.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 3847356.00 |  | 3833562.00 |  | 4564861.00 |  | 4299292.00
Lowest Amount Quoted BY: ESS KAY CONSTRUCTIONS(3833562.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of NDB Building and allied works at Kullu-Manali Airport, SH Electrical Works Tender ID: 2024_AAI_188506_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ESS KAY CONSTRUCTIONS | 3833562.00 | L1
| 2 | Proficio Engineering And Construction Pvt. Ltd. | 3847356.00 | L2
| 3 | Edge Telecom Pvt Ltd | 4299292.00 | L3
| 4 | Awasthi Electric Works | 4564861.00 | L4