## BoQ1
Government eProcurement System Created By: Anil kumar J Created Date/Time: 10-Apr-2024 11:25 AM Tender Title: Provision of balance perimeter lighting along the operational Boundary wall at Birsi Airport, Gondia. Tender ID: 2024_AAI_189077_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Provision of balance perimeter lighting along the operational Boundary wall at Birsi Airport, Gondia.
Contract No: 2024_AAI_189077_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kripa Electronics india pvt ltd (GSTN-27AACCK9472B1ZI) BID ID -689703 |  | RVD INFRA SOLUTION PVT.LTD. (GSTN-24AAGCR7767L1ZQ) BID ID -690373 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -690399 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -690472 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -690523 |  | M/s BHARAT ELECTRIC, NAGPUR (GSTN-27ALSPP1335N1ZG) BID ID -690530 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -690539 |  | BR Power Control and Automation Services (GSTN-06AREPS4024K1ZP) BID ID -690729 |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)--690453 |  | MANKHA ELECTROTECH PRIVATE LIMITED(GSTN-NA)--689858 |  | SAURABH ENTERPRISES(GSTN-NA)--687713 |  | Rohit Electrical Construction(GSTN-NA)--690337 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA)--690574 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--690500
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PTTA TYPE PANEL Design, manufacture, supply, installation, testing and commissioning of outdoor compartmentalized type Panel 50 kA short circuit breaking capacity for perimeter lighting, having panel of suitable size, bus bars with SMC/DMC supports, made of 14 SWG CRCA sheet steel, totally enclosed, IP-65, free standing, floor / wall mounting, powder coated painting, suitable to the existing space, operation on 3 phase and neutral, 415V, 50 Hz AC system with bus bars, G.I flat Earth strip on both side , Removable gland plates at bottom with suitable size of predrilled holes for cables, cable interconnections, wiring, earthing, rotary handles & spreader links to all MCCBs, powder coated painting etc. with following items and installation on suitable channels /elevated concrete foundation as per site requirement/ directions of E-I-C. INCOMER MCCB of 125 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. - 02 Nos. Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 02 Sets Digital Mulit functional meter suitable range for 3 phase, 4 wire with LED display and selector switch along with MCB of suitable ratings- 02 Sets,for 3 phase 4 wire with LED display and selector switch and cast resin CT ratio programmable and auto ranging along with 3 numbers of class 1.0, 15 VA suitable range CTs -02 Sets. BUSCOUPLER MCCB of 125 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc., - 01 No. Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 01 Set mechanical interlocking arrangement between 2 nos. 125 Amp incomer, -1 set BUSBAR One set of 400 Amp TPN aluminium bus bars of 35 KA capacity. OUTGOING 4 Pole, 35 kA, 63 Amp MCCB with extended terminal with real time timer of suitable rating,contactors and direct rotary handle etc as required - 6 Nos Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 06 Set | 1.00 | Job |  | 521300.00 | 521300.00 | 210000.00 | 210000.00 | 536448.00 | 536448.00 | 200000.00 | 200000.00 | 362000.00 | 362000.00 | 400000.00 | 400000.00 | 205100.00 | 205100.00 | 490100.00 | 490100.00 | 396151.00 | 396151.00 | 155400.00 | 155400.00 | 50000.00 | 50000.00 | 285000.00 | 285000.00 | 263000.00 | 263000.00 | 457362.00 | 457362.00 | 50000.00 | SAURABH ENTERPRISES
2.00 | Supply of following Size 1.1 KV grade alumuninum conductor XLPE insulated and PVC sheathed armoured power cable as per IS 7098:1988 (Part-I) with upto date amendments.
2.01 | 3.5 Core X 120 Sq.mm | 6500.00 | Mtr |  | 539.30 | 3505450.00 | 690.00 | 4485000.00 | 500.00 | 3250000.00 | 650.00 | 4225000.00 | 503.00 | 3269500.00 | 525.00 | 3412500.00 | 620.00 | 4030000.00 | 510.00 | 3315000.00 | 529.00 | 3438500.00 | 465.70 | 3027050.00 | 500.00 | 3250000.00 | 451.00 | 2931500.00 | 537.00 | 3490500.00 | 440.00 | 2860000.00 | 2860000.00 | ABHISHEK INTEGRATIONS LIMITED
2.02 | 4 Core X 16 Sq.mm | 4450.00 | Mtr |  | 136.19 | 606045.50 | 188.00 | 836600.00 | 107.00 | 476150.00 | 175.00 | 778750.00 | 160.00 | 712000.00 | 125.00 | 556250.00 | 170.00 | 756500.00 | 122.00 | 542900.00 | 124.00 | 551800.00 | 100.50 | 447225.00 | 135.00 | 600750.00 | 115.00 | 511750.00 | 122.00 | 542900.00 | 106.00 | 471700.00 | 447225.00 | MANKHA ELECTROTECH PRIVATE LIMITED
3.00 | Supply of following dia DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete as required.
3.01 | 120 mm dia (OD-120 mm & ID-103 mm nominal) | 6500.00 | Mtr |  | 153.00 | 994500.00 | 190.00 | 1235000.00 | 140.00 | 910000.00 | 178.00 | 1157000.00 | 140.00 | 910000.00 | 120.00 | 780000.00 | 116.00 | 754000.00 | 144.00 | 936000.00 | 143.00 | 929500.00 | 105.00 | 682500.00 | 125.00 | 812500.00 | 80.00 | 520000.00 | 127.00 | 825500.00 | 128.00 | 832000.00 | 520000.00 | Rohit Electrical Construction
3.02 | 50 mm dia (OD-50 mm & ID-38 mm nominal ) | 4450.00 | Mtr |  | 53.55 | 238297.50 | 65.00 | 289250.00 | 58.00 | 258100.00 | 120.00 | 534000.00 | 75.00 | 333750.00 | 55.00 | 244750.00 | 80.00 | 356000.00 | 54.00 | 240300.00 | 47.00 | 209150.00 | 60.00 | 267000.00 | 58.00 | 258100.00 | 36.00 | 160200.00 | 51.00 | 226950.00 | 45.00 | 200250.00 | 160200.00 | Rohit Electrical Construction
4.00 | Laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) & 50 mm dia (OD-50 mm & ID-38 mm nominal) DWC HDPE pipe along with all accessories like socket, bend, couplers etc complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc conforming to IS 14930, Part II complete as required. | 6500.00 | Mtr |  | 76.13 | 494845.00 | 50.00 | 325000.00 | 89.00 | 578500.00 | 40.00 | 260000.00 | 102.00 | 663000.00 | 70.00 | 455000.00 | 107.00 | 695500.00 | 128.00 | 832000.00 | 37.00 | 240500.00 | 87.00 | 565500.00 | 120.00 | 780000.00 | 90.00 | 585000.00 | 57.00 | 370500.00 | 74.00 | 481000.00 | 240500.00 | vardhman Airport solutions pvt. Ltd.
5.00 | Laying of 50 mm dia (OD-50 mm & ID-38 mm nominal) DWC HDPE pipe along with all accessories like socket, bend, couplers etc complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc conforming to IS 14930, Part II complete as required. | 4450.00 | Mtr |  | 63.43 | 282263.50 | 50.00 | 222500.00 | 83.00 | 369350.00 | 35.00 | 155750.00 | 90.00 | 400500.00 | 70.00 | 311500.00 | 107.00 | 476150.00 | 117.00 | 520650.00 | 25.00 | 111250.00 | 78.00 | 347100.00 | 110.00 | 489500.00 | 98.00 | 436100.00 | 57.00 | 253650.00 | 73.00 | 324850.00 | 111250.00 | vardhman Airport solutions pvt. Ltd.
6.00 | Laying of one number PVC/ XLPE insulated and PVC sheathed cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe/ HDPE Pipe as required.
6.01 | Above 95 sq. mm and upto 185 sq. mm | 6450.00 | Mtr |  | 94.11 | 607009.50 | 60.00 | 387000.00 | 59.00 | 380550.00 | 35.00 | 225750.00 | 20.00 | 129000.00 | 10.00 | 64500.00 | 26.00 | 167700.00 | 76.00 | 490200.00 | 40.00 | 258000.00 | 42.00 | 270900.00 | 40.00 | 258000.00 | 39.00 | 251550.00 | 24.00 | 154800.00 | 18.00 | 116100.00 | 64500.00 | M/s BHARAT ELECTRIC, NAGPUR
6.02 | Upto 35 Sq.mm | 4410.00 | Mtr |  | 70.58 | 311257.80 | 40.00 | 176400.00 | 30.00 | 132300.00 | 25.00 | 110250.00 | 10.00 | 44100.00 | 10.00 | 44100.00 | 21.00 | 92610.00 | 52.00 | 229320.00 | 20.00 | 88200.00 | 33.00 | 145530.00 | 35.00 | 154350.00 | 23.50 | 103635.00 | 14.00 | 61740.00 | 16.00 | 70560.00 | 44100.00 | Manish Electricals, M/s BHARAT ELECTRIC, NAGPUR
7.00 | Laying of one number PVC/ XLPE insulated and PVC sheathed power cable of 1.1 KV grade of following size in masonnary open duct etc as required. Above 95 sq. mm and upto 185 sq. mm | 50.00 | Mtr |  | 125.00 | 6250.00 | 100.00 | 5000.00 | 71.00 | 3550.00 | 35.00 | 1750.00 | 50.00 | 2500.00 | 10.00 | 500.00 | 17.00 | 850.00 | 93.00 | 4650.00 | 61.00 | 3050.00 | 42.00 | 2100.00 | 40.00 | 2000.00 | 36.75 | 1837.50 | 18.00 | 900.00 | 10.00 | 500.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR
8.00 | Providing and Laying of following dia'B' class GI Pipe including excavation of hard / soft soil complete with threading and alignment of pipe,bituminous road/concrete surface cutting for laying the pipe and making good the same with 1:2:4 cement concrete etc. as required.
8.01 | 100 mm dia 'B' class GI Pipe | 24.00 | Mtr |  | 621.29 | 14910.96 | 1000.00 | 24000.00 | 3665.00 | 87960.00 | 1250.00 | 30000.00 | 1650.00 | 39600.00 | 1200.00 | 28800.00 | 1700.00 | 40800.00 | 1500.00 | 36000.00 | 1729.00 | 41496.00 | 1311.00 | 31464.00 | 1400.00 | 33600.00 | 1570.00 | 37680.00 | 1600.00 | 38400.00 | 1980.00 | 47520.00 | 14910.96 | Kripa Electronics india pvt ltd
8.02 | 50 mm dia 'B' class GI Pipe | 12.00 | Mtr |  | 288.12 | 3457.44 | 750.00 | 9000.00 | 2537.00 | 30444.00 | 780.00 | 9360.00 | 750.00 | 9000.00 | 500.00 | 6000.00 | 530.00 | 6360.00 | 938.00 | 11256.00 | 630.00 | 7560.00 | 1140.00 | 13680.00 | 1000.00 | 12000.00 | 900.00 | 10800.00 | 900.00 | 10800.00 | 1540.00 | 18480.00 | 3457.44 | Kripa Electronics india pvt ltd
9.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required.(CPWD DSR-2022 item 5.2) | 13.00 | Each |  | 8750.00 | 113750.00 | 8500.00 | 110500.00 | 17837.00 | 231881.00 | 4950.00 | 64350.00 | 7000.00 | 91000.00 | 6000.00 | 78000.00 | 6500.00 | 84500.00 | 12058.00 | 156754.00 | 6219.00 | 80847.00 | 6900.00 | 89700.00 | 5000.00 | 65000.00 | 4606.50 | 59884.50 | 4400.00 | 57200.00 | 8239.00 | 107107.00 | 57200.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
10.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. wire in 15mm dia G.I.pipe from electrode including connection with G.I. thimble excavation and re-filling as required.(From feeder pillar and panel and perimeter pole to earth electrode)(CPWD DSR-2022 item 5.12) | 90.00 | Mtr |  | 209.10 | 18819.00 | 300.00 | 27000.00 | 274.00 | 24660.00 | 280.00 | 25200.00 | 200.00 | 18000.00 | 175.00 | 15750.00 | 170.00 | 15300.00 | 85.00 | 7650.00 | 260.00 | 23400.00 | 177.00 | 15930.00 | 120.00 | 10800.00 | 160.00 | 14400.00 | 220.00 | 19800.00 | 143.00 | 12870.00 | 7650.00 | BR Power Control and Automation Services
11.00 | Providing and fixing 6 SWG GI wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required.(CPWD DSR-2022 item 5.7)(Along the cable length)(CPWD DSR-2022 item 5.18) | 3500.00 | Mtr |  | 95.63 | 334705.00 | 31.00 | 108500.00 | 37.00 | 129500.00 | 32.00 | 112000.00 | 25.00 | 87500.00 | 20.00 | 70000.00 | 21.00 | 73500.00 | 45.00 | 157500.00 | 25.00 | 87500.00 | 20.40 | 71400.00 | 30.00 | 105000.00 | 24.00 | 84000.00 | 23.00 | 80500.00 | 28.00 | 98000.00 | 70000.00 | M/s BHARAT ELECTRIC, NAGPUR
12.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/terminal with GI thimble etc. as required.(From feeder pillar and panel and perimeter pole to earth electrode)(CPWD DSR-2022 item 5.7) | 20.00 | Mtr |  | 76.50 | 1530.00 | 125.00 | 2500.00 | 66.00 | 1320.00 | 32.00 | 640.00 | 30.00 | 600.00 | 40.00 | 800.00 | 170.00 | 3400.00 | 115.00 | 2300.00 | 44.00 | 880.00 | 100.50 | 2010.00 | 35.00 | 700.00 | 31.00 | 620.00 | 24.00 | 480.00 | 32.00 | 640.00 | 480.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
13.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
13.01 | 3.5 X 120 Sq. mm | 8.00 | Set |  | 690.93 | 5527.44 | 1875.00 | 15000.00 | 1413.00 | 11304.00 | 455.00 | 3640.00 | 700.00 | 5600.00 | 500.00 | 4000.00 | 710.00 | 5680.00 | 1585.00 | 12680.00 | 585.00 | 4680.00 | 51.00 | 408.00 | 500.00 | 4000.00 | 437.80 | 3502.40 | 700.00 | 5600.00 | 950.00 | 7600.00 | 408.00 | MANKHA ELECTROTECH PRIVATE LIMITED
13.02 | 4 X 16 Sq. mm | 228.00 | Set |  | 690.93 | 157532.04 | 188.00 | 42864.00 | 375.00 | 85500.00 | 185.00 | 42180.00 | 500.00 | 114000.00 | 150.00 | 34200.00 | 260.00 | 59280.00 | 295.00 | 67260.00 | 281.00 | 64068.00 | 33.00 | 7524.00 | 300.00 | 68400.00 | 215.00 | 49020.00 | 280.00 | 63840.00 | 320.00 | 72960.00 | 7524.00 | MANKHA ELECTROTECH PRIVATE LIMITED
14.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1 KV grade as required. 3.5 X 120 Sq. mm | 10.00 | Job |  | 3806.00 | 38060.00 | 3125.00 | 31250.00 | 3775.00 | 37750.00 | 750.00 | 7500.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 3900.00 | 39000.00 | 1663.00 | 16630.00 | 7800.00 | 78000.00 | 2500.00 | 25000.00 | 2950.00 | 29500.00 | 3600.00 | 36000.00 | 3600.00 | 36000.00 | 7500.00 | jaydeep agency corporation
15.00 | Supply of 30 Watt LED type Road/ Street light with minimum protection level > IP 65, pressure die cast housing with epoxy power coated prismatic poly carbonate cover with individual LED lenses and complete assembly with LED, driver and accessories pre-wired up to terminal block i/c suitable mounting accessories etc. as required. [Light fitting similar to Bajaj Model No.: ENXT P 36L WH CR PC SD or equivalent as approved by Engineer-in-Charge ] | 115.00 | Each |  | 1319.60 | 151754.00 | 1950.00 | 224250.00 | 1210.00 | 139150.00 | 1850.00 | 212750.00 | 1700.00 | 195500.00 | 1200.00 | 138000.00 | 1700.00 | 195500.00 | 1020.00 | 117300.00 | 1296.00 | 149040.00 | 1446.00 | 166290.00 | 3000.00 | 345000.00 | 1292.00 | 148580.00 | 1180.00 | 135700.00 | 1595.00 | 183425.00 | 117300.00 | BR Power Control and Automation Services
16.00 | Installation of 30 watt LED street light fitting on pole upto 2.5 mtr. height including suitable clamping arrangement in existing poles, earthing, i/c connection with 1.5 Sq.mm PVC insulated copper conductor single core cable, testing and commissioning complete as required. | 109.00 | Each |  | 1781.25 | 194156.25 | 300.00 | 32700.00 | 356.00 | 38804.00 | 150.00 | 16350.00 | 300.00 | 32700.00 | 50.00 | 5450.00 | 170.00 | 18530.00 | 408.00 | 44472.00 | 250.00 | 27250.00 | 204.00 | 22236.00 | 300.00 | 32700.00 | 340.00 | 37060.00 | 170.00 | 18530.00 | 56.00 | 6104.00 | 5450.00 | M/s BHARAT ELECTRIC, NAGPUR
17.00 | Installation Testing and Commissioning of 30 watt LED type Road/ street light fixtures on perimeter wall on Triangual MS Frame work made of MS Square pipe(one side) and MS angle iron(two sides).Ms square pipe shall be of 25 mm size,medium gauge conforming to IS-1161-1998 and 1 meter length.MS angle shall be of 25 mmX25 mmX 3 mm size and total length of two sides shall be 1.7 Mtr.Installation shall be including earthing and connection with 1.5 Sq.mm PVC insulated copper conductor single flexible cable complete as required. | 25.00 | Each |  | 6875.00 | 171875.00 | 3125.00 | 78125.00 | 1650.00 | 41250.00 | 450.00 | 11250.00 | 1500.00 | 37500.00 | 800.00 | 20000.00 | 170.00 | 4250.00 | 550.00 | 13750.00 | 1500.00 | 37500.00 | 807.00 | 20175.00 | 550.00 | 13750.00 | 897.00 | 22425.00 | 200.00 | 5000.00 | 750.00 | 18750.00 | 4250.00 | MPC ELECTRICALS AND ENGINEERS
18.00 | Supply of 1.5 Metre height G.I Octagonal pole with single arm GI bracket pipe at 150 degree angle suitable for fixing 30 W LED street light and suitable for rotation (Total vertical height of the pole including bracket shall be 2.15 Mtr) • Suitable to withstand wind speed as per IS-875 made out of High Tensile steel confirming to grade S355J0 or equivalent with,EN 8 grade foundation bolt, and base plate with FE 410 confirming to IS 226/IS 2062 with complete accessories. • An Outdoor IP65 rated junction box/looping box(equivelent to Sintex GSJB-3020) shall be provided along with the pole with 1 no heavy duty Three phase and neutral connector 32 Amps connector suitable for 4X16 armored aluminum cable and 1 no 6 amp. DP MCB and locking arrangement. • Pole shall be provided with a set of four foundation bolts and two earth studs at the bottom poles. • Dimensions: Pole 130 mm bottom A/F and 75 mm Top A/F(Across Flats of octagonal surface) • HT sheet:3 mm thick • Base plate 200 mm X 200mm X 12 mm thick. • Bracket:"B" class G.I pipe of size 40 mm nominal dia (approx. 800 mm length) • Foundation bolt: 4 nos. M16 x 450 mm long "J" type EN grade | 115.00 | Each |  | 4021.35 | 462455.25 | 4500.00 | 517500.00 | 6418.00 | 738070.00 | 4750.00 | 546250.00 | 5200.00 | 598000.00 | 3500.00 | 402500.00 | 4400.00 | 506000.00 | 4656.00 | 535440.00 | 5944.00 | 683560.00 | 3300.00 | 379500.00 | 2000.00 | 230000.00 | 2980.00 | 342700.00 | 5000.00 | 575000.00 | 7053.00 | 811095.00 | 230000.00 | SAURABH ENTERPRISES
19.00 | Erection, Testing and Commissioning of 1.5 mtr. height pole along with all accessories including making of foundation with M20 grade cement concreate of size 400 mm length X 400 mm width X 800 mm depth(of which 250 mm above ground level and 550 mm below ground level), suitable pipe for cable entry upto junction box, numbering of pole etc complete with all respect as required. | 109.00 | Each |  | 8963.75 | 977048.75 | 2500.00 | 272500.00 | 2119.00 | 230971.00 | 1450.00 | 158050.00 | 2500.00 | 272500.00 | 2500.00 | 272500.00 | 1700.00 | 185300.00 | 3100.00 | 337900.00 | 4572.00 | 498348.00 | 3300.00 | 359700.00 | 1000.00 | 109000.00 | 3150.00 | 343350.00 | 1600.00 | 174400.00 | 1750.00 | 190750.00 | 109000.00 | SAURABH ENTERPRISES
20.00 | Supplying & fixing cable route marker with 10X10X5mm thick GI plate with description there on bolted/welded to 35mmX35mmX6mm angle iron 60cm long and fixing the same in ground as required. | 50.00 | Each |  | 570.90 | 28545.00 | 400.00 | 20000.00 | 1232.00 | 61600.00 | 280.00 | 14000.00 | 500.00 | 25000.00 | 350.00 | 17500.00 | 305.00 | 15250.00 | 2100.00 | 105000.00 | 461.00 | 23050.00 | 600.00 | 30000.00 | 600.00 | 30000.00 | 315.00 | 15750.00 | 400.00 | 20000.00 | 410.00 | 20500.00 | 14000.00 | jaydeep agency corporation
21.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable PVC box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required. a) Group C | 20.00 | Point |  | 1500.00 | 30000.00 | 450.00 | 9000.00 | 1972.00 | 39440.00 | 1750.00 | 35000.00 | 900.00 | 18000.00 | 750.00 | 15000.00 | 350.00 | 7000.00 | 1037.00 | 20740.00 | 1660.00 | 33200.00 | 1500.00 | 30000.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 1700.50 | 34010.00 | 990.00 | 19800.00 | 7000.00 | MPC ELECTRICALS AND ENGINEERS
22.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class steel conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 80.00 | Mtr |  | 306.25 | 24500.00 | 110.00 | 8800.00 | 73.00 | 5840.00 | 275.00 | 22000.00 | 300.00 | 24000.00 | 250.00 | 20000.00 | 107.00 | 8560.00 | 175.00 | 14000.00 | 295.00 | 23600.00 | 1770.00 | 141600.00 | 170.00 | 13600.00 | 198.00 | 15840.00 | 345.00 | 27600.00 | 75.00 | 6000.00 | 5840.00 | SARASWAT ENGINEERING SERVICES
23.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 40.00 | Mtr |  | 306.25 | 12250.00 | 180.00 | 7200.00 | 157.00 | 6280.00 | 395.00 | 15800.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 134.00 | 5360.00 | 408.00 | 16320.00 | 386.00 | 15440.00 | 2220.00 | 88800.00 | 250.00 | 10000.00 | 279.84 | 11193.60 | 400.00 | 16000.00 | 95.00 | 3800.00 | 3800.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Supplying and fixing 3 Modular PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 12.00 | Each |  | 90.95 | 1091.40 | 35.00 | 420.00 | 1247.00 | 14964.00 | 500.00 | 6000.00 | 250.00 | 3000.00 | 500.00 | 6000.00 | 650.00 | 7800.00 | 711.00 | 8532.00 | 179.00 | 2148.00 | 330.00 | 3960.00 | 225.00 | 2700.00 | 415.50 | 4986.00 | 500.00 | 6000.00 | 385.00 | 4620.00 | 420.00 | RVD INFRA SOLUTION PVT.LTD.
25.00 | Supply of 20 watt surface and wall mounted LED batten ( 4 ft) with polycarbonate housing & integrated electronic driver i/c pre-wired, complete with all accessories and tube etc. directly on ceiling/ wall etc. as required. | 8.00 | Each |  | 138.29 | 1106.32 | 550.00 | 4400.00 | 190.00 | 1520.00 | 1000.00 | 8000.00 | 700.00 | 5600.00 | 500.00 | 4000.00 | 260.00 | 2080.00 | 372.00 | 2976.00 | 236.00 | 1888.00 | 654.00 | 5232.00 | 400.00 | 3200.00 | 560.00 | 4480.00 | 200.00 | 1600.00 | 385.00 | 3080.00 | 1106.32 | Kripa Electronics india pvt ltd
26.00 | Supply of wall mounted fan of 400mm sweep, 1350 RPM with control ON-OFF, variable speed modes, oscillation control, hight adjustable, balanced 3 leaf suitable for operation on 230volts, 50hz, AC power supply etc as required.(Make: Havells, Model: Swing or similar from list of approved makes) | 4.00 | Each |  | 2550.00 | 10200.00 | 4500.00 | 18000.00 | 5736.00 | 22944.00 | 3800.00 | 15200.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 4400.00 | 17600.00 | 2400.00 | 9600.00 | 3912.00 | 15648.00 | 3300.00 | 13200.00 | 2500.00 | 10000.00 | 1570.00 | 6280.00 | 2000.00 | 8000.00 | 2449.00 | 9796.00 | 6280.00 | Rohit Electrical Construction
27.00 | Installation, testing and commissioning of pre-wired, LED fitting / compact fluorescent fitting of all types /Wall mounting fan, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 Sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 12.00 | Each |  | 1268.75 | 15225.00 | 135.00 | 1620.00 | 356.00 | 4272.00 | 100.00 | 1200.00 | 250.00 | 3000.00 | 50.00 | 600.00 | 260.00 | 3120.00 | 408.00 | 4896.00 | 100.00 | 1200.00 | 258.00 | 3096.00 | 100.00 | 1200.00 | 120.00 | 1440.00 | 100.00 | 1200.00 | 280.00 | 3360.00 | 600.00 | M/s BHARAT ELECTRIC, NAGPUR
28.00 | Supplying and fixing of 6 way, Double Door Single pole and neutral (SPN), MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 4.00 | Each |  | 1234.90 | 4939.60 | 2200.00 | 8800.00 | 6934.00 | 27736.00 | 1980.00 | 7920.00 | 1200.00 | 4800.00 | 750.00 | 3000.00 | 1700.00 | 6800.00 | 5500.00 | 22000.00 | 1350.00 | 5400.00 | 3750.00 | 15000.00 | 800.00 | 3200.00 | 1540.00 | 6160.00 | 2200.00 | 8800.00 | 1188.00 | 4752.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
29.00 | Supplying and fixing SP MCB(current Range from 6 A to 32 A) , 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 16.00 | Each |  | 169.32 | 2709.12 | 130.00 | 2080.00 | 252.00 | 4032.00 | 150.00 | 2400.00 | 180.00 | 2880.00 | 125.00 | 2000.00 | 170.00 | 2720.00 | 307.00 | 4912.00 | 302.00 | 4832.00 | 96.00 | 1536.00 | 130.00 | 2080.00 | 150.00 | 2400.00 | 150.00 | 2400.00 | 119.00 | 1904.00 | 1536.00 | MANKHA ELECTROTECH PRIVATE LIMITED
30.00 | Supplying and fixing 32 A rating DP MCB, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 501.00 | 2004.00 | 550.00 | 2200.00 | 860.00 | 3440.00 | 450.00 | 1800.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 530.00 | 2120.00 | 736.00 | 2944.00 | 302.00 | 1208.00 | 195.00 | 780.00 | 500.00 | 2000.00 | 541.00 | 2164.00 | 600.00 | 2400.00 | 386.00 | 1544.00 | 780.00 | MANKHA ELECTROTECH PRIVATE LIMITED
31.00 | Supply of floor mounted bubble top water dispenser having cold and hot water storage capacity of minmum 3.2 Ltr and 0.9 Ltr with use of non CFC refrigrent , cooling capacity minimum 2.5 Ltr/hr , heating capacity minimum 5 Ltr/hr, LED indicator and 3 Faucets ( Normal/Hot/Cold) mode function with 02 nos 20 Ltr water can etc complete as required. | 4.00 | Each |  | 8793.75 | 35175.00 | 8500.00 | 34000.00 | 10355.00 | 41420.00 | 14500.00 | 58000.00 | 12000.00 | 48000.00 | 9000.00 | 36000.00 | 26000.00 | 104000.00 | 9960.00 | 39840.00 | 9490.00 | 37960.00 | 9600.00 | 38400.00 | 9500.00 | 38000.00 | 6187.50 | 24750.00 | 8500.00 | 34000.00 | 13200.00 | 52800.00 | 24750.00 | Rohit Electrical Construction
32.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 40.00 | Mtr |  | 70.94 | 2837.60 | 35.00 | 1400.00 | 42.00 | 1680.00 | 38.00 | 1520.00 | 120.00 | 4800.00 | 25.00 | 1000.00 | 44.00 | 1760.00 | 105.00 | 4200.00 | 100.00 | 4000.00 | 60.00 | 2400.00 | 50.00 | 2000.00 | 35.40 | 1416.00 | 40.00 | 1600.00 | 25.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR
33.00 | Supply and fixing of the 32 Amp, Four Pole MCB of 240/415 Volts, 'C' curve type, having breaking capacity of 36 kA, with four pole metal MCB enclosure with DIN rail, complete with interconnections, testing and commissioning etc. complete as reqd. | 4.00 | Each |  | 1120.30 | 4481.20 | 950.00 | 3800.00 | 2310.00 | 9240.00 | 1980.00 | 7920.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 1700.00 | 6800.00 | 1842.00 | 7368.00 | 1363.00 | 5452.00 | 455.50 | 1822.00 | 1100.00 | 4400.00 | 1578.80 | 6315.20 | 2000.00 | 8000.00 | 814.00 | 3256.00 | 1822.00 | MANKHA ELECTROTECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 10387864.17 |  | 9789159.00 |  | 8967920.00 |  | 9084530.00 |  | 8532130.00 |  | 7505200.00 |  | 8958780.00 |  | 9403710.00 |  | 8123886.00 |  | 7544148.00 |  | 7856530.00 |  | 7097269.20 |  | 7583300.00 |  | 7561835.00
Lowest Amount Quoted BY: Rohit Electrical Construction(7097269.20)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of balance perimeter lighting along the operational Boundary wall at Birsi Airport, Gondia. Tender ID: 2024_AAI_189077_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rohit Electrical Construction | 7097269.20 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 7505200.00 | L2
| 3 | MANKHA ELECTROTECH PRIVATE LIMITED | 7544148.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 7561835.00 | L4
| 5 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 7583300.00 | L5
| 6 | SAURABH ENTERPRISES | 7856530.00 | L6
| 7 | vardhman Airport solutions pvt. Ltd. | 8123886.00 | L7
| 8 | Manish Electricals | 8532130.00 | L8
| 9 | MPC ELECTRICALS AND ENGINEERS | 8958780.00 | L9
| 10 | SARASWAT ENGINEERING SERVICES | 8967920.00 | L10
| 11 | jaydeep agency corporation | 9084530.00 | L11
| 12 | BR Power Control and Automation Services | 9403710.00 | L12
| 13 | RVD INFRA SOLUTION PVT.LTD. | 9789159.00 | L13
| 14 | Kripa Electronics india pvt ltd | 10387864.17 | L14