## BoQ1
Government eProcurement System Created By: Sujit Kumar Modak Created Date/Time: 05-Apr-2024 06:09 PM Tender Title: SITC of Smart Visual Docking Guidance System at Kolkata Airport. SH Provision of power supply, pipes and related other works required for installation of SVDGS at NSCBI Airport Kolkata Tender ID: 2024_AAI_189229_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: SITC of Smart Visual Docking Guidance System at Kolkata Airport. SH: Provision of power supply, pipes and related other works required for installation of SVDGS at NSCBI Airport Kolkata.
Contract No: 2024_AAI_189229_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -689330 |  | KLYSTRON ELECTRONICS PVT. LTD. (GSTN-19AABCK0819P1Z6) BID ID -689755 |  | SAHA COMMERCIAL CONSTRUCTION (GSTN-19AASFS6288A1ZN) BID ID -690059 |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)--690934
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: - Electrical Related Works Supply of nominal 63 mm outer dia, PE 100 grade, PN 12.5 rated, SDR - 11 HDPE pipe conforming to IS: 4984:2016 (along with latest amendments) and as directed by Engineer-in-Charge. | 6000.00 | Mtr. |  | 165.00 | 990000.00 | 168.00 | 1008000.00 | 170.00 | 1020000.00 | 170.00 | 1020000.00 | 990000.00 | Youngmen Traders
2.00 | SH-I: - Electrical Related Works Supply of nominal 125 mm outer dia, PE 100 grade, PN 12.5 rated, SDR - 11 HDPE pipe conforming to IS: 4984:2016 (along with latest amendments) and as directed by Engineer-in-Charge. | 1500.00 | Mtr. |  | 645.00 | 967500.00 | 701.00 | 1051500.00 | 715.00 | 1072500.00 | 652.00 | 978000.00 | 967500.00 | Youngmen Traders
3.00 | SH-I: - Electrical Related Works Supply and fixing of 25 mm steel conduit along with accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit as required. | 200.00 | Mtr. |  | 95.00 | 19000.00 | 169.00 | 33800.00 | 135.00 | 27000.00 | 168.00 | 33600.00 | 19000.00 | Youngmen Traders
4.00 | SH-I: - Electrical Related Works Supply and fixing of 25 mm medium class PVC conduit along with accessories in surface / recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 200.00 | Mtr. |  | 30.00 | 6000.00 | 81.00 | 16200.00 | 54.00 | 10800.00 | 41.00 | 8200.00 | 6000.00 | Youngmen Traders
5.00 | SH-I: - Electrical Related Works Supply and fixing of PVC cable junction box (IP65) suitable for termination upto 4 sq. mm copper cable including fixing of suitable terminal connector along with end termination kits (IP65) for cable and fixing the same on wall / surface / existing poles etc. complete as per site requirement. Size: 300 mm x 450 mm x 170 mm. | 20.00 | Nos. |  | 4200.00 | 84000.00 | 11128.00 | 222560.00 | 575.00 | 11500.00 | 1813.00 | 36260.00 | 11500.00 | SAHA COMMERCIAL CONSTRUCTION
6.00 | SH-I: - Electrical Related Works Supply and fixing of PVC cable junction box (IP65) suitable for termination upto 4 sq. mm copper cable including fixing of suitable terminal connector along with end termination kits (IP65) for cable and fixing the same on wall / surface / existing poles etc. complete as per site requirement. Size: 600 mm x 400 mm x 250 mm. | 10.00 | Nos. |  | 5500.00 | 55000.00 | 13455.00 | 134550.00 | 850.00 | 8500.00 | 3399.00 | 33990.00 | 8500.00 | SAHA COMMERCIAL CONSTRUCTION
7.00 | SH-I: - Electrical Related Works Supply & fixing of 240 V/415 V, 50 Hz, 10 Ka "C" Series 25 amps DP MCB (in accordance with IS/IEC 60898-1 & IS/IEC 60947-2) | 25.00 | Nos. |  | 350.00 | 8750.00 | 605.00 | 15125.00 | 1350.00 | 33750.00 | 320.00 | 8000.00 | 8000.00 | vardhman Airport solutions pvt. Ltd.
8.00 | SH-I: - Electrical Related Works Supply of 3 core 4 sq. mm XLPE insulated, PVC inner sheathed, Armoured Cu. conductor cable, extruded PVC type ST2 outer sheathed, 650 /1100 Volt grade as per IS 7098 (Part 1) 1988 with upto date amendments. | 3000.00 | Mtr. |  | 140.00 | 420000.00 | 152.00 | 456000.00 | 55.00 | 165000.00 | 58.00 | 174000.00 | 165000.00 | SAHA COMMERCIAL CONSTRUCTION
9.00 | SH-I: - Electrical Related Works Supply of 3.5 core 70 sq. mm XLPE insulated, PVC inner sheathed, armoured Al. conductor cable, extruded PVC type ST2 outer sheathed, 650 /1100 Volt grade as per IS 7098 (Part 1) 1988 with upto date amendments. | 3000.00 | Mtr. |  | 300.00 | 900000.00 | 330.00 | 990000.00 | 315.00 | 945000.00 | 326.00 | 978000.00 | 900000.00 | Youngmen Traders
10.00 | SH-I: - Electrical Related Works Laying of following size permanently lubricated HDPE (high density polyethylene) pipe along with its necessary accessories like coupler, end plugs etc. below the ground (i/c road crossing, cement concrete apron area) at a depth of 3 m to 5 m through horizontal directional derilling etc. complete as required after doing ground penetrating radar survey and submitting its report of the underground utilities as per technical specifications.
10.01 | 63 mm outer dia | 1000.00 | Mtr. |  | 350.00 | 350000.00 | 1513.00 | 1513000.00 | 415.00 | 415000.00 | 209.00 | 209000.00 | 209000.00 | vardhman Airport solutions pvt. Ltd.
10.02 | 125 mm outer dia | 1000.00 | Mtr. |  | 400.00 | 400000.00 | 1729.00 | 1729000.00 | 550.00 | 550000.00 | 239.00 | 239000.00 | 239000.00 | vardhman Airport solutions pvt. Ltd.
11.00 | SH-I: - Electrical Related Works Laying of high density polyethylene (HDPE) pipe of outer dia 63 mm complete with all accessories like couplers, bends, tees, etc. in the apron including machine cutting of apron surface of width 110 mm and upto 200 mm deep and taking the excavated material out of the area within a lead of 2 kms and refilling & making good the same by concreting as per site requirement. | 2000.00 | Mtr. |  | 500.00 | 1000000.00 | 151.00 | 302000.00 | 135.00 | 270000.00 | 155.00 | 310000.00 | 270000.00 | SAHA COMMERCIAL CONSTRUCTION
12.00 | SH-I: - Electrical Related Works Kerf cutting with machine in apron of PQC / bituminous surface of depth 50 mm and width upto 15 mm for laying of cables including wrapping cotton tape on cables and refilling the same by suitable sealing material (Pidilite) etc. complete as required and as per instruction of EIC. | 2500.00 | Mtr. |  | 300.00 | 750000.00 | 586.00 | 1465000.00 | 225.00 | 562500.00 | 206.00 | 515000.00 | 515000.00 | vardhman Airport solutions pvt. Ltd.
13.00 | SH-I: - Electrical Related Works Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
13.01 | Upto 35 sq. mm. | 50.00 | Mtr. |  | 300.00 | 15000.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 72.00 | 3600.00 | 3600.00 | vardhman Airport solutions pvt. Ltd.
13.02 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Mtr. |  | 325.00 | 16250.00 | 317.00 | 15850.00 | 350.00 | 17500.00 | 113.00 | 5650.00 | 5650.00 | vardhman Airport solutions pvt. Ltd.
14.00 | SH-I: - Electrical Related Works Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/HDPE/METAL pipe/concrete groove as required.
14.01 | Upto 35 sq. mm. | 2800.00 | Mtr. |  | 45.00 | 126000.00 | 61.00 | 170800.00 | 50.00 | 140000.00 | 15.00 | 42000.00 | 42000.00 | vardhman Airport solutions pvt. Ltd.
14.02 | Above 35 sq. mm and upto 95 sq. mm | 2100.00 | Mtr. |  | 50.00 | 105000.00 | 89.00 | 186900.00 | 90.00 | 189000.00 | 21.00 | 44100.00 | 44100.00 | vardhman Airport solutions pvt. Ltd.
15.00 | SH-I: - Electrical Related Works Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
15.01 | Upto 35 sq. mm. | 10.00 | Mtr. |  | 20.00 | 200.00 | 61.00 | 610.00 | 25.00 | 250.00 | 15.00 | 150.00 | 150.00 | vardhman Airport solutions pvt. Ltd.
15.02 | Above 35 sq. mm and upto 95 sq. mm | 200.00 | Mtr. |  | 25.00 | 5000.00 | 89.00 | 17800.00 | 35.00 | 7000.00 | 21.00 | 4200.00 | 4200.00 | vardhman Airport solutions pvt. Ltd.
16.00 | SH-I: - Electrical Related Works Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
16.01 | Upto 35 sq. mm. (clamped with 1mm thick saddle) | 20.00 | Mtr. |  | 50.00 | 1000.00 | 78.00 | 1560.00 | 45.00 | 900.00 | 31.00 | 620.00 | 620.00 | vardhman Airport solutions pvt. Ltd.
16.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 600.00 | Mtr. |  | 55.00 | 33000.00 | 128.00 | 76800.00 | 55.00 | 33000.00 | 52.00 | 31200.00 | 31200.00 | vardhman Airport solutions pvt. Ltd.
17.00 | SH-I: - Electrical Related Works Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
17.01 | Upto 35 sq. mm. (clamped with 1mm thick saddle) | 120.00 | Mtr. |  | 40.00 | 4800.00 | 61.00 | 7320.00 | 40.00 | 4800.00 | 31.00 | 3720.00 | 3720.00 | vardhman Airport solutions pvt. Ltd.
17.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Mtr. |  | 55.00 | 2750.00 | 94.00 | 4700.00 | 50.00 | 2500.00 | 41.00 | 2050.00 | 2050.00 | vardhman Airport solutions pvt. Ltd.
18.00 | SH-I: - Electrical Related Works Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required
18.01 | 3 x 4 sq. mm. | 48.00 | Nos. |  | 350.00 | 16800.00 | 346.00 | 16608.00 | 450.00 | 21600.00 | 201.00 | 9648.00 | 9648.00 | vardhman Airport solutions pvt. Ltd.
18.02 | 3.5 x 70 sq. mm. | 16.00 | Nos. |  | 650.00 | 10400.00 | 991.00 | 15856.00 | 750.00 | 12000.00 | 368.00 | 5888.00 | 5888.00 | vardhman Airport solutions pvt. Ltd.
19.00 | SH-I: - Electrical Related Works Design, fabrication, supply, installation, testing and commissioning of Floor Mounted outdoor type, suitable size control panel cum feeder pillar made of CRCA sheet steel of 2 mm thick for frame work and covers complete with powder coating in approved shade, having 250 amps capacity TPN aluminium busbars, Incomer of 4 pole 200 amps Thermal Release based MCCB - 2 Nos., 4 Pole Automatic Transfer Switch of 200 amps - 1 No., Outgoing 25 amps DP MCB - 8 Nos. along with voltmeter and ammeter with necessary CTs, selector switches, LED indication lamps - Red, Yellow, Blue, ON, OFF, Trip, bottom base of MS channel and Legs, having bottom cable entry and a common GI earth bar with 2 nos. earth stud, internal connection by suitable aluminium strip/bar or aluminium cable as per specification and control wiring with 2.5 Sq.mm PVC insulated copper conductor cable for 3 phase, 4 wire 50 Hz system and same should be fixed 2 ft. height (from ground level) on brick foundation complete etc. as required. | 4.00 | Nos. |  | 250000.00 | 1000000.00 | 254786.00 | 1019144.00 | 190000.00 | 760000.00 | 219236.00 | 876944.00 | 760000.00 | SAHA COMMERCIAL CONSTRUCTION
20.00 | SH-II: Earthing Works
20.01 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 32.00 | Nos. |  | 5500.00 | 176000.00 | 10454.00 | 334528.00 | 7500.00 | 240000.00 | 3502.00 | 112064.00 | 112064.00 | vardhman Airport solutions pvt. Ltd.
20.02 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Nos. |  | 7500.00 | 45000.00 | 12777.00 | 76662.00 | 9000.00 | 54000.00 | 5562.00 | 33372.00 | 33372.00 | vardhman Airport solutions pvt. Ltd.
20.03 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Mtr. |  | 525.00 | 15750.00 | 721.00 | 21630.00 | 450.00 | 13500.00 | 433.00 | 12990.00 | 12990.00 | vardhman Airport solutions pvt. Ltd.
20.04 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | Mtr. |  | 125.00 | 3750.00 | 209.00 | 6270.00 | 150.00 | 4500.00 | 89.00 | 2670.00 | 2670.00 | vardhman Airport solutions pvt. Ltd.
20.05 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 30.00 | Mtr. |  | 190.00 | 5700.00 | 228.00 | 6840.00 | 150.00 | 4500.00 | 221.00 | 6630.00 | 4500.00 | SAHA COMMERCIAL CONSTRUCTION
20.06 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 100.00 | Mtr. |  | 22.00 | 2200.00 | 42.00 | 4200.00 | 35.00 | 3500.00 | 22.00 | 2200.00 | 2200.00 | Youngmen Traders, vardhman Airport solutions pvt. Ltd.
21.00 | SH-III: - Miscellaneous Works
21.01 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 10.00 | cum |  | 250.00 | 2500.00 | 244.00 | 2440.00 | 450.00 | 4500.00 | 514.00 | 5140.00 | 2440.00 | KLYSTRON ELECTRONICS PVT. LTD.
21.02 | Filling available excavated earth (excluding rock) in trenches, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 metres. | 10.00 | cum |  | 150.00 | 1500.00 | 105.00 | 1050.00 | 750.00 | 7500.00 | 2000.00 | 20000.00 | 1050.00 | KLYSTRON ELECTRONICS PVT. LTD.
21.03 | Demolishing cement concrete manually / by mechanical means including disposal of materials within 50 metres lead as per direction of Engineer-in-Charge. | 10.00 | cum |  | 1200.00 | 12000.00 | 1162.00 | 11620.00 | 950.00 | 9500.00 | 1780.00 | 17800.00 | 9500.00 | SAHA COMMERCIAL CONSTRUCTION
21.04 | Demolishing R.C.C. work manually / by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 10.00 | cum |  | 2200.00 | 22000.00 | 3889.00 | 38890.00 | 1000.00 | 10000.00 | 2597.00 | 25970.00 | 10000.00 | SAHA COMMERCIAL CONSTRUCTION
21.05 | Demolishing brick work manually/ by mechanical means in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 8.00 | cum |  | 1000.00 | 8000.00 | 3889.00 | 31112.00 | 750.00 | 6000.00 | 1507.00 | 12056.00 | 6000.00 | SAHA COMMERCIAL CONSTRUCTION
21.06 | Providing and laying in position cement concrete of 1:1.5:3 (1 Cement : 1.5 Coarse sand : 3 graded stone aggregate 20 mm nominal size) derived from natural resources excluding the cost of centering and shuttering - all work upto plinth level. | 10.00 | cum |  | 7000.00 | 70000.00 | 10555.00 | 105550.00 | 8500.00 | 85000.00 | 6100.00 | 61000.00 | 61000.00 | vardhman Airport solutions pvt. Ltd.
21.07 | Providing and laying in position cement concrete of 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) derived from natural resources excluding the cost of centering and shuttering - all work upto plinth level. | 10.00 | cum |  | 6000.00 | 60000.00 | 12221.00 | 122210.00 | 7500.00 | 75000.00 | 5761.00 | 57610.00 | 57610.00 | vardhman Airport solutions pvt. Ltd.
21.08 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | 10.00 | cum |  | 8000.00 | 80000.00 | 6777.00 | 67770.00 | 7000.00 | 70000.00 | 5390.00 | 53900.00 | 53900.00 | vardhman Airport solutions pvt. Ltd.
21.09 | Providing 15 mm thick cement plaster with a floating coat of neat cement of mix 1:4 (1 cement : 4 fine sand) at all levels. | 30.00 | sq.mtrs. |  | 300.00 | 9000.00 | 444.00 | 13320.00 | 550.00 | 16500.00 | 349.00 | 10470.00 | 9000.00 | Youngmen Traders
21.10 | Providing, laying and fixing 100 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | 50.00 | Mtrs. |  | 1500.00 | 75000.00 | 1429.00 | 71450.00 | 1250.00 | 62500.00 | 1239.00 | 61950.00 | 61950.00 | vardhman Airport solutions pvt. Ltd.
21.11 | Providing and making masonary inspection chamber of size not less than 1000 x 1000 x 750 mm deep (inside) including excavation of soil, 75 mm flat brick soling at the bottom, 50 mm base PCC concrete over brick soling, 250 mm brick work with cement mortar, cement plaster on brick work and bottom (only inside surface) providing RCC slabs of suitable size on top of the chamber with suitable lifting arrangement complete as required. | 6.00 | Nos. |  | 12000.00 | 72000.00 | 14393.00 | 86358.00 | 10500.00 | 63000.00 | 21301.00 | 127806.00 | 63000.00 | SAHA COMMERCIAL CONSTRUCTION
21.12 | Fabrication works in M.S. C channel / angle / flat / plates including cutting to required length, welding including sparay / manual painting the same with two coats of ISI marked synthetic enamel paint of approved colour over one coat of red oxide metal primer as per direction of Engineer-in-Charge. | 2000.00 | Kg. |  | 95.00 | 190000.00 | 142.00 | 284000.00 | 100.00 | 200000.00 | 123.00 | 246000.00 | 190000.00 | Youngmen Traders
22.00 | SH-IV: - IT Related Works
22.01 | Supply of CAT6 UTP Outdoor Armoured Ethernet Cable. | 9000.00 | Mtr. |  | 45.00 | 405000.00 | 74.00 | 666000.00 | 65.00 | 585000.00 | 24.00 | 216000.00 | 216000.00 | vardhman Airport solutions pvt. Ltd.
22.02 | Supply of 6 core Single Mode Outdoor Armoured Multi-Tube Optical Fiber Cable. | 6000.00 | Mtr. |  | 35.00 | 210000.00 | 50.00 | 300000.00 | 40.00 | 240000.00 | 45.00 | 270000.00 | 210000.00 | Youngmen Traders
22.03 | Supply, installation, testing & commissioning of Fiber Optical Patch Cord | 48.00 | Nos. |  | 105.00 | 5040.00 | 1600.00 | 76800.00 | 150.00 | 7200.00 | 757.00 | 36336.00 | 5040.00 | Youngmen Traders
22.04 | Supply, installation, testing & commissioning of steel frame powder coated Floor Standing Rack 36U with front door lockable double toughened glass door or perforated along with 19 inch mounting angles made of formed steel conforming to DIN 41494 or equivalent standard. | 1.00 | No. |  | 26000.00 | 26000.00 | 62494.00 | 62494.00 | 43809.00 | 43809.00 | 34608.00 | 34608.00 | 26000.00 | Youngmen Traders
22.05 | Supply, installation, testing & commissioning of powder coated IP 55 Outdoor Pole Rack made of 1.2/1.5 mm thick CRCA sheet of 6U x 550 mm width x 500 mm depth. | 24.00 | Nos. |  | 7000.00 | 168000.00 | 5335.00 | 128040.00 | 15500.00 | 372000.00 | 11356.00 | 272544.00 | 128040.00 | KLYSTRON ELECTRONICS PVT. LTD.
22.06 | Supply, installation, testing & commissioning of 6 port fixed LIU - Rack Mount fully loaded. | 6.00 | Nos. |  | 1500.00 | 9000.00 | 8193.00 | 49158.00 | 17500.00 | 105000.00 | 3893.00 | 23358.00 | 9000.00 | Youngmen Traders
22.07 | Supply, installation, testing & commissioning of 12 port fixed LIU - Rack Mount fully loaded. | 24.00 | Nos. |  | 2000.00 | 48000.00 | 10123.00 | 242952.00 | 20000.00 | 480000.00 | 4975.00 | 119400.00 | 48000.00 | Youngmen Traders
22.08 | Supply, installation, testing & commissioning of 24 port fixed LIU - Rack Mount fully loaded. | 2.00 | Nos. |  | 3000.00 | 6000.00 | 23666.00 | 47332.00 | 25000.00 | 50000.00 | 8219.00 | 16438.00 | 6000.00 | Youngmen Traders
22.09 | Supply, installation, testing & commissioning of Industrial grade (outdoor) Managed 8 port Gigabit Ethernet Switch with 2 SFP port. | 24.00 | Nos. |  | 7000.00 | 168000.00 | 36249.00 | 869976.00 | 9500.00 | 228000.00 | 41097.00 | 986328.00 | 168000.00 | Youngmen Traders
22.10 | Supply, installation, testing & commissioning of Industrial grade (outdoor) Managed 24 port Gigabit Ethernet Switch with 4 SFP port. | 8.00 | Nos. |  | 15000.00 | 120000.00 | 51157.00 | 409256.00 | 15000.00 | 120000.00 | 292005.00 | 2336040.00 | 120000.00 | Youngmen Traders, SAHA COMMERCIAL CONSTRUCTION
22.11 | Supply, installation, testing & commissioning of Single mode Optical Fiber converter module. | 24.00 | Nos. |  | 1200.00 | 28800.00 | 7918.00 | 190032.00 | 1250.00 | 30000.00 | 3785.00 | 90840.00 | 28800.00 | Youngmen Traders
22.12 | Supply, installation, testing & commissioning of Managed 4 x Gigabit SFP Fiber port & 8 x 10/100/1000 Base T port Ethernet switch along with 10 nos. of single mode SPF module. | 2.00 | Nos. |  | 15000.00 | 30000.00 | 13574.00 | 27148.00 | 25000.00 | 50000.00 | 131943.00 | 263886.00 | 27148.00 | KLYSTRON ELECTRONICS PVT. LTD.
22.13 | Crimping, splicing, testing and commissioning of existing CAT6 UTP / OFC cable along with all accessories etc. complete as required. | 300.00 | Job |  | 175.00 | 52500.00 | 290.00 | 87000.00 | 95.00 | 28500.00 | 29.00 | 8700.00 | 8700.00 | vardhman Airport solutions pvt. Ltd.
22.14 | Laying of Fiber optic cable in existing / recessed steel conduit / PVC conduit / HDPE pipe / open surface / cable tray as required. | 6000.00 | Mtr. |  | 22.00 | 132000.00 | 29.00 | 174000.00 | 20.00 | 120000.00 | 15.00 | 90000.00 | 90000.00 | vardhman Airport solutions pvt. Ltd.
22.15 | Laying of CAT6 Ethernet cable in existing / recessed steel conduit / PVC conduit / HDPE pipe / open surface / cable tray as required. | 9000.00 | Mtr. |  | 22.00 | 198000.00 | 29.00 | 261000.00 | 25.00 | 225000.00 | 15.00 | 135000.00 | 135000.00 | vardhman Airport solutions pvt. Ltd.
| Total in Figures |  |  |  |  | 9743190.00 |  | 15362771.00 |  | 9909109.00 |  | 11341926.00
Lowest Amount Quoted BY: Youngmen Traders(9743190.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Smart Visual Docking Guidance System at Kolkata Airport. SH Provision of power supply, pipes and related other works required for installation of SVDGS at NSCBI Airport Kolkata Tender ID: 2024_AAI_189229_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 9743190.00 | L1
| 2 | SAHA COMMERCIAL CONSTRUCTION | 9909109.00 | L2
| 3 | vardhman Airport solutions pvt. Ltd. | 11341926.00 | L3
| 4 | KLYSTRON ELECTRONICS PVT. LTD. | 15362771.00 | L4