## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 12-Apr-2024 07:13 PM Tender Title: Provision of Runway Guard Lights and GLF Works at Vijayawada Airport Tender ID: 2024_AAI_189392_1
Tender Inviting Authority: Joint General Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work: Provision of Runway Guard Lights and GLF Works at Vijayawada Airport.
Contract No: 2024_AAI_189392_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -692774 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -692942
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of pair of Unidirectional, alternate flashing, elevated high intensity LED Runway Guard Lights fitting on common central assembly and complete with optic lens, LMS Dual switching device, power converter, visor, two pins secondary lead centre column assembly, breakable coupling, base plate, gaskets SS bolts etc., and all other accessories as required conforming to ICAO and technical specifications. The fixture shall be suitable for use at Taxiway / runway intersection for day-night operation and operate on 6.6 series circuit etc. complete as required. Make: FAA Certified Only | 5.00 | Each | 100.00 | 250000.00 | 1250000.00 | 210000.00 | 1050000.00 | 1050000.00 | Manish Electricals
2.00 | Supply of ICAO Compliance Inset type bi-directional high intensity runway edge light fixture With Clear / Amber (Yellow) Lens suitable for operations on 5 KV,50 Hz, series circuit 20 / 6.6Amps series circuit to meet IACO requirement complete with breakable coupling, mounting assembly, optical assembly, base plate, gasket, Bi-pin lamp holder, connecting lead i/c supply of suitable watt 6.6A halogen lamp, SS bolts & washers, etc. as required and as per enclosed specifications with following lenses/ filters. Make: FAA Certified Only | 6.00 | Each | 100.00 | 75000.00 | 450000.00 | 62000.00 | 372000.00 | 372000.00 | Manish Electricals
3.00 | Supply of ICAO Compliance Inset type unidirectional high intensity runway edge light fixture with clear Lens suitable for operations on 5 KV,50 Hz, series circuit 6.6 / 6.6Amps series circuit to meet IACO requirement complete with breakable coupling, mounting assembly, optical assembly, base plate, gasket, Bi-pin lamp holder, connecting lead i/c supply of suitable watt 6.6A halogen lamp, SS bolts & washers, etc. as required and as per enclosed specifications with following lenses/ filters. Make: FAA Certified Only | 5.00 | Each | 100.00 | 75000.00 | 375000.00 | 69000.00 | 345000.00 | 345000.00 | Manish Electricals
4.00 | Supply of FAA complied and meeting ICAO Annexure -14 requirement Halogen type, Bi-directional elevated type, high intensity Runway edge Light fitting suitable for Runway Edge lighting for operation at 200/150W, 20/6.6A, pre-focus Halogen lamp complete with all accessories including lamp, clear spreader lens and, lens clamping mechanism, breakable coupling, two pin secondary lead, CI Base plate with 06Nos, M-10 stainless steel bolts and other accessories etc. complete as required. (Make: AMA, AUN type). | 10.00 | Each | 100.00 | 10000.00 | 100000.00 | 9000.00 | 90000.00 | 90000.00 | Manish Electricals
5.00 | Supply of 2C x 4 sq.mm., 600V Grade Flexible Copper Conductor, EPR insulated & CPE (Chlorinated Polyethylen, cross - linked, heavy duty) outer sheath (Black colour) Secondary cable for Airport lighting circuits conforming as specified in particular specification of following sizes as required. | 500.00 | Mtr | 100.00 | 175.00 | 87500.00 | 260.00 | 130000.00 | 87500.00 | Balaji Engineering
6.00 | Supply of 2.5 Sq.mm, 0.6 mtr. long, copper conductor, two pin secondary lead of 5KV grade assembly suitable for runway / taxiway / approach / inset light fittings etc., complete as required | 30.00 | Each | 100.00 | 500.00 | 15000.00 | 650.00 | 19500.00 | 15000.00 | Balaji Engineering
7.00 | Supply of 16 Sq.mm, 5 KV Grade Plug and Receptacle of Type I class "B" Connector suitable for field attachment with 5 KV Grade PVC insulated PVC sheathed of Single Core Copper Conductor Cable of following size conforming to the relevant IS specification etc. complete as required. | 50.00 | Each | 100.00 | 500.00 | 25000.00 | 580.00 | 29000.00 | 25000.00 | Balaji Engineering
8.00 | Supply of 6 Sq.mm, 5 KV Grade Plug and Receptacle of Type I class "B" Connector suitable for field attachment with 5 KV Grade PVC insulated PVC sheathed of Single Core Copper Conductor Cable of following size conforming to the relevant IS specification etc. complete as required. | 50.00 | Each | 100.00 | 500.00 | 25000.00 | 580.00 | 29000.00 | 25000.00 | Balaji Engineering
9.00 | Supply of 300W, 6.6A / 6.6A rating 5000V, 50 Hz Series Isolating Transformers encapsulated in black crosslinked polychloroprene compound like TPE / TPR / TPV with primary and secondary connections suitable to be operated via ALCMS System confirming to specification as required. (Make: As per AAI approved make list) | 20.00 | Each | 100.00 | 6000.00 | 120000.00 | 6500.00 | 130000.00 | 120000.00 | Balaji Engineering
10.00 | Providing and Laying of 32mm 'B' class GI Pipe in Runway for Inset fittings. Job Involve suitable size kerf cutting and refiling the same with (fast grouting) cement concrecting complete with threading and alignment of pipe with transformer housing box as required. | 180.00 | Mtr | 100.00 | 750.00 | 135000.00 | 725.00 | 130500.00 | 130500.00 | Manish Electricals
11.00 | Installation, testing and commissioning of elevated type, high intensity runway edge light / Guard light fixtures on runway / taxiway. The fitting installed with 150mm CI Adaptor / collar box including core cutting of PQC making the connections of Isolating Transformer, Light fixtures and other accessories including alignment, levelling and making secondary lead connections to transformer & fittings earth connections etc. complete as required. Note: Transformers, CI Adaptor box Provided by AAI | 8.00 | Job | 100.00 | 5000.00 | 40000.00 | 18500.00 | 148000.00 | 40000.00 | Balaji Engineering
12.00 | Installation, testing and commissioning of Inset type bi-directional high intensity runway edge light fixtures on runway / taxiway. The fitting installed with chemical compound including core cutting of PQC making the connections of isolating transformer, light fixtures and other accessories including alignment, levelling and making secondary lead connections to transformer & fittings earth connections etc. complete as required. | 7.00 | Job | 100.00 | 10000.00 | 70000.00 | 7000.00 | 49000.00 | 49000.00 | Manish Electricals
13.00 | Installation of CI Transformer housing box in runway / taxy way shoulder including excavation and providing 75 mm thick cement concrete 1:2:4 all around one meter and bottom of the transformer housing box with required slope to match with the bitumen surface and plastering of exposed surface with cement mortar 1:3 of thickness 12 mm over the concrete surface including painting top of CI box after installation, disposing off surplus excavated material etc. as required. Note: Transformers and housing box Provided by AAI | 10.00 | Job | 100.00 | 3500.00 | 35000.00 | 2500.00 | 25000.00 | 25000.00 | Manish Electricals
14.00 | Design, Supply, Installation, Testing and Commissioning of internally illuminated mandatory / informatory guidance sign boards having various sizes (As per ICAO standard) with central split type opening for easy maintenance made of reinforced 2mm thick anodized aluminum profile with suitable support. The rear panel shall be made of 1.2mm. Signage sheet shall be 4mm thick, long life imported poly carbonate non-specular surface with letters and symbols made out from 3M film pasted from inside with required colouring for mandatory / informatory guidance sign. The boards shall be internally illuminated with LED strips and all other accessories including converter / ballast to be operated on 2.8A to 6.6Amps, AC constant current series system including isolating transformer. Board shall have secondary leads protected with PVC flexible pipe including nut bolt, frangible mounting legs. Board shall have necessary water proof protection and shall be equivalent to ICAO latest amendment complete in all respects as required. | 10.00 | Sqm | 100.00 | 45000.00 | 450000.00 | 41000.00 | 410000.00 | 410000.00 | Manish Electricals
15.00 | Raising of sign board heights in operational area to meeting ICAO Specification with provision of breakable coupling and GI Pipes including clamping, holding clamps, nut bolting, locking arrangement etc. complete suitable as per existing rectangular type sign boards complete with all respects as required. | 13.00 | Job | 100.00 | 5000.00 | 65000.00 | 6000.00 | 78000.00 | 65000.00 | Balaji Engineering
16.00 | Supply, installation, testing and commissioning of internally illuminated existing mandatory / informatory guidance sign board sheet by 4mm thick long life poly carbonate non-specular surface with letters and symbols made out of 3M film pasted from inside with required coloring of sign board including suitable high lumens long life LED's strips with converters / drivers, wires, connectors etc. and achieving required illumination level (Lux level) as per ICAO Annexure-14, suitable for operation through AC constant current series system (CCR) working range 2.8A to 6.6Amps in 5 steps etc., as required. | 17.00 | Sqm | 100.00 | 10000.00 | 170000.00 | 7500.00 | 127500.00 | 127500.00 | Manish Electricals
17.00 | Supply of 4C x 16 Sq.mm, XLPE insulated and PVC sheathed armoured aluminium conductor power cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date ammendments etc., complete as required. (Note: If the manufacturer does not have NABL accredited Laboratory samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt Laboratories / IIT / IISc / IISER / College /University for acceptance Testing as per IS. The contractor will do all Liasoning, Transportation etc. and pay the testing charges. Nothing extra will be paid by AAI. if it is found that the cable supplied is not as per the requirement of IS, The supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports) | 3000.00 | Mtr | 100.00 | 175.00 | 525000.00 | 195.00 | 585000.00 | 525000.00 | Balaji Engineering
18.00 | Supplying and making end termination with brass double compression gland and aluminium lugs suitable for 4C x 16 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 20.00 | Set | 100.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 10000.00 | Manish Electricals
19.00 | Supplying and laying of OD 50 mm dia., HDPE, PE100, PN-6 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 2900.00 | Mtr | 100.00 | 250.00 | 725000.00 | 290.00 | 841000.00 | 725000.00 | Balaji Engineering
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. Upto 35 sq. mm | 2900.00 | Mtr | 100.00 | 35.00 | 101500.00 | 20.00 | 58000.00 | 58000.00 | Manish Electricals
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtr | 100.00 | 50.00 | 5000.00 | 120.00 | 12000.00 | 5000.00 | Balaji Engineering
22.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way, Double door | 10.00 | Each | 100.00 | 7000.00 | 70000.00 | 4500.00 | 45000.00 | 45000.00 | Manish Electricals
23.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, Double pole miniature circuit breaker suitable for inductive load of double pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 100.00 | 600.00 | 6000.00 | 610.00 | 6100.00 | 6000.00 | Balaji Engineering
24.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required Single pole | 40.00 | Each | 100.00 | 250.00 | 10000.00 | 210.00 | 8400.00 | 8400.00 | Manish Electricals
25.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 250.00 | Mtr | 100.00 | 250.00 | 62500.00 | 200.00 | 50000.00 | 50000.00 | Manish Electricals
26.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 150.00 | Mtr | 100.00 | 250.00 | 37500.00 | 250.00 | 37500.00 | 37500.00 | Balaji Engineering, Manish Electricals
27.00 | Supplying and fixing following size / modules, PVC box of 1.2mm Thick alongwith modular base & cover plate for modular switches in recess etc. as required. 9 Module (125mmX125mm) | 10.00 | Each | 100.00 | 700.00 | 7000.00 | 700.00 | 7000.00 | 7000.00 | Balaji Engineering, Manish Electricals
28.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
28.10 | 5/6 A switch | 30.00 | Each | 100.00 | 100.00 | 3000.00 | 70.00 | 2100.00 | 2100.00 | Manish Electricals
28.20 | 3 pin 5/6 A socket outlet | 20.00 | Each | 100.00 | 500.00 | 10000.00 | 100.00 | 2000.00 | 2000.00 | Manish Electricals
29.00 | Supply of 20W, 4 feet, Energy efficient, surface mounting, batten type LED luminaries with aluminium housing and integrated electronic driver with operating voltage range (120 - 270V AC) with colour temperature 5700K range. LED having minimum 20,000 burning hours with minimum 70% lumen maintained, system consumption should be less than 20W and especially designed for commercial use etc., complete as required. | 20.00 | Each | 100.00 | 750.00 | 15000.00 | 700.00 | 14000.00 | 14000.00 | Manish Electricals
30.00 | Supply of 400mm Sweep, High speed, 125 m3/min air delivery, pedastral fan complete with fan blades, top and bottom canopy with all accessories suitable for operation on 230V AC supply etc., as required. | 10.00 | Each | 100.00 | 5000.00 | 50000.00 | 4200.00 | 42000.00 | 42000.00 | Manish Electricals
31.00 | Supply of LED Type single dome red aviation obstruction light fitting suitable for operation on single phase AC power supply etc. as required. | 10.00 | Each | 100.00 | 5000.00 | 50000.00 | 6000.00 | 60000.00 | 50000.00 | Balaji Engineering
32.00 | Installation testing commissioning of all type of LED luminaries, ceiling fans, exhust fans, wall fans etc., including all necessary accessories / clamp / washers / metal chain on recess / surface /wall bracket / Wall mounted of height up to 5 mtrs etc., as required. | 40.00 | Each | 100.00 | 100.00 | 4000.00 | 350.00 | 14000.00 | 4000.00 | Balaji Engineering
33.00 | Earthing with G.I. earth pipe 4.5 Meter long, 40 mm dia., including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 6.00 | Each | 100.00 | 8000.00 | 48000.00 | 7500.00 | 45000.00 | 45000.00 | Manish Electricals
34.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 80.00 | Mtr | 100.00 | 50.00 | 4000.00 | 30.00 | 2400.00 | 2400.00 | Manish Electricals
35.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 24.00 | Mtr | 100.00 | 50.00 | 1200.00 | 50.00 | 1200.00 | 1200.00 | Balaji Engineering, Manish Electricals
36.00 | Fabrication, Supply, Installation, testing and commissioning of MS C-Channel of size of 100 mm x 50mm x 6mm thick. Suitable size cutting and fixing on existing cable chambers / trenches through cutting of existing brick wall / PCC wall re-concreting etc., including two coats of red oxide / zinc primer painting of channel etc. complete as required. | 105.00 | Mtr | 100.00 | 500.00 | 52500.00 | 1450.00 | 152250.00 | 52500.00 | Balaji Engineering
37.00 | Providing and laying in position reinforced cement concrete 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) plates for covering of cable chambers and cable trenches etc., size of the plates should be suitable for existing cable chambers / trenches and thickness of plate should not less than 110mm including following work etc., as required. Note: Each chamber covered with 4 / 5 Nos of RCC plate and existing damaged plates should be removed from chamber and shifted as per instruction of Engineering In charge. A. 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) B. Centering and shuttering including strutting, propping etc. and removal of form for edges of slabs and breaks in floors and walls C. Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars. | 100.00 | Sqm | 100.00 | 1000.00 | 100000.00 | 1250.00 | 125000.00 | 100000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 5311700.00 |  | 5282450.00
Lowest Amount Quoted BY: Manish Electricals(5282450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Runway Guard Lights and GLF Works at Vijayawada Airport Tender ID: 2024_AAI_189392_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 5282450.00 | L1
| 2 | Balaji Engineering | 5311700.00 | L2